## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 11:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
227935 | 2021-10-26 11:20 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 259.4849 | μmol/L | 11.7042 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.822 | 141856.6298 | 293625.5776 | 59.9307 | 49.4
227945 | 2021-10-26 11:20 | 0.33873 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 259.3487 | μmol/L | 11.6919 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.833 | 141617.9846 | 293623.6622 | 59.9307 | 49.4
227955 | 2021-10-26 11:20 | 0.67219 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 259.123 | μmol/L | 11.6981 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.841 | 141699.1515 | 293618.6612 | 59.9307 | 49.4
227965 | 2021-10-26 11:21 | 1.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.6859 | μmol/L | 11.7165 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.854 | 141767.3364 | 293605.9073 | 59.9307 | 49.4
227975 | 2021-10-26 11:21 | 1.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 258.2117 | μmol/L | 11.7473 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.864 | 141841.4782 | 293621.8024 | 59.9307 | 49.4
227985 | 2021-10-26 11:21 | 1.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.8196 | μmol/L | 11.7658 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.875 | 141916.2998 | 293612.873 | 59.9307 | 49.4
227995 | 2021-10-26 11:22 | 2.0059 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.5603 | μmol/L | 11.7658 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.887 | 142002.1892 | 293617.7324 | 59.9307 | 49.4
228005 | 2021-10-26 11:22 | 2.3394 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.2285 | μmol/L | 11.772 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.9 | 142090.9546 | 293607.0297 | 59.9307 | 49.4
228015 | 2021-10-26 11:22 | 2.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.0641 | μmol/L | 11.7658 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.91 | 142145.6947 | 293596.8858 | 59.9307 | 49.4
228025 | 2021-10-26 11:23 | 3.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.9214 | μmol/L | 11.7596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.919 | 142174.8336 | 293616.7766 | 59.9307 | 49.4
228035 | 2021-10-26 11:23 | 3.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.7707 | μmol/L | 11.7596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.926 | 141789.9941 | 293619.9389 | 59.9307 | 49.4
228045 | 2021-10-26 11:23 | 3.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.6201 | μmol/L | 11.7596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.933 | 141838.7836 | 293607.6389 | 59.9307 | 49.4
228055 | 2021-10-26 11:24 | 4.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.5475 | μmol/L | 11.7658 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.934 | 141885.4645 | 293638.2611 | 59.9307 | 49.4
228065 | 2021-10-26 11:24 | 4.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.3461 | μmol/L | 11.772 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.941 | 141939.1335 | 293653.2147 | 59.9307 | 49.4
228075 | 2021-10-26 11:24 | 4.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.1368 | μmol/L | 11.7843 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.946 | 141965.8676 | 293649.1478 | 59.9307 | 49.4
228085 | 2021-10-26 11:25 | 5.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.0295 | μmol/L | 11.7843 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.951 | 142036.2283 | 293646.5579 | 59.9307 | 49.4
228095 | 2021-10-26 11:25 | 5.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.9223 | μmol/L | 11.7843 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.956 | 142073.0258 | 293650.4433 | 59.9307 | 49.4
228105 | 2021-10-26 11:25 | 5.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.917 | μmol/L | 11.772 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.961 | 142111.9635 | 293659.3446 | 59.9307 | 49.4
228115 | 2021-10-26 11:26 | 6.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.7375 | μmol/L | 11.7781 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.967 | 142145.4816 | 293664.8483 | 59.9307 | 49.4
228125 | 2021-10-26 11:26 | 6.3394 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.5582 | μmol/L | 11.7843 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.973 | 142174.9051 | 293668.3325 | 59.9307 | 49.4
228135 | 2021-10-26 11:26 | 6.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.6304 | μmol/L | 11.7781 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.972 | 142198.0909 | 293656.2727 | 59.9307 | 49.4
228145 | 2021-10-26 11:27 | 7.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.609 | μmol/L | 11.7781 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.973 | 142220.2148 | 293643.0034 | 59.9307 | 49.4
228155 | 2021-10-26 11:27 | 7.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.502 | μmol/L | 11.7781 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.978 | 142252.9257 | 293646.3247 | 59.9307 | 49.4
228165 | 2021-10-26 11:27 | 7.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.3523 | μmol/L | 11.7781 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.985 | 142279.1073 | 293640.9018 | 59.9307 | 49.4
228175 | 2021-10-26 11:28 | 8.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.2801 | μmol/L | 11.7843 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.986 | 142301.6088 | 293638.3424 | 59.9307 | 49.4
228185 | 2021-10-26 11:28 | 8.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.1813 | μmol/L | 11.7781 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.993 | 142308.9201 | 293628.0473 | 59.9307 | 49.4
228195 | 2021-10-26 11:28 | 8.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.2749 | μmol/L | 11.772 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.991 | 142325.5139 | 293628.7865 | 59.9307 | 49.4
228205 | 2021-10-26 11:29 | 9.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.1386 | μmol/L | 11.7781 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.995 | 142366.4034 | 293624.8172 | 59.9307 | 49.4
228215 | 2021-10-26 11:29 | 9.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.0826 | μmol/L | 11.772 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24 | 142376.6628 | 293625.8471 | 59.9307 | 49.4
228225 | 2021-10-26 11:29 | 9.6725 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.0186 | μmol/L | 11.772 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.003 | 142410.5316 | 293645.6117 | 59.9307 | 49.4
228235 | 2021-10-26 11:30 | 10.0059 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.9119 | μmol/L | 11.772 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.008 | 142418.5781 | 293621.7366 | 59.9307 | 49.4
228245 | 2021-10-26 11:30 | 10.3395 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8229 | μmol/L | 11.772 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.012 | 142463.3668 | 293638.2166 | 59.9307 | 49.4
228255 | 2021-10-26 11:30 | 10.6728 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7589 | μmol/L | 11.772 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.015 | 142501.3572 | 293625.9588 | 59.9307 | 49.4
228265 | 2021-10-26 11:31 | 11.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.6523 | μmol/L | 11.772 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.02 | 142533.003 | 293620.1516 | 59.9307 | 49.4
228275 | 2021-10-26 11:31 | 11.3394 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.4775 | μmol/L | 11.7781 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.026 | 142545.8006 | 293617.5338 | 59.9307 | 49.4
228285 | 2021-10-26 11:31 | 11.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.5282 | μmol/L | 11.772 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.026 | 142568.2873 | 293589.2777 | 59.9307 | 49.4
228295 | 2021-10-26 11:32 | 12.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.5539 | μmol/L | 11.7658 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.027 | 142571.8952 | 293585.1495 | 59.9307 | 49.4
228305 | 2021-10-26 11:32 | 12.3392 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.286 | μmol/L | 11.7781 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.035 | 142598.9172 | 293566.0516 | 59.9307 | 49.4
228315 | 2021-10-26 11:32 | 12.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.2985 | μmol/L | 11.7658 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.039 | 142606.2541 | 293554.5327 | 59.9307 | 49.4
228325 | 2021-10-26 11:33 | 13.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1628 | μmol/L | 11.772 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.043 | 142634.3579 | 293566.6738 | 59.9307 | 49.4
228335 | 2021-10-26 11:33 | 13.3392 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1628 | μmol/L | 11.772 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.043 | 142657.2707 | 293593.8007 | 59.9307 | 49.4
228345 | 2021-10-26 11:33 | 13.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.9715 | μmol/L | 11.772 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.052 | 142690.5286 | 293612.0524 | 59.9307 | 49.4
228355 | 2021-10-26 11:34 | 14.006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0008 | μmol/L | 11.7658 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.053 | 142725.4885 | 293596.889 | 59.9307 | 49.4
228365 | 2021-10-26 11:34 | 14.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0338 | μmol/L | 11.7596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.054 | 142730.0065 | 293611.0213 | 59.9307 | 49.4
228375 | 2021-10-26 11:34 | 14.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.9195 | μmol/L | 11.7658 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.057 | 142773.0419 | 293612.5032 | 59.9307 | 49.4
228385 | 2021-10-26 11:35 | 15.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.7709 | μmol/L | 11.7658 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.064 | 142794.0273 | 293601.1298 | 59.9307 | 49.4
228395 | 2021-10-26 11:35 | 15.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.6992 | μmol/L | 11.772 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.065 | 142814.0084 | 293612.9937 | 59.9307 | 49.4
228405 | 2021-10-26 11:35 | 15.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.6436 | μmol/L | 11.7658 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.07 | 142832.2793 | 293601.6572 | 59.9307 | 49.4
228415 | 2021-10-26 11:36 | 16.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.6012 | μmol/L | 11.7658 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.072 | 142848.4885 | 293589.7699 | 59.9307 | 49.4
228425 | 2021-10-26 11:36 | 16.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.5457 | μmol/L | 11.7596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.077 | 142849.5654 | 293568.7452 | 59.9307 | 49.4
228435 | 2021-10-26 11:36 | 16.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.4528 | μmol/L | 11.7658 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.079 | 142867.8908 | 293572.2887 | 59.9307 | 49.4
228445 | 2021-10-26 11:37 | 17.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.4068 | μmol/L | 11.7658 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.081 | 142890.4905 | 293572.7541 | 59.9307 | 49.4
228455 | 2021-10-26 11:37 | 17.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.3257 | μmol/L | 11.7658 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.085 | 142905.942 | 293575.0911 | 59.9307 | 49.4
228465 | 2021-10-26 11:37 | 17.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.355 | μmol/L | 11.7596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.086 | 142876.9829 | 293572.3367 | 59.9307 | 49.4
228475 | 2021-10-26 11:38 | 18.0059 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2915 | μmol/L | 11.7596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.089 | 142854.1151 | 293582.8038 | 59.9307 | 49.4
228485 | 2021-10-26 11:38 | 18.3394 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2572 | μmol/L | 11.7535 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.093 | 142857.7832 | 293560.3063 | 59.9307 | 49.4
228495 | 2021-10-26 11:38 | 18.6727 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.0587 | μmol/L | 11.7596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.1 | 142879.2193 | 293554.0531 | 59.9307 | 49.4
228505 | 2021-10-26 11:39 | 19.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.966 | μmol/L | 11.7658 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.102 | 142899.2466 | 293551.7382 | 59.9307 | 49.4
228515 | 2021-10-26 11:39 | 19.3392 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.953 | μmol/L | 11.7596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.105 | 142927.7607 | 293559.1032 | 59.9307 | 49.4
228525 | 2021-10-26 11:39 | 19.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.8473 | μmol/L | 11.7596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.11 | 142954.661 | 293577.3438 | 59.9307 | 49.4
228535 | 2021-10-26 11:40 | 20.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.7628 | μmol/L | 11.7596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.114 | 142966.3634 | 293559.2795 | 59.9307 | 49.4
228545 | 2021-10-26 11:40 | 20.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.7628 | μmol/L | 11.7596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.114 | 142995.8488 | 293586.0469 | 59.9307 | 49.4
228555 | 2021-10-26 11:40 | 20.6727 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.8131 | μmol/L | 11.7535 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.114 | 142998.2781 | 293561.3058 | 59.9307 | 49.4
228565 | 2021-10-26 11:41 | 21.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.6572 | μmol/L | 11.7596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.119 | 143021.3355 | 293549.786 | 59.9307 | 49.4
228575 | 2021-10-26 11:41 | 21.3393 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.6653 | μmol/L | 11.7535 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.121 | 143040.2621 | 293560.6966 | 59.9307 | 49.4