## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 11:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
227936 | 2021-10-26 11:20 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.1024 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.896 | 141493.8791 | 312586.0023 | 33.25 | 68.6
227946 | 2021-10-26 11:20 | 0.33086 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0193 | μmol/L | 11.8928 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.905 | 141607.9862 | 312605.8663 | 33.25 | 68.6
227956 | 2021-10-26 11:20 | 0.66435 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.8742 | μmol/L | 11.8807 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.917 | 141663.2999 | 312609.8732 | 33.25 | 68.6
227966 | 2021-10-26 11:21 | 0.99768 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.8738 | μmol/L | 11.8685 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.922 | 141716.9575 | 312609.2087 | 33.25 | 68.6
227976 | 2021-10-26 11:21 | 1.3308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.6878 | μmol/L | 11.8685 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.931 | 141750.4023 | 312604.8025 | 33.25 | 68.6
227986 | 2021-10-26 11:21 | 1.6643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.5229 | μmol/L | 11.8807 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.934 | 141764.1076 | 312618.6929 | 33.25 | 68.6
227996 | 2021-10-26 11:22 | 1.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.3994 | μmol/L | 11.8928 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.935 | 141797.2142 | 312619.5794 | 33.25 | 68.6
228006 | 2021-10-26 11:22 | 2.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2449 | μmol/L | 11.8989 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.94 | 141834.6862 | 312616.5958 | 33.25 | 68.6
228016 | 2021-10-26 11:22 | 2.6636 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9574 | μmol/L | 11.9353 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.939 | 141868.5172 | 312614.7994 | 33.25 | 68.6
228026 | 2021-10-26 11:23 | 2.9971 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.8953 | μmol/L | 11.9232 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.947 | 141897.9143 | 312619.4791 | 33.25 | 68.6
228036 | 2021-10-26 11:23 | 3.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.926 | μmol/L | 11.9171 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.948 | 141916.0662 | 312637.6584 | 33.25 | 68.6
228046 | 2021-10-26 11:23 | 3.6638 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9054 | μmol/L | 11.9171 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.949 | 141952.4336 | 312627.1926 | 33.25 | 68.6
228056 | 2021-10-26 11:24 | 3.9974 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.7306 | μmol/L | 11.9232 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.955 | 141990.8907 | 312655.9849 | 33.25 | 68.6
228066 | 2021-10-26 11:24 | 4.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.8126 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.956 | 142008.0278 | 312660.2967 | 33.25 | 68.6
228076 | 2021-10-26 11:24 | 4.6638 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.648 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.964 | 142049.3903 | 312664.5944 | 33.25 | 68.6
228086 | 2021-10-26 11:25 | 4.9971 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.4118 | μmol/L | 11.9171 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.973 | 142102.6227 | 312664.5355 | 33.25 | 68.6
228096 | 2021-10-26 11:25 | 5.3306 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.3193 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.98 | 142152.9223 | 312669.2285 | 33.25 | 68.6
228106 | 2021-10-26 11:25 | 5.6642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1346 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.989 | 142213.1253 | 312674.7 | 33.25 | 68.6
228116 | 2021-10-26 11:26 | 5.9974 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0525 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.993 | 142270.7051 | 312672.3098 | 33.25 | 68.6
228126 | 2021-10-26 11:26 | 6.3309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.9601 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25 | 142323.0218 | 312674.7369 | 33.25 | 68.6
228136 | 2021-10-26 11:26 | 6.6642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.8577 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.005 | 142335.5399 | 312678.0317 | 33.25 | 68.6
228146 | 2021-10-26 11:27 | 6.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.7451 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.008 | 142371.2867 | 312652.4478 | 33.25 | 68.6
228156 | 2021-10-26 11:27 | 7.3304 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.6734 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.014 | 142398.1698 | 312657.0093 | 33.25 | 68.6
228166 | 2021-10-26 11:27 | 7.6637 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.6837 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.011 | 142387.9327 | 312651.905 | 33.25 | 68.6
228176 | 2021-10-26 11:28 | 7.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.5814 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.016 | 142411.6057 | 312650.2916 | 33.25 | 68.6
228186 | 2021-10-26 11:28 | 8.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.0296 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.043 | 142598.8983 | 312632.116 | 33.25 | 68.6
228196 | 2021-10-26 11:28 | 8.6644 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7477 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.106 | 143005.5653 | 312637.3772 | 33.25 | 68.6
228206 | 2021-10-26 11:29 | 8.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.0604 | μmol/L | 11.9171 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.187 | 143542.3738 | 312641.8895 | 33.25 | 68.6
228216 | 2021-10-26 11:29 | 9.3303 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.3864 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.273 | 144104.4102 | 312657.9318 | 33.25 | 68.6
228226 | 2021-10-26 11:29 | 9.6637 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.5396 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.318 | 144411.9425 | 312650.7704 | 33.25 | 68.6
228236 | 2021-10-26 11:30 | 9.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.162 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.337 | 144512.9431 | 312649.4177 | 33.25 | 68.6
228246 | 2021-10-26 11:30 | 10.3306 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.2115 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.332 | 144503.3128 | 312649.5714 | 33.25 | 68.6
228256 | 2021-10-26 11:30 | 10.664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.6093 | μmol/L | 11.8989 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.317 | 144414.4588 | 312639.1024 | 33.25 | 68.6
228266 | 2021-10-26 11:31 | 10.9974 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8381 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.303 | 144315.9814 | 312635.6515 | 33.25 | 68.6
228276 | 2021-10-26 11:31 | 11.3309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.0771 | μmol/L | 11.9171 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.286 | 144197.4633 | 312609.3055 | 33.25 | 68.6
228286 | 2021-10-26 11:31 | 11.6644 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.3864 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.273 | 144072.3377 | 312597.3036 | 33.25 | 68.6
228296 | 2021-10-26 11:32 | 11.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.6961 | μmol/L | 11.9171 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.255 | 143972.6618 | 312573.4485 | 33.25 | 68.6
228306 | 2021-10-26 11:32 | 12.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.0364 | μmol/L | 11.9171 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.238 | 143874.0289 | 312571.9748 | 33.25 | 68.6
228316 | 2021-10-26 11:32 | 12.6639 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.2167 | μmol/L | 11.9171 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.229 | 143776.9114 | 312565.5198 | 33.25 | 68.6
228326 | 2021-10-26 11:33 | 12.9971 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4474 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.22 | 143698.809 | 312565.3291 | 33.25 | 68.6
228336 | 2021-10-26 11:33 | 13.3305 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.7186 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.209 | 143634.918 | 312591.9885 | 33.25 | 68.6
228346 | 2021-10-26 11:33 | 13.6641 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.8794 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.201 | 143583.9099 | 312619.1646 | 33.25 | 68.6
228356 | 2021-10-26 11:34 | 13.997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.9699 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.194 | 143560.2732 | 312642.314 | 33.25 | 68.6
228366 | 2021-10-26 11:34 | 14.3305 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.1007 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.19 | 143510.7628 | 312624.3874 | 33.25 | 68.6
228376 | 2021-10-26 11:34 | 14.6639 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.1712 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.184 | 143501.6803 | 312636.9512 | 33.25 | 68.6
228386 | 2021-10-26 11:35 | 14.9973 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.3223 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.179 | 143477.63 | 312617.4143 | 33.25 | 68.6
228396 | 2021-10-26 11:35 | 15.3309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.3626 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.177 | 143439.4243 | 312607.6301 | 33.25 | 68.6
228406 | 2021-10-26 11:35 | 15.6642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.3726 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.174 | 143423.348 | 312601.7306 | 33.25 | 68.6
228416 | 2021-10-26 11:36 | 15.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.4533 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.17 | 143396.4528 | 312573.6024 | 33.25 | 68.6
228426 | 2021-10-26 11:36 | 16.3308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.534 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.166 | 143355.2749 | 312556.0064 | 33.25 | 68.6
228436 | 2021-10-26 11:36 | 16.6642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6651 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.162 | 143295.3668 | 312549.986 | 33.25 | 68.6
228446 | 2021-10-26 11:37 | 16.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8064 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.155 | 143259.6212 | 312566.4476 | 33.25 | 68.6
228456 | 2021-10-26 11:37 | 17.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8772 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.149 | 143225.1062 | 312549.5809 | 33.25 | 68.6
228466 | 2021-10-26 11:37 | 17.6638 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8974 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.148 | 143201.0867 | 312553.2793 | 33.25 | 68.6
228476 | 2021-10-26 11:38 | 17.9973 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1197 | μmol/L | 11.8989 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.142 | 143155.16 | 312542.2588 | 33.25 | 68.6
228486 | 2021-10-26 11:38 | 18.3309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1298 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.139 | 143127.553 | 312536.8216 | 33.25 | 68.6
228496 | 2021-10-26 11:38 | 18.6643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.14 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.136 | 143116.4018 | 312526.7153 | 33.25 | 68.6
228506 | 2021-10-26 11:39 | 18.9975 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.3018 | μmol/L | 11.8989 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.133 | 143118.5926 | 312539.537 | 33.25 | 68.6
228516 | 2021-10-26 11:39 | 19.3307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.3423 | μmol/L | 11.8989 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.131 | 143092.1239 | 312547.6872 | 33.25 | 68.6
228526 | 2021-10-26 11:39 | 19.6637 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.3018 | μmol/L | 11.8989 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.133 | 143117.305 | 312565.8693 | 33.25 | 68.6
228536 | 2021-10-26 11:40 | 19.9974 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8873 | μmol/L | 11.9049 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.151 | 143232.4099 | 312558.2751 | 33.25 | 68.6
228546 | 2021-10-26 11:40 | 20.3304 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.3626 | μmol/L | 11.9171 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.172 | 143371.6039 | 312531.529 | 33.25 | 68.6
228556 | 2021-10-26 11:40 | 20.6641 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.1913 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.183 | 143442.3187 | 312520.45 | 33.25 | 68.6
228566 | 2021-10-26 11:41 | 20.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.0504 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.19 | 143490.6277 | 312545.293 | 33.25 | 68.6
228576 | 2021-10-26 11:41 | 21.3305 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.9699 | μmol/L | 11.911 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.194 | 143526.9504 | 312572.1588 | 33.25 | 68.6