## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 11:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
227937 | 2021-10-26 11:20 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.2837 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.108 | 117886.4399 | 276046.1882 | 26.25 | 74
227947 | 2021-10-26 11:20 | 0.33533 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 256.1102 | μmol/L | 11.8829 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.121 | 117939.0484 | 276065.0114 | 26.25 | 74
227957 | 2021-10-26 11:20 | 0.66866 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.722 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.137 | 118022.8895 | 276076.9532 | 26.25 | 74
227967 | 2021-10-26 11:21 | 1.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.4902 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.148 | 118115.8309 | 276081.2742 | 26.25 | 74
227977 | 2021-10-26 11:21 | 1.3353 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.2294 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.158 | 118198.6917 | 276068.9544 | 26.25 | 74
227987 | 2021-10-26 11:21 | 1.6686 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.9434 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.174 | 118272.835 | 276061.0991 | 26.25 | 74
227997 | 2021-10-26 11:22 | 2.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.8341 | μmol/L | 11.8768 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.184 | 118357.4655 | 276074.4676 | 26.25 | 74
228007 | 2021-10-26 11:22 | 2.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.8089 | μmol/L | 11.8646 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.19 | 118439.9629 | 276073.7921 | 26.25 | 74
228017 | 2021-10-26 11:22 | 2.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.4985 | μmol/L | 11.8768 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.2 | 118522.1583 | 276074.1399 | 26.25 | 74
228027 | 2021-10-26 11:23 | 3.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.2933 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.205 | 118557.1374 | 276085.2201 | 26.25 | 74
228037 | 2021-10-26 11:23 | 3.3352 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.0631 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.216 | 118519.5298 | 276080.2377 | 26.25 | 74
228047 | 2021-10-26 11:23 | 3.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.0542 | μmol/L | 11.8829 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.219 | 118555.6826 | 276081.8679 | 26.25 | 74
228057 | 2021-10-26 11:24 | 4.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.9078 | μmol/L | 11.8829 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.226 | 118623.2935 | 276108.6914 | 26.25 | 74
228067 | 2021-10-26 11:24 | 4.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.8749 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.225 | 118640.1951 | 276129.7578 | 26.25 | 74
228077 | 2021-10-26 11:24 | 4.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.0798 | μmol/L | 11.8768 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.22 | 118673.6456 | 276128.5577 | 26.25 | 74
228087 | 2021-10-26 11:25 | 5.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.0171 | μmol/L | 11.8768 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.223 | 118703.3753 | 276128.1232 | 26.25 | 74
228097 | 2021-10-26 11:25 | 5.3352 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.7663 | μmol/L | 11.8768 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.235 | 118767.7094 | 276136.248 | 26.25 | 74
228107 | 2021-10-26 11:25 | 5.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.52 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.242 | 118844.5478 | 276134.3911 | 26.25 | 74
228117 | 2021-10-26 11:26 | 6.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.4449 | μmol/L | 11.8829 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.248 | 118895.1186 | 276136.7552 | 26.25 | 74
228127 | 2021-10-26 11:26 | 6.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.2156 | μmol/L | 11.8829 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.259 | 118943.5058 | 276149.5334 | 26.25 | 74
228137 | 2021-10-26 11:26 | 6.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.1531 | μmol/L | 11.8829 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.262 | 118974.9796 | 276133.4468 | 26.25 | 74
228147 | 2021-10-26 11:27 | 7.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.049 | μmol/L | 11.8829 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.267 | 119046.3226 | 276133.374 | 26.25 | 74
228157 | 2021-10-26 11:27 | 7.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.945 | μmol/L | 11.8829 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.272 | 119107.1869 | 276118.4555 | 26.25 | 74
228167 | 2021-10-26 11:27 | 7.6683 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.9866 | μmol/L | 11.8829 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.27 | 119110.8499 | 276111.3159 | 26.25 | 74
228177 | 2021-10-26 11:28 | 8.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.8119 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.276 | 119135.7892 | 276106.7972 | 26.25 | 74
228187 | 2021-10-26 11:28 | 8.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.6747 | μmol/L | 11.8829 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.285 | 119202.9761 | 276113.3909 | 26.25 | 74
228197 | 2021-10-26 11:28 | 8.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.3342 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.299 | 119263.8422 | 276093.5259 | 26.25 | 74
228207 | 2021-10-26 11:29 | 9.002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.2844 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.299 | 119323.4638 | 276111.3625 | 26.25 | 74
228217 | 2021-10-26 11:29 | 9.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.1102 | μmol/L | 11.9011 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.305 | 119380.8545 | 276102.9169 | 26.25 | 74
228227 | 2021-10-26 11:29 | 9.6686 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.1683 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.307 | 119392.3123 | 276110.7352 | 26.25 | 74
228237 | 2021-10-26 11:30 | 10.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.0854 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.311 | 119404.4751 | 276114.2415 | 26.25 | 74
228247 | 2021-10-26 11:30 | 10.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.9528 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.315 | 119419.709 | 276106.9722 | 26.25 | 74
228257 | 2021-10-26 11:30 | 10.6683 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.9197 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.319 | 119444.3515 | 276093.5846 | 26.25 | 74
228267 | 2021-10-26 11:31 | 11.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.8867 | μmol/L | 11.8829 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.323 | 119491.7322 | 276097.4785 | 26.25 | 74
228277 | 2021-10-26 11:31 | 11.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.6838 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.328 | 119526.2337 | 276073.7767 | 26.25 | 74
228287 | 2021-10-26 11:31 | 11.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.6838 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.328 | 119569.156 | 276069.195 | 26.25 | 74
228297 | 2021-10-26 11:32 | 12.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.6798 | μmol/L | 11.8829 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.333 | 119572.2293 | 276055.9866 | 26.25 | 74
228307 | 2021-10-26 11:32 | 12.3352 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.5804 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.333 | 119607.2411 | 276028.0345 | 26.25 | 74
228317 | 2021-10-26 11:32 | 12.6686 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.4977 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.337 | 119608.2401 | 276019.2615 | 26.25 | 74
228327 | 2021-10-26 11:33 | 13.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.3861 | μmol/L | 11.9011 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.34 | 119640.007 | 276043.782 | 26.25 | 74
228337 | 2021-10-26 11:33 | 13.3353 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.3738 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.343 | 119664.4673 | 276052.3099 | 26.25 | 74
228347 | 2021-10-26 11:33 | 13.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.3202 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.348 | 119699.4001 | 276075.2353 | 26.25 | 74
228357 | 2021-10-26 11:34 | 14.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.1591 | μmol/L | 11.9011 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.351 | 119727.5021 | 276077.7161 | 26.25 | 74
228367 | 2021-10-26 11:34 | 14.3352 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.3821 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.345 | 119738.0724 | 276087.1909 | 26.25 | 74
228377 | 2021-10-26 11:34 | 14.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.2087 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.351 | 119779.1323 | 276079.0858 | 26.25 | 74
228387 | 2021-10-26 11:35 | 15.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.4296 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.44 | 120302.0213 | 276080.19 | 26.25 | 74
228397 | 2021-10-26 11:35 | 15.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.8519 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.614 | 121310.0542 | 276062.3206 | 26.25 | 74
228407 | 2021-10-26 11:35 | 15.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.9206 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.613 | 121318.0839 | 276056.3849 | 26.25 | 74
228417 | 2021-10-26 11:36 | 16.0012 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.2746 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.593 | 121181.0801 | 276029.5623 | 26.25 | 74
228427 | 2021-10-26 11:36 | 16.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.6981 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.572 | 121075.9401 | 276019.658 | 26.25 | 74
228437 | 2021-10-26 11:36 | 16.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.1023 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.552 | 120992.1006 | 276027.9313 | 26.25 | 74
228447 | 2021-10-26 11:37 | 17.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.2963 | μmol/L | 11.9011 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.54 | 120916.4357 | 276033.3777 | 26.25 | 74
228457 | 2021-10-26 11:37 | 17.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.6408 | μmol/L | 11.9011 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.523 | 120837.4425 | 276033.7002 | 26.25 | 74
228467 | 2021-10-26 11:37 | 17.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.925 | μmol/L | 11.9011 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.509 | 120736.3677 | 276019.4373 | 26.25 | 74
228477 | 2021-10-26 11:38 | 18.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.3112 | μmol/L | 11.9011 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.49 | 120646.1917 | 276023.4886 | 26.25 | 74
228487 | 2021-10-26 11:38 | 18.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.0958 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.503 | 120753.9723 | 275986.6145 | 26.25 | 74
228497 | 2021-10-26 11:38 | 18.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.1501 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.699 | 121884.8368 | 276001.9491 | 26.25 | 74
228507 | 2021-10-26 11:39 | 19.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.1953 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.747 | 122198.8391 | 276001.7654 | 26.25 | 74
228517 | 2021-10-26 11:39 | 19.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.5727 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.728 | 122120.291 | 276015.1929 | 26.25 | 74
228527 | 2021-10-26 11:39 | 19.6686 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.9707 | μmol/L | 11.895 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.708 | 122019.8891 | 276006.8544 | 26.25 | 74
228537 | 2021-10-26 11:40 | 20.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.2183 | μmol/L | 11.9072 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.741 | 122200.519 | 276015.5694 | 26.25 | 74
228547 | 2021-10-26 11:40 | 20.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.4861 | μmol/L | 11.9011 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.882 | 122903.3582 | 276004.0443 | 26.25 | 74
228557 | 2021-10-26 11:40 | 20.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.9756 | μmol/L | 11.9011 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.011 | 123631.8663 | 276010.8078 | 26.25 | 74
228567 | 2021-10-26 11:41 | 21.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.512 | μmol/L | 11.9011 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.035 | 123794.1353 | 276008.6203 | 26.25 | 74
228577 | 2021-10-26 11:41 | 21.3353 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.053 | μmol/L | 11.9011 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.007 | 123658.7928 | 276017.5106 | 26.25 | 74