## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 12:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
228579 | 2021-10-26 11:52 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 263.2296 | μmol/L | 12.299 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.369 | 143374.0897 | 278525.0859 | 33.25 | 75.7
228589 | 2021-10-26 11:53 | 0.33327 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.8475 | μmol/L | 12.3051 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.384 | 143485.6551 | 278556.3687 | 33.25 | 75.7
228599 | 2021-10-26 11:53 | 0.66684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.6792 | μmol/L | 12.299 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.394 | 143565.606 | 278556.2714 | 33.25 | 75.7
228609 | 2021-10-26 11:53 | 1.0003 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.4671 | μmol/L | 12.2928 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.406 | 143659.7899 | 278573.1844 | 33.25 | 75.7
228619 | 2021-10-26 11:54 | 1.334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.3508 | μmol/L | 12.2806 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.416 | 143721.4894 | 278569.3053 | 33.25 | 75.7
228629 | 2021-10-26 11:54 | 1.6666 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.3443 | μmol/L | 12.2683 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.421 | 143772.3324 | 278566.1725 | 33.25 | 75.7
228639 | 2021-10-26 11:54 | 2.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 262.1468 | μmol/L | 12.2683 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.43 | 143835.7742 | 278587.8804 | 33.25 | 75.7
228649 | 2021-10-26 11:55 | 2.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.9857 | μmol/L | 12.2745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.435 | 143902.2635 | 278587.0769 | 33.25 | 75.7
228659 | 2021-10-26 11:55 | 2.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.898 | μmol/L | 12.2745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.439 | 143949.5976 | 278584.7293 | 33.25 | 75.7
228669 | 2021-10-26 11:55 | 3.0006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.7229 | μmol/L | 12.2745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.447 | 144009.3628 | 278588.2305 | 33.25 | 75.7
228679 | 2021-10-26 11:56 | 3.334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.5916 | μmol/L | 12.2745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.453 | 144059.3107 | 278580.9544 | 33.25 | 75.7
228689 | 2021-10-26 11:56 | 3.6667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.5041 | μmol/L | 12.2745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.457 | 144108.9268 | 278571.4286 | 33.25 | 75.7
228699 | 2021-10-26 11:56 | 4 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.3216 | μmol/L | 12.2806 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.463 | 144146.9217 | 278580.2131 | 33.25 | 75.7
228709 | 2021-10-26 11:57 | 4.3335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.242 | μmol/L | 12.2745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.469 | 144198.8394 | 278589.4697 | 33.25 | 75.7
228719 | 2021-10-26 11:57 | 4.667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.9646 | μmol/L | 12.2867 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.477 | 144234.6186 | 278618.8844 | 33.25 | 75.7
228729 | 2021-10-26 11:57 | 5.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.9724 | μmol/L | 12.2806 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.479 | 144281.3444 | 278649.2458 | 33.25 | 75.7
228739 | 2021-10-26 11:58 | 5.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.8493 | μmol/L | 12.2745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.487 | 142077.4617 | 278663.9886 | 33.25 | 75.7
228749 | 2021-10-26 11:58 | 5.6673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.6905 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.499 | 142150.0024 | 278683.6807 | 33.25 | 75.7
228759 | 2021-10-26 11:58 | 6.0001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.6687 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.5 | 142181.1346 | 278704.1542 | 33.25 | 75.7
228769 | 2021-10-26 11:59 | 6.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.5086 | μmol/L | 12.2683 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.505 | 142213.1056 | 278732.8011 | 33.25 | 75.7
228779 | 2021-10-26 11:59 | 6.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.3703 | μmol/L | 12.2745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.509 | 142253.2866 | 278742.0076 | 33.25 | 75.7
228789 | 2021-10-26 11:59 | 7.0003 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.2834 | μmol/L | 12.2745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.513 | 142335.6763 | 278760.8714 | 33.25 | 75.7
228799 | 2021-10-26 12:00 | 7.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.2399 | μmol/L | 12.2745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.515 | 142378.1522 | 278774.0604 | 33.25 | 75.7
228809 | 2021-10-26 12:00 | 7.667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.2989 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.517 | 142405.3066 | 278788.6197 | 33.25 | 75.7
228819 | 2021-10-26 12:00 | 8.0001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.2926 | μmol/L | 12.25 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.522 | 142429.269 | 278811.5066 | 33.25 | 75.7
228829 | 2021-10-26 12:01 | 8.3333 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.2787 | μmol/L | 12.2439 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.525 | 142467.0604 | 278816.7995 | 33.25 | 75.7
228839 | 2021-10-26 12:01 | 8.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.0242 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.532 | 142513.8803 | 278850.385 | 33.25 | 75.7
228849 | 2021-10-26 12:01 | 9.0001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.8723 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.539 | 142532.2321 | 278856.9552 | 33.25 | 75.7
228859 | 2021-10-26 12:02 | 9.3333 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.8568 | μmol/L | 12.2683 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.535 | 142558.2947 | 278880.3999 | 33.25 | 75.7
228869 | 2021-10-26 12:02 | 9.6674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.7856 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.543 | 142608.6876 | 278900.2173 | 33.25 | 75.7
228879 | 2021-10-26 12:02 | 10.0007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.8584 | μmol/L | 12.25 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.542 | 142652.6558 | 278925.4933 | 33.25 | 75.7
228889 | 2021-10-26 12:03 | 10.334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.5905 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.552 | 142695.3588 | 278945.1995 | 33.25 | 75.7
228899 | 2021-10-26 12:03 | 10.6674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.4822 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.557 | 142730.4795 | 278960.9148 | 33.25 | 75.7
228909 | 2021-10-26 12:03 | 11.0006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.3801 | μmol/L | 12.2683 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.557 | 142767.4102 | 278963.9931 | 33.25 | 75.7
228919 | 2021-10-26 12:04 | 11.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.323 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.562 | 142806.0913 | 278997.7991 | 33.25 | 75.7
228929 | 2021-10-26 12:04 | 11.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.2364 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.566 | 142829.447 | 278994.4302 | 33.25 | 75.7
228939 | 2021-10-26 12:04 | 12.0004 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.3307 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.564 | 142849.0979 | 279008.7211 | 33.25 | 75.7
228949 | 2021-10-26 12:05 | 12.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.2581 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.565 | 142859.3688 | 279007.3626 | 33.25 | 75.7
228959 | 2021-10-26 12:05 | 12.667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.1577 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.572 | 142915.5387 | 279027.7393 | 33.25 | 75.7
228969 | 2021-10-26 12:05 | 13.0001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.8829 | μmol/L | 12.2683 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.58 | 142955.0859 | 279033.0553 | 33.25 | 75.7
228979 | 2021-10-26 12:06 | 13.3333 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.9123 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.581 | 142990.3784 | 279040.7922 | 33.25 | 75.7
228989 | 2021-10-26 12:06 | 13.6667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.8121 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.588 | 143031.5298 | 279045.7646 | 33.25 | 75.7
228999 | 2021-10-26 12:06 | 14.0006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.7473 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.591 | 143066.6689 | 279065.1759 | 33.25 | 75.7
229009 | 2021-10-26 12:07 | 14.3339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.5886 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.596 | 143106.7026 | 279077.8306 | 33.25 | 75.7
229019 | 2021-10-26 12:07 | 14.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.4886 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.603 | 143167.1285 | 279098.1658 | 33.25 | 75.7
229029 | 2021-10-26 12:07 | 15.0001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.1793 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.615 | 143250.6267 | 279104.6205 | 33.25 | 75.7
229039 | 2021-10-26 12:08 | 15.3333 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.0933 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.619 | 143298.589 | 279100.2887 | 33.25 | 75.7
229049 | 2021-10-26 12:08 | 15.6667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.0072 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.623 | 143321.2221 | 279106.3102 | 33.25 | 75.7
229059 | 2021-10-26 12:08 | 15.9999 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.8783 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.629 | 143391.9417 | 279126.7926 | 33.25 | 75.7
229069 | 2021-10-26 12:09 | 16.3339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.4353 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.652 | 143559.9256 | 279134.0039 | 33.25 | 75.7
229079 | 2021-10-26 12:09 | 16.6672 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.5501 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.691 | 143839.107 | 279142.6676 | 33.25 | 75.7
229089 | 2021-10-26 12:09 | 17.0005 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.7481 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.731 | 144125.7499 | 279162.3101 | 33.25 | 75.7
229099 | 2021-10-26 12:10 | 17.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.1958 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.757 | 144308.915 | 279190.546 | 33.25 | 75.7
229109 | 2021-10-26 12:10 | 17.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.9704 | μmol/L | 12.25 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.77 | 144406.06 | 279209.9603 | 33.25 | 75.7
229119 | 2021-10-26 12:10 | 18.0003 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.8566 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.773 | 144455.3883 | 279242.5922 | 33.25 | 75.7
229129 | 2021-10-26 12:11 | 18.3335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.7719 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.777 | 144479.5683 | 279252.8449 | 33.25 | 75.7
229139 | 2021-10-26 12:11 | 18.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.8143 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.775 | 144507.4653 | 279276.9048 | 33.25 | 75.7
229149 | 2021-10-26 12:11 | 19.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.6159 | μmol/L | 12.2622 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.782 | 144548.7983 | 279276.5484 | 33.25 | 75.7
229159 | 2021-10-26 12:12 | 19.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.4835 | μmol/L | 12.25 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.793 | 144650.7482 | 279296.7232 | 33.25 | 75.7
229169 | 2021-10-26 12:12 | 19.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.2722 | μmol/L | 12.25 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.803 | 144733.655 | 279312.0508 | 33.25 | 75.7
229179 | 2021-10-26 12:12 | 20 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.2855 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.8 | 144733.7578 | 279320.2452 | 33.25 | 75.7
229189 | 2021-10-26 12:13 | 20.3339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.3912 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.795 | 144689.6133 | 279328.6944 | 33.25 | 75.7
229199 | 2021-10-26 12:13 | 20.6666 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.5391 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.788 | 144675.0345 | 279332.6526 | 33.25 | 75.7
229209 | 2021-10-26 12:13 | 21.0005 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.5391 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.788 | 144671.5488 | 279350.2823 | 33.25 | 75.7
229219 | 2021-10-26 12:14 | 21.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.6527 | μmol/L | 12.25 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.785 | 144658.0456 | 279340.9174 | 33.25 | 75.7
229229 | 2021-10-26 12:14 | 21.6669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.518 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.789 | 144694.956 | 279347.0785 | 33.25 | 75.7
229239 | 2021-10-26 12:14 | 22.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.5047 | μmol/L | 12.25 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.792 | 144701.8979 | 279363.4613 | 33.25 | 75.7
229249 | 2021-10-26 12:15 | 22.3334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.547 | μmol/L | 12.25 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.79 | 144692.7897 | 279356.6487 | 33.25 | 75.7
229259 | 2021-10-26 12:15 | 22.6667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.5814 | μmol/L | 12.2561 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.786 | 144682.6798 | 279376.5594 | 33.25 | 75.7
229269 | 2021-10-26 12:15 | 23.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.6104 | μmol/L | 12.25 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.787 | 144679.2449 | 279357.5627 | 33.25 | 75.7
229279 | 2021-10-26 12:16 | 23.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.6104 | μmol/L | 12.25 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.787 | 144686.9112 | 279361.9598 | 33.25 | 75.7