## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 12:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
228583 | 2021-10-26 11:52 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4068 | μmol/L | 12.2828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.18 | 123559.8195 | 271414.7662 | 36.4 | 83.1
228593 | 2021-10-26 11:53 | 0.33192 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.2684 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.193 | 123600.2905 | 271412.0641 | 36.4 | 83.1
228603 | 2021-10-26 11:53 | 0.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.9908 | μmol/L | 12.2584 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.207 | 123632.0016 | 271423.6043 | 36.4 | 83.1
228613 | 2021-10-26 11:53 | 0.99918 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.5503 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.223 | 123665.9021 | 271435.1706 | 36.4 | 83.1
228623 | 2021-10-26 11:54 | 1.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.2159 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.237 | 123732.3017 | 271430.1776 | 36.4 | 83.1
228633 | 2021-10-26 11:54 | 1.6653 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.1501 | μmol/L | 12.2461 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.247 | 123684.2203 | 271430.405 | 36.4 | 83.1
228643 | 2021-10-26 11:54 | 1.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.9692 | μmol/L | 12.24 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.257 | 123736.099 | 271443.9192 | 36.4 | 83.1
228653 | 2021-10-26 11:55 | 2.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.721 | μmol/L | 12.2461 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.265 | 123802.5955 | 271449.5434 | 36.4 | 83.1
228663 | 2021-10-26 11:55 | 2.6655 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.4394 | μmol/L | 12.2584 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.272 | 123844.9989 | 271444.3036 | 36.4 | 83.1
228673 | 2021-10-26 11:55 | 2.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0058 | μmol/L | 12.2767 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.283 | 123867.5258 | 271434.7391 | 36.4 | 83.1
228683 | 2021-10-26 11:56 | 3.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8199 | μmol/L | 12.2889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.286 | 123882.2829 | 271422.453 | 36.4 | 83.1
228693 | 2021-10-26 11:56 | 3.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.5116 | μmol/L | 12.2889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.299 | 123897.2921 | 271445.3084 | 36.4 | 83.1
228703 | 2021-10-26 11:56 | 3.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3261 | μmol/L | 12.3012 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.302 | 123913.2424 | 271432.4008 | 36.4 | 83.1
228713 | 2021-10-26 11:57 | 4.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.1466 | μmol/L | 12.295 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.312 | 123924.3382 | 271441.818 | 36.4 | 83.1
228723 | 2021-10-26 11:57 | 4.6653 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.1564 | μmol/L | 12.2889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.314 | 123936.2759 | 271480.2448 | 36.4 | 83.1
228733 | 2021-10-26 11:57 | 4.9986 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.1525 | μmol/L | 12.2767 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.319 | 124560.7541 | 271508.1751 | 36.4 | 83.1
228743 | 2021-10-26 11:58 | 5.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4524 | μmol/L | 12.2523 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.316 | 124516.4111 | 271526.8726 | 36.4 | 83.1
228753 | 2021-10-26 11:58 | 5.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3813 | μmol/L | 12.2523 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.319 | 124536.4593 | 271553.0189 | 36.4 | 83.1
228763 | 2021-10-26 11:58 | 5.9986 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0539 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.328 | 124581.3545 | 271577.3321 | 36.4 | 83.1
228773 | 2021-10-26 11:59 | 6.3321 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9357 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.333 | 124595.7081 | 271595.0053 | 36.4 | 83.1
228783 | 2021-10-26 11:59 | 6.6654 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9319 | μmol/L | 12.2523 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.338 | 124615.95 | 271596.8715 | 36.4 | 83.1
228793 | 2021-10-26 11:59 | 6.9986 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0188 | μmol/L | 12.2278 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.344 | 124634.4652 | 271624.5768 | 36.4 | 83.1
228803 | 2021-10-26 12:00 | 7.3321 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.6957 | μmol/L | 12.2523 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.348 | 124653.6513 | 271636.354 | 36.4 | 83.1
228813 | 2021-10-26 12:00 | 7.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4536 | μmol/L | 12.2706 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.351 | 124669.8635 | 271653.472 | 36.4 | 83.1
228823 | 2021-10-26 12:00 | 7.9988 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4065 | μmol/L | 12.2706 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.353 | 124711.0522 | 271677.8901 | 36.4 | 83.1
228833 | 2021-10-26 12:01 | 8.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1746 | μmol/L | 12.2828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.358 | 124729.8154 | 271680.8305 | 36.4 | 83.1
228843 | 2021-10-26 12:01 | 8.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2414 | μmol/L | 12.2706 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.36 | 124744.6912 | 271691.4477 | 36.4 | 83.1
228853 | 2021-10-26 12:01 | 8.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0765 | μmol/L | 12.2706 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.367 | 124773.5584 | 271712.018 | 36.4 | 83.1
228863 | 2021-10-26 12:02 | 9.3321 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9922 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.373 | 124794.2251 | 271735.961 | 36.4 | 83.1
228873 | 2021-10-26 12:02 | 9.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9216 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.376 | 124819.1429 | 271762.501 | 36.4 | 83.1
228883 | 2021-10-26 12:02 | 9.9987 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8746 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.378 | 124850.3532 | 271774.5878 | 36.4 | 83.1
228893 | 2021-10-26 12:03 | 10.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7335 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.384 | 124882.196 | 271798.9976 | 36.4 | 83.1
228903 | 2021-10-26 12:03 | 10.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7768 | μmol/L | 12.2523 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.387 | 124907.0139 | 271813.5378 | 36.4 | 83.1
228913 | 2021-10-26 12:03 | 10.9986 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7434 | μmol/L | 12.2584 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.386 | 124917.6082 | 271814.9909 | 36.4 | 83.1
228923 | 2021-10-26 12:04 | 11.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6357 | μmol/L | 12.2523 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.393 | 124937.6124 | 271827.465 | 36.4 | 83.1
228933 | 2021-10-26 12:04 | 11.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5924 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.39 | 124956.476 | 271834.6645 | 36.4 | 83.1
228943 | 2021-10-26 12:04 | 11.9987 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4144 | μmol/L | 12.2584 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.4 | 124974.6428 | 271841.8029 | 36.4 | 83.1
228953 | 2021-10-26 12:05 | 12.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3242 | μmol/L | 12.2706 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.399 | 124990.3496 | 271842.8541 | 36.4 | 83.1
228963 | 2021-10-26 12:05 | 12.6655 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2674 | μmol/L | 12.2767 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.399 | 125005.9532 | 271860.691 | 36.4 | 83.1
228973 | 2021-10-26 12:05 | 12.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1032 | μmol/L | 12.2767 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.406 | 125034.4922 | 271878.9363 | 36.4 | 83.1
228983 | 2021-10-26 12:06 | 13.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0464 | μmol/L | 12.2828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.406 | 125045.0178 | 271877.8555 | 36.4 | 83.1
228993 | 2021-10-26 12:06 | 13.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9391 | μmol/L | 12.2767 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.413 | 125056.8279 | 271889.6281 | 36.4 | 83.1
229003 | 2021-10-26 12:06 | 13.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7886 | μmol/L | 12.2828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.417 | 125078.0632 | 271910.2003 | 36.4 | 83.1
229013 | 2021-10-26 12:07 | 14.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8552 | μmol/L | 12.2706 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.419 | 125090.502 | 271914.8348 | 36.4 | 83.1
229023 | 2021-10-26 12:07 | 14.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.785 | μmol/L | 12.2706 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.422 | 125135.4678 | 271942.4695 | 36.4 | 83.1
229033 | 2021-10-26 12:07 | 14.9988 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.785 | μmol/L | 12.2706 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.422 | 125156.5509 | 271937.178 | 36.4 | 83.1
229043 | 2021-10-26 12:08 | 15.3321 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8282 | μmol/L | 12.2584 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.425 | 125192.0116 | 271950.8751 | 36.4 | 83.1
229053 | 2021-10-26 12:08 | 15.6654 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7111 | μmol/L | 12.2584 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.43 | 125192.3635 | 271948.6508 | 36.4 | 83.1
229063 | 2021-10-26 12:08 | 15.9987 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7678 | μmol/L | 12.2523 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.43 | 125204.9457 | 271963.7478 | 36.4 | 83.1
229073 | 2021-10-26 12:09 | 16.3321 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5941 | μmol/L | 12.2584 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.435 | 125235.1178 | 271959.4635 | 36.4 | 83.1
229083 | 2021-10-26 12:09 | 16.6654 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5941 | μmol/L | 12.2584 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.435 | 125259.9841 | 271999.5184 | 36.4 | 83.1
229093 | 2021-10-26 12:09 | 16.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4106 | μmol/L | 12.2706 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.438 | 125285.0096 | 272008.5578 | 36.4 | 83.1
229103 | 2021-10-26 12:10 | 17.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2704 | μmol/L | 12.2706 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.444 | 125336.4982 | 272054.0166 | 36.4 | 83.1
229113 | 2021-10-26 12:10 | 17.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1769 | μmol/L | 12.2706 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.448 | 125362.0978 | 272072.7999 | 36.4 | 83.1
229123 | 2021-10-26 12:10 | 17.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2767 | μmol/L | 12.2523 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.451 | 125391.6322 | 272095.5236 | 36.4 | 83.1
229133 | 2021-10-26 12:11 | 18.3322 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1267 | μmol/L | 12.2584 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.455 | 125429.8145 | 272112.0275 | 36.4 | 83.1
229143 | 2021-10-26 12:11 | 18.6655 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9067 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.462 | 125468.0474 | 272120.2024 | 36.4 | 83.1
229153 | 2021-10-26 12:11 | 18.9987 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7767 | μmol/L | 12.2584 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.47 | 125516.4967 | 272128.8245 | 36.4 | 83.1
229163 | 2021-10-26 12:12 | 19.3321 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6503 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.473 | 125567.5042 | 272136.2749 | 36.4 | 83.1
229173 | 2021-10-26 12:12 | 19.6653 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4406 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.482 | 125619.5862 | 272152.932 | 36.4 | 83.1
229183 | 2021-10-26 12:12 | 19.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4971 | μmol/L | 12.2584 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.482 | 125645.5313 | 272152.2006 | 36.4 | 83.1
229193 | 2021-10-26 12:13 | 20.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4872 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.48 | 125636.1394 | 272158.1123 | 36.4 | 83.1
229203 | 2021-10-26 12:13 | 20.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.301 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.488 | 125674.9673 | 272162.2574 | 36.4 | 83.1
229213 | 2021-10-26 12:13 | 20.9987 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.115 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.496 | 125753.3397 | 272157.836 | 36.4 | 83.1
229223 | 2021-10-26 12:14 | 21.3321 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.6406 | μmol/L | 12.2706 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.514 | 125840.5949 | 272163.3561 | 36.4 | 83.1
229233 | 2021-10-26 12:14 | 21.6653 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.465 | μmol/L | 12.2645 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.524 | 125924.789 | 272174.7913 | 36.4 | 83.1
229243 | 2021-10-26 12:14 | 21.9986 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.1737 | μmol/L | 12.2584 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.539 | 125999.6863 | 272200.7587 | 36.4 | 83.1
229253 | 2021-10-26 12:15 | 22.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.8267 | μmol/L | 12.2584 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.554 | 126095.9156 | 272197.5726 | 36.4 | 83.1
229263 | 2021-10-26 12:15 | 22.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.6287 | μmol/L | 12.2523 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.565 | 126151.1595 | 272213.2765 | 36.4 | 83.1
229273 | 2021-10-26 12:15 | 22.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.5462 | μmol/L | 12.2461 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.571 | 126183.7245 | 272207.0386 | 36.4 | 83.1
229283 | 2021-10-26 12:16 | 23.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.6485 | μmol/L | 12.24 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.569 | 126215.6159 | 272216.428 | 36.4 | 83.1