## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 12:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
228585 | 2021-10-26 11:52 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.6457 | μmol/L | 12.2215 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.801 | 139432.5936 | 293496.9709 | 59.9307 | 49.4
228595 | 2021-10-26 11:53 | 0.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.5031 | μmol/L | 12.2154 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.81 | 139474.9946 | 293492.6084 | 59.9307 | 49.4
228605 | 2021-10-26 11:53 | 0.66871 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.4678 | μmol/L | 12.2092 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.814 | 139511.6198 | 293495.6158 | 59.9307 | 49.4
228615 | 2021-10-26 11:53 | 1.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.0655 | μmol/L | 12.24 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.821 | 139538.3573 | 293489.1486 | 59.9307 | 49.4
228625 | 2021-10-26 11:54 | 1.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.9622 | μmol/L | 12.2338 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.828 | 139569.8587 | 293483.7551 | 59.9307 | 49.4
228635 | 2021-10-26 11:54 | 1.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7835 | μmol/L | 12.24 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.834 | 139573.039 | 293502.2649 | 59.9307 | 49.4
228645 | 2021-10-26 11:54 | 2.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.6904 | μmol/L | 12.2462 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.836 | 139608.7732 | 293505.8569 | 59.9307 | 49.4
228655 | 2021-10-26 11:55 | 2.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7849 | μmol/L | 12.2215 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.841 | 139653.3131 | 293502.3467 | 59.9307 | 49.4
228665 | 2021-10-26 11:55 | 2.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7436 | μmol/L | 12.203 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.85 | 139703.0114 | 293513.6122 | 59.9307 | 49.4
228675 | 2021-10-26 11:55 | 3.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.5223 | μmol/L | 12.2092 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.858 | 139755.7851 | 293513.29 | 59.9307 | 49.4
228685 | 2021-10-26 11:56 | 3.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.3942 | μmol/L | 12.2092 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.864 | 139794.0246 | 293487.3375 | 59.9307 | 49.4
228695 | 2021-10-26 11:56 | 3.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.2662 | μmol/L | 12.2092 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.87 | 139837.95 | 293492.8726 | 59.9307 | 49.4
228705 | 2021-10-26 11:56 | 4.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.2312 | μmol/L | 12.203 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.874 | 139873.6354 | 293496.2623 | 59.9307 | 49.4
228715 | 2021-10-26 11:57 | 4.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0819 | μmol/L | 12.203 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.881 | 139914.1138 | 293491.893 | 59.9307 | 49.4
228725 | 2021-10-26 11:57 | 4.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.9694 | μmol/L | 12.1907 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.891 | 139955.3517 | 293534.3081 | 59.9307 | 49.4
228735 | 2021-10-26 11:57 | 5.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1841 | μmol/L | 12.1722 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.888 | 140568.9524 | 293566.6555 | 59.9307 | 49.4
228745 | 2021-10-26 11:58 | 5.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.2344 | μmol/L | 12.1661 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.888 | 140579.2955 | 293566.0998 | 59.9307 | 49.4
228755 | 2021-10-26 11:58 | 5.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.2284 | μmol/L | 12.1538 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.893 | 140627.4674 | 293586.1472 | 59.9307 | 49.4
228765 | 2021-10-26 11:58 | 6.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.2301 | μmol/L | 12.1353 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.9 | 140680.0841 | 293620.5958 | 59.9307 | 49.4
228775 | 2021-10-26 11:59 | 6.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1022 | μmol/L | 12.1353 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.906 | 140731.1915 | 293637.9828 | 59.9307 | 49.4
228785 | 2021-10-26 11:59 | 6.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.8876 | μmol/L | 12.1538 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.909 | 140772.9932 | 293638.0254 | 59.9307 | 49.4
228795 | 2021-10-26 11:59 | 7.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.6961 | μmol/L | 12.1538 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.918 | 140794.6488 | 293672.0941 | 59.9307 | 49.4
228805 | 2021-10-26 12:00 | 7.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.4682 | μmol/L | 12.1661 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.924 | 140843.5497 | 293658.8469 | 59.9307 | 49.4
228815 | 2021-10-26 12:00 | 7.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.3543 | μmol/L | 12.1722 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.927 | 140886.5549 | 293671.1993 | 59.9307 | 49.4
228825 | 2021-10-26 12:00 | 8.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.042 | μmol/L | 12.1846 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.937 | 140961.7078 | 293694.7053 | 59.9307 | 49.4
228835 | 2021-10-26 12:01 | 8.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.986 | μmol/L | 12.1784 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.942 | 141003.1163 | 293719.3958 | 59.9307 | 49.4
228845 | 2021-10-26 12:01 | 8.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.7665 | μmol/L | 12.1846 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.95 | 141045.8564 | 293720.6073 | 59.9307 | 49.4
228855 | 2021-10-26 12:01 | 9.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.6453 | μmol/L | 12.1969 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.951 | 141098.4898 | 293737.1329 | 59.9307 | 49.4
228865 | 2021-10-26 12:02 | 9.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4473 | μmol/L | 12.203 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.958 | 141149.4305 | 293745.5246 | 59.9307 | 49.4
228875 | 2021-10-26 12:02 | 9.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2782 | μmol/L | 12.203 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.966 | 141208.8876 | 293792.1386 | 59.9307 | 49.4
228885 | 2021-10-26 12:02 | 10.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2224 | μmol/L | 12.1969 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.971 | 141237.5512 | 293799.0686 | 59.9307 | 49.4
228895 | 2021-10-26 12:03 | 10.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1955 | μmol/L | 12.1846 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.977 | 141304.4696 | 293806.7524 | 59.9307 | 49.4
228905 | 2021-10-26 12:03 | 10.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.253 | μmol/L | 12.1722 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.979 | 141360.9806 | 293812.3516 | 59.9307 | 49.4
228915 | 2021-10-26 12:03 | 11.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2185 | μmol/L | 12.1661 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.983 | 141412.6711 | 293816.2907 | 59.9307 | 49.4
228925 | 2021-10-26 12:04 | 11.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.1417 | μmol/L | 12.1599 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.989 | 141464.7373 | 293821.6253 | 59.9307 | 49.4
228935 | 2021-10-26 12:04 | 11.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.9019 | μmol/L | 12.1661 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.998 | 141516.7261 | 293830.611 | 59.9307 | 49.4
228945 | 2021-10-26 12:04 | 12.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.7467 | μmol/L | 12.1722 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.003 | 141541.6384 | 293836.701 | 59.9307 | 49.4
228955 | 2021-10-26 12:05 | 12.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.6337 | μmol/L | 12.1784 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.006 | 141578.337 | 293839.8142 | 59.9307 | 49.4
228965 | 2021-10-26 12:05 | 12.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.6413 | μmol/L | 12.1722 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.008 | 141600.4681 | 293855.6776 | 59.9307 | 49.4
228975 | 2021-10-26 12:05 | 13.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.5705 | μmol/L | 12.1784 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.009 | 141642.4826 | 293853.996 | 59.9307 | 49.4
228985 | 2021-10-26 12:06 | 13.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.4939 | μmol/L | 12.1722 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.015 | 141664.6177 | 293867.1678 | 59.9307 | 49.4
228995 | 2021-10-26 12:06 | 13.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.4729 | μmol/L | 12.1722 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.016 | 141697.6836 | 293890.7656 | 59.9307 | 49.4
229005 | 2021-10-26 12:06 | 14.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.3887 | μmol/L | 12.1722 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.02 | 141720.2339 | 293895.2959 | 59.9307 | 49.4
229015 | 2021-10-26 12:07 | 14.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.2969 | μmol/L | 12.1784 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.022 | 141763.3252 | 293910.7243 | 59.9307 | 49.4
229025 | 2021-10-26 12:07 | 14.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.3122 | μmol/L | 12.1661 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.026 | 141800.2299 | 293919.0666 | 59.9307 | 49.4
229035 | 2021-10-26 12:07 | 15.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.1651 | μmol/L | 12.1661 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.033 | 141844.7481 | 293933.2665 | 59.9307 | 49.4
229045 | 2021-10-26 12:08 | 15.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.1594 | μmol/L | 12.1538 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.038 | 141892.888 | 293929.0512 | 59.9307 | 49.4
229055 | 2021-10-26 12:08 | 15.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.0964 | μmol/L | 12.1538 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.041 | 141936.2465 | 293955.0326 | 59.9307 | 49.4
229065 | 2021-10-26 12:08 | 16.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 251.0201 | μmol/L | 12.1476 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.047 | 141973.8116 | 293975.9281 | 59.9307 | 49.4
229075 | 2021-10-26 12:09 | 16.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.9781 | μmol/L | 12.1476 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.049 | 142012.1095 | 293979.1319 | 59.9307 | 49.4
229085 | 2021-10-26 12:09 | 16.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.9648 | μmol/L | 12.1415 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.052 | 142049.3265 | 293996.9653 | 59.9307 | 49.4
229095 | 2021-10-26 12:09 | 17.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.7396 | μmol/L | 12.1538 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.058 | 142087.9856 | 294024.5977 | 59.9307 | 49.4
229105 | 2021-10-26 12:10 | 17.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.6767 | μmol/L | 12.1538 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.061 | 142134.5772 | 294047.2825 | 59.9307 | 49.4
229115 | 2021-10-26 12:10 | 17.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.5719 | μmol/L | 12.1538 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.066 | 142186.6663 | 294044.6637 | 59.9307 | 49.4
229125 | 2021-10-26 12:10 | 18.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.5509 | μmol/L | 12.1538 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.067 | 142222.4515 | 294084.0414 | 59.9307 | 49.4
229135 | 2021-10-26 12:11 | 18.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.4671 | μmol/L | 12.1538 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.071 | 142267.7158 | 294116.2228 | 59.9307 | 49.4
229145 | 2021-10-26 12:11 | 18.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.3834 | μmol/L | 12.1538 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.075 | 142309.0134 | 294124.7079 | 59.9307 | 49.4
229155 | 2021-10-26 12:11 | 19.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.1873 | μmol/L | 12.1599 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.082 | 142350.6746 | 294150.5844 | 59.9307 | 49.4
229165 | 2021-10-26 12:12 | 19.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.1455 | μmol/L | 12.1599 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.084 | 142403.6861 | 294140.2066 | 59.9307 | 49.4
229175 | 2021-10-26 12:12 | 19.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.0619 | μmol/L | 12.1599 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.088 | 142448.8005 | 294141.4596 | 59.9307 | 49.4
229185 | 2021-10-26 12:12 | 20.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.0069 | μmol/L | 12.1538 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.093 | 142474.8509 | 294126.0312 | 59.9307 | 49.4
229195 | 2021-10-26 12:13 | 20.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.0145 | μmol/L | 12.1476 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.095 | 142501.4052 | 294124.5082 | 59.9307 | 49.4
229205 | 2021-10-26 12:13 | 20.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.8397 | μmol/L | 12.1538 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.101 | 142578.817 | 294134.6931 | 59.9307 | 49.4
229215 | 2021-10-26 12:13 | 21.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.7222 | μmol/L | 12.1476 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.109 | 142671.4866 | 294153.1288 | 59.9307 | 49.4
229225 | 2021-10-26 12:14 | 21.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.5707 | μmol/L | 12.1353 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.121 | 142720.9123 | 294162.5321 | 59.9307 | 49.4
229235 | 2021-10-26 12:14 | 21.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.4094 | μmol/L | 12.1476 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.124 | 142758.6362 | 294156.8323 | 59.9307 | 49.4
229245 | 2021-10-26 12:14 | 22.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.3962 | μmol/L | 12.1415 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.127 | 142780.105 | 294216.9824 | 59.9307 | 49.4
229255 | 2021-10-26 12:15 | 22.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.3129 | μmol/L | 12.1415 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.131 | 142803.9083 | 294211.1484 | 59.9307 | 49.4
229265 | 2021-10-26 12:15 | 22.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.3414 | μmol/L | 12.1353 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.132 | 142836.7974 | 294235.0101 | 59.9307 | 49.4
229275 | 2021-10-26 12:15 | 23.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.2165 | μmol/L | 12.1353 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.138 | 142860.7082 | 294238.6402 | 59.9307 | 49.4
229285 | 2021-10-26 12:16 | 23.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.1332 | μmol/L | 12.1353 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.142 | 143007.5691 | 294211.3409 | 59.9307 | 49.4