## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 12:17

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
228586 | 2021-10-26 11:52 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0013 | μmol/L | 12.3604 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.715 | 138869.7859 | 312410.5422 | 33.25 | 68.6
228596 | 2021-10-26 11:53 | 0.32859 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7096 | μmol/L | 12.3483 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.734 | 138988.7708 | 312441.1462 | 33.25 | 68.6
228606 | 2021-10-26 11:53 | 0.66198 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4307 | μmol/L | 12.3543 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.745 | 139077.8067 | 312439.1193 | 33.25 | 68.6
228616 | 2021-10-26 11:53 | 0.99528 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9262 | μmol/L | 12.3725 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.762 | 139178.1482 | 312437.5817 | 33.25 | 68.6
228626 | 2021-10-26 11:54 | 1.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.6786 | μmol/L | 12.3725 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.774 | 139252.5234 | 312443.6815 | 33.25 | 68.6
228636 | 2021-10-26 11:54 | 1.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.5136 | μmol/L | 12.3725 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.782 | 139300.0767 | 312454.167 | 33.25 | 68.6
228646 | 2021-10-26 11:54 | 1.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.4093 | μmol/L | 12.3604 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.792 | 139355.9502 | 312478.2457 | 33.25 | 68.6
228656 | 2021-10-26 11:55 | 2.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.3366 | μmol/L | 12.3543 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.798 | 139433.5037 | 312491.2067 | 33.25 | 68.6
228666 | 2021-10-26 11:55 | 2.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0859 | μmol/L | 12.3543 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.81 | 139506.7814 | 312479.5013 | 33.25 | 68.6
228676 | 2021-10-26 11:55 | 2.9951 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.8128 | μmol/L | 12.3604 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.821 | 139579.1583 | 312463.0669 | 33.25 | 68.6
228686 | 2021-10-26 11:56 | 3.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.6075 | μmol/L | 12.3604 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.831 | 139640.2354 | 312449.1222 | 33.25 | 68.6
228696 | 2021-10-26 11:56 | 3.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.3517 | μmol/L | 12.3665 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.841 | 139728.1789 | 312440.8746 | 33.25 | 68.6
228706 | 2021-10-26 11:56 | 3.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.0445 | μmol/L | 12.3665 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.856 | 139815.7887 | 312459.3507 | 33.25 | 68.6
228716 | 2021-10-26 11:57 | 4.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.7652 | μmol/L | 12.3725 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.867 | 139874.1536 | 312472.9268 | 33.25 | 68.6
228726 | 2021-10-26 11:57 | 4.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.6726 | μmol/L | 12.3665 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.874 | 139948.4202 | 312516.7001 | 33.25 | 68.6
228736 | 2021-10-26 11:57 | 4.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.6221 | μmol/L | 12.3725 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.874 | 139596.3629 | 312537.2058 | 33.25 | 68.6
228746 | 2021-10-26 11:58 | 5.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.8157 | μmol/L | 12.3665 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.867 | 139587.802 | 312563.6757 | 33.25 | 68.6
228756 | 2021-10-26 11:58 | 5.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.6426 | μmol/L | 12.3725 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.873 | 139623.1183 | 312589.3848 | 33.25 | 68.6
228766 | 2021-10-26 11:58 | 5.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.5092 | μmol/L | 12.3665 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.882 | 139689.1122 | 312610.8703 | 33.25 | 68.6
228776 | 2021-10-26 11:59 | 6.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.5081 | μmol/L | 12.3543 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.887 | 139756.0817 | 312636.6833 | 33.25 | 68.6
228786 | 2021-10-26 11:59 | 6.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2944 | μmol/L | 12.3604 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.895 | 139819.0247 | 312660.515 | 33.25 | 68.6
228796 | 2021-10-26 11:59 | 6.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2429 | μmol/L | 12.3543 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.9 | 139955.5743 | 312671.5872 | 33.25 | 68.6
228806 | 2021-10-26 12:00 | 7.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1109 | μmol/L | 12.3604 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.904 | 140004.2825 | 312695.2331 | 33.25 | 68.6
228816 | 2021-10-26 12:00 | 7.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9984 | μmol/L | 12.3543 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.912 | 140070.7801 | 312717.2026 | 33.25 | 68.6
228826 | 2021-10-26 12:00 | 7.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9062 | μmol/L | 12.3483 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.919 | 140137.2649 | 312730.9403 | 33.25 | 68.6
228836 | 2021-10-26 12:01 | 8.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7231 | μmol/L | 12.3483 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.928 | 140188.6037 | 312740.8186 | 33.25 | 68.6
228846 | 2021-10-26 12:01 | 8.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.4792 | μmol/L | 12.3483 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.94 | 140270.704 | 312764.3064 | 33.25 | 68.6
228856 | 2021-10-26 12:01 | 8.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.3476 | μmol/L | 12.3543 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.944 | 140344.232 | 312786.0822 | 33.25 | 68.6
228866 | 2021-10-26 12:02 | 9.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.2858 | μmol/L | 12.3422 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.952 | 140402.965 | 312816.0377 | 33.25 | 68.6
228876 | 2021-10-26 12:02 | 9.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1437 | μmol/L | 12.3422 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.959 | 140486.1027 | 312856.0193 | 33.25 | 68.6
228886 | 2021-10-26 12:02 | 9.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.9719 | μmol/L | 12.3483 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.965 | 140538.1736 | 312887.8317 | 33.25 | 68.6
228896 | 2021-10-26 12:03 | 10.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8098 | μmol/L | 12.3483 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.973 | 140595.6067 | 312890.9352 | 33.25 | 68.6
228906 | 2021-10-26 12:03 | 10.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7896 | μmol/L | 12.3483 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.974 | 140640.7668 | 312915.6567 | 33.25 | 68.6
228916 | 2021-10-26 12:03 | 10.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7385 | μmol/L | 12.3422 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.979 | 140697.1255 | 312918.9664 | 33.25 | 68.6
228926 | 2021-10-26 12:04 | 11.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6575 | μmol/L | 12.3422 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.983 | 140735.9498 | 312912.0107 | 33.25 | 68.6
228936 | 2021-10-26 12:04 | 11.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.4957 | μmol/L | 12.3422 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.991 | 140788.4074 | 312916.0004 | 33.25 | 68.6
228946 | 2021-10-26 12:04 | 11.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.4851 | μmol/L | 12.3361 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.994 | 140826.6898 | 312922.6242 | 33.25 | 68.6
228956 | 2021-10-26 12:05 | 12.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.4139 | μmol/L | 12.33 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25 | 140882.8186 | 312937.0689 | 33.25 | 68.6
228966 | 2021-10-26 12:05 | 12.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.1522 | μmol/L | 12.3422 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.008 | 140926.3004 | 312945.6665 | 33.25 | 68.6
228976 | 2021-10-26 12:05 | 12.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.1619 | μmol/L | 12.3361 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.01 | 140977.7425 | 312955.922 | 33.25 | 68.6
228986 | 2021-10-26 12:06 | 13.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.0811 | μmol/L | 12.3361 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.014 | 141013.4851 | 312972.446 | 33.25 | 68.6
228996 | 2021-10-26 12:06 | 13.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.0206 | μmol/L | 12.3361 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.017 | 141058.0374 | 312986.9966 | 33.25 | 68.6
229006 | 2021-10-26 12:06 | 13.9951 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.9899 | μmol/L | 12.33 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.021 | 141091.6105 | 313015.4837 | 33.25 | 68.6
229016 | 2021-10-26 12:07 | 14.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.9294 | μmol/L | 12.33 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.024 | 141127.6794 | 313055.6844 | 33.25 | 68.6
229026 | 2021-10-26 12:07 | 14.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.7182 | μmol/L | 12.3361 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.032 | 141165.7247 | 313072.8433 | 33.25 | 68.6
229036 | 2021-10-26 12:07 | 14.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.8084 | μmol/L | 12.33 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.03 | 141217.569 | 313101.8667 | 33.25 | 68.6
229046 | 2021-10-26 12:08 | 15.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.6271 | μmol/L | 12.33 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.039 | 141252.9483 | 313118.2967 | 33.25 | 68.6
229056 | 2021-10-26 12:08 | 15.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.607 | μmol/L | 12.33 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.04 | 141298.6456 | 313130.9821 | 33.25 | 68.6
229066 | 2021-10-26 12:08 | 15.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5265 | μmol/L | 12.33 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.044 | 141326.8401 | 313158.6791 | 33.25 | 68.6
229076 | 2021-10-26 12:09 | 16.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.6263 | μmol/L | 12.3179 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.044 | 141364.8896 | 313160.0615 | 33.25 | 68.6
229086 | 2021-10-26 12:09 | 16.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.516 | μmol/L | 12.324 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.047 | 141407.1363 | 313179.2839 | 33.25 | 68.6
229096 | 2021-10-26 12:09 | 16.9951 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.3856 | μmol/L | 12.33 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.051 | 141447.9842 | 313241.0926 | 33.25 | 68.6
229106 | 2021-10-26 12:10 | 17.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.3752 | μmol/L | 12.324 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.054 | 141497.5822 | 313273.2593 | 33.25 | 68.6
229116 | 2021-10-26 12:10 | 17.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.3044 | μmol/L | 12.3179 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.06 | 141550.1058 | 313297.1426 | 33.25 | 68.6
229126 | 2021-10-26 12:10 | 17.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.1742 | μmol/L | 12.324 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.064 | 141597.6549 | 313328.9743 | 33.25 | 68.6
229136 | 2021-10-26 12:11 | 18.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.1235 | μmol/L | 12.3179 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.069 | 141642.4877 | 313360.8253 | 33.25 | 68.6
229146 | 2021-10-26 12:11 | 18.6618 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.1533 | μmol/L | 12.3118 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.07 | 141684.6033 | 313379.6219 | 33.25 | 68.6
229156 | 2021-10-26 12:11 | 18.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.0432 | μmol/L | 12.3179 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.073 | 141715.4663 | 313391.2769 | 33.25 | 68.6
229166 | 2021-10-26 12:12 | 19.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.0626 | μmol/L | 12.3057 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.077 | 141768.7382 | 313407.1367 | 33.25 | 68.6
229176 | 2021-10-26 12:12 | 19.6618 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.0031 | μmol/L | 12.3179 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.075 | 141793.488 | 313413.2073 | 33.25 | 68.6
229186 | 2021-10-26 12:12 | 19.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.9525 | μmol/L | 12.3118 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.08 | 141795.3991 | 313404.4687 | 33.25 | 68.6
229196 | 2021-10-26 12:13 | 20.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.9124 | μmol/L | 12.3118 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.082 | 141834.4074 | 313416.4794 | 33.25 | 68.6
229206 | 2021-10-26 12:13 | 20.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.7118 | μmol/L | 12.3118 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.092 | 141917.0155 | 313422.7781 | 33.25 | 68.6
229216 | 2021-10-26 12:13 | 20.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.6316 | μmol/L | 12.3118 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.096 | 141952.7024 | 313410.8259 | 33.25 | 68.6
229226 | 2021-10-26 12:14 | 21.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.6213 | μmol/L | 12.3057 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.099 | 141977.3481 | 313408.773 | 33.25 | 68.6
229236 | 2021-10-26 12:14 | 21.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.5812 | μmol/L | 12.3057 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.101 | 142009.221 | 313426.3017 | 33.25 | 68.6
229246 | 2021-10-26 12:14 | 21.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.4907 | μmol/L | 12.2997 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.108 | 142027.5482 | 313462.4105 | 33.25 | 68.6
229256 | 2021-10-26 12:15 | 22.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.441 | μmol/L | 12.3057 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.108 | 142043.0648 | 313471.6298 | 33.25 | 68.6
229266 | 2021-10-26 12:15 | 22.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.4513 | μmol/L | 12.3118 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.105 | 142061.0376 | 313493.6437 | 33.25 | 68.6
229276 | 2021-10-26 12:15 | 22.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.4907 | μmol/L | 12.2997 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.108 | 142063.4797 | 313486.225 | 33.25 | 68.6
229286 | 2021-10-26 12:16 | 23.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.481 | μmol/L | 12.3057 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.106 | 142111.4615 | 313497.9398 | 33.25 | 68.6