## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 12:47

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
229292 | 2021-10-26 12:23 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.2412 | μmol/L | 11.9283 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.244 | 121310.3476 | 272247.7792 | 36.4 | 83.1
229300 | 2021-10-26 12:23 | 0.33478 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.3403 | μmol/L | 11.9344 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.279 | 121631.4272 | 272264.3596 | 36.4 | 83.1
229308 | 2021-10-26 12:24 | 0.66777 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.5659 | μmol/L | 11.9527 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.304 | 121787.8619 | 272268.1164 | 36.4 | 83.1
229316 | 2021-10-26 12:24 | 1.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1592 | μmol/L | 11.9527 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.321 | 121907.1003 | 272288.6867 | 36.4 | 83.1
229324 | 2021-10-26 12:24 | 1.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.9305 | μmol/L | 11.9466 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.333 | 121962.8229 | 272292.0965 | 36.4 | 83.1
229332 | 2021-10-26 12:25 | 1.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.4771 | μmol/L | 11.9466 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.352 | 122062.2042 | 272282.5817 | 36.4 | 83.1
229340 | 2021-10-26 12:25 | 2.0018 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.0723 | μmol/L | 11.9466 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.369 | 122145.299 | 272301.6969 | 36.4 | 83.1
229348 | 2021-10-26 12:25 | 2.3352 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.8582 | μmol/L | 11.9466 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.378 | 122179.6964 | 272309.8317 | 36.4 | 83.1
229356 | 2021-10-26 12:26 | 2.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.6816 | μmol/L | 11.9527 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.383 | 122225.0361 | 272302.352 | 36.4 | 83.1
229364 | 2021-10-26 12:26 | 3.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.3762 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.391 | 122256.3057 | 272304.2859 | 36.4 | 83.1
229372 | 2021-10-26 12:26 | 3.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.2338 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.397 | 122286.2434 | 272319.4629 | 36.4 | 83.1
229380 | 2021-10-26 12:27 | 3.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1967 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.401 | 122269.1629 | 272335.6443 | 36.4 | 83.1
229388 | 2021-10-26 12:27 | 4.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0205 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.406 | 122307.7663 | 272331.3513 | 36.4 | 83.1
229396 | 2021-10-26 12:27 | 4.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8547 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.413 | 122356.8725 | 272337.1318 | 36.4 | 83.1
229404 | 2021-10-26 12:28 | 4.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.5842 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.422 | 122382.86 | 272338.1851 | 36.4 | 83.1
229412 | 2021-10-26 12:28 | 5.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.5235 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.427 | 122408.6439 | 272341.7723 | 36.4 | 83.1
229420 | 2021-10-26 12:28 | 5.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4053 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.432 | 122424.5295 | 272340.7178 | 36.4 | 83.1
229428 | 2021-10-26 12:29 | 5.6679 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.2667 | μmol/L | 11.9772 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.433 | 122428.9243 | 272355.9776 | 36.4 | 83.1
229436 | 2021-10-26 12:29 | 6.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.2298 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.437 | 122410.3157 | 272350.8178 | 36.4 | 83.1
229444 | 2021-10-26 12:29 | 6.3351 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3077 | μmol/L | 11.9527 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.441 | 122426.6253 | 272359.3808 | 36.4 | 83.1
229452 | 2021-10-26 12:30 | 6.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.2266 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.442 | 122449.5689 | 272370.8668 | 36.4 | 83.1
229460 | 2021-10-26 12:30 | 7.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9804 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.45 | 122480.8267 | 272389.2445 | 36.4 | 83.1
229468 | 2021-10-26 12:30 | 7.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9332 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.452 | 122500.7097 | 272405.9087 | 36.4 | 83.1
229476 | 2021-10-26 12:31 | 7.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8051 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.455 | 122523.9967 | 272406.2073 | 36.4 | 83.1
229484 | 2021-10-26 12:31 | 8.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7815 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.456 | 122513.8595 | 272417.5986 | 36.4 | 83.1
229492 | 2021-10-26 12:31 | 8.3352 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7344 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.458 | 122525.3665 | 272418.2093 | 36.4 | 83.1
229500 | 2021-10-26 12:32 | 8.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7078 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.464 | 122525.7359 | 272409.902 | 36.4 | 83.1
229508 | 2021-10-26 12:32 | 9.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.6269 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.465 | 122536.1468 | 272411.4377 | 36.4 | 83.1
229516 | 2021-10-26 12:32 | 9.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.5562 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.468 | 122564.4937 | 272418.1293 | 36.4 | 83.1
229524 | 2021-10-26 12:33 | 9.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.6003 | μmol/L | 11.9527 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.471 | 122573.1039 | 272407.5939 | 36.4 | 83.1
229532 | 2021-10-26 12:33 | 10.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4253 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.476 | 122575.1224 | 272406.5015 | 36.4 | 83.1
229540 | 2021-10-26 12:33 | 10.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2974 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.479 | 122590.3073 | 272410.6461 | 36.4 | 83.1
229548 | 2021-10-26 12:34 | 10.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1901 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.486 | 122602.9005 | 272407.1519 | 36.4 | 83.1
229556 | 2021-10-26 12:34 | 11.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2606 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.483 | 122626.0559 | 272397.5669 | 36.4 | 83.1
229564 | 2021-10-26 12:34 | 11.3348 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1299 | μmol/L | 11.9527 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.491 | 122635.9559 | 272405.4559 | 36.4 | 83.1
229572 | 2021-10-26 12:35 | 11.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0256 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.493 | 122657.9233 | 272403.2101 | 36.4 | 83.1
229580 | 2021-10-26 12:35 | 12.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0491 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.492 | 122620.6571 | 272412.6437 | 36.4 | 83.1
229588 | 2021-10-26 12:35 | 12.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9317 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.497 | 122626.3855 | 272401.7044 | 36.4 | 83.1
229596 | 2021-10-26 12:36 | 12.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8848 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.499 | 122678.1645 | 272407.777 | 36.4 | 83.1
229604 | 2021-10-26 12:36 | 13.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6736 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.508 | 122721.6352 | 272401.03 | 36.4 | 83.1
229612 | 2021-10-26 12:36 | 13.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4524 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.515 | 122759.7808 | 272408.3306 | 36.4 | 83.1
229620 | 2021-10-26 12:37 | 13.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2781 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.52 | 122785.6081 | 272419.3321 | 36.4 | 83.1
229628 | 2021-10-26 12:37 | 14.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0909 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.528 | 122797.3578 | 272409.244 | 36.4 | 83.1
229636 | 2021-10-26 12:37 | 14.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0675 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.529 | 122804.6053 | 272422.992 | 36.4 | 83.1
229644 | 2021-10-26 12:38 | 14.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0179 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.536 | 122838.0389 | 272414.1598 | 36.4 | 83.1
229652 | 2021-10-26 12:38 | 15.0018 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9272 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.535 | 122847.053 | 272425.3515 | 36.4 | 83.1
229660 | 2021-10-26 12:38 | 15.3352 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.901 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.541 | 122855.417 | 272440.3781 | 36.4 | 83.1
229668 | 2021-10-26 12:39 | 15.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7505 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.545 | 122855.7251 | 272484.0068 | 36.4 | 83.1
229676 | 2021-10-26 12:39 | 16.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7972 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.543 | 122869.0707 | 272515.5698 | 36.4 | 83.1
229684 | 2021-10-26 12:39 | 16.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7739 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.544 | 122898.27 | 272526.2953 | 36.4 | 83.1
229692 | 2021-10-26 12:40 | 16.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6935 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.545 | 122908.4283 | 272536.8549 | 36.4 | 83.1
229700 | 2021-10-26 12:40 | 17.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5768 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.55 | 122914.9641 | 272554.3662 | 36.4 | 83.1
229708 | 2021-10-26 12:40 | 17.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6571 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.549 | 122927.9902 | 272570.5976 | 36.4 | 83.1
229716 | 2021-10-26 12:41 | 17.6679 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6571 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.549 | 122943.6029 | 272597.0008 | 36.4 | 83.1
229724 | 2021-10-26 12:41 | 18.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5068 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.553 | 122960.3978 | 272616.4979 | 36.4 | 83.1
229732 | 2021-10-26 12:41 | 18.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6104 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.551 | 122967.7293 | 272624.6885 | 36.4 | 83.1
229740 | 2021-10-26 12:42 | 18.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5403 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.554 | 122962.9691 | 272641.8339 | 36.4 | 83.1
229748 | 2021-10-26 12:42 | 19.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.377 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.561 | 122993.7047 | 272649.9724 | 36.4 | 83.1
229756 | 2021-10-26 12:42 | 19.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4237 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.559 | 123002.0952 | 272639.5124 | 36.4 | 83.1
229764 | 2021-10-26 12:43 | 19.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4134 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.557 | 123009.5664 | 272639.6093 | 36.4 | 83.1
229772 | 2021-10-26 12:43 | 20.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4237 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.559 | 123014.2816 | 272629.156 | 36.4 | 83.1
229780 | 2021-10-26 12:43 | 20.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2968 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.562 | 123013.6697 | 272628.8816 | 36.4 | 83.1
229788 | 2021-10-26 12:44 | 20.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3071 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.564 | 123024.6821 | 272616.925 | 36.4 | 83.1
229796 | 2021-10-26 12:44 | 21.0018 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.294 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.567 | 123044.1641 | 272615.8275 | 36.4 | 83.1
229804 | 2021-10-26 12:44 | 21.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2008 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.571 | 123049.4777 | 272608.0384 | 36.4 | 83.1
229812 | 2021-10-26 12:45 | 21.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1439 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.571 | 123054.2327 | 272610.1503 | 36.4 | 83.1
229820 | 2021-10-26 12:45 | 22.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.074 | μmol/L | 11.965 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.574 | 123050.6771 | 272601.7633 | 36.4 | 83.1
229828 | 2021-10-26 12:45 | 22.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9911 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.58 | 123074.1531 | 272610.5935 | 36.4 | 83.1
229836 | 2021-10-26 12:46 | 22.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9679 | μmol/L | 11.9589 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.581 | 123067.7726 | 272608.9826 | 36.4 | 83.1
229844 | 2021-10-26 12:46 | 23.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.831 | μmol/L | 11.9711 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.582 | 123091.8304 | 272611.2985 | 36.4 | 83.1