## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 12:47

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
229293 | 2021-10-26 12:23 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.8984 | μmol/L | 11.9155 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.341 | 110827.1277 | 304614.6288 | 30.45 | 114.2
229301 | 2021-10-26 12:23 | 0.33924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9752 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.342 | 110859.2149 | 304628.0038 | 30.45 | 114.2
229309 | 2021-10-26 12:24 | 0.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7908 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.351 | 110893.5049 | 304641.423 | 30.45 | 114.2
229317 | 2021-10-26 12:24 | 1.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.6884 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.356 | 110925.7847 | 304651.5502 | 30.45 | 114.2
229325 | 2021-10-26 12:24 | 1.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5452 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.363 | 110972.3931 | 304668.0135 | 30.45 | 114.2
229333 | 2021-10-26 12:25 | 1.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4506 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.37 | 111004.0907 | 304665.124 | 30.45 | 114.2
229341 | 2021-10-26 12:25 | 2.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.287 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.378 | 111055.1641 | 304666.819 | 30.45 | 114.2
229349 | 2021-10-26 12:25 | 2.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.1772 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.381 | 111086.9115 | 304666.6817 | 30.45 | 114.2
229357 | 2021-10-26 12:26 | 2.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.0062 | μmol/L | 11.9093 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.387 | 111104.9219 | 304684.5019 | 30.45 | 114.2
229365 | 2021-10-26 12:26 | 3.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.7233 | μmol/L | 11.94 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.389 | 111120.596 | 304669.1493 | 30.45 | 114.2
229373 | 2021-10-26 12:26 | 3.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.5934 | μmol/L | 11.9461 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.393 | 111151.2792 | 304685.5457 | 30.45 | 114.2
229381 | 2021-10-26 12:27 | 3.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.652 | μmol/L | 11.9155 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.402 | 111182.6152 | 304708.0258 | 30.45 | 114.2
229389 | 2021-10-26 12:27 | 4.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.5781 | μmol/L | 11.9093 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.408 | 111232.0299 | 304715.8169 | 30.45 | 114.2
229397 | 2021-10-26 12:27 | 4.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.5044 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.414 | 111267.0388 | 304715.7519 | 30.45 | 114.2
229405 | 2021-10-26 12:28 | 4.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.3823 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.42 | 111296.1449 | 304726.2094 | 30.45 | 114.2
229413 | 2021-10-26 12:28 | 5.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.3009 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.424 | 111333.9688 | 304714.7778 | 30.45 | 114.2
229421 | 2021-10-26 12:28 | 5.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1866 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.432 | 111364.9652 | 304729.0929 | 30.45 | 114.2
229429 | 2021-10-26 12:29 | 5.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.8995 | μmol/L | 11.9155 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.439 | 111405.6015 | 304730.361 | 30.45 | 114.2
229437 | 2021-10-26 12:29 | 6.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.8946 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.444 | 111452.4161 | 304745.3495 | 30.45 | 114.2
229445 | 2021-10-26 12:29 | 6.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.7449 | μmol/L | 11.9093 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.449 | 111477.7531 | 304754.8298 | 30.45 | 114.2
229453 | 2021-10-26 12:30 | 6.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5701 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.46 | 111518.8504 | 304778.2295 | 30.45 | 114.2
229461 | 2021-10-26 12:30 | 7.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.4967 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.466 | 111563.8289 | 304767.62 | 30.45 | 114.2
229469 | 2021-10-26 12:30 | 7.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.4359 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.469 | 111606.9886 | 304789.4871 | 30.45 | 114.2
229477 | 2021-10-26 12:31 | 7.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.2663 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.475 | 111635.4145 | 304803.6834 | 30.45 | 114.2
229485 | 2021-10-26 12:31 | 8.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.1449 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.481 | 111665.9697 | 304794.8585 | 30.45 | 114.2
229493 | 2021-10-26 12:31 | 8.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.1324 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.484 | 111696.5006 | 304788.4441 | 30.45 | 114.2
229501 | 2021-10-26 12:32 | 8.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.9024 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.493 | 111707.0367 | 304806.2823 | 30.45 | 114.2
229509 | 2021-10-26 12:32 | 9.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.8216 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.497 | 111739.0383 | 304802.7748 | 30.45 | 114.2
229517 | 2021-10-26 12:32 | 9.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.7812 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.499 | 111764.7596 | 304803.9832 | 30.45 | 114.2
229525 | 2021-10-26 12:33 | 9.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.6678 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.507 | 111798.2348 | 304798.1169 | 30.45 | 114.2
229533 | 2021-10-26 12:33 | 10.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.5391 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.511 | 111824.1992 | 304798.5006 | 30.45 | 114.2
229541 | 2021-10-26 12:33 | 10.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.5266 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.514 | 111845.8567 | 304792.1338 | 30.45 | 114.2
229549 | 2021-10-26 12:34 | 10.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.4537 | μmol/L | 11.891 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.52 | 111872.9149 | 304799.9243 | 30.45 | 114.2
229557 | 2021-10-26 12:34 | 11.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.2771 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.524 | 111904.9745 | 304793.8791 | 30.45 | 114.2
229565 | 2021-10-26 12:34 | 11.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.1966 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.528 | 111929.3676 | 304782.1509 | 30.45 | 114.2
229573 | 2021-10-26 12:35 | 11.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.096 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.533 | 111963.877 | 304776.9514 | 30.45 | 114.2
229581 | 2021-10-26 12:35 | 12.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.0433 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.538 | 111984.4036 | 304802.1022 | 30.45 | 114.2
229589 | 2021-10-26 12:35 | 12.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.0232 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.539 | 112003.7854 | 304792.0321 | 30.45 | 114.2
229597 | 2021-10-26 12:36 | 12.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.802 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.55 | 112038.6835 | 304789.569 | 30.45 | 114.2
229605 | 2021-10-26 12:36 | 13.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.7695 | μmol/L | 11.891 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.554 | 112054.3424 | 304785.9202 | 30.45 | 114.2
229613 | 2021-10-26 12:36 | 13.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.6815 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.556 | 112076.4119 | 304808.0428 | 30.45 | 114.2
229621 | 2021-10-26 12:37 | 13.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.6012 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.56 | 112104.1747 | 304797.8077 | 30.45 | 114.2
229629 | 2021-10-26 12:37 | 14.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.5888 | μmol/L | 11.891 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.563 | 112129.1488 | 304812.2191 | 30.45 | 114.2
229637 | 2021-10-26 12:37 | 14.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.4206 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.569 | 112129.5219 | 304804.849 | 30.45 | 114.2
229645 | 2021-10-26 12:38 | 14.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.4885 | μmol/L | 11.891 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.568 | 112154.1508 | 304814.5428 | 30.45 | 114.2
229653 | 2021-10-26 12:38 | 15.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.3481 | μmol/L | 11.891 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.575 | 112178.5681 | 304830.694 | 30.45 | 114.2
229661 | 2021-10-26 12:38 | 15.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.2603 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.577 | 112184.4103 | 304843.5253 | 30.45 | 114.2
229669 | 2021-10-26 12:39 | 15.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.2479 | μmol/L | 11.891 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.58 | 112214.6841 | 304883.9944 | 30.45 | 114.2
229677 | 2021-10-26 12:39 | 16.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.12 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.584 | 112238.5578 | 304925.3177 | 30.45 | 114.2
229685 | 2021-10-26 12:39 | 16.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.0323 | μmol/L | 11.9032 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.586 | 112256.4781 | 304933.0046 | 30.45 | 114.2
229693 | 2021-10-26 12:40 | 16.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.06 | μmol/L | 11.8971 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.587 | 112274.0697 | 304961.2315 | 30.45 | 114.2
229701 | 2021-10-26 12:40 | 17.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.0753 | μmol/L | 11.8848 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.591 | 112301.1198 | 304969.633 | 30.45 | 114.2
229709 | 2021-10-26 12:40 | 17.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.063 | μmol/L | 11.8787 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.594 | 112325.8765 | 304971.5061 | 30.45 | 114.2
229717 | 2021-10-26 12:41 | 17.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.8317 | μmol/L | 11.8848 | °C | 988 | hPa | Humid | 28 | 0 | 0 | 24.603 | 112363.007 | 305012.1401 | 30.45 | 114.2
229725 | 2021-10-26 12:41 | 18.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.9194 | μmol/L | 11.8787 | °C | 988 | hPa | Humid | 28 | 0 | 0 | 24.601 | 112390.2807 | 305038.6127 | 30.45 | 114.2
229733 | 2021-10-26 12:41 | 18.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.5796 | μmol/L | 11.8787 | °C | 988 | hPa | Humid | 28 | 0 | 0 | 24.618 | 112464.091 | 305039.7281 | 30.45 | 114.2
229741 | 2021-10-26 12:42 | 18.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.3002 | μmol/L | 11.8787 | °C | 988 | hPa | Humid | 28 | 0 | 0 | 24.632 | 112562.1814 | 305062.1955 | 30.45 | 114.2
229749 | 2021-10-26 12:42 | 19.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.1519 | μmol/L | 11.8726 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.642 | 112613.5398 | 305070.6637 | 30.45 | 114.2
229757 | 2021-10-26 12:42 | 19.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.0645 | μmol/L | 11.8787 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.644 | 112655.7839 | 305054.7625 | 30.45 | 114.2
229765 | 2021-10-26 12:43 | 19.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.1198 | μmol/L | 11.8664 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.646 | 112680.1001 | 305048.2864 | 30.45 | 114.2
229773 | 2021-10-26 12:43 | 20.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.988 | μmol/L | 11.8603 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.655 | 112707.3968 | 305031.9308 | 30.45 | 114.2
229781 | 2021-10-26 12:43 | 20.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.8686 | μmol/L | 11.8603 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.661 | 112744.962 | 305045.7052 | 30.45 | 114.2
229789 | 2021-10-26 12:44 | 20.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.7415 | μmol/L | 11.8664 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.665 | 112783.0775 | 305056.0574 | 30.45 | 114.2
229797 | 2021-10-26 12:44 | 21.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.5867 | μmol/L | 11.8603 | °C | 988 | hPa | Humid | 28 | 0 | 0 | 24.675 | 112816.4556 | 305048.1706 | 30.45 | 114.2
229805 | 2021-10-26 12:44 | 21.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.4874 | μmol/L | 11.8603 | °C | 988 | hPa | Humid | 28 | 0 | 0 | 24.68 | 112838.4199 | 305044.9771 | 30.45 | 114.2
229813 | 2021-10-26 12:45 | 21.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.4554 | μmol/L | 11.8542 | °C | 988 | hPa | Humid | 28 | 0 | 0 | 24.684 | 112860.8511 | 305041.1396 | 30.45 | 114.2
229821 | 2021-10-26 12:45 | 22.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.3837 | μmol/L | 11.848 | °C | 988 | hPa | Humid | 28 | 0 | 0 | 24.69 | 112869.6792 | 305034.2379 | 30.45 | 114.2
229829 | 2021-10-26 12:45 | 22.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.4708 | μmol/L | 11.8419 | °C | 988 | hPa | Humid | 28 | 0 | 0 | 24.688 | 112888.9762 | 305021.0267 | 30.45 | 114.2
229837 | 2021-10-26 12:46 | 22.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.3638 | μmol/L | 11.848 | °C | 988 | hPa | Humid | 28 | 0 | 0 | 24.691 | 112889.0913 | 305048.6276 | 30.45 | 114.2
229845 | 2021-10-26 12:46 | 23.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.3241 | μmol/L | 11.848 | °C | 988 | hPa | Humid | 28 | 0 | 0 | 24.693 | 112903.4728 | 305031.3158 | 30.45 | 114.2