## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 12:47

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
229295 | 2021-10-26 12:23 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0814 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.862 | 138806.3463 | 313541.8588 | 33.25 | 68.6
229303 | 2021-10-26 12:24 | 0.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 255.0501 | μmol/L | 11.9839 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.866 | 138873.5175 | 313567.3519 | 33.25 | 68.6
229311 | 2021-10-26 12:24 | 0.67304 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.8951 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.871 | 138943.781 | 313557.4798 | 33.25 | 68.6
229319 | 2021-10-26 12:24 | 1.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.7397 | μmol/L | 11.9839 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.881 | 139112.1025 | 313566.6648 | 33.25 | 68.6
229327 | 2021-10-26 12:25 | 1.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.4404 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.893 | 139192.0047 | 313580.5351 | 33.25 | 68.6
229335 | 2021-10-26 12:25 | 1.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.162 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.904 | 139272.2757 | 313572.6579 | 33.25 | 68.6
229343 | 2021-10-26 12:25 | 2.007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9147 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.916 | 139380.6196 | 313576.4965 | 33.25 | 68.6
229351 | 2021-10-26 12:26 | 2.3403 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.6164 | μmol/L | 12.0021 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.928 | 139465.7855 | 313579.2226 | 33.25 | 68.6
229359 | 2021-10-26 12:26 | 2.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.4209 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.94 | 139555.7333 | 313603.0671 | 33.25 | 68.6
229367 | 2021-10-26 12:26 | 3.007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1333 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.954 | 139629.8446 | 313607.2468 | 33.25 | 68.6
229375 | 2021-10-26 12:27 | 3.3403 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0408 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.961 | 139698.88 | 313634.3014 | 33.25 | 68.6
229383 | 2021-10-26 12:27 | 3.6737 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.8152 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.972 | 139778.9427 | 313633.3227 | 33.25 | 68.6
229391 | 2021-10-26 12:27 | 4.0063 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.6409 | μmol/L | 11.9839 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.983 | 139858.3155 | 313675.3568 | 33.25 | 68.6
229399 | 2021-10-26 12:28 | 4.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.4162 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.989 | 139913.7668 | 313665.0095 | 33.25 | 68.6
229407 | 2021-10-26 12:28 | 4.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.1912 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25 | 139967.7939 | 313678.9531 | 33.25 | 68.6
229415 | 2021-10-26 12:28 | 5.007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.1095 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.004 | 140026.2433 | 313664.3057 | 33.25 | 68.6
229423 | 2021-10-26 12:29 | 5.3402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.9258 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.013 | 140083.6809 | 313662.8904 | 33.25 | 68.6
229431 | 2021-10-26 12:29 | 5.6734 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.7625 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.021 | 140153.8992 | 313664.8751 | 33.25 | 68.6
229439 | 2021-10-26 12:29 | 6.0068 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.6098 | μmol/L | 12.0021 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.026 | 140216.107 | 313683.202 | 33.25 | 68.6
229447 | 2021-10-26 12:30 | 6.3399 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.4669 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.038 | 140266.733 | 313695.7229 | 33.25 | 68.6
229455 | 2021-10-26 12:30 | 6.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.4058 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.041 | 140324.2835 | 313743.3176 | 33.25 | 68.6
229463 | 2021-10-26 12:30 | 7.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2023 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.051 | 140373.7126 | 313740.4316 | 33.25 | 68.6
229471 | 2021-10-26 12:31 | 7.3399 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1006 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.056 | 140437.4103 | 313758.7348 | 33.25 | 68.6
229479 | 2021-10-26 12:31 | 7.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9483 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.061 | 140482.0391 | 313762.5338 | 33.25 | 68.6
229487 | 2021-10-26 12:31 | 8.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7656 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.07 | 140531.366 | 313763.0343 | 33.25 | 68.6
229495 | 2021-10-26 12:32 | 8.3403 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.6438 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.076 | 140579.5506 | 313750.1957 | 33.25 | 68.6
229503 | 2021-10-26 12:32 | 8.6734 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.5524 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.083 | 140614.9637 | 313758.3064 | 33.25 | 68.6
229511 | 2021-10-26 12:32 | 9.0068 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.4207 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.087 | 140632.0393 | 313750.7654 | 33.25 | 68.6
229519 | 2021-10-26 12:33 | 9.3402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.4308 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.089 | 140658.261 | 313745.6626 | 33.25 | 68.6
229527 | 2021-10-26 12:33 | 9.6734 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.3397 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.091 | 140691.0223 | 313747.448 | 33.25 | 68.6
229535 | 2021-10-26 12:33 | 10.0068 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.2992 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.093 | 140707.6067 | 313736.0658 | 33.25 | 68.6
229543 | 2021-10-26 12:34 | 10.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.2182 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.097 | 140719.0009 | 313729.5381 | 33.25 | 68.6
229551 | 2021-10-26 12:34 | 10.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1777 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.099 | 140758.6912 | 313733.8912 | 33.25 | 68.6
229559 | 2021-10-26 12:34 | 11.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0158 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.107 | 140805.1636 | 313722.9779 | 33.25 | 68.6
229567 | 2021-10-26 12:35 | 11.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.9551 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.11 | 140841.2371 | 313722.0344 | 33.25 | 68.6
229575 | 2021-10-26 12:35 | 11.6737 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7934 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.118 | 140877.1466 | 313727.7238 | 33.25 | 68.6
229583 | 2021-10-26 12:35 | 12.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.8034 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.12 | 140901.0523 | 313725.1525 | 33.25 | 68.6
229591 | 2021-10-26 12:36 | 12.3402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.6924 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.123 | 140939.759 | 313743.1437 | 33.25 | 68.6
229599 | 2021-10-26 12:36 | 12.6734 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.4603 | μmol/L | 12.0021 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.132 | 140984.2535 | 313741.3659 | 33.25 | 68.6
229607 | 2021-10-26 12:36 | 13.0068 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.5207 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.134 | 140998.8186 | 313730.8956 | 33.25 | 68.6
229615 | 2021-10-26 12:37 | 13.34 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.3493 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.14 | 141027.784 | 313733.2019 | 33.25 | 68.6
229623 | 2021-10-26 12:37 | 13.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.2988 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.145 | 141055.6627 | 313737.8619 | 33.25 | 68.6
229631 | 2021-10-26 12:37 | 14.0067 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.1579 | μmol/L | 12.0021 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.147 | 141097.2521 | 313742.5405 | 33.25 | 68.6
229639 | 2021-10-26 12:38 | 14.3399 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.0672 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.154 | 141120.585 | 313737.8894 | 33.25 | 68.6
229647 | 2021-10-26 12:38 | 14.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.9263 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.161 | 141168.5356 | 313738.8851 | 33.25 | 68.6
229655 | 2021-10-26 12:38 | 15.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.7653 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.169 | 141260.0723 | 313742.7356 | 33.25 | 68.6
229663 | 2021-10-26 12:39 | 15.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.6648 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.174 | 141265.8571 | 313770.2533 | 33.25 | 68.6
229671 | 2021-10-26 12:39 | 15.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.5041 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.182 | 141310.8559 | 313793.6635 | 33.25 | 68.6
229679 | 2021-10-26 12:39 | 16.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4137 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.189 | 141388.9708 | 313821.92 | 33.25 | 68.6
229687 | 2021-10-26 12:40 | 16.3404 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.163 | μmol/L | 12.0082 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.194 | 141441.5922 | 313839.6055 | 33.25 | 68.6
229695 | 2021-10-26 12:40 | 16.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.0727 | μmol/L | 12.0021 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.201 | 141485.5957 | 313870.8033 | 33.25 | 68.6
229703 | 2021-10-26 12:40 | 17.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.1128 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.204 | 141537.5537 | 313882.9229 | 33.25 | 68.6
229711 | 2021-10-26 12:41 | 17.3401 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.0526 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.207 | 141574.9951 | 313907.6675 | 33.25 | 68.6
229719 | 2021-10-26 12:41 | 17.6736 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.9625 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.209 | 141614.6669 | 313956.9247 | 33.25 | 68.6
229727 | 2021-10-26 12:41 | 18.0068 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.9624 | μmol/L | 11.9839 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.214 | 141661.2676 | 313959.6824 | 33.25 | 68.6
229735 | 2021-10-26 12:42 | 18.3403 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.8223 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.216 | 141686.2357 | 313971.7133 | 33.25 | 68.6
229743 | 2021-10-26 12:42 | 18.6733 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.8323 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.218 | 141708.9945 | 314001.0283 | 33.25 | 68.6
229751 | 2021-10-26 12:42 | 19.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.8623 | μmol/L | 11.9839 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.219 | 141720.9806 | 313991.7463 | 33.25 | 68.6
229759 | 2021-10-26 12:43 | 19.3399 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.7622 | μmol/L | 11.9839 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.224 | 141751.0933 | 313979.6581 | 33.25 | 68.6
229767 | 2021-10-26 12:43 | 19.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.7322 | μmol/L | 11.9778 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.228 | 141781.8012 | 313975.8904 | 33.25 | 68.6
229775 | 2021-10-26 12:43 | 20.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.4323 | μmol/L | 12.0021 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.233 | 141801.5337 | 313976.3089 | 33.25 | 68.6
229783 | 2021-10-26 12:44 | 20.3403 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.6022 | μmol/L | 11.9839 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.232 | 141821.4774 | 313973.0398 | 33.25 | 68.6
229791 | 2021-10-26 12:44 | 20.6733 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.4423 | μmol/L | 11.996 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.235 | 141849.5296 | 313967.7367 | 33.25 | 68.6
229799 | 2021-10-26 12:44 | 21.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.4323 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.238 | 141874.7152 | 313959.7598 | 33.25 | 68.6
229807 | 2021-10-26 12:45 | 21.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.4922 | μmol/L | 11.9778 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.24 | 141887.1211 | 313967.8015 | 33.25 | 68.6
229815 | 2021-10-26 12:45 | 21.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.3424 | μmol/L | 11.9839 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.245 | 141903.1171 | 313968.9841 | 33.25 | 68.6
229823 | 2021-10-26 12:45 | 22.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.2325 | μmol/L | 11.99 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.248 | 141919.5092 | 313953.708 | 33.25 | 68.6
229831 | 2021-10-26 12:46 | 22.34 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.2625 | μmol/L | 11.9839 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.249 | 141932.9028 | 313952.7414 | 33.25 | 68.6
229839 | 2021-10-26 12:46 | 22.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.2326 | μmol/L | 11.9778 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 25.253 | 141947.3106 | 313957.2883 | 33.25 | 68.6