## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:04

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
232394 | 2021-10-29 10:39 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.6071 | μmol/L | 13.3262 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.481 | 181560.8926 | 312818.328 | 33.25 | 68.6
232404 | 2021-10-29 10:39 | 0.33108 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.0451 | μmol/L | 13.3383 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.522 | 181946.9303 | 312883.9238 | 33.25 | 68.6
232414 | 2021-10-29 10:40 | 0.66475 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.4741 | μmol/L | 13.3383 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.569 | 182264.5357 | 312921.2716 | 33.25 | 68.6
232424 | 2021-10-29 10:40 | 0.99772 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.9963 | μmol/L | 13.3322 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.611 | 182547.906 | 312958.411 | 33.25 | 68.6
232434 | 2021-10-29 10:40 | 1.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.826 | μmol/L | 13.3444 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.62 | 182629.9992 | 312984.5478 | 33.25 | 68.6
232444 | 2021-10-29 10:41 | 1.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.8864 | μmol/L | 13.3444 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.615 | 182682.1639 | 313018.2306 | 33.25 | 68.6
232454 | 2021-10-29 10:41 | 1.998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.7656 | μmol/L | 13.3444 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.625 | 182763.0211 | 313056.0744 | 33.25 | 68.6
232464 | 2021-10-29 10:41 | 2.3312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.5485 | μmol/L | 13.3444 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.643 | 182890.528 | 313080.0121 | 33.25 | 68.6
232474 | 2021-10-29 10:42 | 2.6648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.3371 | μmol/L | 13.3505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.658 | 182992.8067 | 313121.0898 | 33.25 | 68.6
232484 | 2021-10-29 10:42 | 2.9973 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.2889 | μmol/L | 13.3505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.662 | 183048.2321 | 313158.8092 | 33.25 | 68.6
232494 | 2021-10-29 10:42 | 3.3314 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.3703 | μmol/L | 13.3565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.736 | 183558.9055 | 313202.3735 | 33.25 | 68.6
232504 | 2021-10-29 10:43 | 3.6644 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.9346 | μmol/L | 13.3626 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.854 | 184413.1763 | 313257.6018 | 33.25 | 68.6
232514 | 2021-10-29 10:43 | 3.9976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.1541 | μmol/L | 13.3626 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.92 | 184870.4886 | 313293.5286 | 33.25 | 68.6
232524 | 2021-10-29 10:43 | 4.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.7654 | μmol/L | 13.3626 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.953 | 185131.8769 | 313328.0445 | 33.25 | 68.6
232534 | 2021-10-29 10:44 | 4.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.7365 | μmol/L | 13.3565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.958 | 185147.5607 | 313369.5929 | 33.25 | 68.6
232544 | 2021-10-29 10:44 | 4.9981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.8424 | μmol/L | 13.3565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.949 | 185092.2587 | 313414.3235 | 33.25 | 68.6
232554 | 2021-10-29 10:44 | 5.3307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.0662 | μmol/L | 13.3565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.93 | 185042.2893 | 313485.8756 | 33.25 | 68.6
232564 | 2021-10-29 10:45 | 5.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.2603 | μmol/L | 13.3626 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.911 | 185002.3223 | 313545.8457 | 33.25 | 68.6
232574 | 2021-10-29 10:45 | 5.9978 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.4848 | μmol/L | 13.3626 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.892 | 184950.4889 | 313601.5446 | 33.25 | 68.6
232584 | 2021-10-29 10:45 | 6.3312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.645 | μmol/L | 13.3565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.881 | 184905.8814 | 313669.3972 | 33.25 | 68.6
232594 | 2021-10-29 10:46 | 6.6641 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.8463 | μmol/L | 13.3565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.864 | 184881.0616 | 313728.1409 | 33.25 | 68.6
232604 | 2021-10-29 10:46 | 6.9976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.0715 | μmol/L | 13.3565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.845 | 184840.7539 | 313780.0395 | 33.25 | 68.6
232614 | 2021-10-29 10:46 | 7.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.6302 | μmol/L | 13.3565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.798 | 184552.535 | 313815.9658 | 33.25 | 68.6
232624 | 2021-10-29 10:47 | 7.6641 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.4008 | μmol/L | 13.3505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.736 | 184156.0958 | 313841.8296 | 33.25 | 68.6
232634 | 2021-10-29 10:47 | 7.96 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.0418 | μmol/L | 13.3565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.68 | 183809.7799 | 313895.4812 | 33.25 | 68.6
232644 | 2021-10-29 10:47 | 8.2975 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.3612 | μmol/L | 13.3505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.656 | 183727.0558 | 313930.8203 | 33.25 | 68.6
232654 | 2021-10-29 10:48 | 8.6312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.3426 | μmol/L | 13.3565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.655 | 183785.1638 | 313981.5076 | 33.25 | 68.6
232664 | 2021-10-29 10:48 | 8.9647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.4455 | μmol/L | 13.3505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.649 | 183797.7516 | 314012.2508 | 33.25 | 68.6
232674 | 2021-10-29 10:48 | 9.2981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.4269 | μmol/L | 13.3565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.648 | 183854.3166 | 314052.9712 | 33.25 | 68.6
232684 | 2021-10-29 10:49 | 9.6314 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.3185 | μmol/L | 13.3565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.657 | 183952.5428 | 314085.3502 | 33.25 | 68.6
232694 | 2021-10-29 10:49 | 9.9647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.7363 | μmol/L | 13.3505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.708 | 184362.5475 | 314129.1506 | 33.25 | 68.6
232704 | 2021-10-29 10:49 | 10.2981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.6248 | μmol/L | 13.3505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.801 | 184941.2778 | 314182.835 | 33.25 | 68.6
232714 | 2021-10-29 10:50 | 10.6315 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.8829 | μmol/L | 13.3444 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.866 | 185431.8396 | 314250.6756 | 33.25 | 68.6
232724 | 2021-10-29 10:50 | 10.9646 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.7289 | μmol/L | 13.3444 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.879 | 185593.9304 | 314317.8485 | 33.25 | 68.6
232734 | 2021-10-29 10:50 | 11.2979 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.5213 | μmol/L | 13.3505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.894 | 185766.725 | 314363.8577 | 33.25 | 68.6
232744 | 2021-10-29 10:51 | 11.6307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.2249 | μmol/L | 13.3626 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.914 | 186004.95 | 314400.1117 | 33.25 | 68.6
232754 | 2021-10-29 10:51 | 11.9647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.4493 | μmol/L | 13.3626 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.895 | 185939.5987 | 314441.153 | 33.25 | 68.6
232764 | 2021-10-29 10:51 | 12.2974 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.7698 | μmol/L | 13.3505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.873 | 185892.5434 | 314464.2187 | 33.25 | 68.6
232774 | 2021-10-29 10:52 | 12.6312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.3913 | μmol/L | 13.3505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.905 | 186131.8149 | 314500.3737 | 33.25 | 68.6
232784 | 2021-10-29 10:52 | 12.9643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.0019 | μmol/L | 13.3505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.938 | 186387.516 | 314523.2525 | 33.25 | 68.6
232794 | 2021-10-29 10:52 | 13.2979 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.6734 | μmol/L | 13.3383 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.971 | 186677.3439 | 314559.5845 | 33.25 | 68.6
232804 | 2021-10-29 10:53 | 13.6313 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 149.9537 | μmol/L | 13.3444 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.03 | 187086.1574 | 314572.5376 | 33.25 | 68.6
232814 | 2021-10-29 10:53 | 13.9646 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.9714 | μmol/L | 13.3444 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.114 | 187690.3357 | 314616.2356 | 33.25 | 68.6
232824 | 2021-10-29 10:53 | 14.2981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.3278 | μmol/L | 13.3383 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.172 | 188065.6384 | 314629.0697 | 33.25 | 68.6
232834 | 2021-10-29 10:54 | 14.6313 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.9692 | μmol/L | 13.3383 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.203 | 188298.4825 | 314683.5727 | 33.25 | 68.6
232844 | 2021-10-29 10:54 | 14.9643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.0732 | μmol/L | 13.3383 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.194 | 188308.6542 | 314714.3317 | 33.25 | 68.6
232854 | 2021-10-29 10:54 | 15.2976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.391 | μmol/L | 13.3444 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.164 | 188160.2698 | 314751.3307 | 33.25 | 68.6
232864 | 2021-10-29 10:55 | 15.6309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.7337 | μmol/L | 13.3383 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.137 | 187997.694 | 314796.4873 | 33.25 | 68.6
232874 | 2021-10-29 10:55 | 15.9647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.7801 | μmol/L | 13.3383 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.133 | 188012.0519 | 314819.0973 | 33.25 | 68.6
232884 | 2021-10-29 10:55 | 16.2975 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.4628 | μmol/L | 13.3444 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.158 | 188207.0966 | 314866.9427 | 33.25 | 68.6
232894 | 2021-10-29 10:56 | 16.6313 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.0669 | μmol/L | 13.3444 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.192 | 188500.041 | 314935.5867 | 33.25 | 68.6
232904 | 2021-10-29 10:56 | 16.9648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.6535 | μmol/L | 13.3444 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.228 | 188788.1805 | 314972.2652 | 33.25 | 68.6
232914 | 2021-10-29 10:56 | 17.2977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.4346 | μmol/L | 13.3444 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.247 | 188986.6749 | 315013.9622 | 33.25 | 68.6
232924 | 2021-10-29 10:57 | 17.6307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.0436 | μmol/L | 13.3444 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.281 | 189241.1769 | 315044.9231 | 33.25 | 68.6
232934 | 2021-10-29 10:57 | 17.9645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.4081 | μmol/L | 13.3383 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.339 | 189648.8111 | 315088.4769 | 33.25 | 68.6
232944 | 2021-10-29 10:57 | 18.2978 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.2138 | μmol/L | 13.3383 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.356 | 189791.0725 | 315132.3129 | 33.25 | 68.6
232954 | 2021-10-29 10:58 | 18.6312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.4653 | μmol/L | 13.3383 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.334 | 189744.5381 | 315157.611 | 33.25 | 68.6
232964 | 2021-10-29 10:58 | 18.9646 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.7401 | μmol/L | 13.3383 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.31 | 189638.8251 | 315200.9127 | 33.25 | 68.6
232974 | 2021-10-29 10:58 | 19.2978 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.9132 | μmol/L | 13.3262 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.3 | 189604.4591 | 315217.251 | 33.25 | 68.6
232984 | 2021-10-29 10:59 | 19.6313 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.7818 | μmol/L | 13.3201 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.314 | 189738.43 | 315264.9872 | 33.25 | 68.6
232994 | 2021-10-29 10:59 | 19.9647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.5412 | μmol/L | 13.3201 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.335 | 189905.8205 | 315290.242 | 33.25 | 68.6
233004 | 2021-10-29 10:59 | 20.2973 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.3073 | μmol/L | 13.314 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.358 | 190072.7819 | 315338.7215 | 33.25 | 68.6
233014 | 2021-10-29 11:00 | 20.6308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.2502 | μmol/L | 13.314 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.363 | 190160.1716 | 315378.2184 | 33.25 | 68.6
233024 | 2021-10-29 11:00 | 20.9648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.1463 | μmol/L | 13.3262 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.367 | 190248.0104 | 315414.3206 | 33.25 | 68.6
233034 | 2021-10-29 11:00 | 21.2973 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.0208 | μmol/L | 13.3262 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.378 | 190401.2324 | 315449.0335 | 33.25 | 68.6
233044 | 2021-10-29 11:01 | 21.6308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.799 | μmol/L | 13.3201 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.4 | 190593.6427 | 315500.4919 | 33.25 | 68.6
233054 | 2021-10-29 11:01 | 21.9643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3771 | μmol/L | 13.3322 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.432 | 190849.777 | 315530.2765 | 33.25 | 68.6
233064 | 2021-10-29 11:01 | 22.298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.1955 | μmol/L | 13.3322 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.448 | 191006.6745 | 315557.3661 | 33.25 | 68.6
233074 | 2021-10-29 11:02 | 22.6307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.2636 | μmol/L | 13.3322 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.442 | 191005.0465 | 315582.0944 | 33.25 | 68.6
233084 | 2021-10-29 11:02 | 22.9642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.2966 | μmol/L | 13.3444 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.434 | 191026.4755 | 315607.1262 | 33.25 | 68.6
233094 | 2021-10-29 11:02 | 23.2975 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3142 | μmol/L | 13.3383 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.435 | 191065.4115 | 315620.7445 | 33.25 | 68.6
233104 | 2021-10-29 11:03 | 23.6311 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.2233 | μmol/L | 13.3383 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.443 | 191168.6145 | 315642.5198 | 33.25 | 68.6
233114 | 2021-10-29 11:03 | 23.964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.1615 | μmol/L | 13.3322 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.451 | 191266.3365 | 315649.2922 | 33.25 | 68.6
233124 | 2021-10-29 11:03 | 24.2976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.1326 | μmol/L | 13.3383 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.451 | 191288.9401 | 315664.473 | 33.25 | 68.6
233134 | 2021-10-29 11:04 | 24.6312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.1161 | μmol/L | 13.3322 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.455 | 191331.4412 | 315710.3016 | 33.25 | 68.6
233144 | 2021-10-29 11:04 | 24.9641 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.9976 | μmol/L | 13.3262 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.468 | 191443.2189 | 315732.6857 | 33.25 | 68.6
233154 | 2021-10-29 11:04 | 25.2974 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.8339 | μmol/L | 13.3201 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.485 | 191572.2313 | 315754.1808 | 33.25 | 68.6
233164 | 2021-10-29 11:05 | 25.631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.8112 | μmol/L | 13.3201 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.487 | 191608.5526 | 315781.1372 | 33.25 | 68.6
233174 | 2021-10-29 11:05 | 25.9647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.5954 | μmol/L | 13.3322 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.501 | 191711.5075 | 315795.4487 | 33.25 | 68.6
233184 | 2021-10-29 11:05 | 26.298 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.5502 | μmol/L | 13.3322 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 31.505 | 191820.4488 | 315826.6301 | 33.25 | 68.6