## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 09:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231516 | 2021-10-29 09:33 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.1661 | μmol/L | 17.359 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.614 | 115683.2464 | 279448.5891 | 26.25 | 74
231526 | 2021-10-29 09:33 | 0.33291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.7723 | μmol/L | 17.359 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.635 | 115912.1722 | 279516.8165 | 26.25 | 74
231536 | 2021-10-29 09:33 | 0.6657 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4954 | μmol/L | 17.3529 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.652 | 115999.5175 | 279559.7591 | 26.25 | 74
231546 | 2021-10-29 09:34 | 0.99902 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2152 | μmol/L | 17.3529 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.667 | 116133.2066 | 279603.9515 | 26.25 | 74
231556 | 2021-10-29 09:34 | 1.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0285 | μmol/L | 17.3529 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.677 | 116226.3039 | 279657.8344 | 26.25 | 74
231566 | 2021-10-29 09:34 | 1.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.8794 | μmol/L | 17.3529 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.685 | 116264.4922 | 279683.7037 | 26.25 | 74
231576 | 2021-10-29 09:35 | 1.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.6039 | μmol/L | 17.3468 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.702 | 116304.957 | 279722.141 | 26.25 | 74
231586 | 2021-10-29 09:35 | 2.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.4294 | μmol/L | 17.3285 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.718 | 116443.4029 | 279759.7268 | 26.25 | 74
231596 | 2021-10-29 09:35 | 2.6663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.1694 | μmol/L | 17.3285 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.732 | 116539.509 | 279793.1326 | 26.25 | 74
231606 | 2021-10-29 09:36 | 2.9992 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.9653 | μmol/L | 17.3285 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.743 | 116666.7273 | 279831.9471 | 26.25 | 74
231616 | 2021-10-29 09:36 | 3.3325 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.591 | μmol/L | 17.3346 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.761 | 116816.8688 | 279867.0152 | 26.25 | 74
231626 | 2021-10-29 09:36 | 3.6659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.4099 | μmol/L | 17.3285 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.773 | 117015.591 | 279897.4625 | 26.25 | 74
231636 | 2021-10-29 09:37 | 3.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.196 | μmol/L | 17.3164 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.789 | 117199.1692 | 279928.6132 | 26.25 | 74
231646 | 2021-10-29 09:37 | 4.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.0746 | μmol/L | 17.3042 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.8 | 117403.3134 | 279950.1454 | 26.25 | 74
231656 | 2021-10-29 09:37 | 4.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.7981 | μmol/L | 17.3042 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.815 | 117656.1236 | 279978.9562 | 26.25 | 74
231666 | 2021-10-29 09:38 | 4.9992 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.7362 | μmol/L | 17.2859 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.825 | 117970.1298 | 279992.9968 | 26.25 | 74
231676 | 2021-10-29 09:38 | 5.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.5115 | μmol/L | 17.292 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.835 | 118040.1434 | 280005.9517 | 26.25 | 74
231686 | 2021-10-29 09:38 | 5.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.3316 | μmol/L | 17.2859 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.847 | 118206.7218 | 280032.4445 | 26.25 | 74
231696 | 2021-10-29 09:39 | 5.9995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.1297 | μmol/L | 17.2859 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.858 | 118349.1695 | 280045.651 | 26.25 | 74
231706 | 2021-10-29 09:39 | 6.3327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.818 | μmol/L | 17.2859 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.875 | 118621.6809 | 280078.8934 | 26.25 | 74
231716 | 2021-10-29 09:39 | 6.6661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.58 | μmol/L | 17.2859 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.888 | 118840.7072 | 280089.1184 | 26.25 | 74
231726 | 2021-10-29 09:40 | 6.9991 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.5004 | μmol/L | 17.2676 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.899 | 119055.3366 | 280127.7749 | 26.25 | 74
231736 | 2021-10-29 09:40 | 7.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.332 | μmol/L | 17.2737 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.906 | 119239.4444 | 280137.6925 | 26.25 | 74
231746 | 2021-10-29 09:40 | 7.6658 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.1899 | μmol/L | 17.2676 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.916 | 119408.6489 | 280154.2365 | 26.25 | 74
231756 | 2021-10-29 09:41 | 7.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.975 | μmol/L | 17.2616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.93 | 119534.6332 | 280188.8926 | 26.25 | 74
231766 | 2021-10-29 09:41 | 8.3325 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.906 | μmol/L | 17.2555 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.936 | 119648.8557 | 280199.0995 | 26.25 | 74
231776 | 2021-10-29 09:41 | 8.6661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.7706 | μmol/L | 17.2676 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.939 | 119779.4411 | 280212.0165 | 26.25 | 74
231786 | 2021-10-29 09:42 | 8.9993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.6733 | μmol/L | 17.2494 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.951 | 119894.6342 | 280238.8531 | 26.25 | 74
231796 | 2021-10-29 09:42 | 9.3324 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.5318 | μmol/L | 17.2433 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.961 | 120013.5384 | 280233.3196 | 26.25 | 74
231806 | 2021-10-29 09:42 | 9.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.358 | μmol/L | 17.2311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.975 | 120135.3059 | 280245.2362 | 26.25 | 74
231816 | 2021-10-29 09:43 | 9.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.2571 | μmol/L | 17.2189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.985 | 120055.7589 | 280269.5434 | 26.25 | 74
231826 | 2021-10-29 09:43 | 10.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.2147 | μmol/L | 17.2007 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.994 | 120148.989 | 280319.988 | 26.25 | 74
231836 | 2021-10-29 09:43 | 10.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.979 | μmol/L | 17.2007 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.007 | 120191.0294 | 280354.6 | 26.25 | 74
231846 | 2021-10-29 09:44 | 10.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.8643 | μmol/L | 17.1824 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.02 | 120255.0807 | 280383.813 | 26.25 | 74
231856 | 2021-10-29 09:44 | 11.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.7054 | μmol/L | 17.1763 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.031 | 120377.6129 | 280411.6178 | 26.25 | 74
231866 | 2021-10-29 09:44 | 11.6663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.5508 | μmol/L | 17.1641 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.044 | 120544.1083 | 280444.5667 | 26.25 | 74
231876 | 2021-10-29 09:45 | 11.999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.2939 | μmol/L | 17.1702 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.056 | 120696.8967 | 280454.9246 | 26.25 | 74
231886 | 2021-10-29 09:45 | 12.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.1175 | μmol/L | 17.1641 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.068 | 120819.4141 | 280469.7872 | 26.25 | 74
231896 | 2021-10-29 09:45 | 12.6661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.9414 | μmol/L | 17.158 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.08 | 120906.1288 | 280495.8104 | 26.25 | 74
231906 | 2021-10-29 09:46 | 12.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.8195 | μmol/L | 17.152 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.089 | 121038.4226 | 280513.9181 | 26.25 | 74
231916 | 2021-10-29 09:46 | 13.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.7156 | μmol/L | 17.1459 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.097 | 121130.6379 | 280539.7491 | 26.25 | 74
231926 | 2021-10-29 09:46 | 13.6661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.5039 | μmol/L | 17.1398 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.111 | 121268.5109 | 280585.7161 | 26.25 | 74
231936 | 2021-10-29 09:47 | 13.9992 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.4362 | μmol/L | 17.1337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.117 | 121406.7532 | 280617.1794 | 26.25 | 74
231946 | 2021-10-29 09:47 | 14.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.2649 | μmol/L | 17.1215 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.131 | 121527.6526 | 280625.3814 | 26.25 | 74
231956 | 2021-10-29 09:47 | 14.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.1435 | μmol/L | 17.1154 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.14 | 121653.8372 | 280656.3431 | 26.25 | 74
231966 | 2021-10-29 09:48 | 14.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.9285 | μmol/L | 17.1154 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.152 | 121784.7649 | 280659.0921 | 26.25 | 74
231976 | 2021-10-29 09:48 | 15.3329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.8294 | μmol/L | 17.1032 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.162 | 121279.6556 | 280682.637 | 26.25 | 74