## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 09:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
225140 | 2021-10-26 09:00 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.7837 | μmol/L | 15.1121 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.206 | 134266.598 | 300757.9201 | 59.9307 | 38.1
225150 | 2021-10-26 09:00 | 0.33965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.8384 | μmol/L | 15.0938 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.21 | 134420.057 | 300763.2388 | 59.9307 | 38.1
225160 | 2021-10-26 09:00 | 0.67325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.0133 | μmol/L | 15.0816 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.206 | 134430.0079 | 300799.4675 | 59.9307 | 38.1
225170 | 2021-10-26 09:01 | 1.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.0429 | μmol/L | 15.0694 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.209 | 134469.8316 | 300817.1039 | 59.9307 | 38.1
225180 | 2021-10-26 09:01 | 1.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.0473 | μmol/L | 15.0633 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.211 | 134477.9171 | 300817.6552 | 59.9307 | 38.1
225190 | 2021-10-26 09:01 | 1.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.0103 | μmol/L | 15.0572 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.215 | 134477.8546 | 300820.4279 | 59.9307 | 38.1
225200 | 2021-10-26 09:02 | 2.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.9599 | μmol/L | 15.0694 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.213 | 134505.6546 | 300823.464 | 59.9307 | 38.1
225210 | 2021-10-26 09:02 | 2.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.8309 | μmol/L | 15.0755 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.217 | 134518.4424 | 300818.429 | 59.9307 | 38.1
225220 | 2021-10-26 09:02 | 2.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.7806 | μmol/L | 15.0877 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.215 | 134511.9666 | 300809.2638 | 59.9307 | 38.1
225230 | 2021-10-26 09:03 | 3.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.8517 | μmol/L | 15.0755 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.216 | 134516.6401 | 300798.934 | 59.9307 | 38.1
225240 | 2021-10-26 09:03 | 3.3399 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.8724 | μmol/L | 15.0755 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.215 | 134520.6239 | 300797.5741 | 59.9307 | 38.1
225250 | 2021-10-26 09:03 | 3.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.7228 | μmol/L | 15.0816 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.22 | 134520.6523 | 300787.7741 | 59.9307 | 38.1
225260 | 2021-10-26 09:04 | 4.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.6814 | μmol/L | 15.0816 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.222 | 134519.1331 | 300773.1114 | 59.9307 | 38.1
225270 | 2021-10-26 09:04 | 4.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.6606 | μmol/L | 15.0816 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.223 | 134524.9983 | 300775.1235 | 59.9307 | 38.1
225280 | 2021-10-26 09:04 | 4.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4698 | μmol/L | 15.0877 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.23 | 134546.3473 | 300766.8539 | 59.9307 | 38.1
225290 | 2021-10-26 09:05 | 5.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5156 | μmol/L | 15.0816 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.23 | 134540.3521 | 300776.6956 | 59.9307 | 38.1
225300 | 2021-10-26 09:05 | 5.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5156 | μmol/L | 15.0816 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.23 | 134544.277 | 300788.0774 | 59.9307 | 38.1
225310 | 2021-10-26 09:05 | 5.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4328 | μmol/L | 15.0816 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.234 | 134574.5355 | 300773.178 | 59.9307 | 38.1
225320 | 2021-10-26 09:06 | 6.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.2879 | μmol/L | 15.0816 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.241 | 134577.5944 | 300779.7952 | 59.9307 | 38.1
225330 | 2021-10-26 09:06 | 6.3398 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5497 | μmol/L | 15.0633 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.235 | 134561.2783 | 300757.3352 | 59.9307 | 38.1
225340 | 2021-10-26 09:06 | 6.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.7792 | μmol/L | 15.0328 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.235 | 134545.1212 | 300768.0906 | 59.9307 | 38.1
225350 | 2021-10-26 09:07 | 7.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.6918 | μmol/L | 15.0389 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.237 | 134552.5473 | 300749.0999 | 59.9307 | 38.1
225360 | 2021-10-26 09:07 | 7.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.717 | μmol/L | 15.0328 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.238 | 134552.5801 | 300747.8566 | 59.9307 | 38.1
225370 | 2021-10-26 09:07 | 7.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.7333 | μmol/L | 15.0389 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.235 | 134551.6317 | 300733.4701 | 59.9307 | 38.1
225380 | 2021-10-26 09:08 | 8.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5586 | μmol/L | 15.0511 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.239 | 134566.4874 | 300749.6139 | 59.9307 | 38.1
225390 | 2021-10-26 09:08 | 8.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.6593 | μmol/L | 15.0267 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.243 | 134581.5676 | 300759.9601 | 59.9307 | 38.1
225400 | 2021-10-26 09:08 | 8.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5765 | μmol/L | 15.0267 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.247 | 134579.9117 | 300776.1933 | 59.9307 | 38.1
225410 | 2021-10-26 09:09 | 9.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4064 | μmol/L | 15.0328 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.253 | 134605.9247 | 300767.8905 | 59.9307 | 38.1
225420 | 2021-10-26 09:09 | 9.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.3695 | μmol/L | 15.0267 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.257 | 134590.3358 | 300776.0587 | 59.9307 | 38.1
225430 | 2021-10-26 09:09 | 9.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.3237 | μmol/L | 15.0328 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.257 | 134624.8999 | 300795.3155 | 59.9307 | 38.1
225440 | 2021-10-26 09:10 | 10.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.3237 | μmol/L | 15.0328 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.257 | 134644.6178 | 300794.8564 | 59.9307 | 38.1
225450 | 2021-10-26 09:10 | 10.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.2203 | μmol/L | 15.0328 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.262 | 134654.7137 | 300787.5616 | 59.9307 | 38.1
225460 | 2021-10-26 09:10 | 10.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.3119 | μmol/L | 15.0206 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.262 | 134643.0064 | 300810.8812 | 59.9307 | 38.1
225470 | 2021-10-26 09:11 | 11.0066 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4244 | μmol/L | 15.0084 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.261 | 134656.72 | 300796.65 | 59.9307 | 38.1
225480 | 2021-10-26 09:11 | 11.3404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4703 | μmol/L | 15.0023 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.261 | 134661.8856 | 300804.2414 | 59.9307 | 38.1
225490 | 2021-10-26 09:11 | 11.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4127 | μmol/L | 14.9962 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134659.8427 | 300805.9424 | 59.9307 | 38.1
225500 | 2021-10-26 09:12 | 12.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4127 | μmol/L | 14.9962 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134649.9812 | 300793.4851 | 59.9307 | 38.1
225510 | 2021-10-26 09:12 | 12.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4631 | μmol/L | 14.984 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.268 | 134670.9922 | 300767.2959 | 59.9307 | 38.1
225520 | 2021-10-26 09:12 | 12.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.3552 | μmol/L | 14.9901 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.271 | 134670.9465 | 300775.7349 | 59.9307 | 38.1
225530 | 2021-10-26 09:13 | 13.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4172 | μmol/L | 14.9901 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.268 | 134661.6038 | 300783.9804 | 59.9307 | 38.1
225540 | 2021-10-26 09:13 | 13.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4037 | μmol/L | 15.0084 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.262 | 134657.4684 | 300777.1373 | 59.9307 | 38.1
225550 | 2021-10-26 09:13 | 13.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.383 | μmol/L | 15.0084 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.263 | 134658.5821 | 300762.4017 | 59.9307 | 38.1
225560 | 2021-10-26 09:14 | 14.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4541 | μmol/L | 14.9962 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.264 | 134656.2933 | 300750.3061 | 59.9307 | 38.1
225570 | 2021-10-26 09:14 | 14.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.3713 | μmol/L | 14.9962 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.268 | 134652.831 | 300759.8831 | 59.9307 | 38.1
225580 | 2021-10-26 09:14 | 14.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.3668 | μmol/L | 15.0023 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.266 | 134642.754 | 300756.0213 | 59.9307 | 38.1
225590 | 2021-10-26 09:15 | 15.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.555 | μmol/L | 14.9718 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.268 | 134657.1402 | 300743.6668 | 59.9307 | 38.1
225600 | 2021-10-26 09:15 | 15.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5227 | μmol/L | 14.9596 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.274 | 134673.9922 | 300726.5077 | 59.9307 | 38.1
225610 | 2021-10-26 09:15 | 15.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5686 | μmol/L | 14.9535 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.274 | 134661.7879 | 300693.3906 | 59.9307 | 38.1
225620 | 2021-10-26 09:16 | 16.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5318 | μmol/L | 14.9474 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.278 | 134661.2654 | 300699.9001 | 59.9307 | 38.1
225630 | 2021-10-26 09:16 | 16.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.6191 | μmol/L | 14.9413 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.276 | 134657.3511 | 300685.9609 | 59.9307 | 38.1
225640 | 2021-10-26 09:16 | 16.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4697 | μmol/L | 14.9474 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.281 | 134650.2315 | 300653.9908 | 59.9307 | 38.1
225650 | 2021-10-26 09:17 | 17.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4995 | μmol/L | 14.9352 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.284 | 134671.083 | 300623.1551 | 59.9307 | 38.1
225660 | 2021-10-26 09:17 | 17.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4581 | μmol/L | 14.9352 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.286 | 134645.2041 | 300608.5169 | 59.9307 | 38.1
225670 | 2021-10-26 09:17 | 17.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.3915 | μmol/L | 14.9413 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.287 | 134654.7855 | 300597.9322 | 59.9307 | 38.1
225680 | 2021-10-26 09:18 | 18.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.3456 | μmol/L | 14.9474 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.287 | 134631.4182 | 300584.5139 | 59.9307 | 38.1
225690 | 2021-10-26 09:18 | 18.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.387 | μmol/L | 14.9474 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.285 | 134616.2634 | 300552.343 | 59.9307 | 38.1
225700 | 2021-10-26 09:18 | 18.6729 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.279 | μmol/L | 14.9535 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.288 | 134618.0428 | 300536.0287 | 59.9307 | 38.1
225710 | 2021-10-26 09:19 | 19.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.2377 | μmol/L | 14.9535 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.29 | 134617.6185 | 300512.3512 | 59.9307 | 38.1
225720 | 2021-10-26 09:19 | 19.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.2009 | μmol/L | 14.9474 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.294 | 134601.5186 | 300479.0219 | 59.9307 | 38.1
225730 | 2021-10-26 09:19 | 19.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.3754 | μmol/L | 14.9352 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.29 | 134583.1437 | 300459.2601 | 59.9307 | 38.1
225740 | 2021-10-26 09:20 | 20.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4213 | μmol/L | 14.9291 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.29 | 134580.6186 | 300456.559 | 59.9307 | 38.1
225750 | 2021-10-26 09:20 | 20.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4098 | μmol/L | 14.9169 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.295 | 134557.0746 | 300433.5743 | 59.9307 | 38.1
225760 | 2021-10-26 09:20 | 20.6729 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.527 | μmol/L | 14.8986 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.296 | 134548.8495 | 300420.7191 | 59.9307 | 38.1
225770 | 2021-10-26 09:21 | 21.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.6558 | μmol/L | 14.8925 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.292 | 134544.0748 | 300400.1247 | 59.9307 | 38.1
225780 | 2021-10-26 09:21 | 21.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5523 | μmol/L | 14.8925 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.297 | 134533.6711 | 300359.948 | 59.9307 | 38.1
225790 | 2021-10-26 09:21 | 21.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.6144 | μmol/L | 14.8925 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.294 | 134511.7818 | 300342.2622 | 59.9307 | 38.1
225800 | 2021-10-26 09:22 | 22.0066 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5155 | μmol/L | 14.8864 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.301 | 134510.4832 | 300324.8483 | 59.9307 | 38.1
225810 | 2021-10-26 09:22 | 22.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4489 | μmol/L | 14.8925 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.302 | 134498.099 | 300294.8566 | 59.9307 | 38.1
225820 | 2021-10-26 09:22 | 22.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4696 | μmol/L | 14.8925 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.301 | 134487.3971 | 300262.3107 | 59.9307 | 38.1
225830 | 2021-10-26 09:23 | 23.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4075 | μmol/L | 14.8925 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.304 | 134472.1755 | 300244.6046 | 59.9307 | 38.1
225840 | 2021-10-26 09:23 | 23.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4535 | μmol/L | 14.8864 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.304 | 134455.3375 | 300223.409 | 59.9307 | 38.1
225850 | 2021-10-26 09:23 | 23.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4627 | μmol/L | 14.8742 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.308 | 134454.3601 | 300193.3714 | 59.9307 | 38.1
225860 | 2021-10-26 09:24 | 24.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5248 | μmol/L | 14.8742 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.305 | 134439.1251 | 300171.281 | 59.9307 | 38.1
225870 | 2021-10-26 09:24 | 24.3399 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5087 | μmol/L | 14.8681 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.308 | 134421.3585 | 300164.1164 | 59.9307 | 38.1
225880 | 2021-10-26 09:24 | 24.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.472 | μmol/L | 14.862 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.312 | 134432.186 | 300150.5464 | 59.9307 | 38.1
225890 | 2021-10-26 09:25 | 25.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4099 | μmol/L | 14.862 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.315 | 134427.5217 | 300128.3582 | 59.9307 | 38.1
225900 | 2021-10-26 09:25 | 25.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4053 | μmol/L | 14.8681 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.313 | 134405.8212 | 300102.5696 | 59.9307 | 38.1
225910 | 2021-10-26 09:25 | 25.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.3893 | μmol/L | 14.862 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.316 | 134400.3676 | 300095.7439 | 59.9307 | 38.1
225920 | 2021-10-26 09:26 | 26.0066 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4559 | μmol/L | 14.8559 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.315 | 134380.1857 | 300057.9044 | 59.9307 | 38.1
225930 | 2021-10-26 09:26 | 26.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4399 | μmol/L | 14.8498 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.318 | 134371.175 | 300045.6664 | 59.9307 | 38.1
225940 | 2021-10-26 09:26 | 26.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4859 | μmol/L | 14.8437 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.318 | 134363.0268 | 300014.3433 | 59.9307 | 38.1
225950 | 2021-10-26 09:27 | 27.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4998 | μmol/L | 14.8254 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.324 | 134347.6128 | 300007.8406 | 59.9307 | 38.1
225960 | 2021-10-26 09:27 | 27.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4285 | μmol/L | 14.8376 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.323 | 134333.4797 | 299987.4331 | 59.9307 | 38.1
225970 | 2021-10-26 09:27 | 27.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4285 | μmol/L | 14.8376 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 23.323 | 134332.4631 | 299971.8125 | 59.9307 | 38.1