## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 09:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
225141 | 2021-10-26 09:00 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.6733 | μmol/L | 15.7906 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.228 | 93349.7413 | 218777.1235 | 27.3 | 43.4
225151 | 2021-10-26 09:00 | 0.32864 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.515 | μmol/L | 15.7845 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.237 | 93591.8346 | 218805.5863 | 27.3 | 43.4
225161 | 2021-10-26 09:00 | 0.66251 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.4738 | μmol/L | 15.7784 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.241 | 93570.3346 | 218825.5772 | 27.3 | 43.4
225171 | 2021-10-26 09:01 | 0.99514 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.5784 | μmol/L | 15.7662 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.241 | 93579.4645 | 218833.0214 | 27.3 | 43.4
225181 | 2021-10-26 09:01 | 1.3286 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.6542 | μmol/L | 15.7601 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.24 | 93572.5517 | 218834.2506 | 27.3 | 43.4
225191 | 2021-10-26 09:01 | 1.6622 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.5427 | μmol/L | 15.754 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.247 | 93571.6221 | 218839.4746 | 27.3 | 43.4
225201 | 2021-10-26 09:02 | 1.9956 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.4504 | μmol/L | 15.7784 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.242 | 93584.7974 | 218832.423 | 27.3 | 43.4
225211 | 2021-10-26 09:02 | 2.329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.1878 | μmol/L | 15.7845 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.251 | 93583.1912 | 218827.4021 | 27.3 | 43.4
225221 | 2021-10-26 09:02 | 2.6624 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.2689 | μmol/L | 15.7723 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.252 | 93584.889 | 218828.6609 | 27.3 | 43.4
225231 | 2021-10-26 09:03 | 2.9951 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.3323 | μmol/L | 15.754 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.256 | 93583.739 | 218821.8369 | 27.3 | 43.4
225241 | 2021-10-26 09:03 | 3.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.5183 | μmol/L | 15.7296 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.257 | 93576.6759 | 218813.1979 | 27.3 | 43.4
225251 | 2021-10-26 09:03 | 3.6618 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.4481 | μmol/L | 15.7296 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.26 | 93578.6832 | 218824.4833 | 27.3 | 43.4
225261 | 2021-10-26 09:04 | 3.9953 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.5005 | μmol/L | 15.7235 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.26 | 93571.4623 | 218808.9054 | 27.3 | 43.4
225271 | 2021-10-26 09:04 | 4.3287 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.4014 | μmol/L | 15.7296 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.262 | 93583.3543 | 218811.0336 | 27.3 | 43.4
225281 | 2021-10-26 09:04 | 4.6623 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.4537 | μmol/L | 15.7235 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.262 | 93588.5352 | 218819.0457 | 27.3 | 43.4
225291 | 2021-10-26 09:05 | 4.9958 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.4359 | μmol/L | 15.7174 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.265 | 93572.399 | 218816.209 | 27.3 | 43.4
225301 | 2021-10-26 09:05 | 5.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.4939 | μmol/L | 15.7052 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.267 | 93582.6102 | 218821.1519 | 27.3 | 43.4
225311 | 2021-10-26 09:05 | 5.6625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.464 | μmol/L | 15.6869 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.275 | 93600.5321 | 218830.1655 | 27.3 | 43.4
225321 | 2021-10-26 09:06 | 5.9954 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.4576 | μmol/L | 15.6685 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.282 | 93593.4889 | 218816.6406 | 27.3 | 43.4
225331 | 2021-10-26 09:06 | 6.3288 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.493 | μmol/L | 15.6808 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.276 | 93581.8803 | 218821.2358 | 27.3 | 43.4
225341 | 2021-10-26 09:06 | 6.6622 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.3883 | μmol/L | 15.693 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.276 | 93582.2488 | 218817.364 | 27.3 | 43.4
225351 | 2021-10-26 09:07 | 6.9956 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.5291 | μmol/L | 15.6869 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.272 | 93576.0465 | 218809.9427 | 27.3 | 43.4
225361 | 2021-10-26 09:07 | 7.329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.5404 | μmol/L | 15.6746 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.276 | 93570.9708 | 218796.8856 | 27.3 | 43.4
225371 | 2021-10-26 09:07 | 7.6624 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.5928 | μmol/L | 15.6685 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.276 | 93749.1983 | 218795.6647 | 27.3 | 43.4
225381 | 2021-10-26 09:08 | 7.9951 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.6452 | μmol/L | 15.6624 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.276 | 93613.0728 | 218802.6997 | 27.3 | 43.4
225391 | 2021-10-26 09:08 | 8.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.4525 | μmol/L | 15.6685 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.282 | 93616.0955 | 218805.3564 | 27.3 | 43.4
225401 | 2021-10-26 09:08 | 8.662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.5914 | μmol/L | 15.6502 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.283 | 93611.1567 | 218811.8886 | 27.3 | 43.4
225411 | 2021-10-26 09:09 | 8.9952 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.4979 | μmol/L | 15.6502 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.287 | 93606.81 | 218821.6552 | 27.3 | 43.4
225421 | 2021-10-26 09:09 | 9.3286 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.6912 | μmol/L | 15.638 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.283 | 93605.296 | 218840.5253 | 27.3 | 43.4
225431 | 2021-10-26 09:09 | 9.662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.6318 | μmol/L | 15.6319 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.288 | 93613.1248 | 218834.9954 | 27.3 | 43.4
225441 | 2021-10-26 09:10 | 9.9956 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.8309 | μmol/L | 15.6136 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.286 | 93620.7127 | 218826.4831 | 27.3 | 43.4
225451 | 2021-10-26 09:10 | 10.3289 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.7841 | μmol/L | 15.6136 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.288 | 93630.1121 | 218832.4485 | 27.3 | 43.4
225461 | 2021-10-26 09:10 | 10.6624 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.714 | μmol/L | 15.6136 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.291 | 93618.8085 | 218831.0118 | 27.3 | 43.4
225471 | 2021-10-26 09:11 | 10.9956 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.6439 | μmol/L | 15.6136 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.294 | 93631.7431 | 218833.8699 | 27.3 | 43.4
225481 | 2021-10-26 09:11 | 11.3285 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.8949 | μmol/L | 15.5953 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.29 | 93626.7171 | 218828.4576 | 27.3 | 43.4
225491 | 2021-10-26 09:11 | 11.6621 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.8588 | μmol/L | 15.5892 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.294 | 93638.3346 | 218824.8853 | 27.3 | 43.4
225501 | 2021-10-26 09:12 | 11.9955 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9873 | μmol/L | 15.577 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.293 | 93631.7127 | 218826.4435 | 27.3 | 43.4
225511 | 2021-10-26 09:12 | 12.3288 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.8994 | μmol/L | 15.5709 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.299 | 93648.7597 | 218831.2023 | 27.3 | 43.4
225521 | 2021-10-26 09:12 | 12.6623 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.8527 | μmol/L | 15.5709 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.301 | 93637.2023 | 218830.2941 | 27.3 | 43.4
225531 | 2021-10-26 09:13 | 12.9959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.8185 | μmol/L | 15.577 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.3 | 93631.3218 | 218826.2144 | 27.3 | 43.4
225541 | 2021-10-26 09:13 | 13.3289 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.83 | μmol/L | 15.5648 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.304 | 93642.1344 | 218832.0455 | 27.3 | 43.4
225551 | 2021-10-26 09:13 | 13.6623 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9527 | μmol/L | 15.5587 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.301 | 93640.5259 | 218818.308 | 27.3 | 43.4
225561 | 2021-10-26 09:14 | 13.9959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9401 | μmol/L | 15.5526 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.304 | 93638.3296 | 218808.3555 | 27.3 | 43.4
225571 | 2021-10-26 09:14 | 14.3293 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9934 | μmol/L | 15.5404 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.306 | 93640.7854 | 218810.5706 | 27.3 | 43.4
225581 | 2021-10-26 09:14 | 14.6619 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.8757 | μmol/L | 15.5465 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.309 | 93628.8583 | 218796.6053 | 27.3 | 43.4
225591 | 2021-10-26 09:15 | 14.9959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.97 | μmol/L | 15.5404 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.307 | 93640.7731 | 218796.8757 | 27.3 | 43.4
225601 | 2021-10-26 09:15 | 15.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.1094 | μmol/L | 15.5221 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.308 | 93639.3858 | 218786.6168 | 27.3 | 43.4
225611 | 2021-10-26 09:15 | 15.6624 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.0626 | μmol/L | 15.5221 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.31 | 93629.0674 | 218775.1416 | 27.3 | 43.4
225621 | 2021-10-26 09:16 | 15.9959 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.0633 | μmol/L | 15.516 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.312 | 93626.4505 | 218764.3903 | 27.3 | 43.4
225631 | 2021-10-26 09:16 | 16.3285 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.8988 | μmol/L | 15.5221 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.317 | 93621.48 | 218756.4872 | 27.3 | 43.4
225641 | 2021-10-26 09:16 | 16.6619 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.0223 | μmol/L | 15.5098 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.316 | 93626.0715 | 218754.134 | 27.3 | 43.4
225651 | 2021-10-26 09:17 | 16.9951 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9346 | μmol/L | 15.5037 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.322 | 93633.6557 | 218736.883 | 27.3 | 43.4
225661 | 2021-10-26 09:17 | 17.3285 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9872 | μmol/L | 15.4976 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.322 | 93617.1531 | 218724.4948 | 27.3 | 43.4
225671 | 2021-10-26 09:17 | 17.6618 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.034 | μmol/L | 15.4976 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.32 | 93628.5303 | 218711.5208 | 27.3 | 43.4
225681 | 2021-10-26 09:18 | 17.9953 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.0398 | μmol/L | 15.4915 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.322 | 93612.1561 | 218707.1602 | 27.3 | 43.4
225691 | 2021-10-26 09:18 | 18.3285 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.1267 | μmol/L | 15.4793 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.323 | 93607.3014 | 218680.9582 | 27.3 | 43.4
225701 | 2021-10-26 09:18 | 18.662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.0807 | μmol/L | 15.4732 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.327 | 93612.8787 | 218666.0639 | 27.3 | 43.4
225711 | 2021-10-26 09:19 | 18.9954 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.069 | μmol/L | 15.461 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.332 | 93609.7737 | 218653.3948 | 27.3 | 43.4
225721 | 2021-10-26 09:19 | 19.3289 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9462 | μmol/L | 15.4671 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.335 | 93611.0185 | 218638.4844 | 27.3 | 43.4
225731 | 2021-10-26 09:19 | 19.6618 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.8819 | μmol/L | 15.461 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.34 | 93602.9981 | 218620.6484 | 27.3 | 43.4
225741 | 2021-10-26 09:20 | 19.9958 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9346 | μmol/L | 15.4549 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.34 | 93625.3293 | 218608.1376 | 27.3 | 43.4
225751 | 2021-10-26 09:20 | 20.3286 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.917 | μmol/L | 15.4488 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.343 | 93602.4627 | 218600.7858 | 27.3 | 43.4
225761 | 2021-10-26 09:20 | 20.6626 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9279 | μmol/L | 15.4427 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.345 | 93593.1224 | 218597.199 | 27.3 | 43.4
225771 | 2021-10-26 09:21 | 20.9957 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.0975 | μmol/L | 15.4366 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.34 | 93580.1909 | 218569.2446 | 27.3 | 43.4
225781 | 2021-10-26 09:21 | 21.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9522 | μmol/L | 15.4366 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.346 | 93575.6487 | 218560.4115 | 27.3 | 43.4
225791 | 2021-10-26 09:21 | 21.6625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.1217 | μmol/L | 15.4305 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.341 | 93567.1586 | 218539.2286 | 27.3 | 43.4
225801 | 2021-10-26 09:22 | 21.9951 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.0107 | μmol/L | 15.4244 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.348 | 93560.1603 | 218524.0175 | 27.3 | 43.4
225811 | 2021-10-26 09:22 | 22.3286 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.0459 | μmol/L | 15.4122 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.351 | 93549.1456 | 218516.3378 | 27.3 | 43.4
225821 | 2021-10-26 09:22 | 22.6621 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9465 | μmol/L | 15.4183 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.353 | 93541.0427 | 218492.9664 | 27.3 | 43.4
225831 | 2021-10-26 09:23 | 22.9956 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.0518 | μmol/L | 15.4061 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.353 | 93533.199 | 218473.8245 | 27.3 | 43.4
225841 | 2021-10-26 09:23 | 23.329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.8882 | μmol/L | 15.4061 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.36 | 93525.074 | 218449.3259 | 27.3 | 43.4
225851 | 2021-10-26 09:23 | 23.6621 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.0284 | μmol/L | 15.4061 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.354 | 93517.7127 | 218437.772 | 27.3 | 43.4
225861 | 2021-10-26 09:24 | 23.9955 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.093 | μmol/L | 15.3878 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.358 | 93529.5523 | 218425.7556 | 27.3 | 43.4
225871 | 2021-10-26 09:24 | 24.3292 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9234 | μmol/L | 15.3939 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.363 | 93491.7234 | 218407.3109 | 27.3 | 43.4
225881 | 2021-10-26 09:24 | 24.662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.0521 | μmol/L | 15.3817 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.362 | 93511.3338 | 218406.5761 | 27.3 | 43.4
225891 | 2021-10-26 09:25 | 24.9955 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9179 | μmol/L | 15.3756 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.37 | 93507.0541 | 218391.6979 | 27.3 | 43.4
225901 | 2021-10-26 09:25 | 25.3289 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9939 | μmol/L | 15.3695 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.369 | 93499.3862 | 218386.1451 | 27.3 | 43.4
225911 | 2021-10-26 09:25 | 25.6623 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9765 | μmol/L | 15.3634 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.372 | 93501.0527 | 218363.9251 | 27.3 | 43.4
225921 | 2021-10-26 09:26 | 25.9958 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9999 | μmol/L | 15.3634 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.371 | 93491.076 | 218359.5644 | 27.3 | 43.4
225931 | 2021-10-26 09:26 | 26.3285 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 275.0993 | μmol/L | 15.3573 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.369 | 93487.6 | 218340.0183 | 27.3 | 43.4
225941 | 2021-10-26 09:26 | 26.662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9825 | μmol/L | 15.3573 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.374 | 93479.1782 | 218319.3979 | 27.3 | 43.4
225951 | 2021-10-26 09:27 | 26.9954 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9184 | μmol/L | 15.3512 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.379 | 93470.1498 | 218300.347 | 27.3 | 43.4
225961 | 2021-10-26 09:27 | 27.3289 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9417 | μmol/L | 15.3512 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.378 | 93450.7033 | 218301.1498 | 27.3 | 43.4
225971 | 2021-10-26 09:27 | 27.6625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 274.9184 | μmol/L | 15.3512 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.379 | 93465.8031 | 218285.0331 | 27.3 | 43.4