## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 09:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
225146 | 2021-10-26 09:00 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.2437 | μmol/L | 12.4879 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.7 | 140862.8826 | 313734.9584 | 33.25 | 68.6
225156 | 2021-10-26 09:00 | 0.33357 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0353 | μmol/L | 12.4758 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.715 | 141349.2681 | 313804.5201 | 33.25 | 68.6
225166 | 2021-10-26 09:01 | 0.66692 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9733 | μmol/L | 12.4758 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.718 | 141385.7676 | 313857.7241 | 33.25 | 68.6
225176 | 2021-10-26 09:01 | 1.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0242 | μmol/L | 12.4697 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.718 | 141406.3558 | 313876.5471 | 33.25 | 68.6
225186 | 2021-10-26 09:01 | 1.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9017 | μmol/L | 12.4819 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.719 | 141410.1438 | 313891.286 | 33.25 | 68.6
225196 | 2021-10-26 09:02 | 1.6673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9733 | μmol/L | 12.4758 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.718 | 141410.9948 | 313898.7539 | 33.25 | 68.6
225206 | 2021-10-26 09:02 | 2.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9733 | μmol/L | 12.4758 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.718 | 141423.9429 | 313890.7265 | 33.25 | 68.6
225216 | 2021-10-26 09:02 | 2.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0862 | μmol/L | 12.4697 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.715 | 141430.5089 | 313896.5505 | 33.25 | 68.6
225226 | 2021-10-26 09:03 | 2.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0767 | μmol/L | 12.4758 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.713 | 141422.0138 | 313887.6098 | 33.25 | 68.6
225236 | 2021-10-26 09:03 | 3.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.118 | μmol/L | 12.4758 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.711 | 141391.943 | 313878.7989 | 33.25 | 68.6
225246 | 2021-10-26 09:03 | 3.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.1387 | μmol/L | 12.4758 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.71 | 141381.1334 | 313887.7466 | 33.25 | 68.6
225256 | 2021-10-26 09:04 | 3.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.0878 | μmol/L | 12.4819 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.71 | 141365.9483 | 313879.9722 | 33.25 | 68.6
225266 | 2021-10-26 09:04 | 4.0006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 254.1594 | μmol/L | 12.4758 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.709 | 141371.0535 | 313873.2431 | 33.25 | 68.6
225276 | 2021-10-26 09:04 | 4.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9955 | μmol/L | 12.4879 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.712 | 141410.6014 | 313887.4746 | 33.25 | 68.6
225286 | 2021-10-26 09:05 | 4.6674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.9844 | μmol/L | 12.4819 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.715 | 141412.9528 | 313913.0992 | 33.25 | 68.6
225296 | 2021-10-26 09:05 | 5.0007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.994 | μmol/L | 12.4758 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.717 | 141422.3122 | 313920.4898 | 33.25 | 68.6
225306 | 2021-10-26 09:05 | 5.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.8302 | μmol/L | 12.4879 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.72 | 141436.5256 | 313910.914 | 33.25 | 68.6
225316 | 2021-10-26 09:06 | 5.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.8398 | μmol/L | 12.4819 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.722 | 141456.0449 | 313900.3183 | 33.25 | 68.6
225326 | 2021-10-26 09:06 | 6.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.7683 | μmol/L | 12.4879 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.723 | 141458.7901 | 313903.3544 | 33.25 | 68.6
225336 | 2021-10-26 09:06 | 6.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.6666 | μmol/L | 12.5001 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.723 | 141461.0008 | 313884.197 | 33.25 | 68.6
225346 | 2021-10-26 09:07 | 6.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.5523 | μmol/L | 12.494 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.731 | 141490.2862 | 313898.1406 | 33.25 | 68.6
225356 | 2021-10-26 09:07 | 7.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.5111 | μmol/L | 12.494 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.733 | 141540.1652 | 313891.5093 | 33.25 | 68.6
225366 | 2021-10-26 09:07 | 7.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.3557 | μmol/L | 12.4879 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.743 | 141567.889 | 313883.4944 | 33.25 | 68.6
225376 | 2021-10-26 09:08 | 7.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.2336 | μmol/L | 12.5001 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.744 | 141579.8268 | 313878.8902 | 33.25 | 68.6
225386 | 2021-10-26 09:08 | 8.0006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.1718 | μmol/L | 12.5001 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.747 | 141638.7836 | 313909.5123 | 33.25 | 68.6
225396 | 2021-10-26 09:08 | 8.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.0784 | μmol/L | 12.494 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.754 | 141661.8158 | 313898.4637 | 33.25 | 68.6
225406 | 2021-10-26 09:09 | 8.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 253.099 | μmol/L | 12.494 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.753 | 141678.4208 | 313911.3561 | 33.25 | 68.6
225416 | 2021-10-26 09:09 | 9.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.7318 | μmol/L | 12.5183 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.761 | 141689.691 | 313948.1809 | 33.25 | 68.6
225426 | 2021-10-26 09:09 | 9.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.8236 | μmol/L | 12.5122 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.759 | 141701.8783 | 313953.021 | 33.25 | 68.6
225436 | 2021-10-26 09:10 | 9.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.7603 | μmol/L | 12.5001 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.767 | 141742.2724 | 313958.6107 | 33.25 | 68.6
225446 | 2021-10-26 09:10 | 10.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.6591 | μmol/L | 12.5122 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.767 | 141763.9926 | 313953.9292 | 33.25 | 68.6
225456 | 2021-10-26 09:10 | 10.3335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.577 | μmol/L | 12.5122 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.771 | 141796.2305 | 313971.4668 | 33.25 | 68.6
225466 | 2021-10-26 09:11 | 10.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.4127 | μmol/L | 12.5122 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.779 | 141835.7252 | 313970.5831 | 33.25 | 68.6
225476 | 2021-10-26 09:11 | 11.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.3812 | μmol/L | 12.5062 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.783 | 141871.3464 | 313980.8712 | 33.25 | 68.6
225486 | 2021-10-26 09:11 | 11.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.3101 | μmol/L | 12.5122 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.784 | 141879.8446 | 313986.6991 | 33.25 | 68.6
225496 | 2021-10-26 09:12 | 11.6671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.2596 | μmol/L | 12.5183 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.784 | 141884.8015 | 313981.9222 | 33.25 | 68.6
225506 | 2021-10-26 09:12 | 12.0007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.1681 | μmol/L | 12.5244 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.786 | 141890.3639 | 313971.1015 | 33.25 | 68.6
225516 | 2021-10-26 09:12 | 12.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.2486 | μmol/L | 12.5122 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.787 | 141900.6414 | 313960.9161 | 33.25 | 68.6
225526 | 2021-10-26 09:13 | 12.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.2281 | μmol/L | 12.5122 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.788 | 141893.5124 | 313963.8263 | 33.25 | 68.6
225536 | 2021-10-26 09:13 | 13.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.1256 | μmol/L | 12.5122 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.793 | 141916.1432 | 313971.3225 | 33.25 | 68.6
225546 | 2021-10-26 09:13 | 13.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 252.1256 | μmol/L | 12.5122 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.793 | 141921.6392 | 313951.2935 | 33.25 | 68.6
225556 | 2021-10-26 09:14 | 13.6674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.9128 | μmol/L | 12.5305 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.796 | 141954.0301 | 313945.8268 | 33.25 | 68.6
225566 | 2021-10-26 09:14 | 14.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.7096 | μmol/L | 12.5426 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.801 | 141954.7571 | 313926.4899 | 33.25 | 68.6
225576 | 2021-10-26 09:14 | 14.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.9018 | μmol/L | 12.5244 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.799 | 141960.3105 | 313914.7999 | 33.25 | 68.6
225586 | 2021-10-26 09:15 | 14.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.7885 | μmol/L | 12.5183 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.807 | 141970.3876 | 313923.1734 | 33.25 | 68.6
225596 | 2021-10-26 09:15 | 15.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.7176 | μmol/L | 12.5244 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.808 | 141996.4588 | 313889.7552 | 33.25 | 68.6
225606 | 2021-10-26 09:15 | 15.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.5949 | μmol/L | 12.5244 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.814 | 142010.3261 | 313872.7386 | 33.25 | 68.6
225616 | 2021-10-26 09:16 | 15.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.5445 | μmol/L | 12.5305 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.814 | 142016.1743 | 313853.3449 | 33.25 | 68.6
225626 | 2021-10-26 09:16 | 16.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.4124 | μmol/L | 12.5365 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.818 | 142018.6368 | 313847.1255 | 33.25 | 68.6
225636 | 2021-10-26 09:16 | 16.334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.2003 | μmol/L | 12.5547 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.821 | 142028.1839 | 313816.7283 | 33.25 | 68.6
225646 | 2021-10-26 09:17 | 16.6673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.26 | μmol/L | 12.5426 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.823 | 142041.5171 | 313789.4825 | 33.25 | 68.6
225656 | 2021-10-26 09:17 | 17.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.1281 | μmol/L | 12.5487 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.827 | 142028.1936 | 313769.1531 | 33.25 | 68.6
225666 | 2021-10-26 09:17 | 17.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9853 | μmol/L | 12.5487 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.834 | 142034.8836 | 313744.2437 | 33.25 | 68.6
225676 | 2021-10-26 09:18 | 17.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0858 | μmol/L | 12.5365 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.834 | 142040.8257 | 313724.9738 | 33.25 | 68.6
225686 | 2021-10-26 09:18 | 18.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0356 | μmol/L | 12.5426 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.834 | 142045.6553 | 313700.5002 | 33.25 | 68.6
225696 | 2021-10-26 09:18 | 18.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.954 | μmol/L | 12.5426 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.838 | 142030.0445 | 313660.6444 | 33.25 | 68.6
225706 | 2021-10-26 09:19 | 18.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9948 | μmol/L | 12.5426 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.836 | 142024.0901 | 313621.1447 | 33.25 | 68.6
225716 | 2021-10-26 09:19 | 19.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0152 | μmol/L | 12.5426 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.835 | 142003.7438 | 313605.5226 | 33.25 | 68.6
225726 | 2021-10-26 09:19 | 19.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 251.0057 | μmol/L | 12.5487 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.833 | 141985.0057 | 313574.4798 | 33.25 | 68.6
225736 | 2021-10-26 09:20 | 19.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7532 | μmol/L | 12.5669 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.838 | 141962.5675 | 313540.049 | 33.25 | 68.6
225746 | 2021-10-26 09:20 | 20.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.9445 | μmol/L | 12.5487 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.836 | 141947.4974 | 313515.2297 | 33.25 | 68.6
225756 | 2021-10-26 09:20 | 20.334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.8536 | μmol/L | 12.5547 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.838 | 141927.7484 | 313487.7587 | 33.25 | 68.6
225766 | 2021-10-26 09:21 | 20.6671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.8739 | μmol/L | 12.5547 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.837 | 141917.2382 | 313457.7183 | 33.25 | 68.6
225776 | 2021-10-26 09:21 | 21.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7408 | μmol/L | 12.5487 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.846 | 141907.311 | 313418.6266 | 33.25 | 68.6
225786 | 2021-10-26 09:21 | 21.334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.6906 | μmol/L | 12.5547 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.846 | 141916.7769 | 313391.4806 | 33.25 | 68.6
225796 | 2021-10-26 09:22 | 21.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7611 | μmol/L | 12.5487 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.845 | 141914.9862 | 313381.7451 | 33.25 | 68.6
225806 | 2021-10-26 09:22 | 22.0007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.6797 | μmol/L | 12.5487 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.849 | 141886.9278 | 313346.6804 | 33.25 | 68.6
225816 | 2021-10-26 09:22 | 22.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7313 | μmol/L | 12.5547 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.844 | 141858.3915 | 313321.6615 | 33.25 | 68.6
225826 | 2021-10-26 09:23 | 22.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.5888 | μmol/L | 12.5547 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.851 | 141830.313 | 313277.3619 | 33.25 | 68.6
225836 | 2021-10-26 09:23 | 23.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.5997 | μmol/L | 12.5608 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.848 | 141827.005 | 313245.4287 | 33.25 | 68.6
225846 | 2021-10-26 09:23 | 23.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.4682 | μmol/L | 12.5669 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.852 | 141831.417 | 313221.0415 | 33.25 | 68.6
225856 | 2021-10-26 09:24 | 23.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.2257 | μmol/L | 12.579 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.859 | 141834.4938 | 313190.7634 | 33.25 | 68.6
225866 | 2021-10-26 09:24 | 24.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.246 | μmol/L | 12.579 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.858 | 141813.9149 | 313158.4519 | 33.25 | 68.6
225876 | 2021-10-26 09:24 | 24.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.2743 | μmol/L | 12.5608 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.864 | 141820.8755 | 313163.9344 | 33.25 | 68.6
225886 | 2021-10-26 09:25 | 24.6674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.2351 | μmol/L | 12.573 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.861 | 141829.454 | 313133.5061 | 33.25 | 68.6
225896 | 2021-10-26 09:25 | 25.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.2961 | μmol/L | 12.573 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.858 | 141807.349 | 313104.9136 | 33.25 | 68.6
225906 | 2021-10-26 09:25 | 25.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.3462 | μmol/L | 12.5669 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.858 | 141761.737 | 313070.1175 | 33.25 | 68.6
225916 | 2021-10-26 09:26 | 25.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1742 | μmol/L | 12.573 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.864 | 141752.5758 | 313053.7965 | 33.25 | 68.6
225926 | 2021-10-26 09:26 | 26.0007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1836 | μmol/L | 12.5669 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.866 | 141759.303 | 313019.3314 | 33.25 | 68.6
225936 | 2021-10-26 09:26 | 26.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.1023 | μmol/L | 12.5669 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.87 | 141756.0828 | 312972.1959 | 33.25 | 68.6
225946 | 2021-10-26 09:27 | 26.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0008 | μmol/L | 12.5669 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.875 | 141755.146 | 312964.3194 | 33.25 | 68.6
225956 | 2021-10-26 09:27 | 27.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.9305 | μmol/L | 12.573 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.876 | 141735.3258 | 312926.7774 | 33.25 | 68.6
225966 | 2021-10-26 09:27 | 27.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0617 | μmol/L | 12.5669 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.872 | 141719.3658 | 312900.7572 | 33.25 | 68.6
225976 | 2021-10-26 09:28 | 27.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.0008 | μmol/L | 12.5669 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.875 | 141699.6354 | 312896.5953 | 33.25 | 68.6