## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 09:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
225147 | 2021-10-26 09:00 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.6822 | μmol/L | 12.4362 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.925 | 112936.5869 | 277021.3631 | 26.25 | 74
225157 | 2021-10-26 09:00 | 0.33515 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.5976 | μmol/L | 12.4362 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.929 | 112882.2808 | 277059.0814 | 26.25 | 74
225167 | 2021-10-26 09:01 | 0.66837 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.3573 | μmol/L | 12.4422 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.938 | 112922.3497 | 277091.0003 | 26.25 | 74
225177 | 2021-10-26 09:01 | 1.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.3573 | μmol/L | 12.4422 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.938 | 112960.3743 | 277106.2351 | 26.25 | 74
225187 | 2021-10-26 09:01 | 1.3353 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.2056 | μmol/L | 12.4422 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.945 | 112982.6238 | 277101.026 | 26.25 | 74
225197 | 2021-10-26 09:02 | 1.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 255.0828 | μmol/L | 12.4422 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.951 | 113021.149 | 277128.7015 | 26.25 | 74
225207 | 2021-10-26 09:02 | 2.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.8641 | μmol/L | 12.4483 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.959 | 113053.3506 | 277116.8931 | 26.25 | 74
225217 | 2021-10-26 09:02 | 2.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.7665 | μmol/L | 12.4422 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.966 | 113105.8132 | 277116.6663 | 26.25 | 74
225227 | 2021-10-26 09:03 | 2.669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.5482 | μmol/L | 12.4483 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.974 | 113163.4392 | 277120.1339 | 26.25 | 74
225237 | 2021-10-26 09:03 | 3.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.4009 | μmol/L | 12.4483 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.981 | 113214.457 | 277107.256 | 26.25 | 74
225247 | 2021-10-26 09:03 | 3.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 254.0911 | μmol/L | 12.4605 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.991 | 113263.7473 | 277107.1719 | 26.25 | 74
225257 | 2021-10-26 09:04 | 3.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.9099 | μmol/L | 12.4544 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.002 | 113288.4489 | 277090.4532 | 26.25 | 74
225267 | 2021-10-26 09:04 | 4.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.8337 | μmol/L | 12.4483 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.008 | 113323.8799 | 277087.9514 | 26.25 | 74
225277 | 2021-10-26 09:04 | 4.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.7289 | μmol/L | 12.4483 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.013 | 113360.401 | 277106.4564 | 26.25 | 74
225287 | 2021-10-26 09:05 | 4.6686 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.5248 | μmol/L | 12.4605 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.018 | 113399.4968 | 277103.3359 | 26.25 | 74
225297 | 2021-10-26 09:05 | 5.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.4278 | μmol/L | 12.4544 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.025 | 113425.9421 | 277123.8928 | 26.25 | 74
225307 | 2021-10-26 09:05 | 5.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.2735 | μmol/L | 12.4605 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.03 | 113472.5222 | 277131.4057 | 26.25 | 74
225317 | 2021-10-26 09:06 | 5.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 253.1652 | μmol/L | 12.4605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.035 | 113496.0899 | 277111.2306 | 26.25 | 74
225327 | 2021-10-26 09:06 | 6.0022 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.9731 | μmol/L | 12.4666 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.042 | 113513.8789 | 277106.1294 | 26.25 | 74
225337 | 2021-10-26 09:06 | 6.3357 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.977 | μmol/L | 12.4605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.044 | 113535.8147 | 277102.0299 | 26.25 | 74
225347 | 2021-10-26 09:07 | 6.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.81 | μmol/L | 12.4605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.052 | 113557.4815 | 277103.7273 | 26.25 | 74
225357 | 2021-10-26 09:07 | 7.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.6561 | μmol/L | 12.4666 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.057 | 113586.4775 | 277091.0705 | 26.25 | 74
225367 | 2021-10-26 09:07 | 7.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.6144 | μmol/L | 12.4666 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.059 | 113603.5567 | 277087.0784 | 26.25 | 74
225377 | 2021-10-26 09:08 | 7.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.5519 | μmol/L | 12.4666 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.062 | 113627.4517 | 277102.4738 | 26.25 | 74
225387 | 2021-10-26 09:08 | 8.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.3982 | μmol/L | 12.4726 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.067 | 113658.4817 | 277112.4611 | 26.25 | 74
225397 | 2021-10-26 09:08 | 8.3352 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.2732 | μmol/L | 12.4726 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.073 | 113675.4984 | 277126.3892 | 26.25 | 74
225407 | 2021-10-26 09:09 | 8.6686 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.1406 | μmol/L | 12.4787 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.077 | 113707.5482 | 277126.0472 | 26.25 | 74
225417 | 2021-10-26 09:09 | 9.002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 252.008 | μmol/L | 12.4848 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.081 | 113702.7015 | 277144.6739 | 26.25 | 74
225427 | 2021-10-26 09:09 | 9.3353 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.8833 | μmol/L | 12.4848 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.087 | 113737.9354 | 277149.0813 | 26.25 | 74
225437 | 2021-10-26 09:10 | 9.6689 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.7794 | μmol/L | 12.4848 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.092 | 113775.4767 | 277154.057 | 26.25 | 74
225447 | 2021-10-26 09:10 | 10.0023 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.6886 | μmol/L | 12.4909 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.094 | 113790.5736 | 277151.4963 | 26.25 | 74
225457 | 2021-10-26 09:10 | 10.3356 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.6548 | μmol/L | 12.4848 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.098 | 113809.6654 | 277153.5818 | 26.25 | 74
225467 | 2021-10-26 09:11 | 10.6689 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.5794 | μmol/L | 12.4787 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.104 | 113848.785 | 277169.5353 | 26.25 | 74
225477 | 2021-10-26 09:11 | 11.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.4395 | μmol/L | 12.4909 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.106 | 113867.1348 | 277165.8326 | 26.25 | 74
225487 | 2021-10-26 09:11 | 11.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.451 | μmol/L | 12.4848 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.108 | 113880.91 | 277171.6333 | 26.25 | 74
225497 | 2021-10-26 09:12 | 11.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.3512 | μmol/L | 12.4787 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.115 | 113917.8435 | 277170.2755 | 26.25 | 74
225507 | 2021-10-26 09:12 | 12.002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.2721 | μmol/L | 12.4787 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.119 | 113939.1204 | 277176.1823 | 26.25 | 74
225517 | 2021-10-26 09:12 | 12.3356 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.1777 | μmol/L | 12.4848 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.121 | 113958.6682 | 277178.1299 | 26.25 | 74
225527 | 2021-10-26 09:13 | 12.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 251.0288 | μmol/L | 12.4909 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.126 | 113988.117 | 277172.282 | 26.25 | 74
225537 | 2021-10-26 09:13 | 13.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.946 | μmol/L | 12.4909 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.13 | 114007.1137 | 277171.0755 | 26.25 | 74
225547 | 2021-10-26 09:13 | 13.3353 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.8348 | μmol/L | 12.497 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.133 | 114026.0783 | 277165.265 | 26.25 | 74
225557 | 2021-10-26 09:14 | 13.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.8917 | μmol/L | 12.4848 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.135 | 114045.0941 | 277133.6725 | 26.25 | 74
225567 | 2021-10-26 09:14 | 14.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.7392 | μmol/L | 12.4909 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.14 | 114061.2394 | 277120.8496 | 26.25 | 74
225577 | 2021-10-26 09:14 | 14.3356 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.7225 | μmol/L | 12.4848 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.143 | 114071.8315 | 277120.9822 | 26.25 | 74
225587 | 2021-10-26 09:15 | 14.6683 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.6229 | μmol/L | 12.4848 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.148 | 114076.5873 | 277110.0684 | 26.25 | 74
225597 | 2021-10-26 09:15 | 15.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.5325 | μmol/L | 12.4909 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.15 | 114104.1643 | 277102.4609 | 26.25 | 74
225607 | 2021-10-26 09:15 | 15.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.5042 | μmol/L | 12.497 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.149 | 114127.8351 | 277078.8258 | 26.25 | 74
225617 | 2021-10-26 09:16 | 15.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.3276 | μmol/L | 12.503 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.155 | 114144.6832 | 277075.8809 | 26.25 | 74
225627 | 2021-10-26 09:16 | 16.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.2771 | μmol/L | 12.497 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.16 | 114166.0233 | 277051.3402 | 26.25 | 74
225637 | 2021-10-26 09:16 | 16.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.1419 | μmol/L | 12.503 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.164 | 114181.8973 | 277041.6123 | 26.25 | 74
225647 | 2021-10-26 09:17 | 16.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 250.1909 | μmol/L | 12.497 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.164 | 114198.8575 | 277018.9423 | 26.25 | 74
225657 | 2021-10-26 09:17 | 17.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.9642 | μmol/L | 12.497 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.175 | 114204.2916 | 277005.7501 | 26.25 | 74
225667 | 2021-10-26 09:17 | 17.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.9024 | μmol/L | 12.497 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.178 | 114227.0639 | 277000.4219 | 26.25 | 74
225677 | 2021-10-26 09:18 | 17.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.9024 | μmol/L | 12.497 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.178 | 114249.6541 | 276977.0552 | 26.25 | 74
225687 | 2021-10-26 09:18 | 18.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.7789 | μmol/L | 12.497 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.184 | 114260.0957 | 276957.4514 | 26.25 | 74
225697 | 2021-10-26 09:18 | 18.3352 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.6478 | μmol/L | 12.503 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.188 | 114263.6164 | 276912.7893 | 26.25 | 74
225707 | 2021-10-26 09:19 | 18.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.6478 | μmol/L | 12.503 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.188 | 114283.3843 | 276891.5169 | 26.25 | 74
225717 | 2021-10-26 09:19 | 19.002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.5938 | μmol/L | 12.497 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.193 | 114283.0319 | 276875.4459 | 26.25 | 74
225727 | 2021-10-26 09:19 | 19.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.4062 | μmol/L | 12.5152 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.195 | 114290.7948 | 276842.6719 | 26.25 | 74
225737 | 2021-10-26 09:20 | 19.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.3651 | μmol/L | 12.5152 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.197 | 114293.3222 | 276808.2235 | 26.25 | 74
225747 | 2021-10-26 09:20 | 20.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.3523 | μmol/L | 12.5091 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.2 | 114301.3689 | 276790.5602 | 26.25 | 74
225757 | 2021-10-26 09:20 | 20.3353 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.2214 | μmol/L | 12.5152 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.204 | 114309.0531 | 276767.3804 | 26.25 | 74
225767 | 2021-10-26 09:21 | 20.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.2497 | μmol/L | 12.5091 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.205 | 114337.6449 | 276740.5666 | 26.25 | 74
225777 | 2021-10-26 09:21 | 21.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.0855 | μmol/L | 12.5091 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.213 | 114331.0118 | 276705.1985 | 26.25 | 74
225787 | 2021-10-26 09:21 | 21.3355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.0983 | μmol/L | 12.5152 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.21 | 114347.615 | 276682.0101 | 26.25 | 74
225797 | 2021-10-26 09:22 | 21.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.9266 | μmol/L | 12.5213 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.216 | 114337.6101 | 276658.4269 | 26.25 | 74
225807 | 2021-10-26 09:22 | 22.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.9061 | μmol/L | 12.5213 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.217 | 114335.2882 | 276625.0017 | 26.25 | 74
225817 | 2021-10-26 09:22 | 22.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.8574 | μmol/L | 12.5274 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.217 | 114337.9051 | 276617.7131 | 26.25 | 74
225827 | 2021-10-26 09:23 | 22.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.7959 | μmol/L | 12.5274 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.22 | 114342.2278 | 276585.235 | 26.25 | 74
225837 | 2021-10-26 09:23 | 23.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.8036 | μmol/L | 12.5213 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.222 | 114338.3533 | 276552.5014 | 26.25 | 74
225847 | 2021-10-26 09:23 | 23.3353 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.8036 | μmol/L | 12.5213 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.222 | 114334.1401 | 276524.3054 | 26.25 | 74
225857 | 2021-10-26 09:24 | 23.6686 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.6807 | μmol/L | 12.5213 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.228 | 114331.6152 | 276501.5989 | 26.25 | 74
225867 | 2021-10-26 09:24 | 24.0022 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.7627 | μmol/L | 12.5213 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.224 | 114329.4538 | 276488.0125 | 26.25 | 74
225877 | 2021-10-26 09:24 | 24.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.6526 | μmol/L | 12.5274 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.227 | 114334.2851 | 276483.2298 | 26.25 | 74
225887 | 2021-10-26 09:25 | 24.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.5912 | μmol/L | 12.5274 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.23 | 114347.2836 | 276453.3589 | 26.25 | 74
225897 | 2021-10-26 09:25 | 25.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.5502 | μmol/L | 12.5274 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.232 | 114348.9411 | 276422.6967 | 26.25 | 74
225907 | 2021-10-26 09:25 | 25.3356 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.4889 | μmol/L | 12.5274 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.235 | 114353.8759 | 276406.9785 | 26.25 | 74
225917 | 2021-10-26 09:26 | 25.6689 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.4889 | μmol/L | 12.5274 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.235 | 114355.8329 | 276376.7625 | 26.25 | 74
225927 | 2021-10-26 09:26 | 26.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.3943 | μmol/L | 12.5213 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.242 | 114377.3817 | 276362.5784 | 26.25 | 74
225937 | 2021-10-26 09:26 | 26.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.3253 | μmol/L | 12.5274 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.243 | 114369.6476 | 276335.2296 | 26.25 | 74
225947 | 2021-10-26 09:27 | 26.6686 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.2436 | μmol/L | 12.5274 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.247 | 114370.0982 | 276299.4068 | 26.25 | 74
225957 | 2021-10-26 09:27 | 27.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.1746 | μmol/L | 12.5335 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.248 | 114366.322 | 276277.8829 | 26.25 | 74
225967 | 2021-10-26 09:27 | 27.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.1056 | μmol/L | 12.5395 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.249 | 114364.8313 | 276262.694 | 26.25 | 74
225977 | 2021-10-26 09:28 | 27.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.0725 | μmol/L | 12.5335 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.253 | 114377.5943 | 276255.9266 | 26.25 | 74