## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 10:04

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
225979 | 2021-10-26 09:42 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.5547 | μmol/L | 12.5071 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.55 | 147862.8184 | 279201.0845 | 33.25 | 75.7
225989 | 2021-10-26 09:42 | 0.3339 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.2551 | μmol/L | 12.4887 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.571 | 147992.2713 | 279261.1857 | 33.25 | 75.7
225999 | 2021-10-26 09:42 | 0.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.091 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.581 | 148047.9142 | 279280.3493 | 33.25 | 75.7
226008 | 2021-10-26 09:43 | 1.0001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.0986 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.583 | 148099.2861 | 279300.4905 | 33.25 | 75.7
226019 | 2021-10-26 09:43 | 1.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.9485 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.59 | 148148.9918 | 279304.6224 | 33.25 | 75.7
226028 | 2021-10-26 09:43 | 1.6665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.7129 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.601 | 148229.1956 | 279308.0341 | 33.25 | 75.7
226038 | 2021-10-26 09:44 | 2.0001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.4349 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.614 | 148328.8642 | 279333.2387 | 33.25 | 75.7
226048 | 2021-10-26 09:44 | 2.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.1785 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.626 | 148433.829 | 279332.0485 | 33.25 | 75.7
226059 | 2021-10-26 09:44 | 2.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.8296 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.64 | 148554.4926 | 279345.3224 | 33.25 | 75.7
226068 | 2021-10-26 09:45 | 3 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.688 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.649 | 148633.1619 | 279359.4624 | 33.25 | 75.7
226078 | 2021-10-26 09:45 | 3.3335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.2474 | μmol/L | 12.4887 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.665 | 148720.8533 | 279369.3446 | 33.25 | 75.7
226088 | 2021-10-26 09:45 | 3.6664 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.2276 | μmol/L | 12.4703 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.673 | 148794.3925 | 279374.6955 | 33.25 | 75.7
226098 | 2021-10-26 09:46 | 4.0001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.9651 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.683 | 148870.0145 | 279378.0957 | 33.25 | 75.7
226108 | 2021-10-26 09:46 | 4.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.8454 | μmol/L | 12.4703 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.691 | 148940.5825 | 279357.4 | 33.25 | 75.7
226119 | 2021-10-26 09:46 | 4.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.6682 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.697 | 148997.7805 | 279361.0422 | 33.25 | 75.7
226128 | 2021-10-26 09:47 | 4.9997 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.4699 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.704 | 149040.918 | 279325.3392 | 33.25 | 75.7
226138 | 2021-10-26 09:47 | 5.3333 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.287 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.715 | 149093.9241 | 279331.6738 | 33.25 | 75.7
226149 | 2021-10-26 09:47 | 5.6669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.2658 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.716 | 149128.3574 | 279331.692 | 33.25 | 75.7
226159 | 2021-10-26 09:48 | 6 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.0121 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.728 | 149202.1521 | 279320.4891 | 33.25 | 75.7
226169 | 2021-10-26 09:48 | 6.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.8221 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.737 | 149324.7018 | 279324.0937 | 33.25 | 75.7
226179 | 2021-10-26 09:48 | 6.667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.7511 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.738 | 149320.7464 | 279348.44 | 33.25 | 75.7
226188 | 2021-10-26 09:49 | 6.9998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.59 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.748 | 149396.5411 | 279344.7776 | 33.25 | 75.7
226198 | 2021-10-26 09:49 | 7.3334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.4138 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.754 | 149435.206 | 279318.2914 | 33.25 | 75.7
226209 | 2021-10-26 09:49 | 7.6669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.2108 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.766 | 149475.4284 | 279314.7872 | 33.25 | 75.7
226218 | 2021-10-26 09:50 | 7.9999 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.1763 | μmol/L | 12.4703 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.77 | 149519.2102 | 279299.058 | 33.25 | 75.7
226228 | 2021-10-26 09:50 | 8.3334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.1342 | μmol/L | 12.4703 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.772 | 149536.666 | 279296.7409 | 33.25 | 75.7
226238 | 2021-10-26 09:50 | 8.6669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.0214 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.775 | 149546.9681 | 279290.0347 | 33.25 | 75.7
226248 | 2021-10-26 09:51 | 9.0005 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.9239 | μmol/L | 12.4703 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.782 | 149571.4849 | 279280.6938 | 33.25 | 75.7
226258 | 2021-10-26 09:51 | 9.3333 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.8323 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.784 | 149597.1577 | 279259.5666 | 33.25 | 75.7
226269 | 2021-10-26 09:51 | 9.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.6777 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.789 | 149601.1596 | 279244.8136 | 33.25 | 75.7
226278 | 2021-10-26 09:52 | 10.0005 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.6147 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.792 | 149623.6467 | 279238.2249 | 33.25 | 75.7
226288 | 2021-10-26 09:52 | 10.3333 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.5727 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.794 | 149641.3115 | 279235.0548 | 33.25 | 75.7
226298 | 2021-10-26 09:52 | 10.667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.5879 | μmol/L | 12.4703 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.798 | 149655.271 | 279225.3407 | 33.25 | 75.7
226309 | 2021-10-26 09:53 | 11 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.3764 | μmol/L | 12.4887 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.801 | 149696.2004 | 279227.9462 | 33.25 | 75.7
226319 | 2021-10-26 09:53 | 11.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.2925 | μmol/L | 12.4887 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.805 | 149728.3256 | 279237.5851 | 33.25 | 75.7
226328 | 2021-10-26 09:53 | 11.6664 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.1249 | μmol/L | 12.4887 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.813 | 149759.8434 | 279267.5247 | 33.25 | 75.7
226338 | 2021-10-26 09:54 | 11.9999 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.1611 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.816 | 149825.9274 | 279286.3781 | 33.25 | 75.7
226349 | 2021-10-26 09:54 | 12.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 252.0982 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.819 | 149856.2788 | 279302.0309 | 33.25 | 75.7
226358 | 2021-10-26 09:54 | 12.6664 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.889 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.829 | 149903.8453 | 279324.3935 | 33.25 | 75.7
226368 | 2021-10-26 09:55 | 13 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.8187 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.83 | 149941.1138 | 279342.2599 | 33.25 | 75.7
226378 | 2021-10-26 09:55 | 13.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.756 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.833 | 149982.6083 | 279357.1777 | 33.25 | 75.7
226388 | 2021-10-26 09:55 | 13.6664 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.6724 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.837 | 150023.0788 | 279359.672 | 33.25 | 75.7
226398 | 2021-10-26 09:56 | 14 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.5964 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.843 | 150078.3659 | 279365.6376 | 33.25 | 75.7
226408 | 2021-10-26 09:56 | 14.3336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.5129 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.847 | 150094.9268 | 279351.6894 | 33.25 | 75.7
226418 | 2021-10-26 09:56 | 14.6664 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.4712 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.849 | 150127.4843 | 279388.8141 | 33.25 | 75.7
226428 | 2021-10-26 09:57 | 14.9998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.3384 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.853 | 150179.2886 | 279390.4734 | 33.25 | 75.7
226438 | 2021-10-26 09:57 | 15.3334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.3877 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.853 | 150201.239 | 279396.1944 | 33.25 | 75.7
226449 | 2021-10-26 09:57 | 15.667 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.3043 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.857 | 150222.7262 | 279400.1862 | 33.25 | 75.7
226458 | 2021-10-26 09:58 | 15.9999 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.1924 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.86 | 150254.6369 | 279418.0667 | 33.25 | 75.7
226468 | 2021-10-26 09:58 | 16.3334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.0882 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.865 | 150263.8135 | 279421.4007 | 33.25 | 75.7
226478 | 2021-10-26 09:58 | 16.6669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.1166 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.866 | 150296.2456 | 279424.9331 | 33.25 | 75.7
226488 | 2021-10-26 09:59 | 17.0003 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.075 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.868 | 150365.8952 | 279434.0127 | 33.25 | 75.7
226498 | 2021-10-26 09:59 | 17.3331 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.9424 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.872 | 150371.1362 | 279441.664 | 33.25 | 75.7
226508 | 2021-10-26 09:59 | 17.6666 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.9216 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.873 | 150428.7865 | 279448.337 | 33.25 | 75.7
226519 | 2021-10-26 10:00 | 18.0003 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.7267 | μmol/L | 12.4887 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.88 | 150462.0631 | 279457.1765 | 33.25 | 75.7
226528 | 2021-10-26 10:00 | 18.3338 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.602 | μmol/L | 12.4887 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.886 | 150499.8256 | 279481.5171 | 33.25 | 75.7
226538 | 2021-10-26 10:00 | 18.6665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.4566 | μmol/L | 12.4887 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.893 | 150569.1104 | 279492.9023 | 33.25 | 75.7
226549 | 2021-10-26 10:01 | 19 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.3527 | μmol/L | 12.4887 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.898 | 150615.5019 | 279499.5497 | 33.25 | 75.7
226559 | 2021-10-26 10:01 | 19.3334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.2358 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.906 | 150694.6396 | 279484.2359 | 33.25 | 75.7
226569 | 2021-10-26 10:01 | 19.6671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1397 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.913 | 150713.8178 | 279528.1879 | 33.25 | 75.7
226578 | 2021-10-26 10:02 | 19.9998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.0361 | μmol/L | 12.4765 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.918 | 150757.72 | 279538.3428 | 33.25 | 75.7
226589 | 2021-10-26 10:02 | 20.3334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.9248 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.921 | 150788.5419 | 279535.9043 | 33.25 | 75.7
226599 | 2021-10-26 10:02 | 20.6666 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.8627 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.924 | 150816.1058 | 279540.3884 | 33.25 | 75.7
226608 | 2021-10-26 10:03 | 20.9999 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 249.7799 | μmol/L | 12.4826 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.928 | 150847.4971 | 279545.9377 | 33.25 | 75.7