## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 10:04

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
225982 | 2021-10-26 09:42 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.9909 | μmol/L | 12.5992 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.837 | 94436.3736 | 301075.0092 | 28.7 | 67.6
225992 | 2021-10-26 09:42 | 0.33237 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.4217 | μmol/L | 12.5992 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.864 | 94597.8405 | 301126.1856 | 28.7 | 67.6
226002 | 2021-10-26 09:42 | 0.66509 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.9801 | μmol/L | 12.5992 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.885 | 94702.7089 | 301120.8414 | 28.7 | 67.6
226012 | 2021-10-26 09:43 | 0.99873 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.8383 | μmol/L | 12.5749 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.901 | 94784.4603 | 301129.8204 | 28.7 | 67.6
226022 | 2021-10-26 09:43 | 1.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.7807 | μmol/L | 12.5506 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.913 | 94837.6531 | 301148.0044 | 28.7 | 67.6
226032 | 2021-10-26 09:43 | 1.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.6117 | μmol/L | 12.5324 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.928 | 94897.7629 | 301166.3321 | 28.7 | 67.6
226042 | 2021-10-26 09:44 | 1.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.0685 | μmol/L | 12.5506 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.947 | 94960.5326 | 301182.4257 | 28.7 | 67.6
226052 | 2021-10-26 09:44 | 2.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 248.8244 | μmol/L | 12.5445 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.961 | 95051.2036 | 301191.6517 | 28.7 | 67.6
226062 | 2021-10-26 09:44 | 2.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 248.2272 | μmol/L | 12.5567 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.985 | 95140.8053 | 301196.2888 | 28.7 | 67.6
226072 | 2021-10-26 09:45 | 2.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.9085 | μmol/L | 12.5627 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.998 | 95212.0774 | 301208.7129 | 28.7 | 67.6
226082 | 2021-10-26 09:45 | 3.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.611 | μmol/L | 12.5688 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.01 | 95253.6591 | 301231.526 | 28.7 | 67.6
226092 | 2021-10-26 09:45 | 3.665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.493 | μmol/L | 12.5627 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.018 | 95302.1251 | 301229.7808 | 28.7 | 67.6
226102 | 2021-10-26 09:46 | 3.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.4713 | μmol/L | 12.5445 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.026 | 95324.1124 | 301198.5518 | 28.7 | 67.6
226112 | 2021-10-26 09:46 | 4.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.3817 | μmol/L | 12.5506 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.028 | 95363.2962 | 301187.5983 | 28.7 | 67.6
226122 | 2021-10-26 09:46 | 4.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.0708 | μmol/L | 12.5506 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.043 | 95386.2646 | 301166.4639 | 28.7 | 67.6
226132 | 2021-10-26 09:47 | 4.9985 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.0087 | μmol/L | 12.5506 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.046 | 95413.4611 | 301163.5593 | 28.7 | 67.6
226142 | 2021-10-26 09:47 | 5.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.9325 | μmol/L | 12.5445 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.052 | 95446.0263 | 301146.3855 | 28.7 | 67.6
226152 | 2021-10-26 09:47 | 5.6651 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.8291 | μmol/L | 12.5445 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.057 | 95478.8632 | 301149.3469 | 28.7 | 67.6
226162 | 2021-10-26 09:48 | 5.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.6223 | μmol/L | 12.5445 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.067 | 95515.7282 | 301150.3644 | 28.7 | 67.6
226172 | 2021-10-26 09:48 | 6.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.2647 | μmol/L | 12.5506 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.082 | 95571.9225 | 301155.5716 | 28.7 | 67.6
226182 | 2021-10-26 09:48 | 6.6649 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.1409 | μmol/L | 12.5506 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.088 | 95601.1401 | 301165.0705 | 28.7 | 67.6
226192 | 2021-10-26 09:49 | 6.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.7224 | μmol/L | 12.5567 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.106 | 95665.3172 | 301172.1838 | 28.7 | 67.6
226202 | 2021-10-26 09:49 | 7.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.5644 | μmol/L | 12.5506 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.116 | 95720.8008 | 301138.5698 | 28.7 | 67.6
226212 | 2021-10-26 09:49 | 7.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.6261 | μmol/L | 12.5506 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.113 | 95741.7439 | 301124.2071 | 28.7 | 67.6
226222 | 2021-10-26 09:50 | 7.9985 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.5505 | μmol/L | 12.5445 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.119 | 95768.3382 | 301125.8607 | 28.7 | 67.6
226232 | 2021-10-26 09:50 | 8.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.4617 | μmol/L | 12.5506 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.121 | 95754.825 | 301122.0388 | 28.7 | 67.6
226242 | 2021-10-26 09:50 | 8.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.4617 | μmol/L | 12.5506 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.121 | 95730.4095 | 301117.4771 | 28.7 | 67.6
226252 | 2021-10-26 09:51 | 8.9984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.5307 | μmol/L | 12.5627 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.113 | 95715.1592 | 301113.1278 | 28.7 | 67.6
226262 | 2021-10-26 09:51 | 9.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.4213 | μmol/L | 12.5688 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.116 | 95708.8453 | 301093.9644 | 28.7 | 67.6
226272 | 2021-10-26 09:51 | 9.6649 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.3736 | μmol/L | 12.5749 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.116 | 95722.3621 | 301069.3992 | 28.7 | 67.6
226282 | 2021-10-26 09:52 | 9.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.2438 | μmol/L | 12.5809 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.12 | 95745.6558 | 301061.0423 | 28.7 | 67.6
226292 | 2021-10-26 09:52 | 10.3318 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.2299 | μmol/L | 12.5749 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.123 | 95751.4434 | 301068.0439 | 28.7 | 67.6
226302 | 2021-10-26 09:52 | 10.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.1207 | μmol/L | 12.5809 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.126 | 95774.8786 | 301068.3635 | 28.7 | 67.6
226312 | 2021-10-26 09:53 | 10.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.0386 | μmol/L | 12.5809 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.13 | 95781.9475 | 301083.6389 | 28.7 | 67.6
226322 | 2021-10-26 09:53 | 11.3318 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.8951 | μmol/L | 12.5809 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.137 | 95809.2789 | 301110.4664 | 28.7 | 67.6
226332 | 2021-10-26 09:53 | 11.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.9697 | μmol/L | 12.5688 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.138 | 95842.0829 | 301129.7927 | 28.7 | 67.6
226342 | 2021-10-26 09:54 | 11.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.748 | μmol/L | 12.5688 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.149 | 95912.1906 | 301166.257 | 28.7 | 67.6
226352 | 2021-10-26 09:54 | 12.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.7275 | μmol/L | 12.5688 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.15 | 95915.8916 | 301205.3272 | 28.7 | 67.6
226362 | 2021-10-26 09:54 | 12.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.7304 | μmol/L | 12.5627 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.152 | 95927.372 | 301237.5925 | 28.7 | 67.6
226372 | 2021-10-26 09:55 | 12.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.5703 | μmol/L | 12.5627 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.16 | 95945.8999 | 301229.0256 | 28.7 | 67.6
226382 | 2021-10-26 09:55 | 13.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.4103 | μmol/L | 12.5749 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.163 | 95967.5405 | 301253.6858 | 28.7 | 67.6
226392 | 2021-10-26 09:55 | 13.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.3351 | μmol/L | 12.5688 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.169 | 96015.7033 | 301269.5335 | 28.7 | 67.6
226402 | 2021-10-26 09:56 | 13.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.2125 | μmol/L | 12.5688 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.175 | 96041.1383 | 301269.9774 | 28.7 | 67.6
226412 | 2021-10-26 09:56 | 14.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.1986 | μmol/L | 12.5627 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.178 | 96079.2271 | 301276.0282 | 28.7 | 67.6
226422 | 2021-10-26 09:56 | 14.665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.0287 | μmol/L | 12.5688 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.184 | 96102.1237 | 301268.0903 | 28.7 | 67.6
226432 | 2021-10-26 09:57 | 14.9985 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.9471 | μmol/L | 12.5688 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.188 | 96123.0394 | 301272.9342 | 28.7 | 67.6
226442 | 2021-10-26 09:57 | 15.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.9062 | μmol/L | 12.5688 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.19 | 96139.0995 | 301283.085 | 28.7 | 67.6
226452 | 2021-10-26 09:57 | 15.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.8589 | μmol/L | 12.5749 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.19 | 96160.595 | 301290.8664 | 28.7 | 67.6
226462 | 2021-10-26 09:58 | 15.9983 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.8655 | μmol/L | 12.5688 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.192 | 96172.9314 | 301296.6263 | 28.7 | 67.6
226472 | 2021-10-26 09:58 | 16.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.7635 | μmol/L | 12.5688 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.197 | 96189.2117 | 301319.9536 | 28.7 | 67.6
226482 | 2021-10-26 09:58 | 16.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.5735 | μmol/L | 12.5749 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.204 | 96222.4228 | 301313.7597 | 28.7 | 67.6
226492 | 2021-10-26 09:59 | 16.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.343 | μmol/L | 12.5809 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.213 | 96262.2328 | 301331.9804 | 28.7 | 67.6
226502 | 2021-10-26 09:59 | 17.3317 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.2276 | μmol/L | 12.5749 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.221 | 96295.6424 | 301332.7765 | 28.7 | 67.6
226512 | 2021-10-26 09:59 | 17.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.2748 | μmol/L | 12.5688 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.221 | 96331.9416 | 301353.8268 | 28.7 | 67.6
226522 | 2021-10-26 10:00 | 17.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.065 | μmol/L | 12.5749 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.229 | 96347.7142 | 301361.1177 | 28.7 | 67.6
226532 | 2021-10-26 10:00 | 18.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.9969 | μmol/L | 12.5627 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.237 | 96378.1318 | 301383.1085 | 28.7 | 67.6
226542 | 2021-10-26 10:00 | 18.665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.8888 | μmol/L | 12.5688 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.24 | 96420.9508 | 301392.2619 | 28.7 | 67.6
226552 | 2021-10-26 10:01 | 18.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.5374 | μmol/L | 12.5749 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.255 | 96496.8936 | 301389.3727 | 28.7 | 67.6
226562 | 2021-10-26 10:01 | 19.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.5304 | μmol/L | 12.5627 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.26 | 96536.4458 | 301405.0619 | 28.7 | 67.6
226572 | 2021-10-26 10:01 | 19.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.3212 | μmol/L | 12.5688 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.268 | 96559.7677 | 301416.0746 | 28.7 | 67.6
226582 | 2021-10-26 10:02 | 19.9982 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.2737 | μmol/L | 12.5567 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.275 | 96580.8989 | 301449.9328 | 28.7 | 67.6
226592 | 2021-10-26 10:02 | 20.3316 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.3547 | μmol/L | 12.5567 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.271 | 96586.0632 | 301435.8928 | 28.7 | 67.6
226602 | 2021-10-26 10:02 | 20.6649 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.3613 | μmol/L | 12.5506 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.273 | 96594.1303 | 301458.7237 | 28.7 | 67.6
226612 | 2021-10-26 10:03 | 20.9985 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.1726 | μmol/L | 12.5567 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.28 | 96627.0239 | 301447.5274 | 28.7 | 67.6