## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 10:04

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
225983 | 2021-10-26 09:42 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.642 | μmol/L | 12.6557 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.405 | 126301.5965 | 272141.9262 | 36.4 | 83.1
225993 | 2021-10-26 09:42 | 0.32692 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.3505 | μmol/L | 12.6496 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.42 | 126271.3786 | 272170.9934 | 36.4 | 83.1
226003 | 2021-10-26 09:42 | 0.66052 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.8463 | μmol/L | 12.6618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.437 | 126224.0594 | 272160.2341 | 36.4 | 83.1
226013 | 2021-10-26 09:43 | 0.99408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.7729 | μmol/L | 12.6496 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.445 | 126199.776 | 272174.7635 | 36.4 | 83.1
226023 | 2021-10-26 09:43 | 1.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.7634 | μmol/L | 12.6557 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.443 | 126121.767 | 272174.3829 | 36.4 | 83.1
226033 | 2021-10-26 09:43 | 1.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.6942 | μmol/L | 12.6557 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.446 | 126011.2475 | 272190.4756 | 36.4 | 83.1
226043 | 2021-10-26 09:44 | 1.994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.7498 | μmol/L | 12.6496 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.446 | 125937.9414 | 272210.9704 | 36.4 | 83.1
226053 | 2021-10-26 09:44 | 2.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.9807 | μmol/L | 12.6496 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.436 | 125920.1767 | 272214.7163 | 36.4 | 83.1
226063 | 2021-10-26 09:44 | 2.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1151 | μmol/L | 12.6374 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.435 | 125826.6123 | 272224.2576 | 36.4 | 83.1
226073 | 2021-10-26 09:45 | 2.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1519 | μmol/L | 12.6435 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.431 | 125746.5272 | 272228.6164 | 36.4 | 83.1
226083 | 2021-10-26 09:45 | 3.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1056 | μmol/L | 12.6435 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.433 | 125668.1905 | 272228.0675 | 36.4 | 83.1
226093 | 2021-10-26 09:45 | 3.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.1014 | μmol/L | 12.6313 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.438 | 125621.4108 | 272241.1929 | 36.4 | 83.1
226103 | 2021-10-26 09:46 | 3.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.9765 | μmol/L | 12.6374 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.441 | 125585.5639 | 272208.9904 | 36.4 | 83.1
226113 | 2021-10-26 09:46 | 4.3269 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.009 | μmol/L | 12.6313 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.442 | 125567.6482 | 272198.6203 | 36.4 | 83.1
226123 | 2021-10-26 09:46 | 4.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.8379 | μmol/L | 12.6374 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.447 | 125538.5564 | 272188.5371 | 36.4 | 83.1
226133 | 2021-10-26 09:47 | 4.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.667 | μmol/L | 12.6435 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.452 | 125580.5096 | 272188.5081 | 36.4 | 83.1
226143 | 2021-10-26 09:47 | 5.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.492 | μmol/L | 12.6374 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.462 | 125590.3654 | 272159.2705 | 36.4 | 83.1
226153 | 2021-10-26 09:47 | 5.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4323 | μmol/L | 12.6313 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.467 | 125603.4928 | 272166.5346 | 36.4 | 83.1
226163 | 2021-10-26 09:48 | 5.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2806 | μmol/L | 12.6252 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.476 | 125582.7389 | 272181.2938 | 36.4 | 83.1
226173 | 2021-10-26 09:48 | 6.3269 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2481 | μmol/L | 12.6313 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.475 | 125552.6265 | 272186.9346 | 36.4 | 83.1
226183 | 2021-10-26 09:48 | 6.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2251 | μmol/L | 12.6313 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.476 | 125523.3802 | 272182.0116 | 36.4 | 83.1
226193 | 2021-10-26 09:49 | 6.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3036 | μmol/L | 12.6252 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.475 | 125503.1263 | 272174.8273 | 36.4 | 83.1
226203 | 2021-10-26 09:49 | 7.3269 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.2251 | μmol/L | 12.6313 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.476 | 125493.421 | 272156.6526 | 36.4 | 83.1
226213 | 2021-10-26 09:49 | 7.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3266 | μmol/L | 12.6252 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.474 | 125481.0545 | 272145.8881 | 36.4 | 83.1
226223 | 2021-10-26 09:50 | 7.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3822 | μmol/L | 12.619 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.474 | 125438.2772 | 272137.063 | 36.4 | 83.1
226233 | 2021-10-26 09:50 | 8.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.5529 | μmol/L | 12.6129 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.469 | 125408.2315 | 272133.6432 | 36.4 | 83.1
226243 | 2021-10-26 09:50 | 8.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3307 | μmol/L | 12.6374 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.469 | 125364.2406 | 272116.0786 | 36.4 | 83.1
226253 | 2021-10-26 09:51 | 8.9938 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4974 | μmol/L | 12.619 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.469 | 125327.3899 | 272114.7829 | 36.4 | 83.1
226263 | 2021-10-26 09:51 | 9.3272 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4743 | μmol/L | 12.619 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.47 | 125339.5156 | 272115.2198 | 36.4 | 83.1
226273 | 2021-10-26 09:51 | 9.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.3592 | μmol/L | 12.619 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.475 | 125371.2503 | 272103.9851 | 36.4 | 83.1
226283 | 2021-10-26 09:52 | 9.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.244 | μmol/L | 12.619 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.48 | 125415.4621 | 272091.5561 | 36.4 | 83.1
226293 | 2021-10-26 09:52 | 10.3269 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.9166 | μmol/L | 12.6374 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.487 | 125392.2195 | 272081.5937 | 36.4 | 83.1
226303 | 2021-10-26 09:52 | 10.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.7828 | μmol/L | 12.6496 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.488 | 125413.9287 | 272087.6131 | 36.4 | 83.1
226313 | 2021-10-26 09:53 | 10.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.599 | μmol/L | 12.6496 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.496 | 125399.5649 | 272102.4204 | 36.4 | 83.1
226323 | 2021-10-26 09:53 | 11.3271 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.7382 | μmol/L | 12.619 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.502 | 125445.1102 | 272120.2432 | 36.4 | 83.1
226333 | 2021-10-26 09:53 | 11.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.5506 | μmol/L | 12.6068 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.515 | 125504.5059 | 272148.0069 | 36.4 | 83.1
226343 | 2021-10-26 09:54 | 11.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.413 | μmol/L | 12.6068 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.521 | 125595.549 | 272162.0863 | 36.4 | 83.1
226353 | 2021-10-26 09:54 | 12.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.2659 | μmol/L | 12.6129 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.525 | 125617.541 | 272179.9784 | 36.4 | 83.1
226363 | 2021-10-26 09:54 | 12.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.8482 | μmol/L | 12.6313 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.536 | 125641.7785 | 272205.5678 | 36.4 | 83.1
226373 | 2021-10-26 09:55 | 12.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.8806 | μmol/L | 12.6252 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.537 | 125674.0417 | 272224.8774 | 36.4 | 83.1
226383 | 2021-10-26 09:55 | 13.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.9091 | μmol/L | 12.6068 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.543 | 125700.1041 | 272223.5388 | 36.4 | 83.1
226393 | 2021-10-26 09:55 | 13.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.8081 | μmol/L | 12.6129 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.545 | 125732.3115 | 272223.012 | 36.4 | 83.1
226403 | 2021-10-26 09:56 | 13.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.8309 | μmol/L | 12.6129 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.544 | 125723.3316 | 272225.7577 | 36.4 | 83.1
226413 | 2021-10-26 09:56 | 14.3269 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.7395 | μmol/L | 12.6129 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.548 | 125751.8061 | 272235.0121 | 36.4 | 83.1
226423 | 2021-10-26 09:56 | 14.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.7261 | μmol/L | 12.6068 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.551 | 125785.7092 | 272249.0477 | 36.4 | 83.1
226433 | 2021-10-26 09:57 | 14.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.4653 | μmol/L | 12.6129 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.56 | 125848.4839 | 272258.1676 | 36.4 | 83.1
226443 | 2021-10-26 09:57 | 15.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.4614 | μmol/L | 12.6007 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.565 | 125879.6153 | 272266.592 | 36.4 | 83.1
226453 | 2021-10-26 09:57 | 15.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.315 | μmol/L | 12.6068 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.569 | 125905.8756 | 272265.0006 | 36.4 | 83.1
226463 | 2021-10-26 09:58 | 15.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.2693 | μmol/L | 12.6068 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.571 | 125955.4759 | 272267.0602 | 36.4 | 83.1
226473 | 2021-10-26 09:58 | 16.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.142 | μmol/L | 12.6007 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.579 | 126009.939 | 272272.1066 | 36.4 | 83.1
226483 | 2021-10-26 09:58 | 16.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.0147 | μmol/L | 12.5946 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.587 | 126084.0959 | 272269.7479 | 36.4 | 83.1
226493 | 2021-10-26 09:59 | 16.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.0015 | μmol/L | 12.5885 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.59 | 126033.1999 | 272286.355 | 36.4 | 83.1
226503 | 2021-10-26 09:59 | 17.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 274.9882 | μmol/L | 12.5824 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.593 | 126073.3249 | 272280.0218 | 36.4 | 83.1
226513 | 2021-10-26 09:59 | 17.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 274.9654 | μmol/L | 12.5824 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.594 | 126194.1595 | 272302.0039 | 36.4 | 83.1
226523 | 2021-10-26 10:00 | 17.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 274.7414 | μmol/L | 12.5946 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.599 | 126116.9382 | 272316.5165 | 36.4 | 83.1
226533 | 2021-10-26 10:00 | 18.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 274.8743 | μmol/L | 12.5824 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.598 | 126126.1002 | 272324.3411 | 36.4 | 83.1
226543 | 2021-10-26 10:00 | 18.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 274.5822 | μmol/L | 12.5946 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.606 | 126166.1823 | 272321.1461 | 36.4 | 83.1
226553 | 2021-10-26 10:01 | 18.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 274.679 | μmol/L | 12.5763 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.609 | 126275.5605 | 272337.7462 | 36.4 | 83.1
226563 | 2021-10-26 10:01 | 19.3269 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 274.588 | μmol/L | 12.5763 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.613 | 126292.2058 | 272345.8303 | 36.4 | 83.1
226573 | 2021-10-26 10:01 | 19.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 274.1659 | μmol/L | 12.5701 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.634 | 126414.9356 | 272359.763 | 36.4 | 83.1
226583 | 2021-10-26 10:02 | 19.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 273.4312 | μmol/L | 12.5763 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.664 | 126629.6416 | 272352.0294 | 36.4 | 83.1
226593 | 2021-10-26 10:02 | 20.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 272.6052 | μmol/L | 12.5701 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.703 | 126864.7629 | 272369.0513 | 36.4 | 83.1
226603 | 2021-10-26 10:02 | 20.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 272.4249 | μmol/L | 12.5701 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.711 | 126902.435 | 272391.4219 | 36.4 | 83.1
226613 | 2021-10-26 10:03 | 20.9938 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 272.5696 | μmol/L | 12.564 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.707 | 126861.7031 | 272373.6865 | 36.4 | 83.1