## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 10:04

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
225987 | 2021-10-26 09:42 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.1352 | μmol/L | 12.5821 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.28 | 116608.2396 | 276542.3735 | 26.25 | 74
225997 | 2021-10-26 09:42 | 0.33864 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.7773 | μmol/L | 12.576 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.3 | 116682.0493 | 276556.3832 | 26.25 | 74
226007 | 2021-10-26 09:43 | 0.67185 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.2401 | μmol/L | 12.6003 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.317 | 116763.7003 | 276576.3084 | 26.25 | 74
226017 | 2021-10-26 09:43 | 1.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.0782 | μmol/L | 12.6003 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.325 | 116846.392 | 276583.5209 | 26.25 | 74
226027 | 2021-10-26 09:43 | 1.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.0454 | μmol/L | 12.5943 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.329 | 116882.6755 | 276592.1156 | 26.25 | 74
226037 | 2021-10-26 09:44 | 1.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.9116 | μmol/L | 12.5882 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.338 | 117111.198 | 276606.2003 | 26.25 | 74
226047 | 2021-10-26 09:44 | 2.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.5482 | μmol/L | 12.5882 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.356 | 117147.6001 | 276615.9147 | 26.25 | 74
226057 | 2021-10-26 09:44 | 2.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.2736 | μmol/L | 12.5821 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.372 | 117249.3698 | 276627.5961 | 26.25 | 74
226067 | 2021-10-26 09:45 | 2.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.2736 | μmol/L | 12.5821 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.372 | 117295.2557 | 276640.8998 | 26.25 | 74
226077 | 2021-10-26 09:45 | 3.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.9995 | μmol/L | 12.576 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.388 | 117368.7742 | 276651.7634 | 26.25 | 74
226087 | 2021-10-26 09:45 | 3.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.8788 | μmol/L | 12.576 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.394 | 117431.8777 | 276652.2889 | 26.25 | 74
226097 | 2021-10-26 09:46 | 3.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.7056 | μmol/L | 12.5699 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.405 | 117483.1816 | 276644.8465 | 26.25 | 74
226107 | 2021-10-26 09:46 | 4.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.5527 | μmol/L | 12.5639 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.415 | 117551.6769 | 276646.1964 | 26.25 | 74
226117 | 2021-10-26 09:46 | 4.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.3444 | μmol/L | 12.5699 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.423 | 117608.2069 | 276624.7619 | 26.25 | 74
226127 | 2021-10-26 09:47 | 4.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.292 | μmol/L | 12.5639 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.428 | 117649.2523 | 276619.5445 | 26.25 | 74
226137 | 2021-10-26 09:47 | 5.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.124 | μmol/L | 12.5699 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.434 | 117702.2915 | 276602.1686 | 26.25 | 74
226147 | 2021-10-26 09:47 | 5.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.9362 | μmol/L | 12.576 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.441 | 117737.4059 | 276609.1793 | 26.25 | 74
226157 | 2021-10-26 09:48 | 5.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.6685 | μmol/L | 12.5821 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.452 | 117786.9414 | 276615.6499 | 26.25 | 74
226167 | 2021-10-26 09:48 | 6.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.6163 | μmol/L | 12.576 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.457 | 117830.744 | 276618.6465 | 26.25 | 74
226177 | 2021-10-26 09:48 | 6.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.4964 | μmol/L | 12.576 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.463 | 117871.8797 | 276624.9412 | 26.25 | 74
226187 | 2021-10-26 09:49 | 6.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.4043 | μmol/L | 12.5699 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.47 | 117904.1332 | 276623.1631 | 26.25 | 74
226197 | 2021-10-26 09:49 | 7.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.2171 | μmol/L | 12.576 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.477 | 117945.8137 | 276621.1484 | 26.25 | 74
226207 | 2021-10-26 09:49 | 7.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.3398 | μmol/L | 12.5578 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.478 | 117973.551 | 276611.6346 | 26.25 | 74
226217 | 2021-10-26 09:50 | 7.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.1405 | μmol/L | 12.5578 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.488 | 118013.8007 | 276600.8261 | 26.25 | 74
226227 | 2021-10-26 09:50 | 8.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.1604 | μmol/L | 12.5578 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.487 | 118047.7483 | 276588.0114 | 26.25 | 74
226237 | 2021-10-26 09:50 | 8.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.0209 | μmol/L | 12.5578 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.494 | 118076.9532 | 276589.503 | 26.25 | 74
226247 | 2021-10-26 09:51 | 8.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.7943 | μmol/L | 12.5639 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.503 | 118097.8853 | 276573.7937 | 26.25 | 74
226257 | 2021-10-26 09:51 | 9.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.7346 | μmol/L | 12.5639 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.506 | 118140.2432 | 276580.1925 | 26.25 | 74
226267 | 2021-10-26 09:51 | 9.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.6352 | μmol/L | 12.5639 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.511 | 118172.7222 | 276558.2784 | 26.25 | 74
226277 | 2021-10-26 09:52 | 9.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.4884 | μmol/L | 12.5699 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.516 | 118213.8706 | 276552.8154 | 26.25 | 74
226287 | 2021-10-26 09:52 | 10.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.3295 | μmol/L | 12.5699 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.524 | 118250.5998 | 276548.5123 | 26.25 | 74
226297 | 2021-10-26 09:52 | 10.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.2104 | μmol/L | 12.5699 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.53 | 118290.1513 | 276558.6985 | 26.25 | 74
226307 | 2021-10-26 09:53 | 10.6721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.9891 | μmol/L | 12.5882 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.534 | 118328.1643 | 276563.2979 | 26.25 | 74
226317 | 2021-10-26 09:53 | 11.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.9252 | μmol/L | 12.576 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.542 | 118362.0329 | 276574.0354 | 26.25 | 74
226327 | 2021-10-26 09:53 | 11.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.846 | μmol/L | 12.576 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.546 | 118422.559 | 276591.6599 | 26.25 | 74
226337 | 2021-10-26 09:54 | 11.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.7547 | μmol/L | 12.5699 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.553 | 118480.642 | 276611.1289 | 26.25 | 74
226347 | 2021-10-26 09:54 | 12.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.5415 | μmol/L | 12.5821 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.559 | 118518.8919 | 276632.1034 | 26.25 | 74
226357 | 2021-10-26 09:54 | 12.3389 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.5096 | μmol/L | 12.576 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.563 | 118572.0414 | 276654.5683 | 26.25 | 74
226367 | 2021-10-26 09:55 | 12.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.5052 | μmol/L | 12.5639 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.568 | 118612.6049 | 276673.049 | 26.25 | 74
226377 | 2021-10-26 09:55 | 13.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.4854 | μmol/L | 12.5639 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.569 | 118616.4178 | 276689.7102 | 26.25 | 74
226387 | 2021-10-26 09:55 | 13.3386 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.3669 | μmol/L | 12.5639 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.575 | 118636.0757 | 276682.7904 | 26.25 | 74
226397 | 2021-10-26 09:56 | 13.6722 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.3197 | μmol/L | 12.5699 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.575 | 118676.9278 | 276691.129 | 26.25 | 74
226407 | 2021-10-26 09:56 | 14.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.2802 | μmol/L | 12.5699 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.577 | 118695.9797 | 276695.8926 | 26.25 | 74
226417 | 2021-10-26 09:56 | 14.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.2484 | μmol/L | 12.5639 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.581 | 118745.8029 | 276712.0885 | 26.25 | 74
226427 | 2021-10-26 09:57 | 14.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.2089 | μmol/L | 12.5639 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.583 | 118782.4639 | 276713.301 | 26.25 | 74
226437 | 2021-10-26 09:57 | 15.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.1102 | μmol/L | 12.5639 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.588 | 118808.1672 | 276721.7757 | 26.25 | 74
226447 | 2021-10-26 09:57 | 15.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.0708 | μmol/L | 12.5639 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.59 | 118853.0649 | 276731.772 | 26.25 | 74
226457 | 2021-10-26 09:58 | 15.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.0193 | μmol/L | 12.5578 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.595 | 118889.1648 | 276737.6195 | 26.25 | 74
226467 | 2021-10-26 09:58 | 16.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.9404 | μmol/L | 12.5578 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.599 | 118925.2536 | 276755.021 | 26.25 | 74
226477 | 2021-10-26 09:58 | 16.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.8693 | μmol/L | 12.5517 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.605 | 118953.7391 | 276747.6166 | 26.25 | 74
226487 | 2021-10-26 09:59 | 16.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.7434 | μmol/L | 12.5578 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.609 | 118993.7829 | 276757.8746 | 26.25 | 74
226497 | 2021-10-26 09:59 | 17.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.6843 | μmol/L | 12.5578 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.612 | 119012.0161 | 276751.7505 | 26.25 | 74
226507 | 2021-10-26 09:59 | 17.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.6526 | μmol/L | 12.5517 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.616 | 119057.3586 | 276763.2833 | 26.25 | 74
226517 | 2021-10-26 10:00 | 17.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.5269 | μmol/L | 12.5578 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.62 | 119088.0702 | 276769.179 | 26.25 | 74
226527 | 2021-10-26 10:00 | 18.0054 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.5346 | μmol/L | 12.5517 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.622 | 119111.323 | 276794.9123 | 26.25 | 74
226537 | 2021-10-26 10:00 | 18.3388 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.4559 | μmol/L | 12.5517 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.626 | 119135.9649 | 276799.9034 | 26.25 | 74
226547 | 2021-10-26 10:01 | 18.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.5423 | μmol/L | 12.5456 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.624 | 119165.9213 | 276800.6728 | 26.25 | 74
226557 | 2021-10-26 10:01 | 19.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.3773 | μmol/L | 12.5517 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.63 | 119198.2 | 276822.4874 | 26.25 | 74
226567 | 2021-10-26 10:01 | 19.3385 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.2867 | μmol/L | 12.5456 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.637 | 119243.6844 | 276836.1533 | 26.25 | 74
226577 | 2021-10-26 10:02 | 19.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.2004 | μmol/L | 12.5517 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.639 | 119255.7628 | 276844.9802 | 26.25 | 74
226587 | 2021-10-26 10:02 | 20.0055 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.0826 | μmol/L | 12.5517 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.645 | 119320.5456 | 276844.1278 | 26.25 | 74
226597 | 2021-10-26 10:02 | 20.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.8549 | μmol/L | 12.5456 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.659 | 119400.6486 | 276863.9056 | 26.25 | 74
226607 | 2021-10-26 10:03 | 20.6723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.573 | μmol/L | 12.5517 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.671 | 119486.8876 | 276875.1854 | 26.25 | 74
226617 | 2021-10-26 10:03 | 21.0056 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.3536 | μmol/L | 12.5395 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.687 | 119566.3011 | 276870.0171 | 26.25 | 74