## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 10:04

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
225988 | 2021-10-26 09:42 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.618 | μmol/L | 12.5571 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.095 | 125849.3942 | 269406.9631 | 32.55 | 27.7
225998 | 2021-10-26 09:42 | 0.33995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.3129 | μmol/L | 12.5388 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.117 | 125970.966 | 269413.0281 | 32.55 | 27.7
226009 | 2021-10-26 09:43 | 0.67332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.0953 | μmol/L | 12.5327 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.13 | 126062.2264 | 269411.8425 | 32.55 | 27.7
226018 | 2021-10-26 09:43 | 1.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.8908 | μmol/L | 12.5327 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.14 | 126154.2812 | 269413.6088 | 32.55 | 27.7
226029 | 2021-10-26 09:43 | 1.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.6049 | μmol/L | 12.5327 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.154 | 126221.1553 | 269402.3616 | 32.55 | 27.7
226039 | 2021-10-26 09:44 | 1.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.3194 | μmol/L | 12.5327 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.168 | 126274.7696 | 269414.4288 | 32.55 | 27.7
226049 | 2021-10-26 09:44 | 2.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.3143 | μmol/L | 12.5205 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.173 | 126341.4274 | 269422.9998 | 32.55 | 27.7
226058 | 2021-10-26 09:44 | 2.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.2965 | μmol/L | 12.5022 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.181 | 126385.372 | 269416.8092 | 32.55 | 27.7
226069 | 2021-10-26 09:45 | 2.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.0572 | μmol/L | 12.5144 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.188 | 126439.1748 | 269415.4194 | 32.55 | 27.7
226079 | 2021-10-26 09:45 | 3.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.9274 | μmol/L | 12.5205 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.192 | 126481.1033 | 269425.908 | 32.55 | 27.7
226089 | 2021-10-26 09:45 | 3.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.5743 | μmol/L | 12.5266 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.207 | 126522.7745 | 269411.2625 | 32.55 | 27.7
226099 | 2021-10-26 09:46 | 3.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.5134 | μmol/L | 12.5266 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.21 | 126564.9641 | 269410.2895 | 32.55 | 27.7
226109 | 2021-10-26 09:46 | 4.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.356 | μmol/L | 12.5388 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.213 | 126581.4422 | 269397.2203 | 32.55 | 27.7
226118 | 2021-10-26 09:46 | 4.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.2343 | μmol/L | 12.5388 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.219 | 126601.0584 | 269365.8579 | 32.55 | 27.7
226129 | 2021-10-26 09:47 | 4.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.0974 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.221 | 126621.1052 | 269367.8843 | 32.55 | 27.7
226139 | 2021-10-26 09:47 | 5.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.0925 | μmol/L | 12.5388 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.226 | 126642.8036 | 269345.0266 | 32.55 | 27.7
226148 | 2021-10-26 09:47 | 5.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.9228 | μmol/L | 12.5449 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.232 | 126662.9161 | 269342.2053 | 32.55 | 27.7
226158 | 2021-10-26 09:48 | 5.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.814 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.235 | 126680.502 | 269346.1754 | 32.55 | 27.7
226168 | 2021-10-26 09:48 | 6.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.6598 | μmol/L | 12.5449 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.245 | 126664.9329 | 269348.4835 | 32.55 | 27.7
226178 | 2021-10-26 09:48 | 6.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.6041 | μmol/L | 12.5571 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.243 | 126682.4608 | 269335.6554 | 32.55 | 27.7
226189 | 2021-10-26 09:49 | 6.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.68 | μmol/L | 12.5449 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.244 | 126715.6183 | 269355.9638 | 32.55 | 27.7
226199 | 2021-10-26 09:49 | 7.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.4828 | μmol/L | 12.5571 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.249 | 126745.6409 | 269339.7469 | 32.55 | 27.7
226208 | 2021-10-26 09:49 | 7.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.3213 | μmol/L | 12.5571 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.257 | 126756.7864 | 269333.3141 | 32.55 | 27.7
226219 | 2021-10-26 09:50 | 7.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.3693 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.257 | 126781.5268 | 269335.2414 | 32.55 | 27.7
226229 | 2021-10-26 09:50 | 8.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.228 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.264 | 126795.552 | 269318.356 | 32.55 | 27.7
226239 | 2021-10-26 09:50 | 8.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.1195 | μmol/L | 12.5571 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.267 | 126823.1587 | 269318.1083 | 32.55 | 27.7
226249 | 2021-10-26 09:51 | 8.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.0465 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.273 | 126829.5731 | 269311.2843 | 32.55 | 27.7
226259 | 2021-10-26 09:51 | 9.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.1146 | μmol/L | 12.5449 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.272 | 126847.2148 | 269315.3719 | 32.55 | 27.7
226268 | 2021-10-26 09:51 | 9.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9054 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.28 | 126853.6898 | 269289.7473 | 32.55 | 27.7
226279 | 2021-10-26 09:52 | 9.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.8575 | μmol/L | 12.5571 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.28 | 126860.5232 | 269280.3889 | 32.55 | 27.7
226289 | 2021-10-26 09:52 | 10.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.8048 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.285 | 126861.5329 | 269280.6158 | 32.55 | 27.7
226299 | 2021-10-26 09:52 | 10.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.8048 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.285 | 126877.818 | 269281.2007 | 32.55 | 27.7
226308 | 2021-10-26 09:53 | 10.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.7041 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.29 | 126885.6521 | 269274.7241 | 32.55 | 27.7
226318 | 2021-10-26 09:53 | 11.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.6437 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.293 | 126907.7905 | 269278.1809 | 32.55 | 27.7
226329 | 2021-10-26 09:53 | 11.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.5758 | μmol/L | 12.5571 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.294 | 126941.008 | 269303.7515 | 32.55 | 27.7
226339 | 2021-10-26 09:54 | 11.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.5432 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.298 | 126978.7486 | 269319.8206 | 32.55 | 27.7
226348 | 2021-10-26 09:54 | 12.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.4226 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.304 | 126971.3458 | 269313.3904 | 32.55 | 27.7
226359 | 2021-10-26 09:54 | 12.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.3699 | μmol/L | 12.5449 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.309 | 127014.0864 | 269337.4105 | 32.55 | 27.7
226369 | 2021-10-26 09:55 | 12.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.302 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.31 | 127041.2412 | 269351.0962 | 32.55 | 27.7
226379 | 2021-10-26 09:55 | 13.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.2418 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.313 | 127090.1283 | 269350.1696 | 32.55 | 27.7
226389 | 2021-10-26 09:55 | 13.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.1414 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.318 | 127118.7788 | 269362.7678 | 32.55 | 27.7
226399 | 2021-10-26 09:56 | 13.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.0488 | μmol/L | 12.5449 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.325 | 127150.5274 | 269363.2952 | 32.55 | 27.7
226409 | 2021-10-26 09:56 | 14.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.9809 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.326 | 127177.8009 | 269369.4832 | 32.55 | 27.7
226419 | 2021-10-26 09:56 | 14.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.8607 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.332 | 127206.8134 | 269374.7163 | 32.55 | 27.7
226429 | 2021-10-26 09:57 | 14.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.7528 | μmol/L | 12.5571 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.335 | 127236.7183 | 269373.0146 | 32.55 | 27.7
226439 | 2021-10-26 09:57 | 15.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.6451 | μmol/L | 12.5632 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.338 | 127268.9707 | 269380.5068 | 32.55 | 27.7
226448 | 2021-10-26 09:57 | 15.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.6203 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.344 | 127307.5401 | 269390.3522 | 32.55 | 27.7
226459 | 2021-10-26 09:58 | 15.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.5003 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.35 | 127351.4809 | 269404.8856 | 32.55 | 27.7
226469 | 2021-10-26 09:58 | 16.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.5556 | μmol/L | 12.5388 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.352 | 127372.5467 | 269401.5208 | 32.55 | 27.7
226479 | 2021-10-26 09:58 | 16.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.4803 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.351 | 127401.7977 | 269400.478 | 32.55 | 27.7
226489 | 2021-10-26 09:59 | 16.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 243.4232 | μmol/L | 12.5327 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.361 | 127436.2241 | 269394.801 | 32.55 | 27.7
226499 | 2021-10-26 09:59 | 17.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.921 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.379 | 127555.1561 | 269401.4593 | 32.55 | 27.7
226509 | 2021-10-26 09:59 | 17.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.2439 | μmol/L | 12.551 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.413 | 127753.0064 | 269417.9605 | 32.55 | 27.7
226518 | 2021-10-26 10:00 | 17.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.9337 | μmol/L | 12.5449 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.431 | 127849.3714 | 269426.3308 | 32.55 | 27.7
226529 | 2021-10-26 10:00 | 18.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.0605 | μmol/L | 12.5388 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.427 | 127867.1327 | 269420.1438 | 32.55 | 27.7
226539 | 2021-10-26 10:00 | 18.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.0131 | μmol/L | 12.5449 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.427 | 127875.1293 | 269437.0143 | 32.55 | 27.7
226548 | 2021-10-26 10:01 | 18.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.1002 | μmol/L | 12.5388 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.425 | 127864.7631 | 269439.5737 | 32.55 | 27.7
226558 | 2021-10-26 10:01 | 19.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.1201 | μmol/L | 12.5388 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.424 | 127860.0255 | 269443.2899 | 32.55 | 27.7
226568 | 2021-10-26 10:01 | 19.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.1797 | μmol/L | 12.5388 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.421 | 127856.9735 | 269446.5573 | 32.55 | 27.7
226579 | 2021-10-26 10:02 | 19.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.2393 | μmol/L | 12.5388 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.418 | 127853.6853 | 269452.6585 | 32.55 | 27.7
226588 | 2021-10-26 10:02 | 20.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 242.1675 | μmol/L | 12.5327 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.424 | 127879.9119 | 269455.109 | 32.55 | 27.7
226598 | 2021-10-26 10:02 | 20.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 241.775 | μmol/L | 12.5449 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.439 | 127974.8783 | 269469.1932 | 32.55 | 27.7
226609 | 2021-10-26 10:03 | 20.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 240.281 | μmol/L | 12.5388 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.517 | 128439.0314 | 269438.7274 | 32.55 | 27.7
226618 | 2021-10-26 10:03 | 21.0068 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 237.0205 | μmol/L | 12.5388 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.684 | 129469.9507 | 269456.5545 | 32.55 | 27.7