## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 10:37

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
226619 | 2021-10-26 10:15 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.4141 | μmol/L | 12.6173 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.33 | 142531.3876 | 279370.745 | 33.25 | 75.7
226629 | 2021-10-26 10:15 | 0.34086 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 261.0638 | μmol/L | 12.6173 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.346 | 142635.3165 | 279394.1155 | 33.25 | 75.7
226639 | 2021-10-26 10:16 | 0.67452 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.7578 | μmol/L | 12.6173 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.36 | 142679.2018 | 279420.162 | 33.25 | 75.7
226649 | 2021-10-26 10:16 | 1.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.4304 | μmol/L | 12.6173 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.375 | 142752.5624 | 279426.5717 | 33.25 | 75.7
226659 | 2021-10-26 10:16 | 1.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.2272 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.389 | 142823.5153 | 279421.8005 | 33.25 | 75.7
226669 | 2021-10-26 10:17 | 1.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 260.0386 | μmol/L | 12.5989 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.4 | 142904.0971 | 279421.2492 | 33.25 | 75.7
226679 | 2021-10-26 10:17 | 2.008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.8284 | μmol/L | 12.5928 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.412 | 142945.9968 | 279400.9124 | 33.25 | 75.7
226689 | 2021-10-26 10:17 | 2.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.466 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.424 | 143021.8827 | 279379.8659 | 33.25 | 75.7
226699 | 2021-10-26 10:18 | 2.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.119 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.44 | 143097.7684 | 279376.0531 | 33.25 | 75.7
226709 | 2021-10-26 10:18 | 3.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 259.018 | μmol/L | 12.5989 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.447 | 143177.3812 | 279363.4844 | 33.25 | 75.7
226719 | 2021-10-26 10:18 | 3.3405 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.7725 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.456 | 143235.2376 | 279388.3923 | 33.25 | 75.7
226729 | 2021-10-26 10:19 | 3.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.5346 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.467 | 143273.856 | 279363.587 | 33.25 | 75.7
226739 | 2021-10-26 10:19 | 4.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.3402 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.476 | 143305.8449 | 279334.1648 | 33.25 | 75.7
226749 | 2021-10-26 10:19 | 4.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 258.1891 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.483 | 143352.36 | 279319.7536 | 33.25 | 75.7
226759 | 2021-10-26 10:20 | 4.6744 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.9014 | μmol/L | 12.6111 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.494 | 143382.7021 | 279303.8196 | 33.25 | 75.7
226769 | 2021-10-26 10:20 | 5.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.7143 | μmol/L | 12.6234 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.498 | 143424.903 | 279288.8048 | 33.25 | 75.7
226779 | 2021-10-26 10:20 | 5.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.5206 | μmol/L | 12.6234 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.507 | 143475.9646 | 279264.2443 | 33.25 | 75.7
226789 | 2021-10-26 10:21 | 5.6743 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.2768 | μmol/L | 12.6295 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.516 | 143515.1519 | 279248.394 | 33.25 | 75.7
226799 | 2021-10-26 10:21 | 6.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 257.1049 | μmol/L | 12.6295 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.524 | 143564.8207 | 279208.824 | 33.25 | 75.7
226809 | 2021-10-26 10:21 | 6.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.826 | μmol/L | 12.6295 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.537 | 143678.3142 | 279198.0007 | 33.25 | 75.7
226819 | 2021-10-26 10:22 | 6.6745 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.4478 | μmol/L | 12.6234 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.557 | 143757.1383 | 279179.5251 | 33.25 | 75.7
226829 | 2021-10-26 10:22 | 7.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.2981 | μmol/L | 12.6234 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.564 | 143810.0919 | 279160.0395 | 33.25 | 75.7
226839 | 2021-10-26 10:22 | 7.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.1986 | μmol/L | 12.6173 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.571 | 143823.6467 | 279131.0797 | 33.25 | 75.7
226849 | 2021-10-26 10:23 | 7.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.206 | μmol/L | 12.6111 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.573 | 143838.0835 | 279109.846 | 33.25 | 75.7
226859 | 2021-10-26 10:23 | 8.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 256.0564 | μmol/L | 12.6111 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.58 | 143854.0396 | 279089.6985 | 33.25 | 75.7
226869 | 2021-10-26 10:23 | 8.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.9497 | μmol/L | 12.6111 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.585 | 143863.0047 | 279056.3259 | 33.25 | 75.7
226879 | 2021-10-26 10:24 | 8.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.7437 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.597 | 143916.3225 | 279041.2257 | 33.25 | 75.7
226889 | 2021-10-26 10:24 | 9.008 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.5668 | μmol/L | 12.5928 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.61 | 143985.8666 | 279021.8293 | 33.25 | 75.7
226899 | 2021-10-26 10:24 | 9.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.489 | μmol/L | 12.5867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.616 | 144017.8099 | 279034.5359 | 33.25 | 75.7
226909 | 2021-10-26 10:25 | 9.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.3687 | μmol/L | 12.5805 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.624 | 144050.191 | 279030.1268 | 33.25 | 75.7
226919 | 2021-10-26 10:25 | 10.0082 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.4187 | μmol/L | 12.5744 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.624 | 144049.8593 | 279032.2403 | 33.25 | 75.7
226929 | 2021-10-26 10:25 | 10.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.2911 | μmol/L | 12.5744 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.63 | 144068.5516 | 279025.1979 | 33.25 | 75.7
226939 | 2021-10-26 10:26 | 10.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.056 | μmol/L | 12.5928 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.634 | 144085.3529 | 279021.3412 | 33.25 | 75.7
226949 | 2021-10-26 10:26 | 11.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 255.0348 | μmol/L | 12.5928 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.635 | 144094.519 | 279023.9717 | 33.25 | 75.7
226959 | 2021-10-26 10:26 | 11.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.85 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.639 | 144127.916 | 279026.7993 | 33.25 | 75.7
226969 | 2021-10-26 10:27 | 11.6743 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.6801 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.647 | 144143.5265 | 279009.9266 | 33.25 | 75.7
226979 | 2021-10-26 10:27 | 12.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.6091 | μmol/L | 12.6111 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.648 | 144153.0185 | 279005.0668 | 33.25 | 75.7
226989 | 2021-10-26 10:27 | 12.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.6027 | μmol/L | 12.5989 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.653 | 144166.1777 | 278992.2645 | 33.25 | 75.7
226999 | 2021-10-26 10:28 | 12.6746 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.4681 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.657 | 144199.7778 | 278973.3734 | 33.25 | 75.7
227009 | 2021-10-26 10:28 | 13.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.2986 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.665 | 144218.757 | 278959.2099 | 33.25 | 75.7
227019 | 2021-10-26 10:28 | 13.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 254.1716 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.671 | 144268.0418 | 278931.4223 | 33.25 | 75.7
227029 | 2021-10-26 10:29 | 13.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.9389 | μmol/L | 12.605 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.682 | 144361.2895 | 278922.9077 | 33.25 | 75.7
227039 | 2021-10-26 10:29 | 14.0078 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 253.3627 | μmol/L | 12.5928 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.714 | 144567.6728 | 278922.3684 | 33.25 | 75.7
227049 | 2021-10-26 10:29 | 14.3411 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 251.8578 | μmol/L | 12.5867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.788 | 145073.1073 | 278900.263 | 33.25 | 75.7
227059 | 2021-10-26 10:30 | 14.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 250.1622 | μmol/L | 12.5928 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.867 | 145612.0153 | 278903.168 | 33.25 | 75.7
227069 | 2021-10-26 10:30 | 15.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 246.5488 | μmol/L | 12.5867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.045 | 146847.5854 | 278875.3522 | 33.25 | 75.7
227079 | 2021-10-26 10:30 | 15.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 244.9137 | μmol/L | 12.5622 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.135 | 147488.6616 | 278854.1461 | 33.25 | 75.7
227089 | 2021-10-26 10:31 | 15.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.1566 | μmol/L | 12.5622 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.123 | 147388.4499 | 278841.3263 | 33.25 | 75.7
227099 | 2021-10-26 10:31 | 16.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.3719 | μmol/L | 12.5683 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.11 | 147264.9856 | 278819.7999 | 33.25 | 75.7
227109 | 2021-10-26 10:31 | 16.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.3516 | μmol/L | 12.5683 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.111 | 147280.3932 | 278801.1246 | 33.25 | 75.7
227119 | 2021-10-26 10:32 | 16.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 243.2118 | μmol/L | 12.5867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.21 | 147947.6489 | 278766.6969 | 33.25 | 75.7
227129 | 2021-10-26 10:32 | 17.0077 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.1802 | μmol/L | 12.5805 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.314 | 148672.7895 | 278766.2689 | 33.25 | 75.7
227139 | 2021-10-26 10:32 | 17.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 240.6845 | μmol/L | 12.5805 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.339 | 148818.7891 | 278737.7386 | 33.25 | 75.7
227149 | 2021-10-26 10:33 | 17.6745 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 240.9818 | μmol/L | 12.5805 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.324 | 148707.9717 | 278719.9125 | 33.25 | 75.7
227159 | 2021-10-26 10:33 | 18.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.3475 | μmol/L | 12.5928 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.301 | 148538.9649 | 278691.3013 | 33.25 | 75.7
227169 | 2021-10-26 10:33 | 18.3412 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.8175 | μmol/L | 12.5989 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.275 | 148337.8916 | 278661.213 | 33.25 | 75.7
227179 | 2021-10-26 10:34 | 18.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 242.2562 | μmol/L | 12.5989 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.253 | 148173.1611 | 278648.6318 | 33.25 | 75.7
227189 | 2021-10-26 10:34 | 19.0085 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 242.6835 | μmol/L | 12.5928 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.234 | 148023.1366 | 278632.5259 | 33.25 | 75.7
227199 | 2021-10-26 10:34 | 19.3405 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 243.0239 | μmol/L | 12.5928 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.217 | 147886.0749 | 278606.9838 | 33.25 | 75.7
227209 | 2021-10-26 10:35 | 19.6747 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 243.4728 | μmol/L | 12.5867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.197 | 147717.5718 | 278608.3557 | 33.25 | 75.7
227219 | 2021-10-26 10:35 | 20.0079 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 243.8748 | μmol/L | 12.5867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.177 | 147569.3169 | 278600.9451 | 33.25 | 75.7
227229 | 2021-10-26 10:35 | 20.3413 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 244.7938 | μmol/L | 12.5744 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.136 | 147291.1308 | 278591.7988 | 33.25 | 75.7
227239 | 2021-10-26 10:36 | 20.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 245.7131 | μmol/L | 12.5683 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.093 | 146971.1565 | 278595.4013 | 33.25 | 75.7