## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 10:37

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
226620 | 2021-10-26 10:15 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.551 | μmol/L | 12.6608 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.327 | 143846.4402 | 300449.0564 | 59.9307 | 38.1
226630 | 2021-10-26 10:15 | 0.34024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.2667 | μmol/L | 12.6669 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.49 | 144973.287 | 300476.1177 | 59.9307 | 38.1
226640 | 2021-10-26 10:16 | 0.67312 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.272 | μmol/L | 12.6608 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.543 | 145312.3927 | 300488.9307 | 59.9307 | 38.1
226650 | 2021-10-26 10:16 | 1.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.3998 | μmol/L | 12.6547 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.539 | 145297.36 | 300495.1951 | 59.9307 | 38.1
226660 | 2021-10-26 10:16 | 1.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.1545 | μmol/L | 12.6608 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.549 | 145336.4711 | 300487.2604 | 59.9307 | 38.1
226670 | 2021-10-26 10:17 | 1.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.9918 | μmol/L | 12.6486 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.562 | 145454.3292 | 300475.9867 | 59.9307 | 38.1
226680 | 2021-10-26 10:17 | 2.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 233.9877 | μmol/L | 12.6425 | °C | 991 | hPa | Humid | 28 | 1 | 0 | 24.616 | 145798.8269 | 300454.3423 | 59.9307 | 38.1
226690 | 2021-10-26 10:17 | 2.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 233.3364 | μmol/L | 12.6486 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.647 | 146024.2953 | 300445.7468 | 59.9307 | 38.1
226700 | 2021-10-26 10:18 | 2.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 233.1619 | μmol/L | 12.6486 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.656 | 146069.234 | 300436.2994 | 59.9307 | 38.1
226710 | 2021-10-26 10:18 | 3.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 233.0904 | μmol/L | 12.6608 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.655 | 146066.7821 | 300428.889 | 59.9307 | 38.1
226720 | 2021-10-26 10:18 | 3.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 233.22 | μmol/L | 12.6486 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.653 | 146068.7203 | 300432.0152 | 59.9307 | 38.1
226730 | 2021-10-26 10:19 | 3.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 233.4206 | μmol/L | 12.6425 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.645 | 146000.3084 | 300428.9348 | 59.9307 | 38.1
226740 | 2021-10-26 10:19 | 4.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 233.3558 | μmol/L | 12.6486 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.646 | 145967.2737 | 300406.1566 | 59.9307 | 38.1
226750 | 2021-10-26 10:19 | 4.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 233.5887 | μmol/L | 12.6486 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.634 | 145902.0031 | 300393.7155 | 59.9307 | 38.1
226760 | 2021-10-26 10:20 | 4.6729 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.0163 | μmol/L | 12.6486 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.612 | 145767.2134 | 300380.9963 | 59.9307 | 38.1
226770 | 2021-10-26 10:20 | 5.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.464 | μmol/L | 12.6669 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.582 | 145534.5249 | 300350.7575 | 59.9307 | 38.1
226780 | 2021-10-26 10:20 | 5.3399 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.3892 | μmol/L | 12.6791 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.53 | 145170.8162 | 300334.3698 | 59.9307 | 38.1
226790 | 2021-10-26 10:21 | 5.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.2076 | μmol/L | 12.6669 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.493 | 144917.4689 | 300313.6842 | 59.9307 | 38.1
226800 | 2021-10-26 10:21 | 6.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.7924 | μmol/L | 12.6547 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.468 | 144748.7781 | 300287.2595 | 59.9307 | 38.1
226810 | 2021-10-26 10:21 | 6.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.3392 | μmol/L | 12.6425 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.445 | 144582.5032 | 300259.3377 | 59.9307 | 38.1
226820 | 2021-10-26 10:22 | 6.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.119 | μmol/L | 12.6364 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.408 | 144292.7318 | 300235.0568 | 59.9307 | 38.1
226830 | 2021-10-26 10:22 | 7.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.8353 | μmol/L | 12.6364 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.372 | 144009.7485 | 300227.3593 | 59.9307 | 38.1
226840 | 2021-10-26 10:22 | 7.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.6207 | μmol/L | 12.6303 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.335 | 143759.2327 | 300207.3296 | 59.9307 | 38.1
226850 | 2021-10-26 10:23 | 7.6729 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.1884 | μmol/L | 12.6425 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.302 | 143522.3229 | 300175.7783 | 59.9307 | 38.1
226860 | 2021-10-26 10:23 | 8.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.5901 | μmol/L | 12.6425 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.282 | 143341.9612 | 300157.3751 | 59.9307 | 38.1
226870 | 2021-10-26 10:23 | 8.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.7041 | μmol/L | 12.6486 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.274 | 143285.6294 | 300145.6695 | 59.9307 | 38.1
226880 | 2021-10-26 10:24 | 8.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.845 | μmol/L | 12.6486 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.267 | 143214.3686 | 300125.1491 | 59.9307 | 38.1
226890 | 2021-10-26 10:24 | 9.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.1875 | μmol/L | 12.6486 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.25 | 143092.3018 | 300120.3752 | 59.9307 | 38.1
226900 | 2021-10-26 10:24 | 9.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.4094 | μmol/L | 12.6486 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.239 | 142993.615 | 300148.6544 | 59.9307 | 38.1
226910 | 2021-10-26 10:25 | 9.6729 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.3826 | μmol/L | 12.6547 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.238 | 142973.4287 | 300121.7098 | 59.9307 | 38.1
226920 | 2021-10-26 10:25 | 10.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.4296 | μmol/L | 12.6486 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.238 | 142971.2769 | 300110.61 | 59.9307 | 38.1
226930 | 2021-10-26 10:25 | 10.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.2212 | μmol/L | 12.6547 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.246 | 142996.6742 | 300108.2756 | 59.9307 | 38.1
226940 | 2021-10-26 10:26 | 10.6729 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.2143 | μmol/L | 12.6425 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.251 | 143055.0437 | 300114.8836 | 59.9307 | 38.1
226950 | 2021-10-26 10:26 | 11.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.3555 | μmol/L | 12.6425 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.244 | 142961.0877 | 300103.4706 | 59.9307 | 38.1
226960 | 2021-10-26 10:26 | 11.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.4363 | μmol/L | 12.6425 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.24 | 142925.037 | 300098.559 | 59.9307 | 38.1
226970 | 2021-10-26 10:27 | 11.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.4631 | μmol/L | 12.6364 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.241 | 142932.8797 | 300088.9363 | 59.9307 | 38.1
226980 | 2021-10-26 10:27 | 12.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.2948 | μmol/L | 12.6242 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.254 | 143003.4214 | 300072.2904 | 59.9307 | 38.1
226990 | 2021-10-26 10:27 | 12.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.6839 | μmol/L | 12.6303 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.282 | 143196.1852 | 300063.4894 | 59.9307 | 38.1
227000 | 2021-10-26 10:28 | 12.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.9946 | μmol/L | 12.6364 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.314 | 143401.1951 | 300073.8016 | 59.9307 | 38.1
227010 | 2021-10-26 10:28 | 13.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 239.3808 | μmol/L | 12.6303 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.347 | 143593.7544 | 300049.7428 | 59.9307 | 38.1
227020 | 2021-10-26 10:28 | 13.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.9084 | μmol/L | 12.6242 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.373 | 143771.9553 | 300023.6409 | 59.9307 | 38.1
227030 | 2021-10-26 10:29 | 13.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.6096 | μmol/L | 12.6242 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.388 | 143887.8025 | 300016.0884 | 59.9307 | 38.1
227040 | 2021-10-26 10:29 | 14.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.3842 | μmol/L | 12.612 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.404 | 143951.2937 | 300002.6562 | 59.9307 | 38.1
227050 | 2021-10-26 10:29 | 14.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 238.1589 | μmol/L | 12.6181 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.413 | 144023.5405 | 300009.9422 | 59.9307 | 38.1
227060 | 2021-10-26 10:30 | 14.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.749 | μmol/L | 12.612 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.436 | 144179.5879 | 299973.1549 | 59.9307 | 38.1
227070 | 2021-10-26 10:30 | 15.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 237.2014 | μmol/L | 12.6059 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.466 | 144345.8937 | 299972.3353 | 59.9307 | 38.1
227080 | 2021-10-26 10:30 | 15.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.7934 | μmol/L | 12.5998 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.489 | 144495.7533 | 299934.9324 | 59.9307 | 38.1
227090 | 2021-10-26 10:31 | 15.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.3138 | μmol/L | 12.6059 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.511 | 144650.4213 | 299920.3269 | 59.9307 | 38.1
227100 | 2021-10-26 10:31 | 16.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.8028 | μmol/L | 12.6059 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.537 | 144804.7212 | 299914.0442 | 59.9307 | 38.1
227110 | 2021-10-26 10:31 | 16.3399 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.3193 | μmol/L | 12.5998 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.564 | 144965.8916 | 299898.3312 | 59.9307 | 38.1
227120 | 2021-10-26 10:32 | 16.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.8304 | μmol/L | 12.5998 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.589 | 145109.6057 | 299871.277 | 59.9307 | 38.1
227130 | 2021-10-26 10:32 | 17.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.6284 | μmol/L | 12.6059 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.597 | 145154.3063 | 299851.4343 | 59.9307 | 38.1
227140 | 2021-10-26 10:32 | 17.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.7193 | μmol/L | 12.612 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.59 | 145117.6243 | 299837.0262 | 59.9307 | 38.1
227150 | 2021-10-26 10:33 | 17.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 234.8298 | μmol/L | 12.6181 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.582 | 145025.93 | 299807.8036 | 59.9307 | 38.1
227160 | 2021-10-26 10:33 | 18.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.0314 | μmol/L | 12.6303 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.567 | 144926.2599 | 299786.3859 | 59.9307 | 38.1
227170 | 2021-10-26 10:33 | 18.3401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.2338 | μmol/L | 12.6242 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.559 | 144844.8178 | 299771.6375 | 59.9307 | 38.1
227180 | 2021-10-26 10:34 | 18.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.3971 | μmol/L | 12.6181 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.553 | 144794.5012 | 299774.2771 | 59.9307 | 38.1
227190 | 2021-10-26 10:34 | 19.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.4296 | μmol/L | 12.6242 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.549 | 144749.5418 | 299742.6543 | 59.9307 | 38.1
227200 | 2021-10-26 10:34 | 19.3398 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.4229 | μmol/L | 12.6303 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.547 | 144724.5277 | 299732.3959 | 59.9307 | 38.1
227210 | 2021-10-26 10:35 | 19.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.5147 | μmol/L | 12.6181 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.547 | 144695.8436 | 299725.2647 | 59.9307 | 38.1
227220 | 2021-10-26 10:35 | 20.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 235.915 | μmol/L | 12.5754 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.543 | 144669.6156 | 299711.9399 | 59.9307 | 38.1
227230 | 2021-10-26 10:35 | 20.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.0721 | μmol/L | 12.5754 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.535 | 144580.3077 | 299705.8684 | 59.9307 | 38.1
227240 | 2021-10-26 10:36 | 20.6729 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 236.2092 | μmol/L | 12.5937 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.521 | 144477.4958 | 299705.672 | 59.9307 | 38.1