## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 10:37

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
226624 | 2021-10-26 10:15 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7524 | μmol/L | 12.6083 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.082 | 108863.0112 | 304637.6496 | 30.45 | 114.2
226634 | 2021-10-26 10:16 | 0.33917 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3755 | μmol/L | 12.6145 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.098 | 108978.3598 | 304653.6946 | 30.45 | 114.2
226644 | 2021-10-26 10:16 | 0.67277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.092 | μmol/L | 12.5899 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.121 | 109079.429 | 304653.652 | 30.45 | 114.2
226654 | 2021-10-26 10:16 | 1.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.8398 | μmol/L | 12.5777 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.138 | 109192.8018 | 304675.7847 | 30.45 | 114.2
226664 | 2021-10-26 10:17 | 1.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.5533 | μmol/L | 12.5777 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.152 | 109281.4334 | 304665.35 | 30.45 | 114.2
226674 | 2021-10-26 10:17 | 1.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1646 | μmol/L | 12.5961 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.164 | 109332.9127 | 304670.5158 | 30.45 | 114.2
226684 | 2021-10-26 10:17 | 2.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.6645 | μmol/L | 12.6267 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.177 | 109392.2147 | 304649.8253 | 30.45 | 114.2
226694 | 2021-10-26 10:18 | 2.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.2978 | μmol/L | 12.6451 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.188 | 109440.8041 | 304640.0628 | 30.45 | 114.2
226704 | 2021-10-26 10:18 | 2.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.9824 | μmol/L | 12.6513 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.201 | 109495.2252 | 304612.4481 | 30.45 | 114.2
226714 | 2021-10-26 10:18 | 3.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.7726 | μmol/L | 12.6574 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.209 | 109545.0406 | 304625.7867 | 30.45 | 114.2
226724 | 2021-10-26 10:19 | 3.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.5496 | μmol/L | 12.6574 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.22 | 109600.6335 | 304621.7953 | 30.45 | 114.2
226734 | 2021-10-26 10:19 | 3.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.3472 | μmol/L | 12.6574 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.23 | 109647.332 | 304601.7964 | 30.45 | 114.2
226744 | 2021-10-26 10:19 | 4.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.2258 | μmol/L | 12.6574 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.236 | 109688.3169 | 304581.0059 | 30.45 | 114.2
226754 | 2021-10-26 10:20 | 4.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.1588 | μmol/L | 12.6451 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.244 | 109712.8642 | 304568.8067 | 30.45 | 114.2
226764 | 2021-10-26 10:20 | 4.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.0041 | μmol/L | 12.639 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.254 | 109743.9659 | 304533.1062 | 30.45 | 114.2
226774 | 2021-10-26 10:20 | 5.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.9233 | μmol/L | 12.639 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.258 | 109785.4185 | 304525.3241 | 30.45 | 114.2
226784 | 2021-10-26 10:21 | 5.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.8224 | μmol/L | 12.639 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.263 | 109808.0338 | 304518.3385 | 30.45 | 114.2
226794 | 2021-10-26 10:21 | 5.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.7487 | μmol/L | 12.6329 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.269 | 109838.4124 | 304481.2147 | 30.45 | 114.2
226804 | 2021-10-26 10:21 | 6.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.6346 | μmol/L | 12.6267 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.277 | 109866.7268 | 304467.0685 | 30.45 | 114.2
226814 | 2021-10-26 10:22 | 6.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.5005 | μmol/L | 12.6206 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.286 | 109885.821 | 304437.3868 | 30.45 | 114.2
226824 | 2021-10-26 10:22 | 6.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.3324 | μmol/L | 12.6267 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.292 | 109910.2614 | 304417.0012 | 30.45 | 114.2
226834 | 2021-10-26 10:22 | 7.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.1644 | μmol/L | 12.6329 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.298 | 109932.5287 | 304374.2058 | 30.45 | 114.2
226844 | 2021-10-26 10:23 | 7.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.1111 | μmol/L | 12.6267 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.303 | 109945.082 | 304361.6725 | 30.45 | 114.2
226854 | 2021-10-26 10:23 | 7.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.0106 | μmol/L | 12.6267 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.308 | 109975.0166 | 304325.5156 | 30.45 | 114.2
226864 | 2021-10-26 10:23 | 8.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.7966 | μmol/L | 12.6206 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.321 | 110001.7796 | 304298.8808 | 30.45 | 114.2
226874 | 2021-10-26 10:24 | 8.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.6491 | μmol/L | 12.6267 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.326 | 110006.1215 | 304275.151 | 30.45 | 114.2
226884 | 2021-10-26 10:24 | 8.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.5087 | μmol/L | 12.6267 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.333 | 110022.19 | 304256.4385 | 30.45 | 114.2
226894 | 2021-10-26 10:24 | 9.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.5156 | μmol/L | 12.6206 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.335 | 110049.1357 | 304266.9106 | 30.45 | 114.2
226904 | 2021-10-26 10:25 | 9.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.2682 | μmol/L | 12.6267 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.345 | 110112.3166 | 304276.5392 | 30.45 | 114.2
226914 | 2021-10-26 10:25 | 9.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 240.115 | μmol/L | 12.6206 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.355 | 110144.3608 | 304282.7079 | 30.45 | 114.2
226924 | 2021-10-26 10:25 | 10.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.7611 | μmol/L | 12.6329 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.368 | 110191.5293 | 304275.1905 | 30.45 | 114.2
226934 | 2021-10-26 10:26 | 10.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.5884 | μmol/L | 12.6267 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.379 | 110254.6784 | 304267.5382 | 30.45 | 114.2
226944 | 2021-10-26 10:26 | 10.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.1626 | μmol/L | 12.6329 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.398 | 110334.0371 | 304269.6717 | 30.45 | 114.2
226954 | 2021-10-26 10:26 | 11.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 238.6722 | μmol/L | 12.6267 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.425 | 110475.3683 | 304270.7605 | 30.45 | 114.2
226964 | 2021-10-26 10:27 | 11.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 238.1166 | μmol/L | 12.6267 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.453 | 110635.2882 | 304262.087 | 30.45 | 114.2
226974 | 2021-10-26 10:27 | 11.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 237.9069 | μmol/L | 12.6022 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.473 | 110733.781 | 304240.9756 | 30.45 | 114.2
226984 | 2021-10-26 10:27 | 12.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 237.5382 | μmol/L | 12.5961 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.494 | 110828.202 | 304220.3213 | 30.45 | 114.2
226994 | 2021-10-26 10:28 | 12.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 237.1562 | μmol/L | 12.6022 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.511 | 110903.7964 | 304223.6373 | 30.45 | 114.2
227004 | 2021-10-26 10:28 | 12.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.8676 | μmol/L | 12.5961 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.528 | 110987.9022 | 304199.9795 | 30.45 | 114.2
227014 | 2021-10-26 10:28 | 13.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.5064 | μmol/L | 12.6022 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.544 | 111078.5513 | 304192.0041 | 30.45 | 114.2
227024 | 2021-10-26 10:29 | 13.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.1529 | μmol/L | 12.6022 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.562 | 111171.5008 | 304171.842 | 30.45 | 114.2
227034 | 2021-10-26 10:29 | 13.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.786 | μmol/L | 12.6145 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.576 | 111251.3346 | 304157.8141 | 30.45 | 114.2
227044 | 2021-10-26 10:29 | 14.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.6098 | μmol/L | 12.6145 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.585 | 111264.763 | 304143.7977 | 30.45 | 114.2
227054 | 2021-10-26 10:30 | 14.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.5511 | μmol/L | 12.6145 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.588 | 111270.928 | 304137.0637 | 30.45 | 114.2
227064 | 2021-10-26 10:30 | 14.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.519 | μmol/L | 12.6083 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.592 | 111252.4145 | 304101.5126 | 30.45 | 114.2
227074 | 2021-10-26 10:30 | 15.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.6043 | μmol/L | 12.6022 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.59 | 111257.2627 | 304098.1946 | 30.45 | 114.2
227084 | 2021-10-26 10:31 | 15.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.67 | μmol/L | 12.5961 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.589 | 111271.3624 | 304073.9306 | 30.45 | 114.2
227094 | 2021-10-26 10:31 | 15.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.2984 | μmol/L | 12.5961 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.608 | 111326.7936 | 304038.7182 | 30.45 | 114.2
227104 | 2021-10-26 10:31 | 16.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 234.8955 | μmol/L | 12.5899 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.631 | 111432.4637 | 304035.8942 | 30.45 | 114.2
227114 | 2021-10-26 10:32 | 16.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 234.4919 | μmol/L | 12.6022 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.647 | 111528.7473 | 304011.2675 | 30.45 | 114.2
227124 | 2021-10-26 10:32 | 16.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 234.6936 | μmol/L | 12.5961 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.639 | 111504.4822 | 304002.4045 | 30.45 | 114.2
227134 | 2021-10-26 10:32 | 17.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 234.784 | μmol/L | 12.6022 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.632 | 111417.9106 | 303976.9514 | 30.45 | 114.2
227144 | 2021-10-26 10:33 | 17.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.1226 | μmol/L | 12.5961 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.617 | 111342.7116 | 303961.0615 | 30.45 | 114.2
227154 | 2021-10-26 10:33 | 17.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.318 | μmol/L | 12.5961 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.607 | 111276.0793 | 303933.2113 | 30.45 | 114.2
227164 | 2021-10-26 10:33 | 18.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.4939 | μmol/L | 12.5961 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.598 | 111215.6775 | 303909.2775 | 30.45 | 114.2
227174 | 2021-10-26 10:34 | 18.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.6825 | μmol/L | 12.6022 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.586 | 111146.5917 | 303885.0459 | 30.45 | 114.2
227184 | 2021-10-26 10:34 | 18.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.8196 | μmol/L | 12.6022 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.579 | 111067.9912 | 303860.134 | 30.45 | 114.2
227194 | 2021-10-26 10:34 | 19.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.1137 | μmol/L | 12.6022 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.564 | 111010.0725 | 303844.3067 | 30.45 | 114.2
227204 | 2021-10-26 10:35 | 19.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.2511 | μmol/L | 12.6022 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.557 | 110957.9083 | 303844.8467 | 30.45 | 114.2
227214 | 2021-10-26 10:35 | 19.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.3633 | μmol/L | 12.5899 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.556 | 110940.7426 | 303823.8594 | 30.45 | 114.2
227224 | 2021-10-26 10:35 | 20.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.2918 | μmol/L | 12.5838 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.562 | 110943.7788 | 303826.4314 | 30.45 | 114.2
227234 | 2021-10-26 10:36 | 20.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.2385 | μmol/L | 12.5961 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.56 | 110924.0681 | 303836.1732 | 30.45 | 114.2
227244 | 2021-10-26 10:36 | 20.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.324 | μmol/L | 12.5899 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.558 | 110926.3528 | 303825.4772 | 30.45 | 114.2