## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 10:37

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
226626 | 2021-10-26 10:15 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.7413 | μmol/L | 12.7309 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.772 | 141814.4305 | 313460.1961 | 33.25 | 68.6
226636 | 2021-10-26 10:16 | 0.34051 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 250.3839 | μmol/L | 12.7248 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.792 | 141994.0961 | 313519.2717 | 33.25 | 68.6
226646 | 2021-10-26 10:16 | 0.67395 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.7574 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.813 | 142149.288 | 313524.2121 | 33.25 | 68.6
226656 | 2021-10-26 10:16 | 1.007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 249.3241 | μmol/L | 12.7673 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.827 | 142260.0204 | 313528.5988 | 33.25 | 68.6
226666 | 2021-10-26 10:17 | 1.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.9211 | μmol/L | 12.7795 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.842 | 142348.5177 | 313513.7479 | 33.25 | 68.6
226676 | 2021-10-26 10:17 | 1.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.6694 | μmol/L | 12.7856 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.852 | 142421.8978 | 313513.9748 | 33.25 | 68.6
226686 | 2021-10-26 10:17 | 2.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.4969 | μmol/L | 12.7795 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.863 | 142493.4253 | 313500.9922 | 33.25 | 68.6
226696 | 2021-10-26 10:18 | 2.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.2457 | μmol/L | 12.7856 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.873 | 142555.2586 | 313473.298 | 33.25 | 68.6
226706 | 2021-10-26 10:18 | 2.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 248.035 | μmol/L | 12.7916 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.881 | 142609.3354 | 313469.5746 | 33.25 | 68.6
226716 | 2021-10-26 10:18 | 3.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.9637 | μmol/L | 12.7856 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.887 | 142659.0935 | 313472.5866 | 33.25 | 68.6
226726 | 2021-10-26 10:19 | 3.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.9217 | μmol/L | 12.7734 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.894 | 142698.869 | 313468.5468 | 33.25 | 68.6
226736 | 2021-10-26 10:19 | 3.6735 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.7717 | μmol/L | 12.7795 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.899 | 142716.7547 | 313446.1543 | 33.25 | 68.6
226746 | 2021-10-26 10:19 | 4.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.7499 | μmol/L | 12.7673 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.905 | 142780.0089 | 313419.5972 | 33.25 | 68.6
226756 | 2021-10-26 10:20 | 4.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.5582 | μmol/L | 12.7613 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.917 | 142854.6434 | 313405.8975 | 33.25 | 68.6
226766 | 2021-10-26 10:20 | 4.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.4561 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.927 | 142898.1339 | 313383.7322 | 33.25 | 68.6
226776 | 2021-10-26 10:20 | 5.0068 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.2663 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.934 | 142927.8956 | 313345.4469 | 33.25 | 68.6
226786 | 2021-10-26 10:21 | 5.3404 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.2061 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.937 | 142957.6191 | 313339.6231 | 33.25 | 68.6
226796 | 2021-10-26 10:21 | 5.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.1059 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.942 | 142980.2915 | 313294.2826 | 33.25 | 68.6
226806 | 2021-10-26 10:21 | 6.0069 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 247.0349 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.948 | 142993.4681 | 313258.7071 | 33.25 | 68.6
226816 | 2021-10-26 10:22 | 6.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.9456 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.95 | 142999.6968 | 313239.8324 | 33.25 | 68.6
226826 | 2021-10-26 10:22 | 6.6735 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.9949 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.95 | 142991.3795 | 313204.857 | 33.25 | 68.6
226836 | 2021-10-26 10:22 | 7.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.8547 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.957 | 142992.2241 | 313172.1774 | 33.25 | 68.6
226846 | 2021-10-26 10:23 | 7.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.884 | μmol/L | 12.743 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.958 | 142987.5416 | 313141.3169 | 33.25 | 68.6
226856 | 2021-10-26 10:23 | 7.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.7546 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.962 | 142984.9276 | 313116.3193 | 33.25 | 68.6
226866 | 2021-10-26 10:23 | 8.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.7346 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.963 | 142992.0747 | 313102.3193 | 33.25 | 68.6
226876 | 2021-10-26 10:24 | 8.3402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.6054 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.967 | 142993.5948 | 313081.3511 | 33.25 | 68.6
226886 | 2021-10-26 10:24 | 8.6737 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.5839 | μmol/L | 12.743 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.973 | 143011.4068 | 313052.9917 | 33.25 | 68.6
226896 | 2021-10-26 10:24 | 9.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.5346 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.973 | 143001.7432 | 313075.8124 | 33.25 | 68.6
226906 | 2021-10-26 10:25 | 9.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.3656 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.979 | 143030.9 | 313087.8982 | 33.25 | 68.6
226916 | 2021-10-26 10:25 | 9.6737 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.3057 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.982 | 143028.8721 | 313077.3741 | 33.25 | 68.6
226926 | 2021-10-26 10:25 | 10.007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.3057 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.982 | 143038.4913 | 313078.9922 | 33.25 | 68.6
226936 | 2021-10-26 10:26 | 10.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.2857 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.983 | 143043.3763 | 313073.7492 | 33.25 | 68.6
226946 | 2021-10-26 10:26 | 10.6737 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 246.2949 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.985 | 143078.2537 | 313067.1925 | 33.25 | 68.6
226956 | 2021-10-26 10:26 | 11.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 245.5177 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.024 | 143304.7243 | 313046.6746 | 33.25 | 68.6
226966 | 2021-10-26 10:27 | 11.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.6047 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.07 | 143594.7696 | 313051.1724 | 33.25 | 68.6
226976 | 2021-10-26 10:27 | 11.6736 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.18 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.089 | 143746.0335 | 313054.2135 | 33.25 | 68.6
226986 | 2021-10-26 10:27 | 12.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.8943 | μmol/L | 12.7613 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.101 | 143801.2177 | 313043.9188 | 33.25 | 68.6
226996 | 2021-10-26 10:28 | 12.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.3135 | μmol/L | 12.7673 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.128 | 143968.0189 | 313016.5129 | 33.25 | 68.6
227006 | 2021-10-26 10:28 | 12.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.1168 | μmol/L | 12.7673 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.138 | 144034.1824 | 313011.3482 | 33.25 | 68.6
227016 | 2021-10-26 10:28 | 13.0069 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 242.6741 | μmol/L | 12.7613 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.163 | 144167.1661 | 312977.6668 | 33.25 | 68.6
227026 | 2021-10-26 10:29 | 13.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.9885 | μmol/L | 12.7613 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.198 | 144393.4236 | 312962.722 | 33.25 | 68.6
227036 | 2021-10-26 10:29 | 13.6735 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.9103 | μmol/L | 12.7613 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.202 | 144423.2424 | 312948.6896 | 33.25 | 68.6
227046 | 2021-10-26 10:29 | 14.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 241.9885 | μmol/L | 12.7613 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.198 | 144353.0538 | 312923.2926 | 33.25 | 68.6
227056 | 2021-10-26 10:30 | 14.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 242.2533 | μmol/L | 12.7673 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.182 | 144231.4258 | 312906.098 | 33.25 | 68.6
227066 | 2021-10-26 10:30 | 14.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 242.7029 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.164 | 144098.234 | 312900.0397 | 33.25 | 68.6
227076 | 2021-10-26 10:30 | 15.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.0276 | μmol/L | 12.7613 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.145 | 143986.9978 | 312872.0262 | 33.25 | 68.6
227086 | 2021-10-26 10:31 | 15.3402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.2046 | μmol/L | 12.7613 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.136 | 143875.8341 | 312841.759 | 33.25 | 68.6
227096 | 2021-10-26 10:31 | 15.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.4999 | μmol/L | 12.7613 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.121 | 143783.5314 | 312828.8882 | 33.25 | 68.6
227106 | 2021-10-26 10:31 | 16.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.8048 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.108 | 143682.7346 | 312813.3818 | 33.25 | 68.6
227116 | 2021-10-26 10:32 | 16.3404 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.943 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.101 | 143633.298 | 312781.3842 | 33.25 | 68.6
227126 | 2021-10-26 10:32 | 16.6736 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.0812 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.094 | 143594.521 | 312752.3459 | 33.25 | 68.6
227136 | 2021-10-26 10:32 | 17.0069 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.1102 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.095 | 143554.2238 | 312733.1448 | 33.25 | 68.6
227146 | 2021-10-26 10:33 | 17.3404 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.0615 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.095 | 143520.6322 | 312713.8388 | 33.25 | 68.6
227156 | 2021-10-26 10:33 | 17.6735 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.1695 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.092 | 143503.3614 | 312676.2639 | 33.25 | 68.6
227166 | 2021-10-26 10:33 | 18.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.0417 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.096 | 143501.3412 | 312653.0374 | 33.25 | 68.6
227176 | 2021-10-26 10:34 | 18.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.0615 | μmol/L | 12.7552 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.095 | 143510.0952 | 312642.4094 | 33.25 | 68.6
227186 | 2021-10-26 10:34 | 18.6735 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 244.0009 | μmol/L | 12.743 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.103 | 143513.388 | 312604.1621 | 33.25 | 68.6
227196 | 2021-10-26 10:34 | 19.0068 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.9022 | μmol/L | 12.743 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.108 | 143541.4082 | 312593.4918 | 33.25 | 68.6
227206 | 2021-10-26 10:35 | 19.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.7641 | μmol/L | 12.743 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.115 | 143575.2221 | 312569.5772 | 33.25 | 68.6
227216 | 2021-10-26 10:35 | 19.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.6064 | μmol/L | 12.743 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.123 | 143620.2732 | 312582.2995 | 33.25 | 68.6
227226 | 2021-10-26 10:35 | 20.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.4487 | μmol/L | 12.743 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.131 | 143647.0488 | 312593.0434 | 33.25 | 68.6
227236 | 2021-10-26 10:36 | 20.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.37 | μmol/L | 12.743 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.135 | 143678.6818 | 312591.5907 | 33.25 | 68.6
227246 | 2021-10-26 10:36 | 20.6735 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 243.2033 | μmol/L | 12.7491 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 25.141 | 143720.2013 | 312584.1956 | 33.25 | 68.6