## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 10:37

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
226627 | 2021-10-26 10:15 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.7411 | μmol/L | 12.7585 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.084 | 115911.1589 | 276788.3961 | 26.25 | 74
226637 | 2021-10-26 10:16 | 0.32888 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 249.3311 | μmol/L | 12.7402 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.111 | 116056.7188 | 276806.9419 | 26.25 | 74
226647 | 2021-10-26 10:16 | 0.66262 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.9201 | μmol/L | 12.7402 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.131 | 116187.2719 | 276812.4312 | 26.25 | 74
226657 | 2021-10-26 10:16 | 0.99593 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.5919 | μmol/L | 12.7402 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.147 | 116254.6621 | 276823.8607 | 26.25 | 74
226667 | 2021-10-26 10:17 | 1.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.428 | μmol/L | 12.7402 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.155 | 116327.6415 | 276814.8086 | 26.25 | 74
226677 | 2021-10-26 10:17 | 1.6623 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 248.149 | μmol/L | 12.7341 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.171 | 116392.3859 | 276813.478 | 26.25 | 74
226687 | 2021-10-26 10:17 | 1.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.8704 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.187 | 116474.6623 | 276799.9065 | 26.25 | 74
226697 | 2021-10-26 10:18 | 2.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.6738 | μmol/L | 12.722 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.199 | 116541.7798 | 276787.144 | 26.25 | 74
226707 | 2021-10-26 10:18 | 2.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.7242 | μmol/L | 12.6976 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.206 | 116606.8922 | 276779.3047 | 26.25 | 74
226717 | 2021-10-26 10:18 | 2.9957 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.7189 | μmol/L | 12.6855 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.211 | 116638.9835 | 276790.5764 | 26.25 | 74
226727 | 2021-10-26 10:19 | 3.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.5278 | μmol/L | 12.6916 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.218 | 116686.8571 | 276769.8799 | 26.25 | 74
226737 | 2021-10-26 10:19 | 3.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 247.1259 | μmol/L | 12.7037 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.233 | 116735.8184 | 276756.5076 | 26.25 | 74
226747 | 2021-10-26 10:19 | 3.9957 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.8519 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.237 | 116753.3716 | 276742.0561 | 26.25 | 74
226757 | 2021-10-26 10:20 | 4.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.6819 | μmol/L | 12.7341 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.243 | 116787.8255 | 276738.0233 | 26.25 | 74
226767 | 2021-10-26 10:20 | 4.6623 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.6413 | μmol/L | 12.7341 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.245 | 116829.4445 | 276708.6209 | 26.25 | 74
226777 | 2021-10-26 10:20 | 4.9958 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.3978 | μmol/L | 12.7341 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.257 | 116871.2665 | 276687.2255 | 26.25 | 74
226787 | 2021-10-26 10:21 | 5.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.2837 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.265 | 116896.3608 | 276655.5307 | 26.25 | 74
226797 | 2021-10-26 10:21 | 5.6623 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.2634 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.266 | 116926.4412 | 276647.1641 | 26.25 | 74
226807 | 2021-10-26 10:21 | 5.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.1164 | μmol/L | 12.7159 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.278 | 116948.8975 | 276614.7967 | 26.25 | 74
226817 | 2021-10-26 10:22 | 6.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 246.1037 | μmol/L | 12.7098 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.281 | 116986.3213 | 276577.0253 | 26.25 | 74
226827 | 2021-10-26 10:22 | 6.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.9418 | μmol/L | 12.7098 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.289 | 117008.0306 | 276540.8901 | 26.25 | 74
226837 | 2021-10-26 10:22 | 6.9958 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.8685 | μmol/L | 12.7037 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.295 | 117031.8384 | 276529.6699 | 26.25 | 74
226847 | 2021-10-26 10:23 | 7.3292 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.6462 | μmol/L | 12.7037 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.306 | 117057.3691 | 276488.9947 | 26.25 | 74
226857 | 2021-10-26 10:23 | 7.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.6739 | μmol/L | 12.6976 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.307 | 117101.6446 | 276476.2408 | 26.25 | 74
226867 | 2021-10-26 10:23 | 7.9959 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.5124 | μmol/L | 12.6976 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.315 | 117137.4208 | 276452.3128 | 26.25 | 74
226877 | 2021-10-26 10:24 | 8.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.3107 | μmol/L | 12.6976 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.325 | 117162.2779 | 276433.1673 | 26.25 | 74
226887 | 2021-10-26 10:24 | 8.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.0538 | μmol/L | 12.7098 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.333 | 117207.0769 | 276426.3595 | 26.25 | 74
226897 | 2021-10-26 10:24 | 8.9959 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 245.0412 | μmol/L | 12.7037 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.336 | 117218.469 | 276425.1391 | 26.25 | 74
226907 | 2021-10-26 10:25 | 9.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.772 | μmol/L | 12.7098 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.347 | 117250.6274 | 276431.8464 | 26.25 | 74
226917 | 2021-10-26 10:25 | 9.6625 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.7796 | μmol/L | 12.7037 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.349 | 117283.7478 | 276442.0284 | 26.25 | 74
226927 | 2021-10-26 10:25 | 9.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.5786 | μmol/L | 12.7037 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.359 | 117320.6856 | 276437.4933 | 26.25 | 74
226937 | 2021-10-26 10:26 | 10.3292 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.5384 | μmol/L | 12.7037 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.361 | 117360.8635 | 276440.3108 | 26.25 | 74
226947 | 2021-10-26 10:26 | 10.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.3978 | μmol/L | 12.7037 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.368 | 117396.8015 | 276445.5996 | 26.25 | 74
226957 | 2021-10-26 10:26 | 10.9961 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.2574 | μmol/L | 12.7037 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.375 | 117429.8182 | 276428.6645 | 26.25 | 74
226967 | 2021-10-26 10:27 | 11.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.0618 | μmol/L | 12.7159 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.38 | 117473.6647 | 276418.6391 | 26.25 | 74
226977 | 2021-10-26 10:27 | 11.6627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 244.0093 | μmol/L | 12.7098 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.385 | 117498.7129 | 276414.0943 | 26.25 | 74
226987 | 2021-10-26 10:27 | 11.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.894 | μmol/L | 12.722 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.386 | 117511.6728 | 276409.034 | 26.25 | 74
226997 | 2021-10-26 10:28 | 12.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.7539 | μmol/L | 12.722 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.393 | 117531.7452 | 276389.3562 | 26.25 | 74
227007 | 2021-10-26 10:28 | 12.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.8215 | μmol/L | 12.7159 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.392 | 117550.2201 | 276380.0408 | 26.25 | 74
227017 | 2021-10-26 10:28 | 12.9959 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.7977 | μmol/L | 12.7159 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.393 | 117550.6186 | 276346.6588 | 26.25 | 74
227027 | 2021-10-26 10:29 | 13.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.8415 | μmol/L | 12.7159 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.391 | 117580.6851 | 276335.4791 | 26.25 | 74
227037 | 2021-10-26 10:29 | 13.6628 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.7539 | μmol/L | 12.722 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.393 | 117586.5807 | 276314.8036 | 26.25 | 74
227047 | 2021-10-26 10:29 | 13.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.6739 | μmol/L | 12.722 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.397 | 117595.676 | 276292.7472 | 26.25 | 74
227057 | 2021-10-26 10:30 | 14.3292 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.6614 | μmol/L | 12.7159 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.4 | 117594.6987 | 276282.5027 | 26.25 | 74
227067 | 2021-10-26 10:30 | 14.6625 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.4827 | μmol/L | 12.728 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.404 | 117609.6259 | 276275.3459 | 26.25 | 74
227077 | 2021-10-26 10:30 | 14.996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.4739 | μmol/L | 12.722 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.407 | 117621.3005 | 276261.0798 | 26.25 | 74
227087 | 2021-10-26 10:31 | 15.3294 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.5377 | μmol/L | 12.7159 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.406 | 117631.4979 | 276231.3496 | 26.25 | 74
227097 | 2021-10-26 10:31 | 15.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.3104 | μmol/L | 12.722 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.415 | 117646.275 | 276216.5093 | 26.25 | 74
227107 | 2021-10-26 10:31 | 15.9958 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.2705 | μmol/L | 12.722 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.417 | 117656.2329 | 276196.5512 | 26.25 | 74
227117 | 2021-10-26 10:32 | 16.3293 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.318 | μmol/L | 12.7159 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.417 | 117664.8903 | 276183.0273 | 26.25 | 74
227127 | 2021-10-26 10:32 | 16.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.298 | μmol/L | 12.7159 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.418 | 117678.9658 | 276177.0369 | 26.25 | 74
227137 | 2021-10-26 10:32 | 16.9956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.2505 | μmol/L | 12.722 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.418 | 117678.9369 | 276141.5345 | 26.25 | 74
227147 | 2021-10-26 10:33 | 17.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.1108 | μmol/L | 12.722 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.425 | 117689.1278 | 276111.1246 | 26.25 | 74
227157 | 2021-10-26 10:33 | 17.6626 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.0785 | μmol/L | 12.7159 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.429 | 117696.8626 | 276099.745 | 26.25 | 74
227167 | 2021-10-26 10:33 | 17.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.0111 | μmol/L | 12.722 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.43 | 117720.2318 | 276087.1686 | 26.25 | 74
227177 | 2021-10-26 10:34 | 18.3292 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.0348 | μmol/L | 12.722 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.429 | 117708.4398 | 276069.4522 | 26.25 | 74
227187 | 2021-10-26 10:34 | 18.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.9949 | μmol/L | 12.722 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.431 | 117697.9045 | 276041.443 | 26.25 | 74
227197 | 2021-10-26 10:34 | 18.9958 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.955 | μmol/L | 12.722 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.433 | 117699.5196 | 276013.8076 | 26.25 | 74
227207 | 2021-10-26 10:35 | 19.3294 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 243.0386 | μmol/L | 12.7159 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.431 | 117691.7111 | 276009.6653 | 26.25 | 74
227217 | 2021-10-26 10:35 | 19.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.8991 | μmol/L | 12.7159 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.438 | 117690.8355 | 276024.478 | 26.25 | 74
227227 | 2021-10-26 10:35 | 19.9957 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.8118 | μmol/L | 12.722 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.44 | 117706.3085 | 276023.5039 | 26.25 | 74
227237 | 2021-10-26 10:36 | 20.3294 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.5805 | μmol/L | 12.7159 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.454 | 117785.6025 | 276037.783 | 26.25 | 74
227247 | 2021-10-26 10:36 | 20.6623 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 242.2946 | μmol/L | 12.722 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.466 | 117873.1222 | 276018.8401 | 26.25 | 74