## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 10:37

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
226628 | 2021-10-26 10:15 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.2925 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.709 | 125337.6934 | 269482.4847 | 32.55 | 27.7
226638 | 2021-10-26 10:16 | 0.32875 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.4879 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.747 | 125573.3379 | 269483.5623 | 32.55 | 27.7
226648 | 2021-10-26 10:16 | 0.66168 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.8264 | μmol/L | 12.7341 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.776 | 125753.7111 | 269483.0541 | 32.55 | 27.7
226658 | 2021-10-26 10:16 | 0.99485 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.3214 | μmol/L | 12.7341 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.8 | 125894.2724 | 269483.9853 | 32.55 | 27.7
226668 | 2021-10-26 10:17 | 1.3285 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.7548 | μmol/L | 12.7341 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.827 | 126038.3846 | 269477.1931 | 32.55 | 27.7
226678 | 2021-10-26 10:17 | 1.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.3988 | μmol/L | 12.7341 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.844 | 126136.8223 | 269468.1149 | 32.55 | 27.7
226688 | 2021-10-26 10:17 | 1.995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.9599 | μmol/L | 12.7341 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.865 | 126242.8907 | 269446.1408 | 32.55 | 27.7
226698 | 2021-10-26 10:18 | 2.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.7795 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.876 | 126332.8395 | 269436.3621 | 32.55 | 27.7
226708 | 2021-10-26 10:18 | 2.6617 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.4252 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.893 | 126394.9855 | 269431.7969 | 32.55 | 27.7
226718 | 2021-10-26 10:18 | 2.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.1829 | μmol/L | 12.7219 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.907 | 126453.9468 | 269424.8332 | 32.55 | 27.7
226728 | 2021-10-26 10:19 | 3.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.9958 | μmol/L | 12.7219 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.916 | 126514.3069 | 269405.781 | 32.55 | 27.7
226738 | 2021-10-26 10:19 | 3.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.7881 | μmol/L | 12.7219 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.926 | 126564.4547 | 269387.9777 | 32.55 | 27.7
226748 | 2021-10-26 10:19 | 3.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.5525 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.935 | 126644.802 | 269380.9113 | 32.55 | 27.7
226758 | 2021-10-26 10:20 | 4.3285 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.2417 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.95 | 126691.0464 | 269363.8986 | 32.55 | 27.7
226768 | 2021-10-26 10:20 | 4.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.9653 | μmol/L | 12.7341 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.961 | 126750.8071 | 269347.5043 | 32.55 | 27.7
226778 | 2021-10-26 10:20 | 4.995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.9462 | μmol/L | 12.7158 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.969 | 126799.854 | 269338.8552 | 32.55 | 27.7
226788 | 2021-10-26 10:21 | 5.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.747 | μmol/L | 12.7097 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.981 | 126840.3223 | 269305.2796 | 32.55 | 27.7
226798 | 2021-10-26 10:21 | 5.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.5687 | μmol/L | 12.7036 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.992 | 126890.4231 | 269302.6861 | 32.55 | 27.7
226808 | 2021-10-26 10:21 | 5.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.4244 | μmol/L | 12.7036 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.999 | 126910.437 | 269270.3788 | 32.55 | 27.7
226818 | 2021-10-26 10:22 | 6.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.3287 | μmol/L | 12.6975 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.006 | 126952.724 | 269239.4462 | 32.55 | 27.7
226828 | 2021-10-26 10:22 | 6.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.2051 | μmol/L | 12.6975 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.012 | 126972.4359 | 269224.2546 | 32.55 | 27.7
226838 | 2021-10-26 10:22 | 6.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.9713 | μmol/L | 12.7036 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.021 | 126999.2838 | 269217.312 | 32.55 | 27.7
226848 | 2021-10-26 10:23 | 7.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.8068 | μmol/L | 12.7036 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.029 | 127019.7257 | 269215.2542 | 32.55 | 27.7
226858 | 2021-10-26 10:23 | 7.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.6835 | μmol/L | 12.7036 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.035 | 127030.1945 | 269169.344 | 32.55 | 27.7
226868 | 2021-10-26 10:23 | 7.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.4986 | μmol/L | 12.7036 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.044 | 127061.9349 | 269151.6829 | 32.55 | 27.7
226878 | 2021-10-26 10:24 | 8.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.4371 | μmol/L | 12.7036 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.047 | 127080.8256 | 269147.0943 | 32.55 | 27.7
226888 | 2021-10-26 10:24 | 8.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 248.232 | μmol/L | 12.7036 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.057 | 127095.0093 | 269143.9197 | 32.55 | 27.7
226898 | 2021-10-26 10:24 | 8.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.9992 | μmol/L | 12.7097 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.066 | 127125.3391 | 269134.0111 | 32.55 | 27.7
226908 | 2021-10-26 10:25 | 9.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.8075 | μmol/L | 12.7158 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.073 | 127172.8019 | 269142.2056 | 32.55 | 27.7
226918 | 2021-10-26 10:25 | 9.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.6589 | μmol/L | 12.7036 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.085 | 127208.2542 | 269133.9909 | 32.55 | 27.7
226928 | 2021-10-26 10:25 | 9.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.6459 | μmol/L | 12.6975 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.088 | 127244.94 | 269145.4794 | 32.55 | 27.7
226938 | 2021-10-26 10:26 | 10.3286 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.4695 | μmol/L | 12.6914 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.099 | 127290.7954 | 269146.2333 | 32.55 | 27.7
226948 | 2021-10-26 10:26 | 10.6621 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.3749 | μmol/L | 12.6853 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.106 | 127322.9364 | 269150.1869 | 32.55 | 27.7
226958 | 2021-10-26 10:26 | 10.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.2729 | μmol/L | 12.6853 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.111 | 127365.3329 | 269139.3937 | 32.55 | 27.7
226968 | 2021-10-26 10:27 | 11.3286 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.0894 | μmol/L | 12.6853 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.12 | 127400.7606 | 269139.8196 | 32.55 | 27.7
226978 | 2021-10-26 10:27 | 11.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.069 | μmol/L | 12.6853 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.121 | 127409.4031 | 269134.5101 | 32.55 | 27.7
226988 | 2021-10-26 10:27 | 11.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.0561 | μmol/L | 12.6792 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.124 | 127415.2851 | 269118.6466 | 32.55 | 27.7
226998 | 2021-10-26 10:28 | 12.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 247.0358 | μmol/L | 12.6792 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.125 | 127442.2896 | 269114.229 | 32.55 | 27.7
227008 | 2021-10-26 10:28 | 12.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.9543 | μmol/L | 12.6792 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.129 | 127439.3569 | 269106.3176 | 32.55 | 27.7
227018 | 2021-10-26 10:28 | 12.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.7357 | μmol/L | 12.6914 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.135 | 127453.393 | 269086.9154 | 32.55 | 27.7
227028 | 2021-10-26 10:29 | 13.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.7636 | μmol/L | 12.6853 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.136 | 127451.4949 | 269077.3082 | 32.55 | 27.7
227038 | 2021-10-26 10:29 | 13.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.6822 | μmol/L | 12.6853 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.14 | 127451.2786 | 269056.2457 | 32.55 | 27.7
227048 | 2021-10-26 10:29 | 13.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.7582 | μmol/L | 12.6731 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.141 | 127456.3367 | 269044.6375 | 32.55 | 27.7
227058 | 2021-10-26 10:30 | 14.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.4564 | μmol/L | 12.7036 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.144 | 127459.9532 | 269030.8839 | 32.55 | 27.7
227068 | 2021-10-26 10:30 | 14.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 246.122 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.151 | 127478.1244 | 269019.2172 | 32.55 | 27.7
227078 | 2021-10-26 10:30 | 14.995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.9043 | μmol/L | 12.7402 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.157 | 127485.5018 | 269011.9224 | 32.55 | 27.7
227088 | 2021-10-26 10:31 | 15.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.9246 | μmol/L | 12.7402 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.156 | 127495.208 | 268992.5038 | 32.55 | 27.7
227098 | 2021-10-26 10:31 | 15.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.8786 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.163 | 127496.802 | 268974.1244 | 32.55 | 27.7
227108 | 2021-10-26 10:31 | 15.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.8584 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.164 | 127507.6048 | 268977.496 | 32.55 | 27.7
227118 | 2021-10-26 10:32 | 16.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.7166 | μmol/L | 12.728 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.171 | 127529.9372 | 268954.0181 | 32.55 | 27.7
227128 | 2021-10-26 10:32 | 16.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.6835 | μmol/L | 12.7219 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.175 | 127544.1018 | 268941.2888 | 32.55 | 27.7
227138 | 2021-10-26 10:32 | 16.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.6708 | μmol/L | 12.7158 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.178 | 127553.6983 | 268938.176 | 32.55 | 27.7
227148 | 2021-10-26 10:33 | 17.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.5216 | μmol/L | 12.7219 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.183 | 127553.3457 | 268918.0098 | 32.55 | 27.7
227158 | 2021-10-26 10:33 | 17.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.4205 | μmol/L | 12.7219 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.188 | 127574.152 | 268914.7508 | 32.55 | 27.7
227168 | 2021-10-26 10:33 | 17.9954 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.4078 | μmol/L | 12.7158 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.191 | 127575.6416 | 268892.9097 | 32.55 | 27.7
227178 | 2021-10-26 10:34 | 18.3287 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.4078 | μmol/L | 12.7158 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.191 | 127586.6741 | 268886.1816 | 32.55 | 27.7
227188 | 2021-10-26 10:34 | 18.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.2184 | μmol/L | 12.7219 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.198 | 127569.4502 | 268857.1775 | 32.55 | 27.7
227198 | 2021-10-26 10:34 | 18.9953 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.2334 | μmol/L | 12.7097 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.202 | 127593.213 | 268850.8324 | 32.55 | 27.7
227208 | 2021-10-26 10:35 | 19.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 245.1047 | μmol/L | 12.7158 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.206 | 127614.9939 | 268850.1665 | 32.55 | 27.7
227218 | 2021-10-26 10:35 | 19.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9911 | μmol/L | 12.7097 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.214 | 127651.6536 | 268843.094 | 32.55 | 27.7
227228 | 2021-10-26 10:35 | 19.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.9254 | μmol/L | 12.6975 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.222 | 127688.871 | 268867.1578 | 32.55 | 27.7
227238 | 2021-10-26 10:36 | 20.3286 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.7642 | μmol/L | 12.6975 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.23 | 127725.3392 | 268857.1862 | 32.55 | 27.7
227248 | 2021-10-26 10:36 | 20.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 244.5628 | μmol/L | 12.6975 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.24 | 127794.5382 | 268850.532 | 32.55 | 27.7