## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 11:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
227251 | 2021-10-26 10:46 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.3414 | μmol/L | 12.3314 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.838 | 99599.9375 | 217806.3125 | 27.3 | 43.4
227261 | 2021-10-26 10:46 | 0.33301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.644 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.857 | 99648.8735 | 217808.426 | 27.3 | 43.4
227271 | 2021-10-26 10:47 | 0.66585 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.415 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.864 | 99735.5882 | 217806.4842 | 27.3 | 43.4
227281 | 2021-10-26 10:47 | 0.9992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.9517 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.883 | 99776.7879 | 217809.3851 | 27.3 | 43.4
227291 | 2021-10-26 10:47 | 1.3327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.6109 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.897 | 99832.3281 | 217812.6991 | 27.3 | 43.4
227301 | 2021-10-26 10:48 | 1.6659 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.2857 | μmol/L | 12.368 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.908 | 99890.295 | 217824.6613 | 27.3 | 43.4
227311 | 2021-10-26 10:48 | 1.9996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.9458 | μmol/L | 12.368 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.922 | 99924.0711 | 217819.465 | 27.3 | 43.4
227321 | 2021-10-26 10:48 | 2.3331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.8381 | μmol/L | 12.3619 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.929 | 99958.2916 | 217833.7139 | 27.3 | 43.4
227331 | 2021-10-26 10:49 | 2.6658 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.558 | μmol/L | 12.368 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.938 | 100002.1458 | 217831.5677 | 27.3 | 43.4
227341 | 2021-10-26 10:49 | 2.9999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.4796 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.946 | 100030.6134 | 217850.0895 | 27.3 | 43.4
227351 | 2021-10-26 10:49 | 3.3327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.1559 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.957 | 100074.4302 | 217861.4313 | 27.3 | 43.4
227361 | 2021-10-26 10:50 | 3.6666 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.0685 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.963 | 100117.8411 | 217859.4298 | 27.3 | 43.4
227371 | 2021-10-26 10:50 | 3.9997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.8511 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.972 | 100176.7575 | 217870.8758 | 27.3 | 43.4
227381 | 2021-10-26 10:50 | 4.3328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.7063 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.978 | 100212.3275 | 217894.1377 | 27.3 | 43.4
227391 | 2021-10-26 10:51 | 4.6661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.6375 | μmol/L | 12.3375 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.988 | 100246.7938 | 217906.6502 | 27.3 | 43.4
227401 | 2021-10-26 10:51 | 4.9998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.6561 | μmol/L | 12.3253 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.992 | 100287.6341 | 217891.6352 | 27.3 | 43.4
227411 | 2021-10-26 10:51 | 5.3329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.5837 | μmol/L | 12.3253 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.995 | 100331.0347 | 217888.5358 | 27.3 | 43.4
227421 | 2021-10-26 10:52 | 5.6658 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.4002 | μmol/L | 12.3192 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.005 | 100343.8062 | 217874.3658 | 27.3 | 43.4
227431 | 2021-10-26 10:52 | 5.9998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.2705 | μmol/L | 12.3253 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.008 | 100349.2796 | 217865.7801 | 27.3 | 43.4
227441 | 2021-10-26 10:52 | 6.3325 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.073 | μmol/L | 12.3314 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.014 | 100369.1073 | 217865.0406 | 27.3 | 43.4
227451 | 2021-10-26 10:53 | 6.6661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.9768 | μmol/L | 12.3314 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.018 | 100320.0666 | 217856.0744 | 27.3 | 43.4
227461 | 2021-10-26 10:53 | 6.9994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.7803 | μmol/L | 12.3314 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.026 | 100340.3615 | 217850.4209 | 27.3 | 43.4
227471 | 2021-10-26 10:53 | 7.3327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.6121 | μmol/L | 12.3314 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.033 | 100220.2068 | 217837.8517 | 27.3 | 43.4
227481 | 2021-10-26 10:54 | 7.6661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.6694 | μmol/L | 12.3253 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.033 | 100225.5251 | 217834.5285 | 27.3 | 43.4
227491 | 2021-10-26 10:54 | 7.9996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.5401 | μmol/L | 12.3314 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.036 | 100242.2948 | 217833.7568 | 27.3 | 43.4
227501 | 2021-10-26 10:54 | 8.3331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.3149 | μmol/L | 12.3375 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.043 | 100251.46 | 217822.682 | 27.3 | 43.4
227511 | 2021-10-26 10:55 | 8.6662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.3432 | μmol/L | 12.3375 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.042 | 100228.877 | 217825.3923 | 27.3 | 43.4
227521 | 2021-10-26 10:55 | 8.9995 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.1951 | μmol/L | 12.3375 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.048 | 100261.3844 | 217834.7734 | 27.3 | 43.4
227531 | 2021-10-26 10:55 | 9.3332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.0077 | μmol/L | 12.3375 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.056 | 100298.4666 | 217830.0638 | 27.3 | 43.4
227541 | 2021-10-26 10:56 | 9.6662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.0034 | μmol/L | 12.3375 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.056 | 100311.949 | 217830.2243 | 27.3 | 43.4
227551 | 2021-10-26 10:56 | 9.9997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.9648 | μmol/L | 12.3314 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.06 | 100329.5115 | 217825.1034 | 27.3 | 43.4
227561 | 2021-10-26 10:56 | 10.3331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.783 | μmol/L | 12.3436 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.063 | 100343.945 | 217825.9321 | 27.3 | 43.4
227571 | 2021-10-26 10:57 | 10.6661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.5064 | μmol/L | 12.3497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.072 | 100368.9754 | 217829.8032 | 27.3 | 43.4
227581 | 2021-10-26 10:57 | 10.9999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.3061 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.078 | 100387.8185 | 217828.786 | 27.3 | 43.4
227591 | 2021-10-26 10:57 | 11.333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.2013 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.08 | 100402.8496 | 217824.7148 | 27.3 | 43.4
227601 | 2021-10-26 10:58 | 11.6662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.1774 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.081 | 100419.7261 | 217826.1242 | 27.3 | 43.4
227611 | 2021-10-26 10:58 | 11.9994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.0343 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.087 | 100432.9629 | 217830.5376 | 27.3 | 43.4
227621 | 2021-10-26 10:58 | 12.3329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.7867 | μmol/L | 12.368 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.095 | 100451.6718 | 217829.3185 | 27.3 | 43.4
227631 | 2021-10-26 10:59 | 12.666 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.7867 | μmol/L | 12.368 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.095 | 100459.1443 | 217825.6043 | 27.3 | 43.4
227641 | 2021-10-26 10:59 | 12.9756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.7721 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.098 | 100489.2019 | 217839.6464 | 27.3 | 43.4
227651 | 2021-10-26 10:59 | 13.3163 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.7006 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.101 | 100501.66 | 217840.3072 | 27.3 | 43.4
227661 | 2021-10-26 11:00 | 13.6498 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.7337 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.102 | 100513.1272 | 217836.4244 | 27.3 | 43.4
227671 | 2021-10-26 11:00 | 13.9828 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.5247 | μmol/L | 12.368 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.106 | 100530.024 | 217839.0189 | 27.3 | 43.4
227681 | 2021-10-26 11:00 | 14.316 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.4626 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.111 | 100550.1095 | 217857.28 | 27.3 | 43.4
227691 | 2021-10-26 11:01 | 14.6498 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.4626 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.111 | 100578.4337 | 217854.3989 | 27.3 | 43.4
227701 | 2021-10-26 11:01 | 14.9831 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.2723 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.119 | 100591.9739 | 217877.0998 | 27.3 | 43.4
227711 | 2021-10-26 11:01 | 15.3165 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.2961 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.118 | 100599.8549 | 217857.1896 | 27.3 | 43.4
227721 | 2021-10-26 11:02 | 15.6493 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.2858 | μmol/L | 12.3558 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.121 | 100614.9166 | 217856.7184 | 27.3 | 43.4
227731 | 2021-10-26 11:02 | 15.9826 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.234 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.123 | 100619.6378 | 217873.766 | 27.3 | 43.4
227741 | 2021-10-26 11:02 | 16.3164 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.1865 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.125 | 100636.4726 | 217865.7157 | 27.3 | 43.4
227751 | 2021-10-26 11:03 | 16.6497 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.1152 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.128 | 100651.9123 | 217877.1681 | 27.3 | 43.4
227761 | 2021-10-26 11:03 | 16.9831 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.0439 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.131 | 100668.1298 | 217880.9505 | 27.3 | 43.4
227771 | 2021-10-26 11:03 | 17.3165 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.9872 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.131 | 100702.4689 | 217892.6557 | 27.3 | 43.4
227781 | 2021-10-26 11:04 | 17.6494 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.8118 | μmol/L | 12.368 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.136 | 100711.7886 | 217899.6057 | 27.3 | 43.4
227791 | 2021-10-26 11:04 | 17.9831 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.8778 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.138 | 100731.2906 | 217903.1694 | 27.3 | 43.4
227801 | 2021-10-26 11:04 | 18.3164 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.7973 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.139 | 100766.3886 | 217912.504 | 27.3 | 43.4
227811 | 2021-10-26 11:05 | 18.6497 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.7262 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.142 | 100769.7743 | 217934.9709 | 27.3 | 43.4
227821 | 2021-10-26 11:05 | 18.9827 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.7354 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.144 | 100798.5455 | 217949.4445 | 27.3 | 43.4
227831 | 2021-10-26 11:05 | 19.316 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.6076 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.147 | 100809.2375 | 217964.4546 | 27.3 | 43.4
227841 | 2021-10-26 11:06 | 19.6491 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.6735 | μmol/L | 12.3497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.149 | 100830.2629 | 217959.982 | 27.3 | 43.4
227851 | 2021-10-26 11:06 | 19.9833 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.4747 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.155 | 100847.5861 | 217963.6343 | 27.3 | 43.4
227861 | 2021-10-26 11:06 | 20.3165 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.4882 | μmol/L | 12.3497 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.157 | 100860.3524 | 217958.3943 | 27.3 | 43.4
227871 | 2021-10-26 11:07 | 20.6497 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.4747 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.155 | 100877.0472 | 217959.8015 | 27.3 | 43.4
227881 | 2021-10-26 11:07 | 20.9832 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.3039 | μmol/L | 12.3619 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.16 | 100893.3368 | 217953.8454 | 27.3 | 43.4
227891 | 2021-10-26 11:07 | 21.3164 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.4171 | μmol/L | 12.3497 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.16 | 100916.697 | 217970.9663 | 27.3 | 43.4
227901 | 2021-10-26 11:08 | 21.6495 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.1576 | μmol/L | 12.3619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.166 | 100944.9579 | 217997.0718 | 27.3 | 43.4
227911 | 2021-10-26 11:08 | 21.9828 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.1433 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.169 | 100981.0455 | 218000.8357 | 27.3 | 43.4
227921 | 2021-10-26 11:08 | 22.3159 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.025 | μmol/L | 12.3558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.174 | 100997.3688 | 218004.8408 | 27.3 | 43.4