## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 11:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
227252 | 2021-10-26 10:46 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.4684 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.759 | 93713.534 | 299822.1836 | 28.7 | 67.6
227262 | 2021-10-26 10:46 | 0.33372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.9481 | μmol/L | 12.3806 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.781 | 93822.9208 | 299821.0714 | 28.7 | 67.6
227272 | 2021-10-26 10:47 | 0.66734 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.5222 | μmol/L | 12.3988 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.794 | 93894.9641 | 299830.5292 | 28.7 | 67.6
227282 | 2021-10-26 10:47 | 1.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.2305 | μmol/L | 12.3927 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.81 | 93944.169 | 299855.91 | 28.7 | 67.6
227292 | 2021-10-26 10:47 | 1.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.9391 | μmol/L | 12.3867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.826 | 94006.5898 | 299875.4705 | 28.7 | 67.6
227302 | 2021-10-26 10:48 | 1.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.8105 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.839 | 94066.8265 | 299897.8032 | 28.7 | 67.6
227312 | 2021-10-26 10:48 | 2.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.7602 | μmol/L | 12.3563 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.846 | 94105.1221 | 299903.4613 | 28.7 | 67.6
227322 | 2021-10-26 10:48 | 2.3339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.5053 | μmol/L | 12.3563 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.858 | 94146.7022 | 299921.7172 | 28.7 | 67.6
227332 | 2021-10-26 10:49 | 2.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.3713 | μmol/L | 12.3624 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.862 | 94177.2576 | 299947.405 | 28.7 | 67.6
227342 | 2021-10-26 10:49 | 3.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.1101 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.872 | 94198.1141 | 299956.1497 | 28.7 | 67.6
227352 | 2021-10-26 10:49 | 3.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.9618 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.879 | 94237.4783 | 299992.1386 | 28.7 | 67.6
227362 | 2021-10-26 10:50 | 3.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.7367 | μmol/L | 12.3806 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.885 | 94273.5529 | 300011.3597 | 28.7 | 67.6
227372 | 2021-10-26 10:50 | 4.0009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.68 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.89 | 94306.7077 | 300040.5363 | 28.7 | 67.6
227382 | 2021-10-26 10:50 | 4.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.5954 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.894 | 94337.0633 | 300066.0006 | 28.7 | 67.6
227392 | 2021-10-26 10:51 | 4.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.4264 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.902 | 94374.7631 | 300079.8778 | 28.7 | 67.6
227402 | 2021-10-26 10:51 | 5.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.3487 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.908 | 94392.3683 | 300088.9892 | 28.7 | 67.6
227412 | 2021-10-26 10:51 | 5.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.2364 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.911 | 94415.93 | 300042.5831 | 28.7 | 67.6
227422 | 2021-10-26 10:52 | 5.6674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.2499 | μmol/L | 12.3624 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.915 | 94441.7775 | 300034.6497 | 28.7 | 67.6
227432 | 2021-10-26 10:52 | 6.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.0044 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.922 | 94443.9788 | 300010.1637 | 28.7 | 67.6
227442 | 2021-10-26 10:52 | 6.3341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.0246 | μmol/L | 12.3563 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.928 | 94462.1967 | 300007.52 | 28.7 | 67.6
227452 | 2021-10-26 10:53 | 6.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.969 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.926 | 94455.7314 | 299992.6602 | 28.7 | 67.6
227462 | 2021-10-26 10:53 | 7.0007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.9614 | μmol/L | 12.3563 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.931 | 94471.7163 | 299985.8026 | 28.7 | 67.6
227472 | 2021-10-26 10:53 | 7.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.0103 | μmol/L | 12.3502 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.931 | 94473.3116 | 299969.4983 | 28.7 | 67.6
227482 | 2021-10-26 10:54 | 7.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.926 | μmol/L | 12.3502 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.935 | 94485.7626 | 299942.1963 | 28.7 | 67.6
227492 | 2021-10-26 10:54 | 8.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.8561 | μmol/L | 12.3563 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.936 | 94496.9551 | 299928.9953 | 28.7 | 67.6
227502 | 2021-10-26 10:54 | 8.3338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.6741 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.94 | 94504.4219 | 299922.9903 | 28.7 | 67.6
227512 | 2021-10-26 10:55 | 8.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.4781 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.947 | 94513.5669 | 299938.9682 | 28.7 | 67.6
227522 | 2021-10-26 10:55 | 9.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.436 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.949 | 94546.3876 | 299945.9219 | 28.7 | 67.6
227532 | 2021-10-26 10:55 | 9.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.2049 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.96 | 94584.699 | 299950.8991 | 28.7 | 67.6
227542 | 2021-10-26 10:56 | 9.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.2469 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.958 | 94599.5383 | 299913.0138 | 28.7 | 67.6
227552 | 2021-10-26 10:56 | 10.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 250.0999 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.965 | 94629.9924 | 299941.3608 | 28.7 | 67.6
227562 | 2021-10-26 10:56 | 10.3341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.7509 | μmol/L | 12.3867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.977 | 94651.0401 | 299921.5829 | 28.7 | 67.6
227572 | 2021-10-26 10:57 | 10.6673 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.6252 | μmol/L | 12.3867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.983 | 94679.7535 | 299924.9045 | 28.7 | 67.6
227582 | 2021-10-26 10:57 | 11.0006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.5833 | μmol/L | 12.3867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.985 | 94686.1441 | 299931.7187 | 28.7 | 67.6
227592 | 2021-10-26 10:57 | 11.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.5063 | μmol/L | 12.3806 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.991 | 94707.7289 | 299926.0564 | 28.7 | 67.6
227602 | 2021-10-26 10:58 | 11.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.5205 | μmol/L | 12.3867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.988 | 94720.6661 | 299934.8862 | 28.7 | 67.6
227612 | 2021-10-26 10:58 | 12.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.4503 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.996 | 94724.8894 | 299933.4005 | 28.7 | 67.6
227622 | 2021-10-26 10:58 | 12.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.318 | μmol/L | 12.3806 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24 | 94744.0405 | 299943.7126 | 28.7 | 67.6
227632 | 2021-10-26 10:59 | 12.6672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.3598 | μmol/L | 12.3806 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.998 | 94753.7234 | 299942.8616 | 28.7 | 67.6
227642 | 2021-10-26 10:59 | 12.9766 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.3598 | μmol/L | 12.3806 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.998 | 94754.6799 | 299944.1005 | 28.7 | 67.6
227652 | 2021-10-26 10:59 | 13.3171 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.3389 | μmol/L | 12.3806 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.999 | 94750.0699 | 299944.5685 | 28.7 | 67.6
227662 | 2021-10-26 11:00 | 13.6506 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.0672 | μmol/L | 12.3806 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.012 | 94815.4055 | 299945.6795 | 28.7 | 67.6
227672 | 2021-10-26 11:00 | 13.9844 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 248.4066 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.046 | 94965.7202 | 299964.895 | 28.7 | 67.6
227682 | 2021-10-26 11:00 | 14.3175 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.4511 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.092 | 95166.0994 | 299990.1829 | 28.7 | 67.6
227692 | 2021-10-26 11:01 | 14.6509 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.9543 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.116 | 95298.9378 | 300020.7509 | 28.7 | 67.6
227702 | 2021-10-26 11:01 | 14.9838 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.6031 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.133 | 95353.6772 | 300003.3133 | 28.7 | 67.6
227712 | 2021-10-26 11:01 | 15.3173 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.6237 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.132 | 95368.4429 | 300020.7535 | 28.7 | 67.6
227722 | 2021-10-26 11:02 | 15.6505 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.6856 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.129 | 95365.4521 | 299996.996 | 28.7 | 67.6
227732 | 2021-10-26 11:02 | 15.9844 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.5205 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.137 | 95403.9467 | 300021.3421 | 28.7 | 67.6
227742 | 2021-10-26 11:02 | 16.3177 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.9985 | μmol/L | 12.3806 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.16 | 95506.3197 | 300004.1284 | 28.7 | 67.6
227752 | 2021-10-26 11:03 | 16.6514 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.6043 | μmol/L | 12.3806 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.277 | 96060.0834 | 300031.0943 | 28.7 | 67.6
227762 | 2021-10-26 11:03 | 16.984 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.0374 | μmol/L | 12.3745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.456 | 96859.9027 | 300059.7898 | 28.7 | 67.6
227772 | 2021-10-26 11:03 | 17.3173 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 238.7652 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.52 | 97186.262 | 300092.5913 | 28.7 | 67.6
227782 | 2021-10-26 11:04 | 17.6509 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 239.0237 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.507 | 97132.3751 | 300101.0809 | 28.7 | 67.6
227792 | 2021-10-26 11:04 | 17.9839 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 239.6083 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.48 | 97016.1678 | 300108.2123 | 28.7 | 67.6
227802 | 2021-10-26 11:04 | 18.3171 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.1477 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.453 | 96903.7492 | 300129.03 | 28.7 | 67.6
227812 | 2021-10-26 11:05 | 18.6504 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.6084 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.43 | 96808.7924 | 300162.6684 | 28.7 | 67.6
227822 | 2021-10-26 11:05 | 18.9843 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.0769 | μmol/L | 12.3624 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.409 | 96695.5779 | 300160.4478 | 28.7 | 67.6
227832 | 2021-10-26 11:05 | 19.3177 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.6335 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.379 | 96576.6383 | 300197.0184 | 28.7 | 67.6
227842 | 2021-10-26 11:06 | 19.6507 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.2119 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.348 | 96446.9231 | 300193.4957 | 28.7 | 67.6
227852 | 2021-10-26 11:06 | 19.9838 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.7043 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.326 | 96330.6483 | 300198.6199 | 28.7 | 67.6
227862 | 2021-10-26 11:06 | 20.3173 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.0489 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.309 | 96249.3256 | 300190.2994 | 28.7 | 67.6
227872 | 2021-10-26 11:07 | 20.6504 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.2926 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.297 | 96208.6794 | 300194.8486 | 28.7 | 67.6
227882 | 2021-10-26 11:07 | 20.9839 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.5771 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.283 | 96142.8234 | 300217.3825 | 28.7 | 67.6
227892 | 2021-10-26 11:07 | 21.3173 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.706 | μmol/L | 12.3806 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.272 | 96124.2914 | 300239.5911 | 28.7 | 67.6
227902 | 2021-10-26 11:08 | 21.6509 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.4822 | μmol/L | 12.3806 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.283 | 96152.9936 | 300238.6895 | 28.7 | 67.6
227912 | 2021-10-26 11:08 | 21.9844 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.2451 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.297 | 96234.4113 | 300271.6597 | 28.7 | 67.6
227922 | 2021-10-26 11:08 | 22.3174 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.6975 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.324 | 96364.827 | 300259.987 | 28.7 | 67.6