## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 11:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
227253 | 2021-10-26 10:46 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.9342 | μmol/L | 12.3806 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.203 | 128381.9322 | 271094.7861 | 36.4 | 83.1
227263 | 2021-10-26 10:46 | 0.32813 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.5711 | μmol/L | 12.3867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.216 | 128436.7018 | 271092.418 | 36.4 | 83.1
227273 | 2021-10-26 10:47 | 0.66075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.2238 | μmol/L | 12.3929 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.228 | 128525.1159 | 271108.0877 | 36.4 | 83.1
227283 | 2021-10-26 10:47 | 0.99414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.0573 | μmol/L | 12.3929 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.235 | 128560.9513 | 271115.4846 | 36.4 | 83.1
227293 | 2021-10-26 10:47 | 1.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.7722 | μmol/L | 12.3929 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.247 | 128618.2324 | 271127.3931 | 36.4 | 83.1
227303 | 2021-10-26 10:48 | 1.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4303 | μmol/L | 12.399 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.259 | 128647.6732 | 271134.1468 | 36.4 | 83.1
227313 | 2021-10-26 10:48 | 1.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3355 | μmol/L | 12.399 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.263 | 128711.8586 | 271141.225 | 36.4 | 83.1
227323 | 2021-10-26 10:48 | 2.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0082 | μmol/L | 12.399 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.277 | 128762.9749 | 271149.3892 | 36.4 | 83.1
227333 | 2021-10-26 10:49 | 2.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.1139 | μmol/L | 12.3745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.282 | 128791.0627 | 271149.9245 | 36.4 | 83.1
227343 | 2021-10-26 10:49 | 2.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.9385 | μmol/L | 12.3806 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.287 | 128826.8597 | 271162.197 | 36.4 | 83.1
227353 | 2021-10-26 10:49 | 3.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.6256 | μmol/L | 12.3867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.298 | 128869.9412 | 271187.1779 | 36.4 | 83.1
227363 | 2021-10-26 10:50 | 3.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4797 | μmol/L | 12.3867 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.304 | 128912.2462 | 271204.3789 | 36.4 | 83.1
227373 | 2021-10-26 10:50 | 3.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4089 | μmol/L | 12.3867 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.307 | 128940.8084 | 271207.6623 | 36.4 | 83.1
227383 | 2021-10-26 10:50 | 4.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2812 | μmol/L | 12.3929 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.31 | 128970.4701 | 271221.6635 | 36.4 | 83.1
227393 | 2021-10-26 10:51 | 4.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1299 | μmol/L | 12.399 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.314 | 128998.723 | 271233.4151 | 36.4 | 83.1
227403 | 2021-10-26 10:51 | 4.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9317 | μmol/L | 12.4051 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.32 | 129043.7788 | 271240.1858 | 36.4 | 83.1
227413 | 2021-10-26 10:51 | 5.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9649 | μmol/L | 12.399 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.321 | 129070.9195 | 271227.2953 | 36.4 | 83.1
227423 | 2021-10-26 10:52 | 5.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.904 | μmol/L | 12.3929 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.326 | 129090.28 | 271207.3137 | 36.4 | 83.1
227433 | 2021-10-26 10:52 | 5.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8569 | μmol/L | 12.3929 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.328 | 129087.9459 | 271193.6069 | 36.4 | 83.1
227443 | 2021-10-26 10:52 | 6.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7101 | μmol/L | 12.399 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.332 | 129079.9963 | 271178.9354 | 36.4 | 83.1
227453 | 2021-10-26 10:53 | 6.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6631 | μmol/L | 12.399 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.334 | 129051.6731 | 271159.1007 | 36.4 | 83.1
227463 | 2021-10-26 10:53 | 6.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4845 | μmol/L | 12.4051 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.339 | 129114.4721 | 271153.3241 | 36.4 | 83.1
227473 | 2021-10-26 10:53 | 7.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4984 | μmol/L | 12.399 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.341 | 129133.6123 | 271139.4113 | 36.4 | 83.1
227483 | 2021-10-26 10:54 | 7.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3767 | μmol/L | 12.399 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.346 | 129179.8283 | 271131.8935 | 36.4 | 83.1
227493 | 2021-10-26 10:54 | 7.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3671 | μmol/L | 12.3929 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.349 | 129204.9995 | 271124.6632 | 36.4 | 83.1
227503 | 2021-10-26 10:54 | 8.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3534 | μmol/L | 12.3867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.352 | 129176.0829 | 271112.3962 | 36.4 | 83.1
227513 | 2021-10-26 10:55 | 8.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3119 | μmol/L | 12.3806 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.356 | 129201.457 | 271115.6022 | 36.4 | 83.1
227523 | 2021-10-26 10:55 | 8.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.189 | μmol/L | 12.3867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.359 | 129241.9205 | 271118.067 | 36.4 | 83.1
227533 | 2021-10-26 10:55 | 9.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9873 | μmol/L | 12.3929 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.365 | 129283.7069 | 271112.4232 | 36.4 | 83.1
227543 | 2021-10-26 10:56 | 9.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9211 | μmol/L | 12.3929 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.368 | 129292.9753 | 271103.7548 | 36.4 | 83.1
227553 | 2021-10-26 10:56 | 9.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8507 | μmol/L | 12.3929 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.371 | 129309.8505 | 271097.7219 | 36.4 | 83.1
227563 | 2021-10-26 10:56 | 10.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7902 | μmol/L | 12.3867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.376 | 129324.1306 | 271098.0875 | 36.4 | 83.1
227573 | 2021-10-26 10:57 | 10.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6356 | μmol/L | 12.3929 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.38 | 129335.9071 | 271089.2548 | 36.4 | 83.1
227583 | 2021-10-26 10:57 | 10.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.593 | μmol/L | 12.3929 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.382 | 129355.2164 | 271092.1795 | 36.4 | 83.1
227593 | 2021-10-26 10:57 | 11.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6027 | μmol/L | 12.3867 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.384 | 129367.9028 | 271081.1878 | 36.4 | 83.1
227603 | 2021-10-26 10:58 | 11.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4483 | μmol/L | 12.3929 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.388 | 129379.8079 | 271088.8899 | 36.4 | 83.1
227613 | 2021-10-26 10:58 | 11.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6044 | μmol/L | 12.3684 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.391 | 129369.607 | 271088.0419 | 36.4 | 83.1
227623 | 2021-10-26 10:58 | 12.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.581 | μmol/L | 12.3684 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.392 | 129383.588 | 271106.0983 | 36.4 | 83.1
227633 | 2021-10-26 10:59 | 12.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6376 | μmol/L | 12.3623 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.392 | 129395.7662 | 271103.8979 | 36.4 | 83.1
227643 | 2021-10-26 10:59 | 12.9705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.23 | μmol/L | 12.3684 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.407 | 129484.1283 | 271106.4021 | 36.4 | 83.1
227653 | 2021-10-26 10:59 | 13.3109 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1833 | μmol/L | 12.3684 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.409 | 129508.4642 | 271109.8677 | 36.4 | 83.1
227663 | 2021-10-26 11:00 | 13.6441 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0898 | μmol/L | 12.3684 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.413 | 129512.9873 | 271103.7842 | 36.4 | 83.1
227673 | 2021-10-26 11:00 | 13.9774 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.973 | μmol/L | 12.3684 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.418 | 129517.6726 | 271122.2355 | 36.4 | 83.1
227683 | 2021-10-26 11:00 | 14.3113 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0431 | μmol/L | 12.3684 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.415 | 129520.3017 | 271133.3812 | 36.4 | 83.1
227693 | 2021-10-26 11:01 | 14.6447 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9165 | μmol/L | 12.3745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.418 | 129541.9077 | 271147.7804 | 36.4 | 83.1
227703 | 2021-10-26 11:01 | 14.9775 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0958 | μmol/L | 12.3501 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.42 | 129546.8147 | 271157.3713 | 36.4 | 83.1
227713 | 2021-10-26 11:01 | 15.3107 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0822 | μmol/L | 12.344 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.423 | 129571.2759 | 271142.0831 | 36.4 | 83.1
227723 | 2021-10-26 11:02 | 15.6444 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0159 | μmol/L | 12.3562 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.421 | 129564.9733 | 271150.3642 | 36.4 | 83.1
227733 | 2021-10-26 11:02 | 15.9774 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7904 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.426 | 129572.0615 | 271157.9263 | 36.4 | 83.1
227743 | 2021-10-26 11:02 | 16.3112 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5997 | μmol/L | 12.3684 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.434 | 129664.7312 | 271155.2595 | 36.4 | 83.1
227753 | 2021-10-26 11:03 | 16.6443 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4035 | μmol/L | 12.3745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.44 | 129679.3025 | 271177.7165 | 36.4 | 83.1
227763 | 2021-10-26 11:03 | 16.9778 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.287 | μmol/L | 12.3745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.445 | 129691.1409 | 271189.4814 | 36.4 | 83.1
227773 | 2021-10-26 11:03 | 17.3114 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.3103 | μmol/L | 12.3745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.444 | 129713.3182 | 271201.3337 | 36.4 | 83.1
227783 | 2021-10-26 11:04 | 17.6448 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.301 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.447 | 129739.0664 | 271205.4796 | 36.4 | 83.1
227793 | 2021-10-26 11:04 | 17.9777 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1241 | μmol/L | 12.3745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.452 | 129744.0686 | 271218.3211 | 36.4 | 83.1
227803 | 2021-10-26 11:04 | 18.3109 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1106 | μmol/L | 12.3684 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.455 | 129762.8865 | 271228.3993 | 36.4 | 83.1
227813 | 2021-10-26 11:05 | 18.6443 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.0213 | μmol/L | 12.3806 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.454 | 129781.7337 | 271257.1156 | 36.4 | 83.1
227823 | 2021-10-26 11:05 | 18.9781 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1106 | μmol/L | 12.3684 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.455 | 129783.7935 | 271265.5132 | 36.4 | 83.1
227833 | 2021-10-26 11:05 | 19.3114 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1804 | μmol/L | 12.3684 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.452 | 129788.0582 | 271294.5724 | 36.4 | 83.1
227843 | 2021-10-26 11:06 | 19.6445 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.6592 | μmol/L | 12.3745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.472 | 129903.7461 | 271299.7497 | 36.4 | 83.1
227853 | 2021-10-26 11:06 | 19.9776 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 274.6851 | μmol/L | 12.3684 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.691 | 131283.0967 | 271307.8257 | 36.4 | 83.1
227863 | 2021-10-26 11:06 | 20.3111 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 272.5853 | μmol/L | 12.3806 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.779 | 131816.6551 | 271284.7203 | 36.4 | 83.1
227873 | 2021-10-26 11:07 | 20.6442 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 273.3616 | μmol/L | 12.3745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.747 | 131626.0139 | 271289.0039 | 36.4 | 83.1
227883 | 2021-10-26 11:07 | 20.9778 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 274.2709 | μmol/L | 12.3745 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.707 | 131378.4005 | 271299.1457 | 36.4 | 83.1
227893 | 2021-10-26 11:07 | 21.3111 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.0619 | μmol/L | 12.3745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.672 | 131158.8864 | 271306.4119 | 36.4 | 83.1
227903 | 2021-10-26 11:08 | 21.6447 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.7228 | μmol/L | 12.3745 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.643 | 130993.9632 | 271328.0003 | 36.4 | 83.1
227913 | 2021-10-26 11:08 | 21.9775 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.3537 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.618 | 130836.9727 | 271344.0116 | 36.4 | 83.1
227923 | 2021-10-26 11:08 | 22.3108 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.8118 | μmol/L | 12.3684 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.598 | 130704.7483 | 271354.8071 | 36.4 | 83.1