## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 11:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
227258 | 2021-10-26 10:46 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 259.2041 | μmol/L | 12.3496 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.672 | 123597.0618 | 268531.1917 | 32.55 | 27.7
227268 | 2021-10-26 10:46 | 0.33617 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.5215 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.699 | 123726.0617 | 268531.7903 | 32.55 | 27.7
227278 | 2021-10-26 10:47 | 0.66938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 258.0571 | μmol/L | 12.3557 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.723 | 123824.1599 | 268544.995 | 32.55 | 27.7
227288 | 2021-10-26 10:47 | 1.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.6133 | μmol/L | 12.3679 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.739 | 123918.8468 | 268551.2967 | 32.55 | 27.7
227298 | 2021-10-26 10:47 | 1.3357 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 257.3587 | μmol/L | 12.3496 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.758 | 124042.8498 | 268563.213 | 32.55 | 27.7
227308 | 2021-10-26 10:48 | 1.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.8039 | μmol/L | 12.3496 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.784 | 124169.8865 | 268556.4484 | 32.55 | 27.7
227318 | 2021-10-26 10:48 | 2.003 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 256.3009 | μmol/L | 12.3435 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.81 | 124300.6085 | 268561.4451 | 32.55 | 27.7
227328 | 2021-10-26 10:48 | 2.336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.9264 | μmol/L | 12.3373 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.83 | 124434.5407 | 268581.5116 | 32.55 | 27.7
227338 | 2021-10-26 10:49 | 2.6692 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.6452 | μmol/L | 12.3251 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.848 | 124539.9968 | 268570.7242 | 32.55 | 27.7
227348 | 2021-10-26 10:49 | 3.0025 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 255.3354 | μmol/L | 12.319 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.865 | 124623.8171 | 268588.396 | 32.55 | 27.7
227358 | 2021-10-26 10:49 | 3.3355 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.8682 | μmol/L | 12.3373 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.88 | 124715.785 | 268586.8623 | 32.55 | 27.7
227368 | 2021-10-26 10:50 | 3.6689 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.4652 | μmol/L | 12.3557 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.892 | 124813.4949 | 268619.761 | 32.55 | 27.7
227378 | 2021-10-26 10:50 | 4.0025 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 254.1836 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.903 | 124898.8919 | 268615.2271 | 32.55 | 27.7
227388 | 2021-10-26 10:50 | 4.3359 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.9445 | μmol/L | 12.3679 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.912 | 124970.2624 | 268627.3967 | 32.55 | 27.7
227398 | 2021-10-26 10:51 | 4.669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.8051 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.921 | 125039.4633 | 268636.9073 | 32.55 | 27.7
227408 | 2021-10-26 10:51 | 5.0025 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.6372 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.929 | 125102.0134 | 268624.5176 | 32.55 | 27.7
227418 | 2021-10-26 10:51 | 5.3358 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.4903 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.936 | 125142.9273 | 268602.7242 | 32.55 | 27.7
227428 | 2021-10-26 10:52 | 5.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.4274 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.939 | 125160.143 | 268606.5577 | 32.55 | 27.7
227438 | 2021-10-26 10:52 | 6.0024 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.2387 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.948 | 125177.0289 | 268612.2234 | 32.55 | 27.7
227448 | 2021-10-26 10:52 | 6.3359 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.2387 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.948 | 125196.521 | 268592.1926 | 32.55 | 27.7
227458 | 2021-10-26 10:53 | 6.669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 253.134 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.953 | 125211.7982 | 268577.308 | 32.55 | 27.7
227468 | 2021-10-26 10:53 | 7.0024 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.9456 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.962 | 125226.6493 | 268566.8422 | 32.55 | 27.7
227478 | 2021-10-26 10:53 | 7.336 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.841 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.967 | 125253.9921 | 268544.8955 | 32.55 | 27.7
227488 | 2021-10-26 10:54 | 7.6691 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.7365 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.972 | 125289.4702 | 268524.0304 | 32.55 | 27.7
227498 | 2021-10-26 10:54 | 8.0024 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 252.173 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.999 | 125382.6131 | 268507.4598 | 32.55 | 27.7
227508 | 2021-10-26 10:54 | 8.3356 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.7202 | μmol/L | 12.374 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.016 | 125504.0281 | 268511.6626 | 32.55 | 27.7
227518 | 2021-10-26 10:55 | 8.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.5331 | μmol/L | 12.374 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.025 | 125554.1205 | 268505.8502 | 32.55 | 27.7
227528 | 2021-10-26 10:55 | 9.0027 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.4084 | μmol/L | 12.374 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.031 | 125596.4571 | 268506.1316 | 32.55 | 27.7
227538 | 2021-10-26 10:55 | 9.3361 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.3669 | μmol/L | 12.374 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.033 | 125602.621 | 268495.6734 | 32.55 | 27.7
227548 | 2021-10-26 10:56 | 9.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.3332 | μmol/L | 12.3679 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.037 | 125606.5953 | 268482.909 | 32.55 | 27.7
227558 | 2021-10-26 10:56 | 10.0025 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.3332 | μmol/L | 12.3679 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.037 | 125620.8129 | 268483.8094 | 32.55 | 27.7
227568 | 2021-10-26 10:56 | 10.3355 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.3124 | μmol/L | 12.3679 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.038 | 125628.99 | 268470.9121 | 32.55 | 27.7
227578 | 2021-10-26 10:57 | 10.6692 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.2164 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.045 | 125631.7812 | 268484.3299 | 32.55 | 27.7
227588 | 2021-10-26 10:57 | 11.0028 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.1464 | μmol/L | 12.3679 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.046 | 125647.6028 | 268478.3437 | 32.55 | 27.7
227598 | 2021-10-26 10:57 | 11.3356 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.2164 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.045 | 125643.9312 | 268471.6497 | 32.55 | 27.7
227608 | 2021-10-26 10:58 | 11.6693 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.245 | μmol/L | 12.3557 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.046 | 125639.6611 | 268472.9269 | 32.55 | 27.7
227618 | 2021-10-26 10:58 | 12.0025 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 251.0091 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.055 | 125683.5934 | 268472.8611 | 32.55 | 27.7
227628 | 2021-10-26 10:58 | 12.3359 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.732 | μmol/L | 12.3679 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.066 | 125744.5744 | 268469.494 | 32.55 | 27.7
227638 | 2021-10-26 10:59 | 12.6695 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.6777 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.071 | 125790.2409 | 268468.6726 | 32.55 | 27.7
227648 | 2021-10-26 10:59 | 12.9782 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.5743 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.076 | 125832.5807 | 268468.3505 | 32.55 | 27.7
227658 | 2021-10-26 10:59 | 13.3187 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.2023 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.094 | 125905.915 | 268476.6213 | 32.55 | 27.7
227668 | 2021-10-26 11:00 | 13.6526 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.0876 | μmol/L | 12.3679 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.097 | 125964.0183 | 268481.1805 | 32.55 | 27.7
227678 | 2021-10-26 11:00 | 13.9857 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.0501 | μmol/L | 12.3679 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.099 | 125972.0656 | 268496.8898 | 32.55 | 27.7
227688 | 2021-10-26 11:00 | 14.3195 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.9469 | μmol/L | 12.3679 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.104 | 125979.4311 | 268518.8296 | 32.55 | 27.7
227698 | 2021-10-26 11:01 | 14.6526 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.9185 | μmol/L | 12.374 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.103 | 125988.004 | 268508.8378 | 32.55 | 27.7
227708 | 2021-10-26 11:01 | 14.9854 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.8979 | μmol/L | 12.374 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.104 | 125992.1099 | 268526.8176 | 32.55 | 27.7
227718 | 2021-10-26 11:01 | 15.3189 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.8979 | μmol/L | 12.374 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.104 | 126006.5456 | 268525.6041 | 32.55 | 27.7
227728 | 2021-10-26 11:02 | 15.6523 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 250.062 | μmol/L | 12.3557 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.103 | 126012.6204 | 268529.3429 | 32.55 | 27.7
227738 | 2021-10-26 11:02 | 15.9854 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.996 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.104 | 126037.2314 | 268523.6506 | 32.55 | 27.7
227748 | 2021-10-26 11:02 | 16.3192 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.9341 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.107 | 126046.9926 | 268529.7463 | 32.55 | 27.7
227758 | 2021-10-26 11:03 | 16.6521 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.8439 | μmol/L | 12.3679 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.109 | 126048.9692 | 268532.4358 | 32.55 | 27.7
227768 | 2021-10-26 11:03 | 16.9858 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.6959 | μmol/L | 12.3679 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.116 | 126083.321 | 268545.1157 | 32.55 | 27.7
227778 | 2021-10-26 11:03 | 17.3193 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.7577 | μmol/L | 12.3679 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.113 | 126120.6653 | 268566.067 | 32.55 | 27.7
227788 | 2021-10-26 11:04 | 17.6524 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.5284 | μmol/L | 12.3862 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.117 | 126134.8205 | 268561.5462 | 32.55 | 27.7
227798 | 2021-10-26 11:04 | 17.9855 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.5116 | μmol/L | 12.3862 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.118 | 126148.6862 | 268565.1149 | 32.55 | 27.7
227808 | 2021-10-26 11:04 | 18.3195 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.6379 | μmol/L | 12.3679 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.119 | 126182.4365 | 268593.6165 | 32.55 | 27.7
227818 | 2021-10-26 11:05 | 18.6524 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.5349 | μmol/L | 12.3679 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.124 | 126221.9603 | 268610.6357 | 32.55 | 27.7
227828 | 2021-10-26 11:05 | 18.9861 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.5967 | μmol/L | 12.3679 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.121 | 126243.2887 | 268626.5647 | 32.55 | 27.7
227838 | 2021-10-26 11:05 | 19.3192 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.6292 | μmol/L | 12.3557 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.124 | 126263.5435 | 268640.7847 | 32.55 | 27.7
227848 | 2021-10-26 11:06 | 19.6521 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.5633 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.125 | 126281.8687 | 268649.8104 | 32.55 | 27.7
227858 | 2021-10-26 11:06 | 19.986 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.5094 | μmol/L | 12.3557 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.13 | 126308.1942 | 268646.3162 | 32.55 | 27.7
227868 | 2021-10-26 11:06 | 20.3191 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.5016 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.128 | 126324.106 | 268648.9925 | 32.55 | 27.7
227878 | 2021-10-26 11:07 | 20.6526 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.481 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.129 | 126326.3506 | 268637.0416 | 32.55 | 27.7
227888 | 2021-10-26 11:07 | 20.9855 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.4399 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.131 | 126327.028 | 268657.4867 | 32.55 | 27.7
227898 | 2021-10-26 11:07 | 21.3195 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.386 | μmol/L | 12.3557 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.136 | 126342.3551 | 268658.7203 | 32.55 | 27.7
227908 | 2021-10-26 11:08 | 21.6523 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.3654 | μmol/L | 12.3557 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.137 | 126391.9057 | 268677.8059 | 32.55 | 27.7
227918 | 2021-10-26 11:08 | 21.9855 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.2343 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.141 | 126406.0696 | 268681.9752 | 32.55 | 27.7
227928 | 2021-10-26 11:08 | 22.3189 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 249.2137 | μmol/L | 12.3618 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.142 | 126423.6068 | 268690.3775 | 32.55 | 27.7