## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 11:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
227930 | 2021-10-26 11:20 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.2501 | μmol/L | 11.8746 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.732 | 137616.6995 | 299791.4728 | 59.9307 | 38.1
227940 | 2021-10-26 11:20 | 0.32907 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.2357 | μmol/L | 11.8685 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.735 | 137461.6522 | 299811.2088 | 59.9307 | 38.1
227950 | 2021-10-26 11:20 | 0.66237 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.0761 | μmol/L | 11.8746 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.74 | 137481.845 | 299819.5331 | 59.9307 | 38.1
227960 | 2021-10-26 11:21 | 0.99576 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 258.0182 | μmol/L | 11.8685 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.745 | 137504.075 | 299804.0759 | 59.9307 | 38.1
227970 | 2021-10-26 11:21 | 1.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.9095 | μmol/L | 11.8685 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.75 | 137532.8115 | 299797.991 | 59.9307 | 38.1
227980 | 2021-10-26 11:21 | 1.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.8661 | μmol/L | 11.8685 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.752 | 137565.4098 | 299804.7738 | 59.9307 | 38.1
227990 | 2021-10-26 11:22 | 1.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.7358 | μmol/L | 11.8685 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.758 | 137601.7882 | 299817.4097 | 59.9307 | 38.1
228000 | 2021-10-26 11:22 | 2.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.6563 | μmol/L | 11.8624 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.764 | 137632.3879 | 299809.3863 | 59.9307 | 38.1
228010 | 2021-10-26 11:22 | 2.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.5262 | μmol/L | 11.8624 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.77 | 137689.1138 | 299807.2893 | 59.9307 | 38.1
228020 | 2021-10-26 11:23 | 2.996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.4468 | μmol/L | 11.8563 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.776 | 137708.2105 | 299792.9352 | 59.9307 | 38.1
228030 | 2021-10-26 11:23 | 3.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.2227 | μmol/L | 11.8624 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.784 | 137560.7942 | 299810.4455 | 59.9307 | 38.1
228040 | 2021-10-26 11:23 | 3.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.1288 | μmol/L | 11.8685 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.786 | 137590.8822 | 299817.7643 | 59.9307 | 38.1
228050 | 2021-10-26 11:24 | 3.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 257.0712 | μmol/L | 11.8624 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.791 | 137607.3953 | 299811.2236 | 59.9307 | 38.1
228060 | 2021-10-26 11:24 | 4.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.963 | μmol/L | 11.8624 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.796 | 137650.0172 | 299827.2866 | 59.9307 | 38.1
228070 | 2021-10-26 11:24 | 4.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.7684 | μmol/L | 11.8624 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.805 | 137678.5704 | 299820.17 | 59.9307 | 38.1
228080 | 2021-10-26 11:25 | 4.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.6604 | μmol/L | 11.8624 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.81 | 137724.7669 | 299834.1056 | 59.9307 | 38.1
228090 | 2021-10-26 11:25 | 5.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.5377 | μmol/L | 11.8746 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.811 | 137748.5153 | 299823.9521 | 59.9307 | 38.1
228100 | 2021-10-26 11:25 | 5.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.4298 | μmol/L | 11.8746 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.816 | 137793.1736 | 299822.794 | 59.9307 | 38.1
228110 | 2021-10-26 11:26 | 5.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.3292 | μmol/L | 11.8685 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.823 | 137839.6742 | 299830.6751 | 59.9307 | 38.1
228120 | 2021-10-26 11:26 | 6.3293 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.1568 | μmol/L | 11.8685 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.831 | 137868.9811 | 299841.6593 | 59.9307 | 38.1
228130 | 2021-10-26 11:26 | 6.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0275 | μmol/L | 11.8685 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.837 | 137901.5815 | 299832.6319 | 59.9307 | 38.1
228140 | 2021-10-26 11:27 | 6.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 256.0349 | μmol/L | 11.8624 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.839 | 137938.1465 | 299834.4751 | 59.9307 | 38.1
228150 | 2021-10-26 11:27 | 7.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.9703 | μmol/L | 11.8624 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.842 | 137967.4932 | 299838.0638 | 59.9307 | 38.1
228160 | 2021-10-26 11:27 | 7.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.9057 | μmol/L | 11.8624 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.845 | 137995.0713 | 299831.1781 | 59.9307 | 38.1
228170 | 2021-10-26 11:28 | 7.9957 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.7477 | μmol/L | 11.8685 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.85 | 138025.2706 | 299821.5327 | 59.9307 | 38.1
228180 | 2021-10-26 11:28 | 8.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.6617 | μmol/L | 11.8685 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.854 | 138045.7136 | 299812.4852 | 59.9307 | 38.1
228190 | 2021-10-26 11:28 | 8.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.5615 | μmol/L | 11.8624 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.861 | 138080.4677 | 299809.2804 | 59.9307 | 38.1
228200 | 2021-10-26 11:29 | 8.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.4541 | μmol/L | 11.8624 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.866 | 138100.8818 | 299807.1771 | 59.9307 | 38.1
228210 | 2021-10-26 11:29 | 9.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.3179 | μmol/L | 11.8685 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.87 | 138136.4293 | 299796.4108 | 59.9307 | 38.1
228220 | 2021-10-26 11:29 | 9.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.1818 | μmol/L | 11.8746 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.874 | 138160.1651 | 299805.6105 | 59.9307 | 38.1
228230 | 2021-10-26 11:30 | 9.9961 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 255.0745 | μmol/L | 11.8746 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.879 | 138193.476 | 299796.5196 | 59.9307 | 38.1
228240 | 2021-10-26 11:30 | 10.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7531 | μmol/L | 11.8746 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.894 | 138282.8862 | 299790.2638 | 59.9307 | 38.1
228250 | 2021-10-26 11:30 | 10.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.7103 | μmol/L | 11.8746 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.896 | 138343.4608 | 299793.2968 | 59.9307 | 38.1
228260 | 2021-10-26 11:31 | 10.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 254.1824 | μmol/L | 11.8867 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.916 | 138448.0606 | 299788.134 | 59.9307 | 38.1
228270 | 2021-10-26 11:31 | 11.329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.5353 | μmol/L | 11.8928 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.944 | 138637.7719 | 299774.2634 | 59.9307 | 38.1
228280 | 2021-10-26 11:31 | 11.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.181 | μmol/L | 11.8867 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.963 | 138755.4331 | 299769.5761 | 59.9307 | 38.1
228290 | 2021-10-26 11:32 | 11.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0748 | μmol/L | 11.8867 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.968 | 138790.82 | 299756.7314 | 59.9307 | 38.1
228300 | 2021-10-26 11:32 | 12.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0748 | μmol/L | 11.8867 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.968 | 138798.45 | 299742.2314 | 59.9307 | 38.1
228310 | 2021-10-26 11:32 | 12.6625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0249 | μmol/L | 11.8928 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.968 | 138778.7132 | 299735.2222 | 59.9307 | 38.1
228320 | 2021-10-26 11:33 | 12.9959 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0609 | μmol/L | 11.8807 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.971 | 138777.2798 | 299727.7283 | 59.9307 | 38.1
228330 | 2021-10-26 11:33 | 13.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 253.0184 | μmol/L | 11.8807 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.973 | 138798.3065 | 299747.7621 | 59.9307 | 38.1
228340 | 2021-10-26 11:33 | 13.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.9833 | μmol/L | 11.8746 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.977 | 138796.4115 | 299748.4022 | 59.9307 | 38.1
228350 | 2021-10-26 11:34 | 13.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8698 | μmol/L | 11.8807 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.98 | 138830.5213 | 299757.7892 | 59.9307 | 38.1
228360 | 2021-10-26 11:34 | 14.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8559 | μmol/L | 11.8746 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.983 | 138850.2766 | 299754.3785 | 59.9307 | 38.1
228370 | 2021-10-26 11:34 | 14.6626 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.8485 | μmol/L | 11.8807 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.981 | 138863.6352 | 299755.1949 | 59.9307 | 38.1
228380 | 2021-10-26 11:35 | 14.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.7425 | μmol/L | 11.8807 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.986 | 138883.9993 | 299743.3189 | 59.9307 | 38.1
228390 | 2021-10-26 11:35 | 15.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6715 | μmol/L | 11.8867 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.987 | 138897.3803 | 299753.8387 | 59.9307 | 38.1
228400 | 2021-10-26 11:35 | 15.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6788 | μmol/L | 11.8807 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.989 | 138900.4623 | 299744.519 | 59.9307 | 38.1
228410 | 2021-10-26 11:36 | 15.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.6568 | μmol/L | 11.8989 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.983 | 138893.7114 | 299744.5875 | 59.9307 | 38.1
228420 | 2021-10-26 11:36 | 16.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.5443 | μmol/L | 11.8867 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.993 | 138912.7794 | 299728.5882 | 59.9307 | 38.1
228430 | 2021-10-26 11:36 | 16.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.3739 | μmol/L | 11.905 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.994 | 138923.4399 | 299729.285 | 59.9307 | 38.1
228440 | 2021-10-26 11:37 | 16.9956 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.431 | μmol/L | 11.8928 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.996 | 138952.6006 | 299736.8792 | 59.9307 | 38.1
228450 | 2021-10-26 11:37 | 17.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.4383 | μmol/L | 11.8867 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 23.998 | 138954.7563 | 299731.3105 | 59.9307 | 38.1
228460 | 2021-10-26 11:37 | 17.6623 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.361 | μmol/L | 11.8807 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.004 | 138992.9696 | 299744.7949 | 59.9307 | 38.1
228470 | 2021-10-26 11:38 | 17.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.1705 | μmol/L | 11.8807 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.013 | 139008.5555 | 299721.0811 | 59.9307 | 38.1
228480 | 2021-10-26 11:38 | 18.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.0859 | μmol/L | 11.8807 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.017 | 139045.6141 | 299720.5367 | 59.9307 | 38.1
228490 | 2021-10-26 11:38 | 18.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 252.0151 | μmol/L | 11.8867 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.018 | 139068.818 | 299706.8771 | 59.9307 | 38.1
228500 | 2021-10-26 11:39 | 18.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.9232 | μmol/L | 11.8928 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.02 | 139080.8047 | 299702.1981 | 59.9307 | 38.1
228510 | 2021-10-26 11:39 | 19.3294 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.8598 | μmol/L | 11.8928 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.023 | 139095.6663 | 299702.5255 | 59.9307 | 38.1
228520 | 2021-10-26 11:39 | 19.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.8534 | μmol/L | 11.8807 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.028 | 139121.5558 | 299725.6734 | 59.9307 | 38.1
228530 | 2021-10-26 11:40 | 19.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.6698 | μmol/L | 11.8928 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.032 | 139135.6078 | 299716.5064 | 59.9307 | 38.1
228540 | 2021-10-26 11:40 | 20.3289 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.6698 | μmol/L | 11.8928 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.032 | 139155.9987 | 299713.9839 | 59.9307 | 38.1
228550 | 2021-10-26 11:40 | 20.6627 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.5294 | μmol/L | 11.8867 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.041 | 139183.1426 | 299697.2632 | 59.9307 | 38.1
228560 | 2021-10-26 11:41 | 20.9958 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.4166 | μmol/L | 11.8928 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.044 | 139223.7582 | 299687.6818 | 59.9307 | 38.1
228570 | 2021-10-26 11:41 | 21.3292 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 251.1986 | μmol/L | 11.8989 | °C | 990 | hPa | Humid | 28 | 1 | 0 | 24.052 | 139265.2343 | 299693.8289 | 59.9307 | 38.1