## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 11:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
227931 | 2021-10-26 11:20 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 294.3382 | μmol/L | 11.8314 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.912 | 101602.2768 | 218186.0723 | 27.3 | 43.4
227941 | 2021-10-26 11:20 | 0.33245 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.805 | μmol/L | 11.8253 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.936 | 101536.2166 | 218179.257 | 27.3 | 43.4
227951 | 2021-10-26 11:20 | 0.6651 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.3222 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.946 | 101614.3485 | 218191.2914 | 27.3 | 43.4
227961 | 2021-10-26 11:21 | 0.99848 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 293.1254 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.954 | 101674.3252 | 218176.6781 | 27.3 | 43.4
227971 | 2021-10-26 11:21 | 1.3318 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.8404 | μmol/L | 11.8436 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.968 | 101730.6651 | 218170.7795 | 27.3 | 43.4
227981 | 2021-10-26 11:21 | 1.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.5213 | μmol/L | 11.8436 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.981 | 101809.1222 | 218189.4995 | 27.3 | 43.4
227991 | 2021-10-26 11:22 | 1.9987 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 292.2173 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 22.991 | 101857.3964 | 218187.9142 | 27.3 | 43.4
228001 | 2021-10-26 11:22 | 2.3322 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.9334 | μmol/L | 11.8436 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.005 | 101915.464 | 218191.8104 | 27.3 | 43.4
228011 | 2021-10-26 11:22 | 2.6655 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.679 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.013 | 101966.3513 | 218189.5125 | 27.3 | 43.4
228021 | 2021-10-26 11:23 | 2.9989 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.5179 | μmol/L | 11.8436 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.022 | 102009.0148 | 218189.2321 | 27.3 | 43.4
228031 | 2021-10-26 11:23 | 3.3324 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.3714 | μmol/L | 11.8436 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.028 | 101652.4651 | 218182.9234 | 27.3 | 43.4
228041 | 2021-10-26 11:23 | 3.6657 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.1129 | μmol/L | 11.8375 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.041 | 101696.1145 | 218193.9971 | 27.3 | 43.4
228051 | 2021-10-26 11:24 | 3.999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 291.0196 | μmol/L | 11.8375 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.045 | 101729.4951 | 218184.5512 | 27.3 | 43.4
228061 | 2021-10-26 11:24 | 4.3319 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.6833 | μmol/L | 11.8497 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.054 | 101776.0178 | 218196.9224 | 27.3 | 43.4
228071 | 2021-10-26 11:24 | 4.6654 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.7475 | μmol/L | 11.8375 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.056 | 101804.7025 | 218207.6208 | 27.3 | 43.4
228081 | 2021-10-26 11:25 | 4.9988 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.44 | μmol/L | 11.8497 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.064 | 101855.028 | 218198.8167 | 27.3 | 43.4
228091 | 2021-10-26 11:25 | 5.3323 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 290.2756 | μmol/L | 11.8436 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.073 | 101899.8909 | 218212.5767 | 27.3 | 43.4
228101 | 2021-10-26 11:25 | 5.6657 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.9115 | μmol/L | 11.8436 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.088 | 101947.4907 | 218215.2382 | 27.3 | 43.4
228111 | 2021-10-26 11:26 | 5.9992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.7417 | μmol/L | 11.8436 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.095 | 101993.1776 | 218211.4425 | 27.3 | 43.4
228121 | 2021-10-26 11:26 | 6.3324 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.7031 | μmol/L | 11.8375 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.099 | 102029.0134 | 218218.2594 | 27.3 | 43.4
228131 | 2021-10-26 11:26 | 6.6658 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.4268 | μmol/L | 11.8436 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.108 | 102057.0216 | 218199.5453 | 27.3 | 43.4
228141 | 2021-10-26 11:27 | 6.9986 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.3641 | μmol/L | 11.8375 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.113 | 102089.0765 | 218223.7853 | 27.3 | 43.4
228151 | 2021-10-26 11:27 | 7.3321 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.3399 | μmol/L | 11.8375 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.114 | 102104.4038 | 218211.161 | 27.3 | 43.4
228161 | 2021-10-26 11:27 | 7.6652 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 289.1365 | μmol/L | 11.8436 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.12 | 102115.2377 | 218209.092 | 27.3 | 43.4
228171 | 2021-10-26 11:28 | 7.9988 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.9432 | μmol/L | 11.8436 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.128 | 102166.3783 | 218194.0442 | 27.3 | 43.4
228181 | 2021-10-26 11:28 | 8.3321 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.716 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.135 | 102209.2758 | 218194.1026 | 27.3 | 43.4
228191 | 2021-10-26 11:28 | 8.6654 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.6919 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.136 | 102206.2658 | 218185.9739 | 27.3 | 43.4
228201 | 2021-10-26 11:29 | 8.9988 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.5954 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.14 | 102234.8035 | 218187.1681 | 27.3 | 43.4
228211 | 2021-10-26 11:29 | 9.332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.282 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.153 | 102289.4947 | 218184.6156 | 27.3 | 43.4
228221 | 2021-10-26 11:29 | 9.6654 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 288.1375 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.159 | 102317.5014 | 218190.8474 | 27.3 | 43.4
228231 | 2021-10-26 11:30 | 9.9988 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.9931 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.165 | 102343.7794 | 218200.9729 | 27.3 | 43.4
228241 | 2021-10-26 11:30 | 10.3326 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.8488 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.171 | 102363.3699 | 218183.0108 | 27.3 | 43.4
228251 | 2021-10-26 11:30 | 10.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.7668 | μmol/L | 11.8558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.172 | 102387.6935 | 218196.2834 | 27.3 | 43.4
228261 | 2021-10-26 11:31 | 10.9988 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.7286 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.176 | 102395.3 | 218185.5935 | 27.3 | 43.4
228271 | 2021-10-26 11:31 | 11.3321 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.5505 | μmol/L | 11.8558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.181 | 102414.8611 | 218184.2424 | 27.3 | 43.4
228281 | 2021-10-26 11:31 | 11.6654 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.5364 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.184 | 102438.0409 | 218165.5982 | 27.3 | 43.4
228291 | 2021-10-26 11:32 | 11.9988 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.4164 | μmol/L | 11.8497 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.189 | 102433.6936 | 218166.6362 | 27.3 | 43.4
228301 | 2021-10-26 11:32 | 12.3323 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.3966 | μmol/L | 11.8619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.185 | 102443.7336 | 218152.426 | 27.3 | 43.4
228311 | 2021-10-26 11:32 | 12.6655 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.4065 | μmol/L | 11.8558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.187 | 102440.2799 | 218156.2074 | 27.3 | 43.4
228321 | 2021-10-26 11:33 | 12.9992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.2287 | μmol/L | 11.8619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.192 | 102435.3895 | 218160.0616 | 27.3 | 43.4
228331 | 2021-10-26 11:33 | 13.3326 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.2527 | μmol/L | 11.8619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.191 | 102433.0289 | 218166.5218 | 27.3 | 43.4
228341 | 2021-10-26 11:33 | 13.6652 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.3105 | μmol/L | 11.8558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.191 | 102455.7021 | 218187.4007 | 27.3 | 43.4
228351 | 2021-10-26 11:34 | 13.9987 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.1088 | μmol/L | 11.8619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.197 | 102469.5921 | 218183.8781 | 27.3 | 43.4
228361 | 2021-10-26 11:34 | 14.3321 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.2146 | μmol/L | 11.8558 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.195 | 102483.4823 | 218181.1391 | 27.3 | 43.4
228371 | 2021-10-26 11:34 | 14.6655 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.1088 | μmol/L | 11.8619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.197 | 102488.4363 | 218182.1551 | 27.3 | 43.4
228381 | 2021-10-26 11:35 | 14.9989 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.051 | μmol/L | 11.868 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.197 | 102503.7399 | 218182.9065 | 27.3 | 43.4
228391 | 2021-10-26 11:35 | 15.3322 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 287.1088 | μmol/L | 11.8619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.197 | 102506.245 | 218180.7074 | 27.3 | 43.4
228401 | 2021-10-26 11:35 | 15.6656 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.8692 | μmol/L | 11.8619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.207 | 102517.5868 | 218176.7019 | 27.3 | 43.4
228411 | 2021-10-26 11:36 | 15.9992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.7875 | μmol/L | 11.868 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.208 | 102525.9154 | 218162.1827 | 27.3 | 43.4
228421 | 2021-10-26 11:36 | 16.3324 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.7777 | μmol/L | 11.8741 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.206 | 102522.4787 | 218166.2815 | 27.3 | 43.4
228431 | 2021-10-26 11:36 | 16.6657 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.6242 | μmol/L | 11.8802 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.21 | 102529.7894 | 218160.8032 | 27.3 | 43.4
228441 | 2021-10-26 11:37 | 16.9992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.4568 | μmol/L | 11.8802 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.217 | 102567.9771 | 218173.5039 | 27.3 | 43.4
228451 | 2021-10-26 11:37 | 17.3324 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 286.0367 | μmol/L | 11.8741 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.237 | 102685.9866 | 218153.7496 | 27.3 | 43.4
228461 | 2021-10-26 11:37 | 17.666 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.5936 | μmol/L | 11.868 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.258 | 102781.4972 | 218148.5066 | 27.3 | 43.4
228471 | 2021-10-26 11:38 | 17.9984 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.5796 | μmol/L | 11.8619 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.261 | 102788.343 | 218149.1218 | 27.3 | 43.4
228481 | 2021-10-26 11:38 | 18.332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.4745 | μmol/L | 11.868 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.263 | 102795.4469 | 218153.6032 | 27.3 | 43.4
228491 | 2021-10-26 11:38 | 18.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.3932 | μmol/L | 11.8741 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.264 | 102779.5791 | 218139.2557 | 27.3 | 43.4
228501 | 2021-10-26 11:39 | 18.9988 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.4031 | μmol/L | 11.868 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.266 | 102799.0601 | 218140.2805 | 27.3 | 43.4
228511 | 2021-10-26 11:39 | 19.332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.2406 | μmol/L | 11.8802 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.268 | 102800.2235 | 218135.2782 | 27.3 | 43.4
228521 | 2021-10-26 11:39 | 19.6655 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 285.2169 | μmol/L | 11.8802 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.269 | 102809.399 | 218153.7661 | 27.3 | 43.4
228531 | 2021-10-26 11:40 | 19.9988 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.8031 | μmol/L | 11.8863 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.284 | 102882.4631 | 218147.843 | 27.3 | 43.4
228541 | 2021-10-26 11:40 | 20.3323 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 284.1255 | μmol/L | 11.8802 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.315 | 103029.7925 | 218156.3507 | 27.3 | 43.4
228551 | 2021-10-26 11:40 | 20.6658 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.7609 | μmol/L | 11.8863 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.328 | 103080.3309 | 218144.0111 | 27.3 | 43.4
228561 | 2021-10-26 11:41 | 20.9991 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.5955 | μmol/L | 11.8863 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.335 | 103131.6835 | 218151.3742 | 27.3 | 43.4
228571 | 2021-10-26 11:41 | 21.3325 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.4676 | μmol/L | 11.8924 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.338 | 103136.8149 | 218142.6543 | 27.3 | 43.4