## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 11:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
227932 | 2021-10-26 11:20 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.7317 | μmol/L | 11.8828 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.842 | 95029.4711 | 300560.8403 | 28.7 | 67.6
227942 | 2021-10-26 11:20 | 0.33467 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 256.3867 | μmol/L | 11.8646 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.865 | 95002.2415 | 300564.6331 | 28.7 | 67.6
227952 | 2021-10-26 11:20 | 0.66811 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.906 | μmol/L | 11.8706 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.885 | 95099.1606 | 300569.8056 | 28.7 | 67.6
227962 | 2021-10-26 11:21 | 1.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.4547 | μmol/L | 11.8889 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.899 | 95168.8918 | 300565.3971 | 28.7 | 67.6
227972 | 2021-10-26 11:21 | 1.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 255.1902 | μmol/L | 11.8949 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.909 | 95225.5377 | 300572.62 | 28.7 | 67.6
227982 | 2021-10-26 11:21 | 1.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9832 | μmol/L | 11.8889 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.921 | 95275.2951 | 300572.2065 | 28.7 | 67.6
227992 | 2021-10-26 11:22 | 2.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.9403 | μmol/L | 11.8889 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.923 | 95308.6388 | 300571.4399 | 28.7 | 67.6
228002 | 2021-10-26 11:22 | 2.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.7727 | μmol/L | 11.8828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 23.933 | 95373.6417 | 300582.0833 | 28.7 | 67.6
228012 | 2021-10-26 11:22 | 2.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 254.0858 | μmol/L | 11.8889 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.963 | 95534.6478 | 300588.1697 | 28.7 | 67.6
228022 | 2021-10-26 11:23 | 3.0008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.816 | μmol/L | 11.8828 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.978 | 95576.0517 | 300580.6664 | 28.7 | 67.6
228032 | 2021-10-26 11:23 | 3.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6529 | μmol/L | 11.8767 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.988 | 95348.3564 | 300584.387 | 28.7 | 67.6
228042 | 2021-10-26 11:23 | 3.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.6317 | μmol/L | 11.8767 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.989 | 95377.6748 | 300597.208 | 28.7 | 67.6
228052 | 2021-10-26 11:24 | 4.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.419 | μmol/L | 11.8767 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.999 | 95418.1734 | 300586.7775 | 28.7 | 67.6
228062 | 2021-10-26 11:24 | 4.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.2418 | μmol/L | 11.8828 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.005 | 95463.1397 | 300602.8185 | 28.7 | 67.6
228072 | 2021-10-26 11:24 | 4.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 253.0865 | μmol/L | 11.8706 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.017 | 95506.9094 | 300628.1108 | 28.7 | 67.6
228082 | 2021-10-26 11:25 | 5.0009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.9804 | μmol/L | 11.8706 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.022 | 95550.6027 | 300620.6662 | 28.7 | 67.6
228092 | 2021-10-26 11:25 | 5.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.7824 | μmol/L | 11.8767 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.029 | 95574.5707 | 300619.4163 | 28.7 | 67.6
228102 | 2021-10-26 11:25 | 5.6677 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.7049 | μmol/L | 11.8706 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.035 | 95588.9082 | 300628.7746 | 28.7 | 67.6
228112 | 2021-10-26 11:26 | 6.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.6764 | μmol/L | 11.8767 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.034 | 95615.0982 | 300633.8258 | 28.7 | 67.6
228122 | 2021-10-26 11:26 | 6.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.6201 | μmol/L | 11.8706 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.039 | 95620.9513 | 300620.5833 | 28.7 | 67.6
228132 | 2021-10-26 11:26 | 6.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.4436 | μmol/L | 11.8767 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.045 | 95648.7753 | 300636.5842 | 28.7 | 67.6
228142 | 2021-10-26 11:27 | 7.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.3874 | μmol/L | 11.8706 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.05 | 95684.9862 | 300633.6756 | 28.7 | 67.6
228152 | 2021-10-26 11:27 | 7.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.1192 | μmol/L | 11.8828 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.058 | 95727.674 | 300616.4135 | 28.7 | 67.6
228162 | 2021-10-26 11:27 | 7.6674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.9714 | μmol/L | 11.8828 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.065 | 95755.6389 | 300610.6204 | 28.7 | 67.6
228172 | 2021-10-26 11:28 | 8.0009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.0172 | μmol/L | 11.8767 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.065 | 95757.9266 | 300612.2472 | 28.7 | 67.6
228182 | 2021-10-26 11:28 | 8.3343 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 252.1337 | μmol/L | 11.8706 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.062 | 95747.9618 | 300594.2509 | 28.7 | 67.6
228192 | 2021-10-26 11:28 | 8.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 251.5213 | μmol/L | 11.8889 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.084 | 95832.7359 | 300589.514 | 28.7 | 67.6
228202 | 2021-10-26 11:29 | 9.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.7036 | μmol/L | 11.8828 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.173 | 96263.6606 | 300578.2362 | 28.7 | 67.6
228212 | 2021-10-26 11:29 | 9.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 248.8943 | μmol/L | 11.8767 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.214 | 96439.2779 | 300582.7747 | 28.7 | 67.6
228222 | 2021-10-26 11:29 | 9.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 248.8662 | μmol/L | 11.8828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.213 | 96432.8358 | 300590.7108 | 28.7 | 67.6
228232 | 2021-10-26 11:30 | 10.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.0535 | μmol/L | 11.8828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.204 | 96392.2314 | 300586.2962 | 28.7 | 67.6
228242 | 2021-10-26 11:30 | 10.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.1785 | μmol/L | 11.8828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.198 | 96372.4423 | 300585.1024 | 28.7 | 67.6
228252 | 2021-10-26 11:30 | 10.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.3453 | μmol/L | 11.8828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.19 | 96348.4141 | 300590.2296 | 28.7 | 67.6
228262 | 2021-10-26 11:31 | 11.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.3589 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.187 | 96323.0094 | 300572.2311 | 28.7 | 67.6
228272 | 2021-10-26 11:31 | 11.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.5121 | μmol/L | 11.8828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.182 | 96281.0543 | 300559.4559 | 28.7 | 67.6
228282 | 2021-10-26 11:31 | 11.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.6719 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.172 | 96253.8178 | 300549.6491 | 28.7 | 67.6
228292 | 2021-10-26 11:32 | 12.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.839 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.164 | 96206.8492 | 300529.2174 | 28.7 | 67.6
228302 | 2021-10-26 11:32 | 12.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.8426 | μmol/L | 11.8889 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.164 | 96202.3707 | 300518.1986 | 28.7 | 67.6
228312 | 2021-10-26 11:32 | 12.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.7691 | μmol/L | 11.8949 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.165 | 96190.0166 | 300510.7978 | 28.7 | 67.6
228322 | 2021-10-26 11:33 | 13.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.8045 | μmol/L | 11.8828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.168 | 96191.9347 | 300503.5287 | 28.7 | 67.6
228332 | 2021-10-26 11:33 | 13.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.5747 | μmol/L | 11.8828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.179 | 96244.4317 | 300538.262 | 28.7 | 67.6
228342 | 2021-10-26 11:33 | 13.6676 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 249.2057 | μmol/L | 11.8949 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.192 | 96310.6075 | 300555.1089 | 28.7 | 67.6
228352 | 2021-10-26 11:34 | 14.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 248.9214 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.208 | 96376.2538 | 300558.2087 | 28.7 | 67.6
228362 | 2021-10-26 11:34 | 14.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 248.596 | μmol/L | 11.8828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.226 | 96483.435 | 300575.4138 | 28.7 | 67.6
228372 | 2021-10-26 11:34 | 14.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 248.015 | μmol/L | 11.8828 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.254 | 96609.3957 | 300575.5565 | 28.7 | 67.6
228382 | 2021-10-26 11:35 | 15.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 247.2839 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.287 | 96774.8715 | 300563.2897 | 28.7 | 67.6
228392 | 2021-10-26 11:35 | 15.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 246.4353 | μmol/L | 11.8949 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.326 | 96948.3097 | 300549.2004 | 28.7 | 67.6
228402 | 2021-10-26 11:35 | 15.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 245.7265 | μmol/L | 11.901 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.358 | 97095.508 | 300532.2826 | 28.7 | 67.6
228412 | 2021-10-26 11:36 | 16.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 244.7965 | μmol/L | 11.8949 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.406 | 97313.2568 | 300524.7229 | 28.7 | 67.6
228422 | 2021-10-26 11:36 | 16.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.6811 | μmol/L | 11.8889 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.463 | 97561.0648 | 300518.2362 | 28.7 | 67.6
228432 | 2021-10-26 11:36 | 16.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.6616 | μmol/L | 11.8949 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.511 | 97792.1802 | 300518.838 | 28.7 | 67.6
228442 | 2021-10-26 11:37 | 17.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.6671 | μmol/L | 11.901 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.558 | 98006.1248 | 300514.8065 | 28.7 | 67.6
228452 | 2021-10-26 11:37 | 17.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.8375 | μmol/L | 11.9071 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.597 | 98180.5211 | 300515.1095 | 28.7 | 67.6
228462 | 2021-10-26 11:37 | 17.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.2485 | μmol/L | 11.901 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.629 | 98316.7791 | 300515.3137 | 28.7 | 67.6
228472 | 2021-10-26 11:38 | 18.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 239.8262 | μmol/L | 11.901 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.65 | 98342.8243 | 300509.8565 | 28.7 | 67.6
228482 | 2021-10-26 11:38 | 18.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 239.647 | μmol/L | 11.901 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.659 | 98395.6519 | 300487.1997 | 28.7 | 67.6
228492 | 2021-10-26 11:38 | 18.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 239.4011 | μmol/L | 11.9071 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.669 | 98444.5268 | 300481.4729 | 28.7 | 67.6
228502 | 2021-10-26 11:39 | 19.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 239.3957 | μmol/L | 11.8949 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.674 | 98464.9908 | 300474.5124 | 28.7 | 67.6
228512 | 2021-10-26 11:39 | 19.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 239.4787 | μmol/L | 11.8949 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.67 | 98444.0302 | 300504.6356 | 28.7 | 67.6
228522 | 2021-10-26 11:39 | 19.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 239.6035 | μmol/L | 11.9071 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.659 | 98392.7143 | 300504.5879 | 28.7 | 67.6
228532 | 2021-10-26 11:40 | 20.0008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 239.9059 | μmol/L | 11.901 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.646 | 98333.4983 | 300502.2539 | 28.7 | 67.6
228542 | 2021-10-26 11:40 | 20.3341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.1924 | μmol/L | 11.8949 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.634 | 98266.7637 | 300500.6895 | 28.7 | 67.6
228552 | 2021-10-26 11:40 | 20.6675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.5353 | μmol/L | 11.8949 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.617 | 98195.3015 | 300482.3308 | 28.7 | 67.6
228562 | 2021-10-26 11:41 | 21.001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.7846 | μmol/L | 11.901 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.602 | 98142.0381 | 300482.7501 | 28.7 | 67.6
228572 | 2021-10-26 11:41 | 21.3342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.8375 | μmol/L | 11.9071 | °C | 990 | hPa | Humid | 28 | 0 | 0 | 24.597 | 98115.6866 | 300491.0865 | 28.7 | 67.6