## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-26 11:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
227934 | 2021-10-26 11:20 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 249.8504 | μmol/L | 11.799 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.195 | 108877.0527 | 303804.0497 | 30.45 | 114.2
227944 | 2021-10-26 11:20 | 0.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 249.509 | μmol/L | 11.8051 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.209 | 108922.0069 | 303810.4722 | 30.45 | 114.2
227954 | 2021-10-26 11:20 | 0.66818 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 249.1603 | μmol/L | 11.8174 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.221 | 108979.3424 | 303812.834 | 30.45 | 114.2
227964 | 2021-10-26 11:21 | 1.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.9369 | μmol/L | 11.8296 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.227 | 109025.8548 | 303805.735 | 30.45 | 114.2
227974 | 2021-10-26 11:21 | 1.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.7915 | μmol/L | 11.8296 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.234 | 109064.3332 | 303812.6398 | 30.45 | 114.2
227984 | 2021-10-26 11:21 | 1.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.6461 | μmol/L | 11.8296 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.241 | 109105.7912 | 303832.2802 | 30.45 | 114.2
227994 | 2021-10-26 11:22 | 2.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.4257 | μmol/L | 11.8235 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.254 | 109143.4692 | 303805.6969 | 30.45 | 114.2
228004 | 2021-10-26 11:22 | 2.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.3014 | μmol/L | 11.8235 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.26 | 109187.0007 | 303816.2264 | 30.45 | 114.2
228014 | 2021-10-26 11:22 | 2.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.1486 | μmol/L | 11.8296 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.265 | 109230.1952 | 303803.1078 | 30.45 | 114.2
228024 | 2021-10-26 11:23 | 3.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.102 | μmol/L | 11.8174 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.272 | 109259.1424 | 303820.3749 | 30.45 | 114.2
228034 | 2021-10-26 11:23 | 3.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.9236 | μmol/L | 11.8113 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.283 | 109301.1753 | 303824.059 | 30.45 | 114.2
228044 | 2021-10-26 11:23 | 3.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.9029 | μmol/L | 11.8113 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.284 | 109331.8384 | 303810.5753 | 30.45 | 114.2
228054 | 2021-10-26 11:24 | 4.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.6471 | μmol/L | 11.8174 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.294 | 109370.0844 | 303831.5387 | 30.45 | 114.2
228064 | 2021-10-26 11:24 | 4.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.5439 | μmol/L | 11.8174 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.299 | 109390.1394 | 303831.2436 | 30.45 | 114.2
228074 | 2021-10-26 11:24 | 4.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.4407 | μmol/L | 11.8174 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.304 | 109421.2502 | 303851.2509 | 30.45 | 114.2
228084 | 2021-10-26 11:25 | 5.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.3994 | μmol/L | 11.8174 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.306 | 109458.5844 | 303839.8 | 30.45 | 114.2
228094 | 2021-10-26 11:25 | 5.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.2628 | μmol/L | 11.8113 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.315 | 109489.1055 | 303858.8734 | 30.45 | 114.2
228104 | 2021-10-26 11:25 | 5.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.152 | μmol/L | 11.8174 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.318 | 109520.3028 | 303855.5492 | 30.45 | 114.2
228114 | 2021-10-26 11:26 | 6.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.0979 | μmol/L | 11.8113 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.323 | 109553.6198 | 303863.3302 | 30.45 | 114.2
228124 | 2021-10-26 11:26 | 6.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.9254 | μmol/L | 11.8174 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.329 | 109576.153 | 303866.8613 | 30.45 | 114.2
228134 | 2021-10-26 11:26 | 6.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.6991 | μmol/L | 11.8174 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.34 | 109603.3568 | 303858.7834 | 30.45 | 114.2
228144 | 2021-10-26 11:27 | 7.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.6863 | μmol/L | 11.8113 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.343 | 109630.1171 | 303866.7027 | 30.45 | 114.2
228154 | 2021-10-26 11:27 | 7.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.6041 | μmol/L | 11.8113 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.347 | 109662.7908 | 303855.7591 | 30.45 | 114.2
228164 | 2021-10-26 11:27 | 7.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.5425 | μmol/L | 11.8113 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.35 | 109681.9714 | 303848.3912 | 30.45 | 114.2
228174 | 2021-10-26 11:28 | 8.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.4681 | μmol/L | 11.8051 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.356 | 109703.6237 | 303843.7071 | 30.45 | 114.2
228184 | 2021-10-26 11:28 | 8.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.2961 | μmol/L | 11.8113 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.362 | 109714.5653 | 303824.1031 | 30.45 | 114.2
228194 | 2021-10-26 11:28 | 8.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.1857 | μmol/L | 11.8174 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.365 | 109717.8045 | 303823.7163 | 30.45 | 114.2
228204 | 2021-10-26 11:29 | 9.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.1935 | μmol/L | 11.8113 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.367 | 109741.7908 | 303814.6018 | 30.45 | 114.2
228214 | 2021-10-26 11:29 | 9.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.2218 | μmol/L | 11.8051 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.368 | 109747.5507 | 303809.8881 | 30.45 | 114.2
228224 | 2021-10-26 11:29 | 9.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.0372 | μmol/L | 11.8051 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.377 | 109771.9762 | 303834.4474 | 30.45 | 114.2
228234 | 2021-10-26 11:30 | 10.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.1192 | μmol/L | 11.8051 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.373 | 109791.9554 | 303829.6198 | 30.45 | 114.2
228244 | 2021-10-26 11:30 | 10.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9348 | μmol/L | 11.8051 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.382 | 109807.3921 | 303818.1401 | 30.45 | 114.2
228254 | 2021-10-26 11:30 | 10.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.8401 | μmol/L | 11.799 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.389 | 109848.1385 | 303819.7495 | 30.45 | 114.2
228264 | 2021-10-26 11:31 | 11.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7787 | μmol/L | 11.799 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.392 | 109871.959 | 303800.127 | 30.45 | 114.2
228274 | 2021-10-26 11:31 | 11.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.6969 | μmol/L | 11.799 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.396 | 109879.6284 | 303787.8574 | 30.45 | 114.2
228284 | 2021-10-26 11:31 | 11.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7046 | μmol/L | 11.7929 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.398 | 109900.4938 | 303778.8349 | 30.45 | 114.2
228294 | 2021-10-26 11:32 | 12.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5741 | μmol/L | 11.799 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.402 | 109906.385 | 303766.8685 | 30.45 | 114.2
228304 | 2021-10-26 11:32 | 12.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4924 | μmol/L | 11.799 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.406 | 109918.0786 | 303765.0154 | 30.45 | 114.2
228314 | 2021-10-26 11:32 | 12.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.431 | μmol/L | 11.799 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.409 | 109922.0035 | 303760.1426 | 30.45 | 114.2
228324 | 2021-10-26 11:33 | 13.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3289 | μmol/L | 11.799 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.414 | 109932.3508 | 303782.9052 | 30.45 | 114.2
228334 | 2021-10-26 11:33 | 13.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3493 | μmol/L | 11.799 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.413 | 109953.7669 | 303782.2513 | 30.45 | 114.2
228344 | 2021-10-26 11:33 | 13.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.398 | μmol/L | 11.7929 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.413 | 109969.7106 | 303802.0061 | 30.45 | 114.2
228354 | 2021-10-26 11:34 | 14.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.2628 | μmol/L | 11.7867 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.422 | 109991.7087 | 303810.3772 | 30.45 | 114.2
228364 | 2021-10-26 11:34 | 14.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.1325 | μmol/L | 11.7929 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.426 | 110019.0783 | 303803.9162 | 30.45 | 114.2
228374 | 2021-10-26 11:34 | 14.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.0587 | μmol/L | 11.7867 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.432 | 110050.7368 | 303809.4989 | 30.45 | 114.2
228384 | 2021-10-26 11:35 | 15.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.0587 | μmol/L | 11.7867 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.432 | 110068.9093 | 303822.1736 | 30.45 | 114.2
228394 | 2021-10-26 11:35 | 15.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.8674 | μmol/L | 11.7929 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.439 | 110073.6253 | 303790.3053 | 30.45 | 114.2
228404 | 2021-10-26 11:35 | 15.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.9849 | μmol/L | 11.7806 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.438 | 110083.6626 | 303780.1446 | 30.45 | 114.2
228414 | 2021-10-26 11:36 | 16.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.8471 | μmol/L | 11.7929 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.44 | 110095.5805 | 303762.8155 | 30.45 | 114.2
228424 | 2021-10-26 11:36 | 16.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.8267 | μmol/L | 11.7929 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.441 | 110102.2921 | 303768.1552 | 30.45 | 114.2
228434 | 2021-10-26 11:36 | 16.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.7937 | μmol/L | 11.7867 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.445 | 110107.0718 | 303767.7695 | 30.45 | 114.2
228444 | 2021-10-26 11:37 | 17.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.8422 | μmol/L | 11.7806 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.445 | 110111.0182 | 303755.8568 | 30.45 | 114.2
228454 | 2021-10-26 11:37 | 17.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.623 | μmol/L | 11.7929 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.451 | 110123.6085 | 303764.4447 | 30.45 | 114.2
228464 | 2021-10-26 11:37 | 17.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.5901 | μmol/L | 11.7867 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.455 | 110133.1389 | 303766.618 | 30.45 | 114.2
228474 | 2021-10-26 11:38 | 18.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.5291 | μmol/L | 11.7867 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.458 | 110149.2906 | 303757.6817 | 30.45 | 114.2
228484 | 2021-10-26 11:38 | 18.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.5698 | μmol/L | 11.7867 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.456 | 110148.3974 | 303740.5842 | 30.45 | 114.2
228494 | 2021-10-26 11:38 | 18.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.4196 | μmol/L | 11.7929 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.461 | 110159.4218 | 303735.035 | 30.45 | 114.2
228504 | 2021-10-26 11:39 | 19.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.4196 | μmol/L | 11.7929 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.461 | 110184.8125 | 303739.413 | 30.45 | 114.2
228514 | 2021-10-26 11:39 | 19.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.346 | μmol/L | 11.7867 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.467 | 110204.8345 | 303749.8336 | 30.45 | 114.2
228524 | 2021-10-26 11:39 | 19.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.2851 | μmol/L | 11.7867 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.47 | 110215.6163 | 303777.734 | 30.45 | 114.2
228534 | 2021-10-26 11:40 | 20.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1632 | μmol/L | 11.7867 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.476 | 110231.4429 | 303763.3431 | 30.45 | 114.2
228544 | 2021-10-26 11:40 | 20.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1429 | μmol/L | 11.7867 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.477 | 110238.6639 | 303748.6395 | 30.45 | 114.2
228554 | 2021-10-26 11:40 | 20.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.0413 | μmol/L | 11.7867 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.482 | 110257.2977 | 303734.6365 | 30.45 | 114.2
228564 | 2021-10-26 11:41 | 21.0016 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.0008 | μmol/L | 11.7867 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.484 | 110268.3791 | 303746.973 | 30.45 | 114.2
228574 | 2021-10-26 11:41 | 21.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.968 | μmol/L | 11.7806 | °C | 989 | hPa | Humid | 28 | 0 | 0 | 24.488 | 110292.2731 | 303762.2475 | 30.45 | 114.2