## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
233838 | 2021-10-29 14:34 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.7767 | μmol/L | 13.2826 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.788 | 132786.2351 | 301705.3126 | 59.9307 | 38.1
233843 | 2021-10-29 14:34 | 0.33731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.5285 | μmol/L | 13.2826 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.8 | 132892.7466 | 301716.941 | 59.9307 | 38.1
233853 | 2021-10-29 14:35 | 0.67039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.1713 | μmol/L | 13.2887 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.815 | 133004.5713 | 301737.4685 | 59.9307 | 38.1
233863 | 2021-10-29 14:35 | 1.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 245.0389 | μmol/L | 13.2765 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.826 | 133108.1252 | 301769.4377 | 59.9307 | 38.1
233874 | 2021-10-29 14:35 | 1.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.7032 | μmol/L | 13.2826 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.84 | 133197.7164 | 301773.8838 | 59.9307 | 38.1
233883 | 2021-10-29 14:36 | 1.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.5711 | μmol/L | 13.2704 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.851 | 133282.0663 | 301803.295 | 59.9307 | 38.1
233893 | 2021-10-29 14:36 | 2.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.3594 | μmol/L | 13.2765 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.859 | 133348.5743 | 301819.937 | 59.9307 | 38.1
233904 | 2021-10-29 14:36 | 2.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.2156 | μmol/L | 13.2765 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.866 | 133416.4574 | 301846.8413 | 59.9307 | 38.1
233913 | 2021-10-29 14:37 | 2.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 244.1129 | μmol/L | 13.2765 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.871 | 133466.4241 | 301852.0097 | 59.9307 | 38.1
233924 | 2021-10-29 14:37 | 3.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.9548 | μmol/L | 13.2704 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.881 | 133520.5393 | 301886.68 | 59.9307 | 38.1
233934 | 2021-10-29 14:37 | 3.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.8173 | μmol/L | 13.2643 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.89 | 133589.1133 | 301903.3478 | 59.9307 | 38.1
233943 | 2021-10-29 14:38 | 3.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.7148 | μmol/L | 13.2643 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.895 | 133658.4533 | 301925.8311 | 59.9307 | 38.1
233953 | 2021-10-29 14:38 | 4.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.5774 | μmol/L | 13.2582 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.904 | 133724.3312 | 301935.7306 | 59.9307 | 38.1
233964 | 2021-10-29 14:38 | 4.3373 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.4342 | μmol/L | 13.2582 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.911 | 133776.7984 | 301951.6847 | 59.9307 | 38.1
233973 | 2021-10-29 14:39 | 4.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.3175 | μmol/L | 13.2521 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.919 | 133838.7446 | 302007.7883 | 59.9307 | 38.1
233983 | 2021-10-29 14:39 | 5.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.1781 | μmol/L | 13.2521 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.926 | 133891.2905 | 302021.545 | 59.9307 | 38.1
233994 | 2021-10-29 14:39 | 5.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 243.1192 | μmol/L | 13.246 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.931 | 133949.5778 | 302030.277 | 59.9307 | 38.1
234003 | 2021-10-29 14:40 | 5.6704 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.8968 | μmol/L | 13.2643 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.935 | 133995.747 | 302057.9082 | 59.9307 | 38.1
234014 | 2021-10-29 14:40 | 6.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.8477 | μmol/L | 13.2521 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.942 | 134038.0847 | 302074.2371 | 59.9307 | 38.1
234023 | 2021-10-29 14:40 | 6.3373 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.7275 | μmol/L | 13.2704 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.941 | 134069.2878 | 302069.0307 | 59.9307 | 38.1
234033 | 2021-10-29 14:41 | 6.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.5788 | μmol/L | 13.2765 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.946 | 134096.266 | 302079.5588 | 59.9307 | 38.1
234043 | 2021-10-29 14:41 | 7.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.5237 | μmol/L | 13.2704 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.951 | 134128.747 | 302111.3393 | 59.9307 | 38.1
234054 | 2021-10-29 14:41 | 7.3373 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.4423 | μmol/L | 13.2704 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.955 | 134175.4172 | 302128.8442 | 59.9307 | 38.1
234064 | 2021-10-29 14:42 | 7.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.4219 | μmol/L | 13.2704 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.956 | 134210.0753 | 302145.254 | 59.9307 | 38.1
234074 | 2021-10-29 14:42 | 8.0037 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.2794 | μmol/L | 13.2704 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.963 | 134239.1454 | 302158.7478 | 59.9307 | 38.1
234084 | 2021-10-29 14:42 | 8.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.2794 | μmol/L | 13.2704 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.963 | 134269.9368 | 302182.999 | 59.9307 | 38.1
234093 | 2021-10-29 14:43 | 8.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.4076 | μmol/L | 13.2643 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.959 | 134282.8909 | 302182.3278 | 59.9307 | 38.1
234104 | 2021-10-29 14:43 | 9.0034 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.3262 | μmol/L | 13.2643 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.963 | 134327.8746 | 302205.8229 | 59.9307 | 38.1
234113 | 2021-10-29 14:43 | 9.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.1837 | μmol/L | 13.2643 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.97 | 134348.245 | 302215.5759 | 59.9307 | 38.1
234123 | 2021-10-29 14:44 | 9.6701 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.1837 | μmol/L | 13.2643 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.97 | 134391.2099 | 302242.8019 | 59.9307 | 38.1
234133 | 2021-10-29 14:44 | 10.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.1431 | μmol/L | 13.2643 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.972 | 134417.6597 | 302259.3147 | 59.9307 | 38.1
234143 | 2021-10-29 14:44 | 10.3372 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.1634 | μmol/L | 13.2643 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.971 | 134446.4305 | 302293.6491 | 59.9307 | 38.1
234153 | 2021-10-29 14:45 | 10.6702 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.0151 | μmol/L | 13.2704 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.976 | 134478.1736 | 302301.3458 | 59.9307 | 38.1
234164 | 2021-10-29 14:45 | 11.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 242.0414 | μmol/L | 13.2643 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.977 | 134499.6171 | 302312.0307 | 59.9307 | 38.1
234174 | 2021-10-29 14:45 | 11.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.8729 | μmol/L | 13.2704 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.983 | 134538.0697 | 302323.9288 | 59.9307 | 38.1
234184 | 2021-10-29 14:46 | 11.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.818 | μmol/L | 13.2643 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.988 | 134565.238 | 302332.1712 | 59.9307 | 38.1
234194 | 2021-10-29 14:46 | 12.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.7105 | μmol/L | 13.2704 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.991 | 134592.8305 | 302343.8988 | 59.9307 | 38.1
234203 | 2021-10-29 14:46 | 12.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.7571 | μmol/L | 13.2643 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.991 | 134630.3913 | 302360.7516 | 59.9307 | 38.1
234213 | 2021-10-29 14:47 | 12.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.7226 | μmol/L | 13.2582 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 23.995 | 134672.6112 | 302358.6546 | 59.9307 | 38.1
234223 | 2021-10-29 14:47 | 13.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.6009 | μmol/L | 13.2582 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.001 | 134728.843 | 302371.7309 | 59.9307 | 38.1
234233 | 2021-10-29 14:47 | 13.3373 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.4387 | μmol/L | 13.2582 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.009 | 134772.5466 | 302369.8324 | 59.9307 | 38.1
234244 | 2021-10-29 14:48 | 13.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.4245 | μmol/L | 13.2521 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.012 | 134804.0497 | 302393.1563 | 59.9307 | 38.1
234253 | 2021-10-29 14:48 | 14.0034 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.3901 | μmol/L | 13.246 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.016 | 134835.3418 | 302394.8327 | 59.9307 | 38.1
234264 | 2021-10-29 14:48 | 14.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.303 | μmol/L | 13.2521 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.018 | 134854.3674 | 302402.2736 | 59.9307 | 38.1
234273 | 2021-10-29 14:49 | 14.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.2564 | μmol/L | 13.2582 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.018 | 134874.0128 | 302424.7056 | 59.9307 | 38.1
234283 | 2021-10-29 14:49 | 15.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.2055 | μmol/L | 13.2521 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 24.023 | 134885.2536 | 302432.0088 | 59.9307 | 38.1
234293 | 2021-10-29 14:49 | 15.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.222 | μmol/L | 13.2521 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.022 | 134899.3226 | 302439.7692 | 59.9307 | 38.1
234303 | 2021-10-29 14:50 | 15.6703 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.135 | μmol/L | 13.2582 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.024 | 134917.7609 | 302448.4806 | 59.9307 | 38.1
234314 | 2021-10-29 14:50 | 16.0039 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.1148 | μmol/L | 13.2582 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.025 | 134941.5239 | 302461.4162 | 59.9307 | 38.1
234324 | 2021-10-29 14:50 | 16.337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.1957 | μmol/L | 13.2582 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.021 | 134955.9804 | 302466.3733 | 59.9307 | 38.1
234334 | 2021-10-29 14:51 | 16.6705 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.222 | μmol/L | 13.2521 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.022 | 134962.7355 | 302476.3579 | 59.9307 | 38.1
234343 | 2021-10-29 14:51 | 17.0034 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.1006 | μmol/L | 13.2521 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.028 | 134986.8998 | 302481.6742 | 59.9307 | 38.1
234353 | 2021-10-29 14:51 | 17.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.1269 | μmol/L | 13.246 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.029 | 135006.7894 | 302515.2276 | 59.9307 | 38.1
234363 | 2021-10-29 14:52 | 17.6701 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.046 | μmol/L | 13.246 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.033 | 135024.219 | 302507.1385 | 59.9307 | 38.1
234373 | 2021-10-29 14:52 | 18.0035 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.9854 | μmol/L | 13.246 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.036 | 135064.8344 | 302528.835 | 59.9307 | 38.1
234383 | 2021-10-29 14:52 | 18.3368 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 241.0056 | μmol/L | 13.246 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.035 | 135094.8813 | 302536.4282 | 59.9307 | 38.1
234394 | 2021-10-29 14:53 | 18.6704 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.9187 | μmol/L | 13.2521 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.037 | 135112.2301 | 302532.6095 | 59.9307 | 38.1
234404 | 2021-10-29 14:53 | 19.0038 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.8641 | μmol/L | 13.246 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.042 | 135133.0236 | 302554.8526 | 59.9307 | 38.1
234413 | 2021-10-29 14:53 | 19.3371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 240.7631 | μmol/L | 13.246 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 24.047 | 135177.6459 | 302559.5058 | 59.9307 | 38.1