## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
233840 | 2021-10-29 14:34 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.2955 | μmol/L | 13.2367 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.969 | 95441.2871 | 302228.5532 | 28.7 | 67.6
233847 | 2021-10-29 14:34 | 0.33549 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.9895 | μmol/L | 13.2367 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.984 | 95514.9406 | 302245.7766 | 28.7 | 67.6
233856 | 2021-10-29 14:35 | 0.66903 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 243.0158 | μmol/L | 13.2307 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.985 | 95572.3431 | 302285.3183 | 28.7 | 67.6
233867 | 2021-10-29 14:35 | 1.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.7713 | μmol/L | 13.2307 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.997 | 95631.1767 | 302300.949 | 28.7 | 67.6
233877 | 2021-10-29 14:35 | 1.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.5558 | μmol/L | 13.2428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.003 | 95666.201 | 302338.8076 | 28.7 | 67.6
233887 | 2021-10-29 14:36 | 1.6693 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.3583 | μmol/L | 13.2367 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.015 | 95708.0146 | 302352.8572 | 28.7 | 67.6
233896 | 2021-10-29 14:36 | 2.002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.1026 | μmol/L | 13.2489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.023 | 95754.6751 | 302373.4031 | 28.7 | 67.6
233906 | 2021-10-29 14:36 | 2.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 242.1026 | μmol/L | 13.2489 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.023 | 95794.9953 | 302408.3844 | 28.7 | 67.6
233916 | 2021-10-29 14:37 | 2.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.9462 | μmol/L | 13.2428 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.033 | 95816.4406 | 302432.1296 | 28.7 | 67.6
233926 | 2021-10-29 14:37 | 3.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.9928 | μmol/L | 13.2367 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.033 | 95857.5384 | 302452.8857 | 28.7 | 67.6
233936 | 2021-10-29 14:37 | 3.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.9987 | μmol/L | 13.2307 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.035 | 95883.1818 | 302478.3696 | 28.7 | 67.6
233946 | 2021-10-29 14:38 | 3.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.9439 | μmol/L | 13.2246 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.04 | 95906.0225 | 302515.1477 | 28.7 | 67.6
233956 | 2021-10-29 14:38 | 4.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.8365 | μmol/L | 13.2307 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.043 | 95924.6128 | 302528.621 | 28.7 | 67.6
233966 | 2021-10-29 14:38 | 4.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.7816 | μmol/L | 13.2246 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.048 | 95969.356 | 302560.6577 | 28.7 | 67.6
233977 | 2021-10-29 14:39 | 4.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.7936 | μmol/L | 13.2124 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.052 | 95993.1788 | 302576.801 | 28.7 | 67.6
233986 | 2021-10-29 14:39 | 5.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.6863 | μmol/L | 13.2185 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.055 | 96031.2204 | 302621.62 | 28.7 | 67.6
233997 | 2021-10-29 14:39 | 5.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.5183 | μmol/L | 13.2246 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.061 | 96067.1257 | 302620.6199 | 28.7 | 67.6
234006 | 2021-10-29 14:40 | 5.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.5243 | μmol/L | 13.2185 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.063 | 96081.1339 | 302627.8617 | 28.7 | 67.6
234016 | 2021-10-29 14:40 | 6.0026 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.5363 | μmol/L | 13.2064 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.067 | 96119.7622 | 302669.4114 | 28.7 | 67.6
234026 | 2021-10-29 14:40 | 6.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.3946 | μmol/L | 13.2064 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.074 | 96140.7602 | 302666.6724 | 28.7 | 67.6
234036 | 2021-10-29 14:41 | 6.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.2875 | μmol/L | 13.2124 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.077 | 96158.7285 | 302698.3604 | 28.7 | 67.6
234046 | 2021-10-29 14:41 | 7.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.2815 | μmol/L | 13.2185 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.075 | 96162.7652 | 302706.1512 | 28.7 | 67.6
234057 | 2021-10-29 14:41 | 7.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.2613 | μmol/L | 13.2185 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.076 | 96181.1205 | 302728.6033 | 28.7 | 67.6
234067 | 2021-10-29 14:42 | 7.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.1079 | μmol/L | 13.2307 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.079 | 96185.6662 | 302755.8309 | 28.7 | 67.6
234077 | 2021-10-29 14:42 | 8.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.2875 | μmol/L | 13.2124 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.077 | 96225.0567 | 302779.8816 | 28.7 | 67.6
234086 | 2021-10-29 14:42 | 8.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.1461 | μmol/L | 13.2124 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.084 | 96250.8949 | 302802.3617 | 28.7 | 67.6
234097 | 2021-10-29 14:43 | 8.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.2389 | μmol/L | 13.2003 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.084 | 96261.7615 | 302818.7082 | 28.7 | 67.6
234106 | 2021-10-29 14:43 | 9.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.1641 | μmol/L | 13.1942 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.09 | 96296.7316 | 302842.0422 | 28.7 | 67.6
234116 | 2021-10-29 14:43 | 9.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 241.0571 | μmol/L | 13.2003 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.093 | 96313.0288 | 302865.6175 | 28.7 | 67.6
234126 | 2021-10-29 14:44 | 9.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.9845 | μmol/L | 13.2124 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.092 | 96344.9252 | 302886.0833 | 28.7 | 67.6
234137 | 2021-10-29 14:44 | 10.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.9038 | μmol/L | 13.2124 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.096 | 96358.3204 | 302892.8913 | 28.7 | 67.6
234146 | 2021-10-29 14:44 | 10.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.9703 | μmol/L | 13.2064 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.095 | 96379.9923 | 302915.7435 | 28.7 | 67.6
234156 | 2021-10-29 14:45 | 10.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.7625 | μmol/L | 13.2124 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.103 | 96403.3734 | 302943.3017 | 28.7 | 67.6
234167 | 2021-10-29 14:45 | 11.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.9561 | μmol/L | 13.2003 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.098 | 96414.9674 | 302950.4517 | 28.7 | 67.6
234176 | 2021-10-29 14:45 | 11.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.829 | μmol/L | 13.2064 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.102 | 96419.2139 | 302956.9892 | 28.7 | 67.6
234187 | 2021-10-29 14:46 | 11.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.7021 | μmol/L | 13.2124 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.106 | 96435.2148 | 302977.3022 | 28.7 | 67.6
234197 | 2021-10-29 14:46 | 12.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.6759 | μmol/L | 13.2185 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.105 | 96449.4773 | 302970.782 | 28.7 | 67.6
234206 | 2021-10-29 14:46 | 12.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.7222 | μmol/L | 13.2124 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.105 | 96468.3119 | 302982.2481 | 28.7 | 67.6
234216 | 2021-10-29 14:47 | 12.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.6214 | μmol/L | 13.2124 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.11 | 96494.6003 | 303003.4348 | 28.7 | 67.6
234227 | 2021-10-29 14:47 | 13.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.6939 | μmol/L | 13.2003 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.111 | 96502.3516 | 303007.7522 | 28.7 | 67.6
234237 | 2021-10-29 14:47 | 13.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.8793 | μmol/L | 13.176 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.111 | 96506.9328 | 303015.9985 | 28.7 | 67.6
234247 | 2021-10-29 14:48 | 13.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.8329 | μmol/L | 13.1821 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.111 | 96523.1537 | 303049.9388 | 28.7 | 67.6
234257 | 2021-10-29 14:48 | 14.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.7261 | μmol/L | 13.1882 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.114 | 96530.3912 | 303053.2828 | 28.7 | 67.6
234266 | 2021-10-29 14:48 | 14.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.6133 | μmol/L | 13.2003 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.115 | 96545.7881 | 303071.9147 | 28.7 | 67.6
234277 | 2021-10-29 14:49 | 14.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.5267 | μmol/L | 13.2064 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.117 | 96551.2026 | 303083.2341 | 28.7 | 67.6
234287 | 2021-10-29 14:49 | 15.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.3999 | μmol/L | 13.2124 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.121 | 96566.6419 | 303086.2768 | 28.7 | 67.6
234297 | 2021-10-29 14:49 | 15.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.5327 | μmol/L | 13.2003 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.119 | 96583.162 | 303102.112 | 28.7 | 67.6
234306 | 2021-10-29 14:50 | 15.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.5126 | μmol/L | 13.2003 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.12 | 96599.2711 | 303110.2915 | 28.7 | 67.6
234317 | 2021-10-29 14:50 | 16.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.4783 | μmol/L | 13.1942 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.124 | 96599.1852 | 303123.302 | 28.7 | 67.6
234326 | 2021-10-29 14:50 | 16.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.579 | μmol/L | 13.1942 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.119 | 96613.2926 | 303139.4461 | 28.7 | 67.6
234336 | 2021-10-29 14:51 | 16.6693 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.5186 | μmol/L | 13.1942 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.122 | 96622.2876 | 303143.739 | 28.7 | 67.6
234347 | 2021-10-29 14:51 | 17.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.4179 | μmol/L | 13.1942 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.127 | 96632.5184 | 303150.9227 | 28.7 | 67.6
234356 | 2021-10-29 14:51 | 17.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.432 | μmol/L | 13.2003 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.124 | 96646.678 | 303175.7522 | 28.7 | 67.6
234367 | 2021-10-29 14:52 | 17.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.3113 | μmol/L | 13.2003 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.13 | 96665.5803 | 303190.0013 | 28.7 | 67.6
234377 | 2021-10-29 14:52 | 18.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.4582 | μmol/L | 13.1942 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.125 | 96669.431 | 303201.5212 | 28.7 | 67.6
234387 | 2021-10-29 14:52 | 18.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.2972 | μmol/L | 13.1942 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.133 | 96686.4162 | 303227.1941 | 28.7 | 67.6
234397 | 2021-10-29 14:53 | 18.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.2308 | μmol/L | 13.2003 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.134 | 96687.9354 | 303225.0057 | 28.7 | 67.6
234406 | 2021-10-29 14:53 | 19.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.1645 | μmol/L | 13.2064 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.135 | 96709.4551 | 303236.4031 | 28.7 | 67.6
234416 | 2021-10-29 14:53 | 19.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 240.1444 | μmol/L | 13.2064 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.136 | 96716.7099 | 303246.0931 | 28.7 | 67.6