## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 10:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
230632 | 2021-10-27 09:57 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.1569 | μmol/L | 13.1082 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.295 | 126601.6863 | 274897.3252 | 36.4 | 83.1
230642 | 2021-10-27 09:57 | 0.34108 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.2143 | μmol/L | 13.0531 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.401 | 127208.1171 | 274908.0475 | 36.4 | 83.1
230652 | 2021-10-27 09:57 | 0.67442 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 272.6205 | μmol/L | 13.0531 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.515 | 127880.496 | 274908.5627 | 36.4 | 83.1
230662 | 2021-10-27 09:58 | 1.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 270.9079 | μmol/L | 13.0531 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.591 | 128335.9107 | 274907.6698 | 36.4 | 83.1
230672 | 2021-10-27 09:58 | 1.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 269.373 | μmol/L | 13.0776 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.65 | 128495.2033 | 274907.5363 | 36.4 | 83.1
230682 | 2021-10-27 09:58 | 1.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 268.1633 | μmol/L | 13.0837 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.702 | 128792.33 | 274897.4819 | 36.4 | 83.1
230692 | 2021-10-27 09:59 | 2.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 268.2229 | μmol/L | 12.9981 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.733 | 128958.6471 | 274900.8195 | 36.4 | 83.1
230702 | 2021-10-27 09:59 | 2.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.9751 | μmol/L | 12.9859 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.749 | 129009.3101 | 274900.4242 | 36.4 | 83.1
230712 | 2021-10-27 09:59 | 2.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.5548 | μmol/L | 12.9859 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.768 | 129064.9381 | 274901.7391 | 36.4 | 83.1
230722 | 2021-10-27 10:00 | 3.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 267.0912 | μmol/L | 12.9859 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.789 | 129161.317 | 274910.5982 | 36.4 | 83.1
230732 | 2021-10-27 10:00 | 3.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.5664 | μmol/L | 12.9981 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.808 | 129258.3828 | 274934.4481 | 36.4 | 83.1
230742 | 2021-10-27 10:00 | 3.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.3116 | μmol/L | 12.992 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.822 | 129332.1226 | 274960.9123 | 36.4 | 83.1
230752 | 2021-10-27 10:01 | 4.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.1321 | μmol/L | 12.9798 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.835 | 129398.4917 | 274965.9526 | 36.4 | 83.1
230762 | 2021-10-27 10:01 | 4.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 266.0276 | μmol/L | 12.9614 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.847 | 129473.6733 | 274975.5579 | 36.4 | 83.1
230772 | 2021-10-27 10:01 | 4.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.6586 | μmol/L | 12.9737 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.859 | 129518.9183 | 274983.8034 | 36.4 | 83.1
230782 | 2021-10-27 10:02 | 5.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.2774 | μmol/L | 12.9798 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.874 | 129589.8675 | 274984.9566 | 36.4 | 83.1
230792 | 2021-10-27 10:02 | 5.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 265.1116 | μmol/L | 12.9737 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.884 | 129651.6907 | 274984.6844 | 36.4 | 83.1
230802 | 2021-10-27 10:02 | 5.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.9769 | μmol/L | 12.9614 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.895 | 129703.6471 | 274993.673 | 36.4 | 83.1
230812 | 2021-10-27 10:03 | 6.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.6695 | μmol/L | 12.992 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.897 | 129719.8232 | 274985.9726 | 36.4 | 83.1
230822 | 2021-10-27 10:03 | 6.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.2973 | μmol/L | 13.0226 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.902 | 129729.0299 | 274992.1827 | 36.4 | 83.1
230832 | 2021-10-27 10:03 | 6.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.1178 | μmol/L | 13.0409 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.903 | 129734.2073 | 274994.4899 | 36.4 | 83.1
230842 | 2021-10-27 10:04 | 7.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.0472 | μmol/L | 13.0593 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.899 | 129689.7054 | 275004.1922 | 36.4 | 83.1
230852 | 2021-10-27 10:04 | 7.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.1689 | μmol/L | 13.0654 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.891 | 129631.9949 | 275010.4631 | 36.4 | 83.1
230862 | 2021-10-27 10:04 | 7.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.256 | μmol/L | 13.0654 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.887 | 129585.4522 | 275004.1077 | 36.4 | 83.1
230872 | 2021-10-27 10:05 | 8.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 264.042 | μmol/L | 13.0776 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.892 | 129620.5203 | 274997.0481 | 36.4 | 83.1
230882 | 2021-10-27 10:05 | 8.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.8028 | μmol/L | 13.0776 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.903 | 129673.9126 | 274987.3999 | 36.4 | 83.1
230892 | 2021-10-27 10:05 | 8.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.7555 | μmol/L | 13.0654 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.91 | 129740.4682 | 274996.4435 | 36.4 | 83.1
230902 | 2021-10-27 10:06 | 9.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.7825 | μmol/L | 13.047 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.916 | 129763.5559 | 275003.5375 | 36.4 | 83.1
230912 | 2021-10-27 10:06 | 9.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.7481 | μmol/L | 13.0409 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.92 | 129784.7953 | 275003.6316 | 36.4 | 83.1
230922 | 2021-10-27 10:06 | 9.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.6702 | μmol/L | 13.0348 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.926 | 129810.0049 | 275007.6688 | 36.4 | 83.1
230932 | 2021-10-27 10:07 | 10.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.3447 | μmol/L | 13.0348 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.941 | 129865.2393 | 274998.755 | 36.4 | 83.1
230942 | 2021-10-27 10:07 | 10.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 263.2417 | μmol/L | 13.0165 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.953 | 129954.8035 | 274990.9698 | 36.4 | 83.1
230952 | 2021-10-27 10:07 | 10.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.8645 | μmol/L | 13.0226 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.968 | 130029.9487 | 274987.7691 | 36.4 | 83.1
230962 | 2021-10-27 10:08 | 11.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.6266 | μmol/L | 13.0226 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.979 | 130085.1939 | 275007.8493 | 36.4 | 83.1
230972 | 2021-10-27 10:08 | 11.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.4412 | μmol/L | 13.0165 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.99 | 130127.474 | 275004.8383 | 36.4 | 83.1
230982 | 2021-10-27 10:08 | 11.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.3207 | μmol/L | 13.0103 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.998 | 130179.857 | 275013.0177 | 36.4 | 83.1
230992 | 2021-10-27 10:09 | 12.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.2866 | μmol/L | 13.0042 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.002 | 130179.8727 | 275006.6533 | 36.4 | 83.1
231002 | 2021-10-27 10:09 | 12.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.2651 | μmol/L | 13.0042 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.003 | 130179.8292 | 275008.6063 | 36.4 | 83.1
231012 | 2021-10-27 10:09 | 12.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.4706 | μmol/L | 12.9675 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.008 | 130201.0383 | 275022.9807 | 36.4 | 83.1
231022 | 2021-10-27 10:10 | 13.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 262.0642 | μmol/L | 12.9798 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.022 | 130249.5087 | 275008.4028 | 36.4 | 83.1
231032 | 2021-10-27 10:10 | 13.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 261.7354 | μmol/L | 12.9981 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.03 | 130311.4605 | 275009.8779 | 36.4 | 83.1
231042 | 2021-10-27 10:10 | 13.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 261.5203 | μmol/L | 12.9981 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.04 | 130371.8411 | 275019.4907 | 36.4 | 83.1
231052 | 2021-10-27 10:11 | 14.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 261.3359 | μmol/L | 12.992 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.051 | 130436.6681 | 275010.8571 | 36.4 | 83.1
231062 | 2021-10-27 10:11 | 14.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 261.2591 | μmol/L | 12.9859 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.057 | 130482.3012 | 275011.6136 | 36.4 | 83.1
231072 | 2021-10-27 10:11 | 14.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 261.0841 | μmol/L | 12.9737 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.07 | 130509.6437 | 275018.0661 | 36.4 | 83.1
231082 | 2021-10-27 10:12 | 15.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 260.9522 | μmol/L | 12.9614 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.081 | 130538.4489 | 274997.3669 | 36.4 | 83.1
231092 | 2021-10-27 10:12 | 15.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 260.9061 | μmol/L | 12.9492 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.088 | 130558.1283 | 275008.8496 | 36.4 | 83.1
231102 | 2021-10-27 10:12 | 15.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 260.6614 | μmol/L | 12.9553 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.097 | 130576.555 | 275004.7786 | 36.4 | 83.1
231112 | 2021-10-27 10:13 | 16.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 260.2918 | μmol/L | 12.9737 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.107 | 130650.6349 | 274999.9423 | 36.4 | 83.1
231122 | 2021-10-27 10:13 | 16.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.9836 | μmol/L | 12.9798 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.119 | 130759.2942 | 275028.4024 | 36.4 | 83.1
231132 | 2021-10-27 10:13 | 16.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.8434 | μmol/L | 12.9737 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.128 | 130771.1625 | 275027.799 | 36.4 | 83.1
231142 | 2021-10-27 10:14 | 17.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.7367 | μmol/L | 12.9737 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.133 | 130822.8175 | 275053.6001 | 36.4 | 83.1
231152 | 2021-10-27 10:14 | 17.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.2075 | μmol/L | 12.9859 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.153 | 130918.0348 | 275028.9784 | 36.4 | 83.1
231162 | 2021-10-27 10:14 | 17.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.7612 | μmol/L | 12.9859 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.174 | 131026.5825 | 275028.6265 | 36.4 | 83.1
231172 | 2021-10-27 10:15 | 18.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.4583 | μmol/L | 13.0042 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.181 | 131083.1281 | 275019.7647 | 36.4 | 83.1
231182 | 2021-10-27 10:15 | 18.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.2071 | μmol/L | 13.0165 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.188 | 131067.8252 | 275028.8677 | 36.4 | 83.1
231192 | 2021-10-27 10:15 | 18.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.3251 | μmol/L | 13.0226 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.18 | 131011.9801 | 275013.2175 | 36.4 | 83.1
231202 | 2021-10-27 10:16 | 19.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.4433 | μmol/L | 13.0287 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.172 | 130949.2051 | 275008.1081 | 36.4 | 83.1
231212 | 2021-10-27 10:16 | 19.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.7765 | μmol/L | 13.0042 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.166 | 130895.9683 | 275014.4005 | 36.4 | 83.1
231222 | 2021-10-27 10:16 | 19.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.1315 | μmol/L | 12.9798 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.159 | 130862.7869 | 275024.8772 | 36.4 | 83.1
231232 | 2021-10-27 10:17 | 20.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 259.0768 | μmol/L | 12.9737 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.164 | 130876.2356 | 275016.2933 | 36.4 | 83.1
231242 | 2021-10-27 10:17 | 20.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.9918 | μmol/L | 12.9737 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.168 | 130906.3644 | 275002.8562 | 36.4 | 83.1
231252 | 2021-10-27 10:17 | 20.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.6127 | μmol/L | 12.9859 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.181 | 130952.8316 | 275006.9352 | 36.4 | 83.1
231262 | 2021-10-27 10:18 | 21.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.4855 | μmol/L | 12.9859 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.187 | 130983.3932 | 275003.2327 | 36.4 | 83.1
231272 | 2021-10-27 10:18 | 21.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.3795 | μmol/L | 12.9859 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.192 | 131014.5608 | 274998.7893 | 36.4 | 83.1
231282 | 2021-10-27 10:18 | 21.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.2857 | μmol/L | 12.992 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.194 | 130851.0751 | 274999.3775 | 36.4 | 83.1
231292 | 2021-10-27 10:19 | 22.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 258.1284 | μmol/L | 12.9981 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.199 | 130871.5314 | 275007.8934 | 36.4 | 83.1
231302 | 2021-10-27 10:19 | 22.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.941 | μmol/L | 13.0103 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.203 | 130907.6322 | 275013.5142 | 36.4 | 83.1
231312 | 2021-10-27 10:19 | 22.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.8866 | μmol/L | 13.0042 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.208 | 130923.725 | 274995.774 | 36.4 | 83.1
231322 | 2021-10-27 10:20 | 23.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.7508 | μmol/L | 13.0103 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.212 | 130955.7864 | 274989.3107 | 36.4 | 83.1
231332 | 2021-10-27 10:20 | 23.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.5305 | μmol/L | 13.0165 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.22 | 130993.471 | 274966.4805 | 36.4 | 83.1
231342 | 2021-10-27 10:20 | 23.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.5094 | μmol/L | 13.0165 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.221 | 131041.8445 | 274968.9003 | 36.4 | 83.1
231352 | 2021-10-27 10:21 | 24.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.1418 | μmol/L | 13.0226 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.236 | 131098.4427 | 274949.6514 | 36.4 | 83.1
231362 | 2021-10-27 10:21 | 24.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 257.0666 | μmol/L | 13.0165 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.242 | 131134.8977 | 274930.2652 | 36.4 | 83.1
231372 | 2021-10-27 10:21 | 24.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.9403 | μmol/L | 13.0165 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.248 | 131175.5635 | 274935.6516 | 36.4 | 83.1
231382 | 2021-10-27 10:22 | 25.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.847 | μmol/L | 13.0226 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.25 | 131146.7366 | 274908.177 | 36.4 | 83.1
231392 | 2021-10-27 10:22 | 25.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.847 | μmol/L | 13.0226 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.25 | 131178.7901 | 274920.5771 | 36.4 | 83.1
231402 | 2021-10-27 10:22 | 25.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.7538 | μmol/L | 13.0287 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.252 | 131107.1326 | 274901.6328 | 36.4 | 83.1
231412 | 2021-10-27 10:23 | 26.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.6066 | μmol/L | 13.0287 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.259 | 131105.7994 | 274894.2957 | 36.4 | 83.1
231422 | 2021-10-27 10:23 | 26.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.4715 | μmol/L | 13.0348 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.263 | 131118.8772 | 274879.2452 | 36.4 | 83.1
231432 | 2021-10-27 10:23 | 26.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.3755 | μmol/L | 13.0287 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.27 | 131166.7589 | 274858.9054 | 36.4 | 83.1
231442 | 2021-10-27 10:24 | 27.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 256.1957 | μmol/L | 13.0226 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.281 | 131217.009 | 274858.8387 | 36.4 | 83.1
231452 | 2021-10-27 10:24 | 27.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.9979 | μmol/L | 13.0287 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.288 | 131267.6477 | 274843.6995 | 36.4 | 83.1
231462 | 2021-10-27 10:24 | 27.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.7884 | μmol/L | 13.0287 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.298 | 131311.4727 | 274825.1597 | 36.4 | 83.1
231472 | 2021-10-27 10:25 | 28.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.6809 | μmol/L | 13.0165 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.308 | 131360.4244 | 274816.5925 | 36.4 | 83.1
231482 | 2021-10-27 10:25 | 28.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.5972 | μmol/L | 13.0165 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.312 | 131373.9351 | 274801.9132 | 36.4 | 83.1
231492 | 2021-10-27 10:25 | 28.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.4836 | μmol/L | 13.0226 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.315 | 131349.3295 | 274777.9177 | 36.4 | 83.1
231502 | 2021-10-27 10:26 | 29.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 255.5226 | μmol/L | 13.0103 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.318 | 131339.2542 | 274770.5863 | 36.4 | 83.1