## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 10:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
230633 | 2021-10-27 09:57 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 239.0638 | μmol/L | 13.1235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.219 | 113714.7669 | 307744.3096 | 30.45 | 114.2
230643 | 2021-10-27 09:57 | 0.33512 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 238.1806 | μmol/L | 13.1296 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.261 | 113966.0805 | 307769.4744 | 30.45 | 114.2
230653 | 2021-10-27 09:57 | 0.66836 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 237.2286 | μmol/L | 13.1296 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.309 | 114211.1254 | 307756.3992 | 30.45 | 114.2
230663 | 2021-10-27 09:58 | 1.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 236.2548 | μmol/L | 13.1357 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.356 | 114473.2122 | 307745.7945 | 30.45 | 114.2
230673 | 2021-10-27 09:58 | 1.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 235.6125 | μmol/L | 13.1296 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.391 | 114573.0518 | 307762.7044 | 30.45 | 114.2
230683 | 2021-10-27 09:58 | 1.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 234.9854 | μmol/L | 13.1296 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.423 | 114721.1178 | 307751.2325 | 30.45 | 114.2
230693 | 2021-10-27 09:59 | 2.0016 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 234.3862 | μmol/L | 13.1419 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.449 | 114868.5288 | 307742.4198 | 30.45 | 114.2
230703 | 2021-10-27 09:59 | 2.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 233.6786 | μmol/L | 13.148 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.483 | 115053.3793 | 307756.177 | 30.45 | 114.2
230713 | 2021-10-27 09:59 | 2.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 232.7798 | μmol/L | 13.1541 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.527 | 115277.6571 | 307758.0542 | 30.45 | 114.2
230723 | 2021-10-27 10:00 | 3.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 232.0587 | μmol/L | 13.1419 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.569 | 115518.9759 | 307775.525 | 30.45 | 114.2
230733 | 2021-10-27 10:00 | 3.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 231.3592 | μmol/L | 13.148 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.603 | 115684.546 | 307806.9414 | 30.45 | 114.2
230743 | 2021-10-27 10:00 | 3.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 230.8859 | μmol/L | 13.1419 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.63 | 115827.3968 | 307805.7782 | 30.45 | 114.2
230753 | 2021-10-27 10:01 | 4.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 230.7074 | μmol/L | 13.1296 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.644 | 115946.7101 | 307814.9892 | 30.45 | 114.2
230763 | 2021-10-27 10:01 | 4.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 230.446 | μmol/L | 13.1235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.66 | 116047.8197 | 307851.5901 | 30.45 | 114.2
230773 | 2021-10-27 10:01 | 4.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 230.0001 | μmol/L | 13.1296 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.681 | 116134.1021 | 307863.3454 | 30.45 | 114.2
230783 | 2021-10-27 10:02 | 5.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.6629 | μmol/L | 13.1419 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.694 | 116213.9508 | 307855.6071 | 30.45 | 114.2
230793 | 2021-10-27 10:02 | 5.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.4345 | μmol/L | 13.1419 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.706 | 116293.3339 | 307856.203 | 30.45 | 114.2
230803 | 2021-10-27 10:02 | 5.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.1493 | μmol/L | 13.1419 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.721 | 116359.0869 | 307849.8241 | 30.45 | 114.2
230813 | 2021-10-27 10:03 | 6.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.9659 | μmol/L | 13.1357 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.733 | 116442.9689 | 307874.7914 | 30.45 | 114.2
230823 | 2021-10-27 10:03 | 6.3349 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.7637 | μmol/L | 13.1296 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.746 | 116496.3819 | 307863.5443 | 30.45 | 114.2
230833 | 2021-10-27 10:03 | 6.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.6534 | μmol/L | 13.1296 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.752 | 116550.458 | 307857.4423 | 30.45 | 114.2
230843 | 2021-10-27 10:04 | 7.0016 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.2903 | μmol/L | 13.1296 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.771 | 116639.9154 | 307893.5422 | 30.45 | 114.2
230853 | 2021-10-27 10:04 | 7.3352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.1455 | μmol/L | 13.1235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.781 | 116710.184 | 307884.3044 | 30.45 | 114.2
230863 | 2021-10-27 10:04 | 7.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 227.9188 | μmol/L | 13.1235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.793 | 116779.9439 | 307877.1165 | 30.45 | 114.2
230873 | 2021-10-27 10:05 | 8.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 227.749 | μmol/L | 13.1235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.802 | 116835.7904 | 307872.2002 | 30.45 | 114.2
230883 | 2021-10-27 10:05 | 8.335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 227.567 | μmol/L | 13.1173 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.814 | 116902.8552 | 307873.1381 | 30.45 | 114.2
230893 | 2021-10-27 10:05 | 8.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 227.3944 | μmol/L | 13.1235 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.821 | 116952.6997 | 307864.8894 | 30.45 | 114.2
230903 | 2021-10-27 10:06 | 9.0016 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 227.1751 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.835 | 117024.5485 | 307882.2924 | 30.45 | 114.2
230913 | 2021-10-27 10:06 | 9.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.9518 | μmol/L | 13.1296 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.842 | 117058.3535 | 307900.047 | 30.45 | 114.2
230923 | 2021-10-27 10:06 | 9.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.7265 | μmol/L | 13.1296 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.854 | 117106.544 | 307884.8638 | 30.45 | 114.2
230933 | 2021-10-27 10:07 | 10.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.7553 | μmol/L | 13.1235 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.855 | 117164.0295 | 307890.5329 | 30.45 | 114.2
230943 | 2021-10-27 10:07 | 10.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.5808 | μmol/L | 13.1112 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.869 | 117198.8832 | 307879.1948 | 30.45 | 114.2
230953 | 2021-10-27 10:07 | 10.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.4021 | μmol/L | 13.1173 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.876 | 117243.4841 | 307875.9268 | 30.45 | 114.2
230963 | 2021-10-27 10:08 | 11.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.2963 | μmol/L | 13.1112 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.884 | 117303.8983 | 307882.5157 | 30.45 | 114.2
230973 | 2021-10-27 10:08 | 11.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.084 | μmol/L | 13.1173 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.893 | 117342.1572 | 307880.3375 | 30.45 | 114.2
230983 | 2021-10-27 10:08 | 11.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.9718 | μmol/L | 13.1173 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.899 | 117396.744 | 307889.6989 | 30.45 | 114.2
230993 | 2021-10-27 10:09 | 12.0016 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.6699 | μmol/L | 13.1235 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.913 | 117440.8202 | 307889.1299 | 30.45 | 114.2
231003 | 2021-10-27 10:09 | 12.3352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.5731 | μmol/L | 13.1235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.918 | 117466.4974 | 307907.4143 | 30.45 | 114.2
231013 | 2021-10-27 10:09 | 12.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.4799 | μmol/L | 13.1235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.923 | 117497.3691 | 307897.7765 | 30.45 | 114.2
231023 | 2021-10-27 10:10 | 13.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.2783 | μmol/L | 13.1235 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.934 | 117546.0829 | 307890.0897 | 30.45 | 114.2
231033 | 2021-10-27 10:10 | 13.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.1381 | μmol/L | 13.1296 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.939 | 117603.9771 | 307903.9413 | 30.45 | 114.2
231043 | 2021-10-27 10:10 | 13.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.8746 | μmol/L | 13.1357 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.951 | 117641.1745 | 307882.6202 | 30.45 | 114.2
231053 | 2021-10-27 10:11 | 14.0016 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.7662 | μmol/L | 13.1296 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.959 | 117687.0452 | 307895.9464 | 30.45 | 114.2
231063 | 2021-10-27 10:11 | 14.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.5774 | μmol/L | 13.1357 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.967 | 117704.7721 | 307881.8424 | 30.45 | 114.2
231073 | 2021-10-27 10:11 | 14.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.4912 | μmol/L | 13.1296 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.974 | 117760.9885 | 307881.1637 | 30.45 | 114.2
231083 | 2021-10-27 10:12 | 15.0016 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.2567 | μmol/L | 13.1235 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.989 | 117848.4778 | 307888.2067 | 30.45 | 114.2
231093 | 2021-10-27 10:12 | 15.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.979 | μmol/L | 13.1235 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.004 | 117916.7685 | 307884.1096 | 30.45 | 114.2
231103 | 2021-10-27 10:12 | 15.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.6767 | μmol/L | 13.1296 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.018 | 118016.726 | 307887.5768 | 30.45 | 114.2
231113 | 2021-10-27 10:13 | 16.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.5236 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.031 | 118068.6113 | 307889.1022 | 30.45 | 114.2
231123 | 2021-10-27 10:13 | 16.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.3142 | μmol/L | 13.1235 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.04 | 118102.2786 | 307897.2634 | 30.45 | 114.2
231133 | 2021-10-27 10:13 | 16.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.3391 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.041 | 118121.7943 | 307907.1669 | 30.45 | 114.2
231143 | 2021-10-27 10:14 | 17.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.2285 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.047 | 118140.7783 | 307882.9698 | 30.45 | 114.2
231153 | 2021-10-27 10:14 | 17.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.0931 | μmol/L | 13.1235 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.052 | 118147.2345 | 307902.518 | 30.45 | 114.2
231163 | 2021-10-27 10:14 | 17.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.9826 | μmol/L | 13.1235 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.058 | 118183.5966 | 307906.505 | 30.45 | 114.2
231173 | 2021-10-27 10:15 | 18.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.9707 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.061 | 118221.1107 | 307906.7916 | 30.45 | 114.2
231183 | 2021-10-27 10:15 | 18.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.8971 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.065 | 118247.4874 | 307895.5418 | 30.45 | 114.2
231193 | 2021-10-27 10:15 | 18.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.9037 | μmol/L | 13.1112 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.067 | 118256.8312 | 307892.1388 | 30.45 | 114.2
231203 | 2021-10-27 10:16 | 19.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.7815 | μmol/L | 13.1051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.076 | 118282.8491 | 307895.0303 | 30.45 | 114.2
231213 | 2021-10-27 10:16 | 19.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.7631 | μmol/L | 13.1051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.077 | 118314.5221 | 307903.5512 | 30.45 | 114.2
231223 | 2021-10-27 10:16 | 19.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6161 | μmol/L | 13.1051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.085 | 118334.787 | 307884.8569 | 30.45 | 114.2
231233 | 2021-10-27 10:17 | 20.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.5243 | μmol/L | 13.1051 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.09 | 118360.16 | 307889.5499 | 30.45 | 114.2
231243 | 2021-10-27 10:17 | 20.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.3526 | μmol/L | 13.1112 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.097 | 118386.7517 | 307897.3112 | 30.45 | 114.2
231253 | 2021-10-27 10:17 | 20.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.2177 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.102 | 118413.125 | 307895.273 | 30.45 | 114.2
231263 | 2021-10-27 10:18 | 21.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.1078 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.108 | 118448.8525 | 307876.1368 | 30.45 | 114.2
231273 | 2021-10-27 10:18 | 21.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0594 | μmol/L | 13.1112 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.113 | 118488.5282 | 307886.6345 | 30.45 | 114.2
231283 | 2021-10-27 10:18 | 21.6683 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.8515 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.122 | 118527.0847 | 307888.6866 | 30.45 | 114.2
231293 | 2021-10-27 10:19 | 22.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.7135 | μmol/L | 13.1235 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 25.127 | 118560.7722 | 307893.8809 | 30.45 | 114.2
231303 | 2021-10-27 10:19 | 22.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.632 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.134 | 118584.7939 | 307889.6537 | 30.45 | 114.2
231313 | 2021-10-27 10:19 | 22.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.6386 | μmol/L | 13.1112 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.136 | 118617.4111 | 307872.0687 | 30.45 | 114.2
231323 | 2021-10-27 10:20 | 23.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.3581 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.149 | 118660.697 | 307872.3733 | 30.45 | 114.2
231333 | 2021-10-27 10:20 | 23.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.3034 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.152 | 118716.2078 | 307859.4949 | 30.45 | 114.2
231343 | 2021-10-27 10:20 | 23.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.0117 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.168 | 118773.4577 | 307830.9751 | 30.45 | 114.2
231353 | 2021-10-27 10:21 | 24.0016 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.7452 | μmol/L | 13.1112 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.185 | 118859.1271 | 307826.5931 | 30.45 | 114.2
231363 | 2021-10-27 10:21 | 24.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.5387 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.194 | 118917.8106 | 307823.0917 | 30.45 | 114.2
231373 | 2021-10-27 10:21 | 24.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.4479 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.199 | 118951.4933 | 307805.6914 | 30.45 | 114.2
231383 | 2021-10-27 10:22 | 25.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.3455 | μmol/L | 13.1112 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.207 | 118989.528 | 307797.8197 | 30.45 | 114.2
231393 | 2021-10-27 10:22 | 25.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.1822 | μmol/L | 13.1112 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.216 | 119010.5045 | 307788.4565 | 30.45 | 114.2
231403 | 2021-10-27 10:22 | 25.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0669 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.22 | 119031.121 | 307770.0961 | 30.45 | 114.2
231413 | 2021-10-27 10:23 | 26.0016 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9763 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.225 | 119038.0063 | 307760.9228 | 30.45 | 114.2
231423 | 2021-10-27 10:23 | 26.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0669 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.22 | 119034.6642 | 307741.8737 | 30.45 | 114.2
231433 | 2021-10-27 10:23 | 26.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9647 | μmol/L | 13.1112 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.228 | 119036.7605 | 307736.1168 | 30.45 | 114.2
231443 | 2021-10-27 10:24 | 27.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8495 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.232 | 119081.84 | 307728.7036 | 30.45 | 114.2
231453 | 2021-10-27 10:24 | 27.3349 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7952 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.235 | 119078.3264 | 307700.1506 | 30.45 | 114.2
231463 | 2021-10-27 10:24 | 27.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.6143 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.245 | 119091.2206 | 307684.5687 | 30.45 | 114.2
231473 | 2021-10-27 10:25 | 28.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5962 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.246 | 119102.5501 | 307667.1493 | 30.45 | 114.2
231483 | 2021-10-27 10:25 | 28.3349 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5781 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.247 | 119113.2102 | 307646.163 | 30.45 | 114.2
231493 | 2021-10-27 10:25 | 28.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.4697 | μmol/L | 13.1173 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.253 | 119131.9885 | 307648.4083 | 30.45 | 114.2
231503 | 2021-10-27 10:26 | 29.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.3317 | μmol/L | 13.1112 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.263 | 119169.9305 | 307621.5111 | 30.45 | 114.2