## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 10:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
230634 | 2021-10-27 09:57 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 250.5239 | μmol/L | 13.0777 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 23.72 | 151082.1422 | 296489.9393 | 59.9307 | 49.4
230644 | 2021-10-27 09:57 | 0.33009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 249.6685 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 23.763 | 151423.3117 | 296515.2021 | 59.9307 | 49.4
230654 | 2021-10-27 09:57 | 0.66339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.8726 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 23.801 | 151708.2049 | 296494.266 | 59.9307 | 49.4
230664 | 2021-10-27 09:58 | 0.99693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 248.2115 | μmol/L | 13.0654 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 23.835 | 151980.3732 | 296500.9556 | 59.9307 | 49.4
230674 | 2021-10-27 09:58 | 1.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 247.539 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 23.865 | 151984.2403 | 296490.2129 | 59.9307 | 49.4
230684 | 2021-10-27 09:58 | 1.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 246.9236 | μmol/L | 13.0654 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 23.897 | 152214.3076 | 296482.9121 | 59.9307 | 49.4
230694 | 2021-10-27 09:59 | 1.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 246.2965 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 23.925 | 152468.7615 | 296496.2493 | 59.9307 | 49.4
230704 | 2021-10-27 09:59 | 2.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 245.4928 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 23.964 | 152746.4843 | 296494.2728 | 59.9307 | 49.4
230714 | 2021-10-27 09:59 | 2.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.8083 | μmol/L | 13.0592 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.002 | 153030.7017 | 296504.9497 | 59.9307 | 49.4
230724 | 2021-10-27 10:00 | 2.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 244.0921 | μmol/L | 13.0592 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.037 | 153292.4744 | 296508.3683 | 59.9307 | 49.4
230734 | 2021-10-27 10:00 | 3.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 243.392 | μmol/L | 13.0654 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.069 | 153551.4206 | 296524.8015 | 59.9307 | 49.4
230744 | 2021-10-27 10:00 | 3.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.8228 | μmol/L | 13.0654 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.097 | 153790.9881 | 296552.1407 | 59.9307 | 49.4
230754 | 2021-10-27 10:01 | 3.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 242.1674 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.127 | 154002.9317 | 296557.1515 | 59.9307 | 49.4
230764 | 2021-10-27 10:01 | 4.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 241.6621 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.152 | 154210.901 | 296550.3355 | 59.9307 | 49.4
230774 | 2021-10-27 10:01 | 4.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 241.1918 | μmol/L | 13.0592 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.18 | 154434.9389 | 296567.9453 | 59.9307 | 49.4
230784 | 2021-10-27 10:02 | 4.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.7628 | μmol/L | 13.0469 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.206 | 154630.8683 | 296577.5765 | 59.9307 | 49.4
230794 | 2021-10-27 10:02 | 5.33 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.2611 | μmol/L | 13.0469 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.231 | 154797.0188 | 296556.4996 | 59.9307 | 49.4
230804 | 2021-10-27 10:02 | 5.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.9406 | μmol/L | 13.0469 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.247 | 154946.2936 | 296567.5772 | 59.9307 | 49.4
230814 | 2021-10-27 10:03 | 5.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.607 | μmol/L | 13.0592 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.259 | 155057.9738 | 296572.5896 | 59.9307 | 49.4
230824 | 2021-10-27 10:03 | 6.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.3143 | μmol/L | 13.0531 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.276 | 155166.2287 | 296564.8144 | 59.9307 | 49.4
230834 | 2021-10-27 10:03 | 6.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.0283 | μmol/L | 13.0592 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.288 | 155269.5542 | 296572.4329 | 59.9307 | 49.4
230844 | 2021-10-27 10:04 | 6.9968 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.8559 | μmol/L | 13.0531 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.299 | 155375.5168 | 296569.7044 | 59.9307 | 49.4
230854 | 2021-10-27 10:04 | 7.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.637 | μmol/L | 13.0531 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.31 | 155468.6265 | 296584.4854 | 59.9307 | 49.4
230864 | 2021-10-27 10:04 | 7.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.3985 | μmol/L | 13.0531 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.322 | 155567.9441 | 296585.0286 | 59.9307 | 49.4
230874 | 2021-10-27 10:05 | 7.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.1076 | μmol/L | 13.0469 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.339 | 155669.1612 | 296575.1627 | 59.9307 | 49.4
230884 | 2021-10-27 10:05 | 8.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.8766 | μmol/L | 13.0407 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.353 | 155784.7354 | 296584.1217 | 59.9307 | 49.4
230894 | 2021-10-27 10:05 | 8.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.5796 | μmol/L | 13.0407 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.368 | 155909.2111 | 296569.6012 | 59.9307 | 49.4
230904 | 2021-10-27 10:06 | 8.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.3158 | μmol/L | 13.0469 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.379 | 156007.5727 | 296579.6454 | 59.9307 | 49.4
230914 | 2021-10-27 10:06 | 9.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.1184 | μmol/L | 13.0469 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.389 | 156093.9567 | 296574.3083 | 59.9307 | 49.4
230924 | 2021-10-27 10:06 | 9.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.8619 | μmol/L | 13.0469 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.402 | 156174.3628 | 296571.7622 | 59.9307 | 49.4
230934 | 2021-10-27 10:07 | 9.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.6846 | μmol/L | 13.0469 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.411 | 156240.8432 | 296565.9527 | 59.9307 | 49.4
230944 | 2021-10-27 10:07 | 10.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.6392 | μmol/L | 13.0346 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.418 | 156328.5778 | 296564.2033 | 59.9307 | 49.4
230954 | 2021-10-27 10:07 | 10.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.298 | μmol/L | 13.0407 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.433 | 156389.6435 | 296576.6508 | 59.9307 | 49.4
230964 | 2021-10-27 10:08 | 10.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.2193 | μmol/L | 13.0407 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.437 | 156473.7137 | 296582.4138 | 59.9307 | 49.4
230974 | 2021-10-27 10:08 | 11.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.8916 | μmol/L | 13.0531 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.449 | 156537.9997 | 296567.8817 | 59.9307 | 49.4
230984 | 2021-10-27 10:08 | 11.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.6955 | μmol/L | 13.0531 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.459 | 156614.6857 | 296564.601 | 59.9307 | 49.4
230994 | 2021-10-27 10:09 | 11.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.5192 | μmol/L | 13.0531 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.468 | 156672.8203 | 296571.8501 | 59.9307 | 49.4
231004 | 2021-10-27 10:09 | 12.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.3303 | μmol/L | 13.0469 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.48 | 156735.062 | 296577.4097 | 59.9307 | 49.4
231014 | 2021-10-27 10:09 | 12.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.167 | μmol/L | 13.0531 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.486 | 156813.5821 | 296585.7648 | 59.9307 | 49.4
231024 | 2021-10-27 10:10 | 12.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.0107 | μmol/L | 13.0531 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.494 | 156868.2072 | 296564.3113 | 59.9307 | 49.4
231034 | 2021-10-27 10:10 | 13.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.7433 | μmol/L | 13.0654 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.503 | 156923.6696 | 296574.3971 | 59.9307 | 49.4
231044 | 2021-10-27 10:10 | 13.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.5805 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.509 | 156984.8463 | 296583.3719 | 59.9307 | 49.4
231054 | 2021-10-27 10:11 | 13.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.3983 | μmol/L | 13.0777 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.516 | 157042.0514 | 296576.2413 | 59.9307 | 49.4
231064 | 2021-10-27 10:11 | 14.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.2621 | μmol/L | 13.0777 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.523 | 157103.6744 | 296571.9907 | 59.9307 | 49.4
231074 | 2021-10-27 10:11 | 14.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.1259 | μmol/L | 13.0777 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.53 | 157165.0123 | 296571.7632 | 59.9307 | 49.4
231084 | 2021-10-27 10:12 | 14.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.8664 | μmol/L | 13.0839 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.541 | 157232.0866 | 296587.6362 | 59.9307 | 49.4
231094 | 2021-10-27 10:12 | 15.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.815 | μmol/L | 13.0777 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.546 | 157279.6349 | 296577.0109 | 59.9307 | 49.4
231104 | 2021-10-27 10:12 | 15.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.7247 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.553 | 157340.1657 | 296591.1533 | 59.9307 | 49.4
231114 | 2021-10-27 10:13 | 15.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.5638 | μmol/L | 13.0592 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.566 | 157406.578 | 296612.1266 | 59.9307 | 49.4
231124 | 2021-10-27 10:13 | 16.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.492 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.565 | 157464.2422 | 296599.7066 | 59.9307 | 49.4
231134 | 2021-10-27 10:13 | 16.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.3244 | μmol/L | 13.0654 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.576 | 157530.7642 | 296604.5731 | 59.9307 | 49.4
231144 | 2021-10-27 10:14 | 16.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.0978 | μmol/L | 13.0777 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.583 | 157589.6859 | 296609.4868 | 59.9307 | 49.4
231154 | 2021-10-27 10:14 | 17.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.917 | μmol/L | 13.0839 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.59 | 157627.446 | 296604.9298 | 59.9307 | 49.4
231164 | 2021-10-27 10:14 | 17.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.8135 | μmol/L | 13.09 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.593 | 157678.7978 | 296593.6264 | 59.9307 | 49.4
231174 | 2021-10-27 10:15 | 17.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.7306 | μmol/L | 13.0777 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.602 | 157730.031 | 296611.9006 | 59.9307 | 49.4
231184 | 2021-10-27 10:15 | 18.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.6022 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.611 | 157782.0384 | 296583.6091 | 59.9307 | 49.4
231194 | 2021-10-27 10:15 | 18.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.5058 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.616 | 157846.6258 | 296590.6111 | 59.9307 | 49.4
231204 | 2021-10-27 10:16 | 18.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.1645 | μmol/L | 13.0839 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.629 | 157921.657 | 296587.7038 | 59.9307 | 49.4
231214 | 2021-10-27 10:16 | 19.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.0626 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.639 | 158018.0463 | 296584.8987 | 59.9307 | 49.4
231224 | 2021-10-27 10:16 | 19.6634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.7153 | μmol/L | 13.09 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.65 | 158082.8489 | 296578.1728 | 59.9307 | 49.4
231234 | 2021-10-27 10:17 | 19.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.6905 | μmol/L | 13.0777 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.656 | 158130.4916 | 296577.8316 | 59.9307 | 49.4
231244 | 2021-10-27 10:17 | 20.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.6205 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.662 | 158182.1276 | 296574.1703 | 59.9307 | 49.4
231254 | 2021-10-27 10:17 | 20.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.5573 | μmol/L | 13.0592 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.67 | 158227.7497 | 296589.0352 | 59.9307 | 49.4
231264 | 2021-10-27 10:18 | 20.9968 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.397 | μmol/L | 13.0654 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.676 | 158274.4714 | 296591.1169 | 59.9307 | 49.4
231274 | 2021-10-27 10:18 | 21.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.1793 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.685 | 158342.3883 | 296586.4472 | 59.9307 | 49.4
231284 | 2021-10-27 10:18 | 21.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.0261 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.693 | 158413.4602 | 296603.1825 | 59.9307 | 49.4
231294 | 2021-10-27 10:19 | 21.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.8347 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.703 | 158491.4604 | 296591.0201 | 59.9307 | 49.4
231304 | 2021-10-27 10:19 | 22.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.72 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.709 | 158556.5027 | 296589.7127 | 59.9307 | 49.4
231314 | 2021-10-27 10:19 | 22.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.4839 | μmol/L | 13.0777 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.719 | 158629.8563 | 296581.7146 | 59.9307 | 49.4
231324 | 2021-10-27 10:20 | 22.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.2617 | μmol/L | 13.0715 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.733 | 158698.1606 | 296578.9521 | 59.9307 | 49.4
231334 | 2021-10-27 10:20 | 23.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.0765 | μmol/L | 13.0839 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.738 | 158754.0974 | 296530.5877 | 59.9307 | 49.4
231344 | 2021-10-27 10:20 | 23.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8222 | μmol/L | 13.09 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.749 | 158820.9287 | 296546.5611 | 59.9307 | 49.4
231354 | 2021-10-27 10:21 | 23.9967 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.6822 | μmol/L | 13.0962 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.754 | 158881.3718 | 296528.9259 | 59.9307 | 49.4
231364 | 2021-10-27 10:21 | 24.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.5559 | μmol/L | 13.09 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.763 | 158926.126 | 296508.3851 | 59.9307 | 49.4
231374 | 2021-10-27 10:21 | 24.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.3592 | μmol/L | 13.0962 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.771 | 158958.9579 | 296498.901 | 59.9307 | 49.4
231384 | 2021-10-27 10:22 | 24.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.2141 | μmol/L | 13.09 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.781 | 159024.54 | 296500.4131 | 59.9307 | 49.4
231394 | 2021-10-27 10:22 | 25.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.0434 | μmol/L | 13.09 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.79 | 159084.5765 | 296500.3289 | 59.9307 | 49.4
231404 | 2021-10-27 10:22 | 25.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.9176 | μmol/L | 13.0839 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.799 | 159140.5187 | 296485.7839 | 59.9307 | 49.4
231414 | 2021-10-27 10:23 | 25.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.7025 | μmol/L | 13.09 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.808 | 159185.4558 | 296478.489 | 59.9307 | 49.4
231424 | 2021-10-27 10:23 | 26.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5255 | μmol/L | 13.0962 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.815 | 159241.206 | 296460.8154 | 59.9307 | 49.4
231434 | 2021-10-27 10:23 | 26.6633 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.3554 | μmol/L | 13.0962 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.824 | 159277.7068 | 296462.1644 | 59.9307 | 49.4
231444 | 2021-10-27 10:24 | 26.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.2232 | μmol/L | 13.0962 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.831 | 159334.1651 | 296437.7817 | 59.9307 | 49.4
231454 | 2021-10-27 10:24 | 27.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.2044 | μmol/L | 13.0962 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.832 | 159357.0612 | 296425.6428 | 59.9307 | 49.4
231464 | 2021-10-27 10:24 | 27.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.0723 | μmol/L | 13.0962 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.839 | 159387.723 | 296414.5056 | 59.9307 | 49.4
231474 | 2021-10-27 10:25 | 27.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8958 | μmol/L | 13.1023 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.846 | 159417.2712 | 296413.5126 | 59.9307 | 49.4
231484 | 2021-10-27 10:25 | 28.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.7639 | μmol/L | 13.1023 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.853 | 159447.8251 | 296400.3148 | 59.9307 | 49.4
231494 | 2021-10-27 10:25 | 28.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.6442 | μmol/L | 13.1085 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.857 | 159472.06 | 296397.82 | 59.9307 | 49.4
231504 | 2021-10-27 10:26 | 28.9968 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.5877 | μmol/L | 13.1085 | °C | 1008 | hPa | Humid | 28 | 1 | 0 | 24.86 | 159494.7873 | 296347.9617 | 59.9307 | 49.4