## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 10:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
230635 | 2021-10-27 09:57 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 239.1927 | μmol/L | 13.2229 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.158 | 203635.3369 | 316648.4187 | 33.25 | 68.6
230645 | 2021-10-27 09:57 | 0.34114 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.8728 | μmol/L | 13.2168 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.177 | 203827.8449 | 316678.4186 | 33.25 | 68.6
230655 | 2021-10-27 09:57 | 0.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.8622 | μmol/L | 13.2108 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.18 | 203877.6983 | 316683.6047 | 33.25 | 68.6
230665 | 2021-10-27 09:58 | 1.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.8622 | μmol/L | 13.2108 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.18 | 203844.7427 | 316677.7048 | 33.25 | 68.6
230675 | 2021-10-27 09:58 | 1.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.3433 | μmol/L | 13.2229 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.202 | 204058.5312 | 316685.4551 | 33.25 | 68.6
230685 | 2021-10-27 09:58 | 1.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.3713 | μmol/L | 13.2168 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.203 | 204023.2805 | 316680.1572 | 33.25 | 68.6
230695 | 2021-10-27 09:59 | 2.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.4397 | μmol/L | 13.2229 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.197 | 203941.4831 | 316687.6763 | 33.25 | 68.6
230705 | 2021-10-27 09:59 | 2.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.5554 | μmol/L | 13.2229 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.191 | 203825.2541 | 316682.9396 | 33.25 | 68.6
230715 | 2021-10-27 09:59 | 2.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.813 | μmol/L | 13.2047 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.185 | 203731.1765 | 316688.6858 | 33.25 | 68.6
230725 | 2021-10-27 10:00 | 3.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.9569 | μmol/L | 13.1986 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.18 | 203672.656 | 316685.975 | 33.25 | 68.6
230735 | 2021-10-27 10:00 | 3.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.9956 | μmol/L | 13.1986 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.178 | 203660.7368 | 316733.0459 | 33.25 | 68.6
230745 | 2021-10-27 10:00 | 3.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.9569 | μmol/L | 13.1986 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.18 | 203642.576 | 316738.7059 | 33.25 | 68.6
230755 | 2021-10-27 10:01 | 4.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.9956 | μmol/L | 13.1986 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.178 | 203629.9127 | 316768.914 | 33.25 | 68.6
230765 | 2021-10-27 10:01 | 4.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 239.0904 | μmol/L | 13.1865 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.178 | 203600.1352 | 316792.9971 | 33.25 | 68.6
230775 | 2021-10-27 10:01 | 4.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.985 | μmol/L | 13.1925 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.181 | 203564.2938 | 316790.7869 | 33.25 | 68.6
230785 | 2021-10-27 10:02 | 5.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.9657 | μmol/L | 13.1925 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.182 | 203564.4362 | 316784.7402 | 33.25 | 68.6
230795 | 2021-10-27 10:02 | 5.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.8305 | μmol/L | 13.1925 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.189 | 203607.5096 | 316789.4573 | 33.25 | 68.6
230805 | 2021-10-27 10:02 | 5.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.7813 | μmol/L | 13.1865 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.194 | 203647.5406 | 316794.0284 | 33.25 | 68.6
230815 | 2021-10-27 10:03 | 6.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.5989 | μmol/L | 13.1925 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.201 | 203679.417 | 316790.537 | 33.25 | 68.6
230825 | 2021-10-27 10:03 | 6.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.5971 | μmol/L | 13.1804 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.206 | 203699.1421 | 316793.7452 | 33.25 | 68.6
230835 | 2021-10-27 10:03 | 6.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.4429 | μmol/L | 13.1804 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.214 | 203711.8536 | 316799.7836 | 33.25 | 68.6
230845 | 2021-10-27 10:04 | 7.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.3466 | μmol/L | 13.1804 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.219 | 203766.691 | 316805.1909 | 33.25 | 68.6
230855 | 2021-10-27 10:04 | 7.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.1926 | μmol/L | 13.1804 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.227 | 203803.6693 | 316805.9843 | 33.25 | 68.6
230865 | 2021-10-27 10:04 | 7.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.1156 | μmol/L | 13.1804 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.231 | 203831.258 | 316814.8405 | 33.25 | 68.6
230875 | 2021-10-27 10:05 | 8.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.1069 | μmol/L | 13.1865 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.229 | 203812.6042 | 316815.4223 | 33.25 | 68.6
230885 | 2021-10-27 10:05 | 8.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.0492 | μmol/L | 13.1865 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.232 | 203787.2275 | 316816.9063 | 33.25 | 68.6
230895 | 2021-10-27 10:05 | 8.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.1453 | μmol/L | 13.1865 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.227 | 203723.345 | 316798.1102 | 33.25 | 68.6
230905 | 2021-10-27 10:06 | 9.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.3256 | μmol/L | 13.1682 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.225 | 203682.3254 | 316799.9094 | 33.25 | 68.6
230915 | 2021-10-27 10:06 | 9.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.1436 | μmol/L | 13.1743 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.232 | 203696.6904 | 316805.7823 | 33.25 | 68.6
230925 | 2021-10-27 10:06 | 9.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 238.0089 | μmol/L | 13.1743 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.239 | 203720.2937 | 316801.14 | 33.25 | 68.6
230935 | 2021-10-27 10:07 | 10.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.8464 | μmol/L | 13.1804 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.245 | 203747.4864 | 316799.9887 | 33.25 | 68.6
230945 | 2021-10-27 10:07 | 10.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.7976 | μmol/L | 13.1743 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.25 | 203766.4919 | 316788.1068 | 33.25 | 68.6
230955 | 2021-10-27 10:07 | 10.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.7207 | μmol/L | 13.1743 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.254 | 203755.5222 | 316799.385 | 33.25 | 68.6
230965 | 2021-10-27 10:08 | 11.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.7103 | μmol/L | 13.1682 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.257 | 203776.1949 | 316808.9171 | 33.25 | 68.6
230975 | 2021-10-27 10:08 | 11.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.5672 | μmol/L | 13.1743 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.262 | 203794.4462 | 316809.359 | 33.25 | 68.6
230985 | 2021-10-27 10:08 | 11.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.4521 | μmol/L | 13.1743 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.268 | 203843.6759 | 316798.077 | 33.25 | 68.6
230995 | 2021-10-27 10:09 | 12.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.2988 | μmol/L | 13.1743 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.276 | 203890.0135 | 316807.93 | 33.25 | 68.6
231005 | 2021-10-27 10:09 | 12.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.2222 | μmol/L | 13.1743 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.28 | 203927.3846 | 316802.2612 | 33.25 | 68.6
231015 | 2021-10-27 10:09 | 12.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.2971 | μmol/L | 13.1622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.281 | 203904.8348 | 316802.4287 | 33.25 | 68.6
231025 | 2021-10-27 10:10 | 13.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.2396 | μmol/L | 13.1622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.284 | 203917.3916 | 316820.0792 | 33.25 | 68.6
231035 | 2021-10-27 10:10 | 13.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.3338 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.284 | 203870.2095 | 316803.7085 | 33.25 | 68.6
231045 | 2021-10-27 10:10 | 13.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.1439 | μmol/L | 13.1622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.289 | 203889.5381 | 316804.6803 | 33.25 | 68.6
231055 | 2021-10-27 10:11 | 14.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 237.0482 | μmol/L | 13.1622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.294 | 203911.2409 | 316814.0883 | 33.25 | 68.6
231065 | 2021-10-27 10:11 | 14.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.9525 | μmol/L | 13.1622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.299 | 203944.8661 | 316786.8042 | 33.25 | 68.6
231075 | 2021-10-27 10:11 | 14.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.81 | μmol/L | 13.1682 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.304 | 203984.4109 | 316796.045 | 33.25 | 68.6
231085 | 2021-10-27 10:12 | 15.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.6953 | μmol/L | 13.1682 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.31 | 203994.906 | 316790.5479 | 33.25 | 68.6
231095 | 2021-10-27 10:12 | 15.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.751 | μmol/L | 13.1561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.312 | 204017.2501 | 316795.6505 | 33.25 | 68.6
231105 | 2021-10-27 10:12 | 15.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.8258 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.313 | 204010.805 | 316805.4042 | 33.25 | 68.6
231115 | 2021-10-27 10:13 | 16.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.7319 | μmol/L | 13.1561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.313 | 203957.9003 | 316796.9051 | 33.25 | 68.6
231125 | 2021-10-27 10:13 | 16.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.7805 | μmol/L | 13.1622 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.308 | 203928.2451 | 316813.8525 | 33.25 | 68.6
231135 | 2021-10-27 10:13 | 16.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.8744 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.308 | 203885.4632 | 316814.7781 | 33.25 | 68.6
231145 | 2021-10-27 10:14 | 17.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.8083 | μmol/L | 13.1561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.309 | 203889.582 | 316827.2711 | 33.25 | 68.6
231155 | 2021-10-27 10:14 | 17.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.8171 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.311 | 203862.0637 | 316812.2476 | 33.25 | 68.6
231165 | 2021-10-27 10:14 | 17.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.7025 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.317 | 203870.4994 | 316826.2869 | 33.25 | 68.6
231175 | 2021-10-27 10:15 | 18.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.5497 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.325 | 203957.3383 | 316831.5235 | 33.25 | 68.6
231185 | 2021-10-27 10:15 | 18.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.2358 | μmol/L | 13.1561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.339 | 204047.7499 | 316817.2933 | 33.25 | 68.6
231195 | 2021-10-27 10:15 | 18.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 236.035 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.352 | 204174.966 | 316810.9238 | 33.25 | 68.6
231205 | 2021-10-27 10:16 | 19.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.6459 | μmol/L | 13.1561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.37 | 204302.7398 | 316815.6455 | 33.25 | 68.6
231215 | 2021-10-27 10:16 | 19.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.399 | μmol/L | 13.1561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.383 | 204388.0374 | 316795.7909 | 33.25 | 68.6
231225 | 2021-10-27 10:16 | 19.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 235.3128 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.39 | 204451.0664 | 316802.279 | 33.25 | 68.6
231235 | 2021-10-27 10:17 | 20.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.9819 | μmol/L | 13.1561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.405 | 204565.5344 | 316800.5856 | 33.25 | 68.6
231245 | 2021-10-27 10:17 | 20.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.5278 | μmol/L | 13.1561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.429 | 204755.3841 | 316805.7229 | 33.25 | 68.6
231255 | 2021-10-27 10:17 | 20.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.3389 | μmol/L | 13.1561 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.439 | 204816.8631 | 316802.2415 | 33.25 | 68.6
231265 | 2021-10-27 10:18 | 21.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.2809 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.447 | 204864.3521 | 316797.9427 | 33.25 | 68.6
231275 | 2021-10-27 10:18 | 21.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.1212 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.453 | 204893.2726 | 316801.1261 | 33.25 | 68.6
231285 | 2021-10-27 10:18 | 21.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.13 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.455 | 204899.9491 | 316819.5427 | 33.25 | 68.6
231295 | 2021-10-27 10:19 | 22.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.13 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.455 | 204870.0777 | 316804.9632 | 33.25 | 68.6
231305 | 2021-10-27 10:19 | 22.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.1212 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.453 | 204862.8876 | 316794.6648 | 33.25 | 68.6
231315 | 2021-10-27 10:19 | 22.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.1865 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.452 | 204821.4858 | 316779.7936 | 33.25 | 68.6
231325 | 2021-10-27 10:20 | 23.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 234.1677 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.453 | 204800.6041 | 316760.0156 | 33.25 | 68.6
231335 | 2021-10-27 10:20 | 23.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 233.3683 | μmol/L | 13.15 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.493 | 205129.01 | 316762.7169 | 33.25 | 68.6
231345 | 2021-10-27 10:20 | 23.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 231.6186 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.589 | 206026.2071 | 316740.2401 | 33.25 | 68.6
231355 | 2021-10-27 10:21 | 24.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.8843 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.685 | 206866.6667 | 316728.6718 | 33.25 | 68.6
231365 | 2021-10-27 10:21 | 24.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.4504 | μmol/L | 13.1318 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.711 | 207114.1725 | 316694.6526 | 33.25 | 68.6
231375 | 2021-10-27 10:21 | 24.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.5794 | μmol/L | 13.1318 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.704 | 207041.7128 | 316696.7048 | 33.25 | 68.6
231385 | 2021-10-27 10:22 | 25.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 229.7279 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.691 | 206870.463 | 316681.9148 | 33.25 | 68.6
231395 | 2021-10-27 10:22 | 25.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.0603 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.673 | 206677.4355 | 316673.6892 | 33.25 | 68.6
231405 | 2021-10-27 10:22 | 25.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.2267 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.664 | 206535.7294 | 316663.961 | 33.25 | 68.6
231415 | 2021-10-27 10:23 | 26.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.2909 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.663 | 206451.7567 | 316626.0521 | 33.25 | 68.6
231425 | 2021-10-27 10:23 | 26.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.4019 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.657 | 206406.2176 | 316614.1123 | 33.25 | 68.6
231435 | 2021-10-27 10:23 | 26.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.4302 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.653 | 206325.4117 | 316604.8093 | 33.25 | 68.6
231445 | 2021-10-27 10:24 | 27.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.4672 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.651 | 206237.3041 | 316596.7554 | 33.25 | 68.6
231455 | 2021-10-27 10:24 | 27.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.6699 | μmol/L | 13.1318 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.645 | 206190.7196 | 316575.7057 | 33.25 | 68.6
231465 | 2021-10-27 10:24 | 27.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.6699 | μmol/L | 13.1318 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.645 | 206129.63 | 316536.7313 | 33.25 | 68.6
231475 | 2021-10-27 10:25 | 28.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.6797 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.642 | 206083.9535 | 316518.6905 | 33.25 | 68.6
231485 | 2021-10-27 10:25 | 28.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.5969 | μmol/L | 13.1439 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.644 | 206080.3614 | 316525.0508 | 33.25 | 68.6
231495 | 2021-10-27 10:25 | 28.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.6241 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.645 | 206025.8758 | 316488.1607 | 33.25 | 68.6
231505 | 2021-10-27 10:26 | 29.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 230.5686 | μmol/L | 13.1379 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.648 | 206022.6134 | 316478.8639 | 33.25 | 68.6