## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:04

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
232391 | 2021-10-29 10:39 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.6623 | μmol/L | 13.3405 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.195 | 150913.7809 | 272269.4061 | 36.4 | 83.1
232401 | 2021-10-29 10:39 | 0.34102 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.2348 | μmol/L | 13.3405 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.311 | 151447.1537 | 272305.2929 | 36.4 | 83.1
232411 | 2021-10-29 10:40 | 0.67361 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.0443 | μmol/L | 13.3466 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.406 | 151917.7462 | 272328.7301 | 36.4 | 83.1
232421 | 2021-10-29 10:40 | 1.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.0626 | μmol/L | 13.3466 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.487 | 152289.2558 | 272341.782 | 36.4 | 83.1
232431 | 2021-10-29 10:40 | 1.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.3327 | μmol/L | 13.3528 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.545 | 152556.1823 | 272372.8214 | 36.4 | 83.1
232441 | 2021-10-29 10:41 | 1.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.738 | μmol/L | 13.3589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.592 | 152776.7392 | 272420.125 | 36.4 | 83.1
232451 | 2021-10-29 10:41 | 2.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.2954 | μmol/L | 13.3589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.629 | 152950.8382 | 272443.9408 | 36.4 | 83.1
232461 | 2021-10-29 10:41 | 2.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.9984 | μmol/L | 13.3466 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.659 | 153034.3437 | 272460.566 | 36.4 | 83.1
232471 | 2021-10-29 10:42 | 2.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.7059 | μmol/L | 13.3528 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.681 | 153111.0645 | 272491.583 | 36.4 | 83.1
232481 | 2021-10-29 10:42 | 3.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.385 | μmol/L | 13.3528 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.708 | 153231.2491 | 272552.357 | 36.4 | 83.1
232491 | 2021-10-29 10:42 | 3.342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.1174 | μmol/L | 13.3589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.728 | 153342.773 | 272571.0543 | 36.4 | 83.1
232501 | 2021-10-29 10:43 | 3.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.8621 | μmol/L | 13.365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.747 | 153406.294 | 272601.9644 | 36.4 | 83.1
232511 | 2021-10-29 10:43 | 4.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.6847 | μmol/L | 13.365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.762 | 153460.2333 | 272632.6853 | 36.4 | 83.1
232521 | 2021-10-29 10:43 | 4.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.5193 | μmol/L | 13.365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.776 | 153532.4642 | 272651.9941 | 36.4 | 83.1
232531 | 2021-10-29 10:44 | 4.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.3776 | μmol/L | 13.365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.788 | 153523.1114 | 272682.634 | 36.4 | 83.1
232541 | 2021-10-29 10:44 | 5.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.396 | μmol/L | 13.3589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.789 | 153508.6783 | 272729.773 | 36.4 | 83.1
232551 | 2021-10-29 10:44 | 5.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.455 | μmol/L | 13.3589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.784 | 153482.708 | 272782.4017 | 36.4 | 83.1
232561 | 2021-10-29 10:45 | 5.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.5914 | μmol/L | 13.3528 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.775 | 153431.9744 | 272837.5543 | 36.4 | 83.1
232571 | 2021-10-29 10:45 | 6.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.8581 | μmol/L | 13.3466 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.755 | 153315.3183 | 272876.9532 | 36.4 | 83.1
232581 | 2021-10-29 10:45 | 6.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.124 | μmol/L | 13.3528 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.73 | 153217.7242 | 272910.3643 | 36.4 | 83.1
232591 | 2021-10-29 10:46 | 6.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.5051 | μmol/L | 13.3405 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.703 | 153058.9208 | 272948.3247 | 36.4 | 83.1
232601 | 2021-10-29 10:46 | 7.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.772 | μmol/L | 13.3466 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.678 | 152944.0665 | 272988.877 | 36.4 | 83.1
232611 | 2021-10-29 10:46 | 7.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.8091 | μmol/L | 13.3344 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.68 | 152920.0511 | 273027.6155 | 36.4 | 83.1
232621 | 2021-10-29 10:47 | 7.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.6967 | μmol/L | 13.3283 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.692 | 152977.6712 | 273053.9697 | 36.4 | 83.1
232631 | 2021-10-29 10:47 | 7.9695 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.5368 | μmol/L | 13.3222 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.708 | 153055.3578 | 273101.4757 | 36.4 | 83.1
232641 | 2021-10-29 10:47 | 8.3074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.4299 | μmol/L | 13.3222 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.717 | 153083.1715 | 273118.2528 | 36.4 | 83.1
232651 | 2021-10-29 10:48 | 8.641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.323 | μmol/L | 13.3222 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.726 | 153163.9534 | 273158.0723 | 36.4 | 83.1
232661 | 2021-10-29 10:48 | 8.9742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.2769 | μmol/L | 13.3099 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.735 | 153223.5848 | 273181.3766 | 36.4 | 83.1
232671 | 2021-10-29 10:48 | 9.3076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.2663 | μmol/L | 13.2977 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.741 | 153233.0547 | 273190.2434 | 36.4 | 83.1
232681 | 2021-10-29 10:49 | 9.6406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.2901 | μmol/L | 13.2977 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.739 | 153207.8924 | 273218.1674 | 36.4 | 83.1
232691 | 2021-10-29 10:49 | 9.9739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.3916 | μmol/L | 13.2916 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.733 | 153201.0993 | 273257.6541 | 36.4 | 83.1
232701 | 2021-10-29 10:49 | 10.3071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.4577 | μmol/L | 13.2855 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.73 | 153141.9275 | 273292.4504 | 36.4 | 83.1
232711 | 2021-10-29 10:50 | 10.6404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.4524 | μmol/L | 13.2794 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.733 | 153173.1653 | 273351.8956 | 36.4 | 83.1
232721 | 2021-10-29 10:50 | 10.9741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.4063 | μmol/L | 13.2671 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.742 | 153234.4881 | 273406.8721 | 36.4 | 83.1
232731 | 2021-10-29 10:50 | 11.3077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.3298 | μmol/L | 13.261 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.751 | 153285.0542 | 273440.3123 | 36.4 | 83.1
232741 | 2021-10-29 10:51 | 11.6404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.1703 | μmol/L | 13.2549 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.767 | 153382.4836 | 273473.3938 | 36.4 | 83.1
232751 | 2021-10-29 10:51 | 11.9742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.148 | μmol/L | 13.2427 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.774 | 153463.8569 | 273504.3002 | 36.4 | 83.1
232761 | 2021-10-29 10:51 | 12.3072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.9636 | μmol/L | 13.2488 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.787 | 153512.0988 | 273520.3607 | 36.4 | 83.1
232771 | 2021-10-29 10:52 | 12.641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.7875 | μmol/L | 13.2366 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.807 | 153630.6459 | 273554.7716 | 36.4 | 83.1
232781 | 2021-10-29 10:52 | 12.9739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.3321 | μmol/L | 13.2427 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.843 | 153846.4164 | 273584.1439 | 36.4 | 83.1
232791 | 2021-10-29 10:52 | 13.307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.7722 | μmol/L | 13.2488 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.888 | 154056.3463 | 273606.7798 | 36.4 | 83.1
232801 | 2021-10-29 10:53 | 13.6404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.5021 | μmol/L | 13.2488 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.911 | 154185.6432 | 273645.6508 | 36.4 | 83.1
232811 | 2021-10-29 10:53 | 13.9742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.5139 | μmol/L | 13.2488 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.91 | 154206.8561 | 273649.0817 | 36.4 | 83.1
232821 | 2021-10-29 10:53 | 14.3072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.5725 | μmol/L | 13.2488 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.905 | 154168.6454 | 273694.5798 | 36.4 | 83.1
232831 | 2021-10-29 10:54 | 14.6409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.6613 | μmol/L | 13.2427 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.9 | 154146.0928 | 273712.0006 | 36.4 | 83.1
232841 | 2021-10-29 10:54 | 14.974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.7266 | μmol/L | 13.2366 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.897 | 154172.7766 | 273754.1232 | 36.4 | 83.1
232851 | 2021-10-29 10:54 | 15.3069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.5739 | μmol/L | 13.2366 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.91 | 154249.2708 | 273786.0974 | 36.4 | 83.1
232861 | 2021-10-29 10:55 | 15.6405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.4463 | μmol/L | 13.2243 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.926 | 154333.4608 | 273799.6748 | 36.4 | 83.1
232871 | 2021-10-29 10:55 | 15.9741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.2639 | μmol/L | 13.2305 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.939 | 154381.0696 | 273829.5819 | 36.4 | 83.1
232881 | 2021-10-29 10:55 | 16.3071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.2405 | μmol/L | 13.2305 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.941 | 154414.0284 | 273871.6037 | 36.4 | 83.1
232891 | 2021-10-29 10:56 | 16.6406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.2419 | μmol/L | 13.2182 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.946 | 154461.8692 | 273920.0127 | 36.4 | 83.1
232901 | 2021-10-29 10:56 | 16.9742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.1117 | μmol/L | 13.2305 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.952 | 154467.8034 | 273953.6301 | 36.4 | 83.1
232911 | 2021-10-29 10:56 | 17.3072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.2288 | μmol/L | 13.2305 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.942 | 154448.9122 | 273981.6259 | 36.4 | 83.1
232921 | 2021-10-29 10:57 | 17.6409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.3056 | μmol/L | 13.2243 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.938 | 154446.2231 | 274024.5365 | 36.4 | 83.1
232931 | 2021-10-29 10:57 | 17.974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.2119 | μmol/L | 13.2243 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.946 | 154472.8384 | 274041.3736 | 36.4 | 83.1
232941 | 2021-10-29 10:57 | 18.3072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.3004 | μmol/L | 13.2182 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.941 | 154473.7707 | 274069.4652 | 36.4 | 83.1
232951 | 2021-10-29 10:58 | 18.641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.2236 | μmol/L | 13.2243 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.945 | 154481.1263 | 274105.3099 | 36.4 | 83.1
232961 | 2021-10-29 10:58 | 18.9739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.2822 | μmol/L | 13.2243 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.94 | 154502.8283 | 274137.1652 | 36.4 | 83.1
232971 | 2021-10-29 10:58 | 19.3072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.2302 | μmol/L | 13.2182 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.947 | 154536.1191 | 274156.059 | 36.4 | 83.1
232981 | 2021-10-29 10:59 | 19.6404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.1885 | μmol/L | 13.2243 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.948 | 154553.3833 | 274179.6514 | 36.4 | 83.1
232991 | 2021-10-29 10:59 | 19.974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.2484 | μmol/L | 13.2121 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.948 | 154566.6608 | 274208.9332 | 36.4 | 83.1
233001 | 2021-10-29 10:59 | 20.3069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.3304 | μmol/L | 13.2121 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.941 | 154529.4614 | 274229.3662 | 36.4 | 83.1
233011 | 2021-10-29 11:00 | 20.6404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.3539 | μmol/L | 13.2121 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.939 | 154528.8789 | 274274.5297 | 36.4 | 83.1
233021 | 2021-10-29 11:00 | 20.9737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.389 | μmol/L | 13.2121 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.936 | 154529.5001 | 274297.1447 | 36.4 | 83.1
233031 | 2021-10-29 11:00 | 21.3069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.518 | μmol/L | 13.2121 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.925 | 154512.4346 | 274336.8887 | 36.4 | 83.1
233041 | 2021-10-29 11:01 | 21.6406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.5532 | μmol/L | 13.2121 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.922 | 154486.5824 | 274354.0012 | 36.4 | 83.1
233051 | 2021-10-29 11:01 | 21.9742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.7829 | μmol/L | 13.206 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.905 | 154446.5781 | 274396.995 | 36.4 | 83.1
233061 | 2021-10-29 11:01 | 22.3074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 150.9424 | μmol/L | 13.1999 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.894 | 154384.2802 | 274420.8697 | 36.4 | 83.1
233071 | 2021-10-29 11:02 | 22.6407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.1845 | μmol/L | 13.1938 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.876 | 154300.7387 | 274421.5929 | 36.4 | 83.1
233081 | 2021-10-29 11:02 | 22.9739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.3849 | μmol/L | 13.1938 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.859 | 154217.4941 | 274450.2188 | 36.4 | 83.1
233091 | 2021-10-29 11:02 | 23.3073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.6144 | μmol/L | 13.1999 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.837 | 154110.3986 | 274466.3217 | 36.4 | 83.1
233101 | 2021-10-29 11:03 | 23.641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.9286 | μmol/L | 13.1938 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.813 | 153981.0327 | 274491.2753 | 36.4 | 83.1
233111 | 2021-10-29 11:03 | 23.9739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.1248 | μmol/L | 13.1877 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.799 | 153905.4834 | 274487.4939 | 36.4 | 83.1
233121 | 2021-10-29 11:03 | 24.307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.2011 | μmol/L | 13.1938 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.79 | 153881.4271 | 274527.4956 | 36.4 | 83.1
233131 | 2021-10-29 11:04 | 24.6406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.1248 | μmol/L | 13.1877 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.799 | 153922.2379 | 274556.2947 | 36.4 | 83.1
233141 | 2021-10-29 11:04 | 24.9741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.2196 | μmol/L | 13.1877 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.791 | 153889.9005 | 274568.692 | 36.4 | 83.1
233151 | 2021-10-29 11:04 | 25.3071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.3131 | μmol/L | 13.1999 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.778 | 153844.0144 | 274589.7536 | 36.4 | 83.1
233161 | 2021-10-29 11:05 | 25.6406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.5284 | μmol/L | 13.1877 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.765 | 153762.0309 | 274621.5949 | 36.4 | 83.1
233171 | 2021-10-29 11:05 | 25.9739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.6829 | μmol/L | 13.1877 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.752 | 153720.8744 | 274649.4839 | 36.4 | 83.1
233181 | 2021-10-29 11:05 | 26.3077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.8853 | μmol/L | 13.1877 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.735 | 153686.1875 | 274665.9075 | 36.4 | 83.1