## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 10:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
230636 | 2021-10-27 09:57 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 241.4371 | μmol/L | 13.2085 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.323 | 122782.8667 | 279631.6449 | 26.25 | 74
230646 | 2021-10-27 09:57 | 0.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 240.6574 | μmol/L | 13.2146 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.36 | 123079.4156 | 279636.147 | 26.25 | 74
230656 | 2021-10-27 09:57 | 0.66625 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.954 | μmol/L | 13.2085 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.398 | 123343.2669 | 279638.9309 | 26.25 | 74
230666 | 2021-10-27 09:58 | 0.99984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.3764 | μmol/L | 13.2146 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.425 | 123453.8075 | 279628.7669 | 26.25 | 74
230676 | 2021-10-27 09:58 | 1.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 239.0176 | μmol/L | 13.2024 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.448 | 123653.6525 | 279626.3653 | 26.25 | 74
230686 | 2021-10-27 09:58 | 1.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.85 | μmol/L | 13.1781 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.466 | 123788.918 | 279633.8594 | 26.25 | 74
230696 | 2021-10-27 09:59 | 1.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.6346 | μmol/L | 13.1781 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.477 | 123863.8023 | 279624.5119 | 26.25 | 74
230706 | 2021-10-27 09:59 | 2.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.6524 | μmol/L | 13.1659 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.481 | 123975.8334 | 279642.9538 | 26.25 | 74
230716 | 2021-10-27 09:59 | 2.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.4444 | μmol/L | 13.1598 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.494 | 124111.284 | 279636.1543 | 26.25 | 74
230726 | 2021-10-27 10:00 | 2.9995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 238.1657 | μmol/L | 13.1477 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.513 | 124225.5601 | 279645.9126 | 26.25 | 74
230736 | 2021-10-27 10:00 | 3.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.9069 | μmol/L | 13.1355 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.531 | 124343.8527 | 279672.8077 | 26.25 | 74
230746 | 2021-10-27 10:00 | 3.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.7581 | μmol/L | 13.1294 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.541 | 124473.6151 | 279671.6691 | 26.25 | 74
230756 | 2021-10-27 10:01 | 4.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.3619 | μmol/L | 13.1355 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.559 | 124597.7006 | 279683.8984 | 26.25 | 74
230766 | 2021-10-27 10:01 | 4.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 237.1288 | μmol/L | 13.1355 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.571 | 124723.1797 | 279697.5294 | 26.25 | 74
230776 | 2021-10-27 10:01 | 4.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.9083 | μmol/L | 13.1416 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.58 | 124860.6228 | 279727.9936 | 26.25 | 74
230786 | 2021-10-27 10:02 | 5 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.7481 | μmol/L | 13.1294 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.593 | 124966.2983 | 279726.4364 | 26.25 | 74
230796 | 2021-10-27 10:02 | 5.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.4119 | μmol/L | 13.1355 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.608 | 125068.7733 | 279733.075 | 26.25 | 74
230806 | 2021-10-27 10:02 | 5.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.2185 | μmol/L | 13.1355 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.618 | 125177.6238 | 279714.5462 | 26.25 | 74
230816 | 2021-10-27 10:03 | 5.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 236.0183 | μmol/L | 13.1416 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.626 | 125270.1262 | 279712.6655 | 26.25 | 74
230826 | 2021-10-27 10:03 | 6.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 235.8832 | μmol/L | 13.1416 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.633 | 125337.5266 | 279721.7963 | 26.25 | 74
230836 | 2021-10-27 10:03 | 6.6663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 235.6711 | μmol/L | 13.1416 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.644 | 125457.8393 | 279715.5847 | 26.25 | 74
230846 | 2021-10-27 10:04 | 6.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 235.4856 | μmol/L | 13.1355 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.656 | 125578.5644 | 279718.4236 | 26.25 | 74
230856 | 2021-10-27 10:04 | 7.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 235.274 | μmol/L | 13.1355 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.667 | 125672.7537 | 279730.3757 | 26.25 | 74
230866 | 2021-10-27 10:04 | 7.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.8371 | μmol/L | 13.1477 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.685 | 125770.6024 | 279720.0898 | 26.25 | 74
230876 | 2021-10-27 10:05 | 7.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.6524 | μmol/L | 13.1416 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.697 | 125910.4211 | 279716.6971 | 26.25 | 74
230886 | 2021-10-27 10:05 | 8.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.4153 | μmol/L | 13.1477 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.707 | 126024.8779 | 279723.1599 | 26.25 | 74
230896 | 2021-10-27 10:05 | 8.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 234.2693 | μmol/L | 13.1416 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.717 | 126141.3134 | 279714.9705 | 26.25 | 74
230906 | 2021-10-27 10:06 | 9.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.9826 | μmol/L | 13.1416 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.732 | 126237.6829 | 279719.8058 | 26.25 | 74
230916 | 2021-10-27 10:06 | 9.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.7105 | μmol/L | 13.1294 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.751 | 126424.1904 | 279708.2885 | 26.25 | 74
230926 | 2021-10-27 10:06 | 9.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.3864 | μmol/L | 13.1294 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.768 | 126549.4314 | 279727.9237 | 26.25 | 74
230936 | 2021-10-27 10:07 | 9.9995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.1913 | μmol/L | 13.1173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.783 | 126687.2912 | 279716.1055 | 26.25 | 74
230946 | 2021-10-27 10:07 | 10.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 233.0392 | μmol/L | 13.1173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.791 | 126763.7785 | 279719.5938 | 26.25 | 74
230956 | 2021-10-27 10:07 | 10.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.9703 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.797 | 126835.4639 | 279712.5068 | 26.25 | 74
230966 | 2021-10-27 10:08 | 10.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.9015 | μmol/L | 13.1051 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.803 | 126894.4889 | 279709.8859 | 26.25 | 74
230976 | 2021-10-27 10:08 | 11.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.9349 | μmol/L | 13.0929 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.806 | 126969.7435 | 279701.2425 | 26.25 | 74
230986 | 2021-10-27 10:08 | 11.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 232.745 | μmol/L | 13.0929 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.816 | 127060.7982 | 279726.2664 | 26.25 | 74
230996 | 2021-10-27 10:09 | 11.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 231.4515 | μmol/L | 13.099 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.882 | 127511.2163 | 279716.2383 | 26.25 | 74
231006 | 2021-10-27 10:09 | 12.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.732 | μmol/L | 13.0869 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.925 | 127775.0414 | 279728.9478 | 26.25 | 74
231016 | 2021-10-27 10:09 | 12.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.537 | μmol/L | 13.0929 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.933 | 127837.5474 | 279731.0124 | 26.25 | 74
231026 | 2021-10-27 10:10 | 12.9995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.6828 | μmol/L | 13.0808 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.93 | 127855.6776 | 279726.1232 | 26.25 | 74
231036 | 2021-10-27 10:10 | 13.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.7016 | μmol/L | 13.0808 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.929 | 127931.154 | 279709.0496 | 26.25 | 74
231046 | 2021-10-27 10:10 | 13.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.732 | μmol/L | 13.0869 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.925 | 127960.8607 | 279724.8198 | 26.25 | 74
231056 | 2021-10-27 10:11 | 13.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.6237 | μmol/L | 13.099 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.926 | 128023.8461 | 279715.608 | 26.25 | 74
231066 | 2021-10-27 10:11 | 14.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.6353 | μmol/L | 13.1051 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.923 | 128040.6496 | 279707.4068 | 26.25 | 74
231076 | 2021-10-27 10:11 | 14.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.6353 | μmol/L | 13.1051 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.923 | 128077.147 | 279720.8873 | 26.25 | 74
231086 | 2021-10-27 10:12 | 14.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.5718 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.924 | 128129.4725 | 279717.0301 | 26.25 | 74
231096 | 2021-10-27 10:12 | 15.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.4967 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.928 | 128174.2247 | 279720.3746 | 26.25 | 74
231106 | 2021-10-27 10:12 | 15.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.3958 | μmol/L | 13.1173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.931 | 128246.6488 | 279725.1931 | 26.25 | 74
231116 | 2021-10-27 10:13 | 15.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.4145 | μmol/L | 13.1173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.93 | 128297.1308 | 279729.7385 | 26.25 | 74
231126 | 2021-10-27 10:13 | 16.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.3136 | μmol/L | 13.1233 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.933 | 128369.0302 | 279726.2627 | 26.25 | 74
231136 | 2021-10-27 10:13 | 16.6663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.4145 | μmol/L | 13.1173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.93 | 128388.6715 | 279724.0535 | 26.25 | 74
231146 | 2021-10-27 10:14 | 16.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.377 | μmol/L | 13.1173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.932 | 128440.8289 | 279742.8304 | 26.25 | 74
231156 | 2021-10-27 10:14 | 17.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.2976 | μmol/L | 13.1051 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.941 | 128509.1698 | 279735.1588 | 26.25 | 74
231166 | 2021-10-27 10:14 | 17.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.1218 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.948 | 128371.3935 | 279730.966 | 26.25 | 74
231176 | 2021-10-27 10:15 | 18.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.1968 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.944 | 128455.306 | 279729.0398 | 26.25 | 74
231186 | 2021-10-27 10:15 | 18.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.0585 | μmol/L | 13.1173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.949 | 128509.4169 | 279728.1062 | 26.25 | 74
231196 | 2021-10-27 10:15 | 18.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.939 | μmol/L | 13.1233 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.953 | 128552.8946 | 279734.8765 | 26.25 | 74
231206 | 2021-10-27 10:16 | 18.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.9721 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.956 | 128610.2384 | 279728.871 | 26.25 | 74
231216 | 2021-10-27 10:16 | 19.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 230.0282 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.953 | 128641.9422 | 279730.6029 | 26.25 | 74
231226 | 2021-10-27 10:16 | 19.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.8785 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.961 | 128698.5518 | 279735.539 | 26.25 | 74
231236 | 2021-10-27 10:17 | 20.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.9677 | μmol/L | 13.099 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.961 | 128762.4335 | 279722.6744 | 26.25 | 74
231246 | 2021-10-27 10:17 | 20.3329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.8742 | μmol/L | 13.099 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.966 | 128800.4223 | 279722.4631 | 26.25 | 74
231256 | 2021-10-27 10:17 | 20.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.9001 | μmol/L | 13.0929 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.967 | 128864.5604 | 279721.1053 | 26.25 | 74
231266 | 2021-10-27 10:18 | 20.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.7548 | μmol/L | 13.1051 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.97 | 128926.2755 | 279710.2 | 26.25 | 74
231276 | 2021-10-27 10:18 | 21.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 229.5192 | μmol/L | 13.099 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 24.985 | 129024.1695 | 279713.696 | 26.25 | 74
231286 | 2021-10-27 10:18 | 21.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 228.9042 | μmol/L | 13.099 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.018 | 129296.4558 | 279714.1704 | 26.25 | 74
231296 | 2021-10-27 10:19 | 22.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 227.8208 | μmol/L | 13.1051 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.074 | 129640.0151 | 279720.6337 | 26.25 | 74
231306 | 2021-10-27 10:19 | 22.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.7689 | μmol/L | 13.1051 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.131 | 130039.1054 | 279711.4357 | 26.25 | 74
231316 | 2021-10-27 10:19 | 22.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.5227 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.142 | 130093.2789 | 279717.0997 | 26.25 | 74
231326 | 2021-10-27 10:20 | 22.9995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.6514 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.135 | 130107.0493 | 279693.6559 | 26.25 | 74
231336 | 2021-10-27 10:20 | 23.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.4604 | μmol/L | 13.1173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.143 | 130181.9334 | 279685.5257 | 26.25 | 74
231346 | 2021-10-27 10:20 | 23.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 226.1299 | μmol/L | 13.1173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.161 | 130301.3647 | 279675.9057 | 26.25 | 74
231356 | 2021-10-27 10:21 | 23.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.8366 | μmol/L | 13.1173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.177 | 130427.4434 | 279659.7636 | 26.25 | 74
231366 | 2021-10-27 10:21 | 24.3329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.7562 | μmol/L | 13.1233 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.179 | 130494.6006 | 279633.0691 | 26.25 | 74
231376 | 2021-10-27 10:21 | 24.6663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.7523 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.184 | 130524.5986 | 279625.7379 | 26.25 | 74
231386 | 2021-10-27 10:22 | 24.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.5327 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.196 | 130635.6762 | 279613.9489 | 26.25 | 74
231396 | 2021-10-27 10:22 | 25.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.2111 | μmol/L | 13.1051 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.216 | 130772.2514 | 279611.9021 | 26.25 | 74
231406 | 2021-10-27 10:22 | 25.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 225.1016 | μmol/L | 13.1051 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.222 | 130823.9629 | 279591.4217 | 26.25 | 74
231416 | 2021-10-27 10:23 | 26 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.9336 | μmol/L | 13.0929 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.236 | 130887.3797 | 279581.7955 | 26.25 | 74
231426 | 2021-10-27 10:23 | 26.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.3479 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.261 | 131056.7024 | 279563.6646 | 26.25 | 74
231436 | 2021-10-27 10:23 | 26.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1152 | μmol/L | 13.0929 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.281 | 131158.3079 | 279553.7031 | 26.25 | 74
231446 | 2021-10-27 10:24 | 27.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0536 | μmol/L | 13.099 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.282 | 131187.9006 | 279537.0655 | 26.25 | 74
231456 | 2021-10-27 10:24 | 27.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.7311 | μmol/L | 13.1112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.295 | 131285.057 | 279518.3717 | 26.25 | 74
231466 | 2021-10-27 10:24 | 27.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.3583 | μmol/L | 13.1051 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.318 | 131424.2616 | 279506.5222 | 26.25 | 74
231476 | 2021-10-27 10:25 | 28.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.9501 | μmol/L | 13.099 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.343 | 131596.3947 | 279480.9573 | 26.25 | 74
231486 | 2021-10-27 10:25 | 28.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.6438 | μmol/L | 13.099 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.36 | 131696.9074 | 279459.3875 | 26.25 | 74
231496 | 2021-10-27 10:25 | 28.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.5069 | μmol/L | 13.0929 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.37 | 131811.1572 | 279459.669 | 26.25 | 74
231506 | 2021-10-27 10:26 | 28.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.3271 | μmol/L | 13.0929 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 25.38 | 131901.7318 | 279437.9157 | 26.25 | 74