## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:04

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
232388 | 2021-10-29 10:39 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.2074 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 29.817 | 168127.9841 | 300249.4053 | 59.9307 | 38.1
232398 | 2021-10-29 10:39 | 0.33314 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.7768 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.02 | 169415.55 | 300292.5741 | 59.9307 | 38.1
232408 | 2021-10-29 10:40 | 0.66652 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.7834 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.189 | 170466.1261 | 300324.0422 | 59.9307 | 38.1
232418 | 2021-10-29 10:40 | 1.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.939 | μmol/L | 13.1302 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.345 | 171436.8806 | 300352.9106 | 59.9307 | 38.1
232428 | 2021-10-29 10:40 | 1.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.1848 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.5 | 172404.8094 | 300386.4634 | 59.9307 | 38.1
232438 | 2021-10-29 10:41 | 1.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.334 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.663 | 173461.2273 | 300436.7641 | 59.9307 | 38.1
232448 | 2021-10-29 10:41 | 1.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.3954 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.836 | 174555.5306 | 300470.2002 | 59.9307 | 38.1
232458 | 2021-10-29 10:41 | 2.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.5317 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.007 | 175631.4014 | 300488.2449 | 59.9307 | 38.1
232468 | 2021-10-29 10:42 | 2.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.4493 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.198 | 176827.2282 | 300525.4871 | 59.9307 | 38.1
232478 | 2021-10-29 10:42 | 2.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 133.6537 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.365 | 177889.9171 | 300557.3387 | 59.9307 | 38.1
232488 | 2021-10-29 10:42 | 3.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.0031 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.518 | 178839.9687 | 300608.9641 | 59.9307 | 38.1
232498 | 2021-10-29 10:43 | 3.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.9291 | μmol/L | 13.1119 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.625 | 179528.8942 | 300647.9164 | 59.9307 | 38.1
232508 | 2021-10-29 10:43 | 3.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.1309 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.699 | 180013.7408 | 300689.2114 | 59.9307 | 38.1
232518 | 2021-10-29 10:43 | 4.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 129.5905 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.751 | 180333.6976 | 300715.9468 | 59.9307 | 38.1
232528 | 2021-10-29 10:44 | 4.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 129.1511 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.791 | 180626.1697 | 300750.743 | 59.9307 | 38.1
232538 | 2021-10-29 10:44 | 4.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 128.6043 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.844 | 180977.3379 | 300798.6524 | 59.9307 | 38.1
232548 | 2021-10-29 10:44 | 5.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 128.0288 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.9 | 181348.5755 | 300833.6913 | 59.9307 | 38.1
232558 | 2021-10-29 10:45 | 5.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 127.5682 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.945 | 181711.1612 | 300907.3852 | 59.9307 | 38.1
232568 | 2021-10-29 10:45 | 5.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 127.0234 | μmol/L | 13.1302 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.996 | 182053.5175 | 300944.626 | 59.9307 | 38.1
232578 | 2021-10-29 10:45 | 6.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 126.6865 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.034 | 182319.3386 | 300987.249 | 59.9307 | 38.1
232588 | 2021-10-29 10:46 | 6.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 126.323 | μmol/L | 13.1302 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.065 | 182565.1031 | 301037.2424 | 59.9307 | 38.1
232598 | 2021-10-29 10:46 | 6.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 125.9749 | μmol/L | 13.1363 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.097 | 182803.8456 | 301081.5292 | 59.9307 | 38.1
232608 | 2021-10-29 10:46 | 7.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 125.7572 | μmol/L | 13.1302 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.121 | 183001.7616 | 301122.3545 | 59.9307 | 38.1
232618 | 2021-10-29 10:47 | 7.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 125.5801 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.141 | 183144.8296 | 301164.2625 | 59.9307 | 38.1
232628 | 2021-10-29 10:47 | 7.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 125.389 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.16 | 183307.6791 | 301184.1337 | 59.9307 | 38.1
232638 | 2021-10-29 10:47 | 8.2952 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 125.2181 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.177 | 183459.7446 | 301213.4453 | 59.9307 | 38.1
232648 | 2021-10-29 10:47 | 8.6329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 125.1163 | μmol/L | 13.1119 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.192 | 183594.7003 | 301235.6154 | 59.9307 | 38.1
232658 | 2021-10-29 10:48 | 8.9665 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 124.9802 | μmol/L | 13.1058 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.208 | 183717.2107 | 301281.9403 | 59.9307 | 38.1
232668 | 2021-10-29 10:48 | 9.2993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 124.8742 | μmol/L | 13.0997 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.221 | 183830.5425 | 301309.2896 | 59.9307 | 38.1
232678 | 2021-10-29 10:48 | 9.6327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 124.6898 | μmol/L | 13.1058 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.237 | 183959.2996 | 301339.1989 | 59.9307 | 38.1
232688 | 2021-10-29 10:49 | 9.9659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 124.5298 | μmol/L | 13.1058 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.253 | 184087.4296 | 301378.3943 | 59.9307 | 38.1
232698 | 2021-10-29 10:49 | 10.2992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 124.39 | μmol/L | 13.1058 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.267 | 184156.4021 | 301405.4023 | 59.9307 | 38.1
232708 | 2021-10-29 10:49 | 10.6326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 124.2903 | μmol/L | 13.1058 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.277 | 184294.4339 | 301459.6482 | 59.9307 | 38.1
232718 | 2021-10-29 10:50 | 10.9659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 124.1565 | μmol/L | 13.1119 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.288 | 184424.7846 | 301510.8274 | 59.9307 | 38.1
232728 | 2021-10-29 10:50 | 11.2996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 124.0029 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.301 | 184523.8694 | 301539.2159 | 59.9307 | 38.1
232738 | 2021-10-29 10:50 | 11.6324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.9474 | μmol/L | 13.1119 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.309 | 184627.1988 | 301584.3642 | 59.9307 | 38.1
232748 | 2021-10-29 10:51 | 11.9657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.814 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.32 | 184725.5621 | 301613.7876 | 59.9307 | 38.1
232758 | 2021-10-29 10:51 | 12.2998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.7005 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.329 | 184814.295 | 301650.2258 | 59.9307 | 38.1
232768 | 2021-10-29 10:51 | 12.6327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.5913 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.34 | 184894.6746 | 301691.4901 | 59.9307 | 38.1
232778 | 2021-10-29 10:52 | 12.9664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.5078 | μmol/L | 13.1302 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.346 | 184979.9884 | 301716.6482 | 59.9307 | 38.1
232788 | 2021-10-29 10:52 | 13.2995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.4922 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.35 | 185043.3114 | 301733.4839 | 59.9307 | 38.1
232798 | 2021-10-29 10:52 | 13.6328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.4765 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.354 | 185101.9673 | 301762.045 | 59.9307 | 38.1
232808 | 2021-10-29 10:53 | 13.9662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.57 | μmol/L | 13.1119 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.347 | 185087.3043 | 301798.139 | 59.9307 | 38.1
232818 | 2021-10-29 10:53 | 14.2994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.6494 | μmol/L | 13.1119 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.339 | 185087.7483 | 301818.4567 | 59.9307 | 38.1
232828 | 2021-10-29 10:53 | 14.6332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.7571 | μmol/L | 13.0997 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.333 | 185103.3168 | 301855.4387 | 59.9307 | 38.1
232838 | 2021-10-29 10:54 | 14.9659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.7869 | μmol/L | 13.0997 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.33 | 185130.7643 | 301898.5565 | 59.9307 | 38.1
232848 | 2021-10-29 10:54 | 15.2991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.7869 | μmol/L | 13.0997 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.33 | 185173.2528 | 301920.5589 | 59.9307 | 38.1
232858 | 2021-10-29 10:54 | 15.6327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.7571 | μmol/L | 13.0997 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.333 | 185205.5781 | 301965.6723 | 59.9307 | 38.1
232868 | 2021-10-29 10:55 | 15.9664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.7231 | μmol/L | 13.1058 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.334 | 185266.4393 | 301996.541 | 59.9307 | 38.1
232878 | 2021-10-29 10:55 | 16.2994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.7273 | μmol/L | 13.0997 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.336 | 185308.9001 | 302025.2567 | 59.9307 | 38.1
232888 | 2021-10-29 10:55 | 16.6328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.6734 | μmol/L | 13.1058 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.339 | 185381.8704 | 302076.8292 | 59.9307 | 38.1
232898 | 2021-10-29 10:56 | 16.9664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.6337 | μmol/L | 13.1058 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.343 | 185439.1383 | 302105.0902 | 59.9307 | 38.1
232908 | 2021-10-29 10:56 | 17.2997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.6719 | μmol/L | 13.0936 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.344 | 185456.8734 | 302149.5842 | 59.9307 | 38.1
232918 | 2021-10-29 10:56 | 17.6326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.7102 | μmol/L | 13.0814 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.345 | 185536.9392 | 302196.4427 | 59.9307 | 38.1
232928 | 2021-10-29 10:57 | 17.9658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.7201 | μmol/L | 13.0814 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.344 | 185565.9898 | 302220.111 | 59.9307 | 38.1
232938 | 2021-10-29 10:57 | 18.2992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.6563 | μmol/L | 13.0875 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.348 | 185628.4466 | 302249.1003 | 59.9307 | 38.1
232948 | 2021-10-29 10:57 | 18.6325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.601 | μmol/L | 13.0814 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.356 | 185688.5962 | 302283.2806 | 59.9307 | 38.1
232958 | 2021-10-29 10:58 | 18.9661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.6876 | μmol/L | 13.0997 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.34 | 185655.5575 | 302308.5239 | 59.9307 | 38.1
232968 | 2021-10-29 10:58 | 19.2996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.7131 | μmol/L | 13.1058 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.335 | 185644.2114 | 302333.6637 | 59.9307 | 38.1
232978 | 2021-10-29 10:58 | 19.6327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.5757 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.344 | 185739.7109 | 302360.1973 | 59.9307 | 38.1
232988 | 2021-10-29 10:59 | 19.9662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.4228 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.357 | 185858.2656 | 302405.5355 | 59.9307 | 38.1
232998 | 2021-10-29 10:59 | 20.2993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.3181 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.37 | 185972.9382 | 302425.8262 | 59.9307 | 38.1
233008 | 2021-10-29 10:59 | 20.6327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 123.1004 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.392 | 186129.6479 | 302459.0287 | 59.9307 | 38.1
233018 | 2021-10-29 11:00 | 20.966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 122.972 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.405 | 186267.8704 | 302490.5587 | 59.9307 | 38.1
233028 | 2021-10-29 11:00 | 21.2992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 122.9029 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.412 | 186334.7567 | 302527.6129 | 59.9307 | 38.1
233038 | 2021-10-29 11:00 | 21.6329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 122.8494 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.415 | 186434.1704 | 302561.1941 | 59.9307 | 38.1
233048 | 2021-10-29 11:01 | 21.9663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 122.5833 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.442 | 186604.9701 | 302592.5229 | 59.9307 | 38.1
233058 | 2021-10-29 11:01 | 22.2991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 122.3514 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.468 | 186801.0509 | 302626.9557 | 59.9307 | 38.1
233068 | 2021-10-29 11:01 | 22.6325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 122.2294 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.478 | 186881.7253 | 302638.7929 | 59.9307 | 38.1
233078 | 2021-10-29 11:02 | 22.9661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 122.2113 | μmol/L | 13.1363 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.475 | 186885.0391 | 302651.7724 | 59.9307 | 38.1
233088 | 2021-10-29 11:02 | 23.2996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 122.1762 | μmol/L | 13.1302 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.481 | 186923.4928 | 302669.5902 | 59.9307 | 38.1
233098 | 2021-10-29 11:02 | 23.6324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 122.0584 | μmol/L | 13.1302 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.493 | 187032.1684 | 302689.7604 | 59.9307 | 38.1
233108 | 2021-10-29 11:03 | 23.9663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 121.9702 | μmol/L | 13.1302 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.502 | 187119.7837 | 302701.394 | 59.9307 | 38.1
233118 | 2021-10-29 11:03 | 24.2993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 121.9352 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.508 | 187172.0851 | 302737.9888 | 59.9307 | 38.1
233128 | 2021-10-29 11:03 | 24.6327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 121.9016 | μmol/L | 13.1302 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.509 | 187208.4331 | 302752.1682 | 59.9307 | 38.1
233138 | 2021-10-29 11:04 | 24.9661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 121.8527 | μmol/L | 13.1302 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.514 | 187285.4026 | 302792.8051 | 59.9307 | 38.1
233148 | 2021-10-29 11:04 | 25.2993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 121.8177 | μmol/L | 13.1241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.52 | 187362.0947 | 302804.6998 | 59.9307 | 38.1
233158 | 2021-10-29 11:04 | 25.6328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 121.7116 | μmol/L | 13.1363 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.526 | 187432.2535 | 302844.5843 | 59.9307 | 38.1
233168 | 2021-10-29 11:05 | 25.966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 121.7059 | μmol/L | 13.1302 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.529 | 187490.4986 | 302864.8526 | 59.9307 | 38.1
233178 | 2021-10-29 11:05 | 26.2991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 121.7337 | μmol/L | 13.118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.531 | 187551.0217 | 302881.5657 | 59.9307 | 38.1