## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:04

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
232393 | 2021-10-29 10:39 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.6542 | μmol/L | 13.0161 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 28.446 | 183872.803 | 294088.5396 | 59.9307 | 49.4
232403 | 2021-10-29 10:39 | 0.32784 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.3066 | μmol/L | 13.0161 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 28.694 | 185702.7741 | 294119.5656 | 59.9307 | 49.4
232413 | 2021-10-29 10:40 | 0.66131 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.2699 | μmol/L | 13.0099 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 28.926 | 187408.5916 | 294127.4776 | 59.9307 | 49.4
232423 | 2021-10-29 10:40 | 0.99458 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.2841 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 29.161 | 189131.359 | 294134.5496 | 59.9307 | 49.4
232433 | 2021-10-29 10:40 | 1.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 157.9276 | μmol/L | 12.9976 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 29.425 | 191054.6195 | 294186.4501 | 59.9307 | 49.4
232443 | 2021-10-29 10:41 | 1.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 154.4775 | μmol/L | 13.0038 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 29.7 | 193071.9596 | 294205.8806 | 59.9307 | 49.4
232453 | 2021-10-29 10:41 | 1.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.2785 | μmol/L | 13.0038 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 29.963 | 194953.2363 | 294233.9222 | 59.9307 | 49.4
232463 | 2021-10-29 10:41 | 2.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.3007 | μmol/L | 13.0161 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.208 | 196721.1544 | 294241.8122 | 59.9307 | 49.4
232473 | 2021-10-29 10:42 | 2.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.618 | μmol/L | 13.0099 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.44 | 198401.881 | 294260.3579 | 59.9307 | 49.4
232483 | 2021-10-29 10:42 | 2.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.0862 | μmol/L | 13.0038 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.663 | 199977.2465 | 294284.6279 | 59.9307 | 49.4
232493 | 2021-10-29 10:42 | 3.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.5152 | μmol/L | 13.0161 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 30.886 | 201615.9192 | 294342.0223 | 59.9307 | 49.4
232503 | 2021-10-29 10:43 | 3.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.6724 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.133 | 203405.5483 | 294374.1674 | 59.9307 | 49.4
232513 | 2021-10-29 10:43 | 3.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.2069 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.36 | 205017.5131 | 294402.8159 | 59.9307 | 49.4
232523 | 2021-10-29 10:43 | 4.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.2781 | μmol/L | 13.0592 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.533 | 206273.3766 | 294409.1852 | 59.9307 | 49.4
232533 | 2021-10-29 10:44 | 4.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.6938 | μmol/L | 13.0469 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.688 | 207399.3363 | 294441.4982 | 59.9307 | 49.4
232543 | 2021-10-29 10:44 | 4.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 129.8738 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.865 | 208679.4425 | 294480.2797 | 59.9307 | 49.4
232553 | 2021-10-29 10:44 | 5.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 128.7083 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 31.978 | 209524.4212 | 294535.7763 | 59.9307 | 49.4
232563 | 2021-10-29 10:45 | 5.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.9347 | μmol/L | 13.0346 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.056 | 210131.5687 | 294589.4821 | 59.9307 | 49.4
232573 | 2021-10-29 10:45 | 5.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.3327 | μmol/L | 13.0223 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.12 | 210634.5548 | 294624.5506 | 59.9307 | 49.4
232583 | 2021-10-29 10:45 | 6.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.6127 | μmol/L | 13.0223 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.191 | 211184.6359 | 294631.4597 | 59.9307 | 49.4
232593 | 2021-10-29 10:46 | 6.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.65 | μmol/L | 13.0161 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.289 | 211924.21 | 294683.0527 | 59.9307 | 49.4
232603 | 2021-10-29 10:46 | 6.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.6151 | μmol/L | 13.0223 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.39 | 212681.6574 | 294731.8939 | 59.9307 | 49.4
232613 | 2021-10-29 10:46 | 7.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.7169 | μmol/L | 13.0284 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.478 | 213341.5974 | 294735.8025 | 59.9307 | 49.4
232623 | 2021-10-29 10:47 | 7.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.9578 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.55 | 213885.1374 | 294761.1683 | 59.9307 | 49.4
232633 | 2021-10-29 10:47 | 7.9567 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.3687 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.61 | 214343.3175 | 294797.7253 | 59.9307 | 49.4
232643 | 2021-10-29 10:47 | 8.2944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.9127 | μmol/L | 13.0223 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.664 | 214798.9957 | 294828.7328 | 59.9307 | 49.4
232653 | 2021-10-29 10:48 | 8.6278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.3626 | μmol/L | 13.0284 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.718 | 215218.7363 | 294847.8426 | 59.9307 | 49.4
232663 | 2021-10-29 10:48 | 8.9614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 120.8624 | μmol/L | 13.0223 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.772 | 215627.041 | 294860.3466 | 59.9307 | 49.4
232673 | 2021-10-29 10:48 | 9.2947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 120.3886 | μmol/L | 13.0223 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.821 | 216027.3048 | 294890.138 | 59.9307 | 49.4
232683 | 2021-10-29 10:49 | 9.6273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 119.9454 | μmol/L | 13.0223 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.867 | 216392.9284 | 294929.4039 | 59.9307 | 49.4
232693 | 2021-10-29 10:49 | 9.9608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 119.4611 | μmol/L | 13.0284 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.915 | 216744.7746 | 294968.6345 | 59.9307 | 49.4
232703 | 2021-10-29 10:49 | 10.2945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 119.0124 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.957 | 217113.674 | 294996.3125 | 59.9307 | 49.4
232713 | 2021-10-29 10:50 | 10.6277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 118.7262 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 32.987 | 217381.9693 | 295023.3619 | 59.9307 | 49.4
232723 | 2021-10-29 10:50 | 10.9609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 118.5072 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.01 | 217612.0575 | 295078.2806 | 59.9307 | 49.4
232733 | 2021-10-29 10:50 | 11.2943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 118.4406 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.017 | 217720.6397 | 295108.6178 | 59.9307 | 49.4
232743 | 2021-10-29 10:51 | 11.6278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 118.0135 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.062 | 218072.9179 | 295144.0811 | 59.9307 | 49.4
232753 | 2021-10-29 10:51 | 11.9609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 117.8241 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.082 | 218296.882 | 295186.301 | 59.9307 | 49.4
232763 | 2021-10-29 10:51 | 12.2942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 117.6496 | μmol/L | 13.0469 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.098 | 218478.8983 | 295190.5371 | 59.9307 | 49.4
232773 | 2021-10-29 10:52 | 12.6281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 117.4891 | μmol/L | 13.0469 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.115 | 218625.9226 | 295209.2199 | 59.9307 | 49.4
232783 | 2021-10-29 10:52 | 12.9614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 117.3466 | μmol/L | 13.0346 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.135 | 218831.2942 | 295240.4326 | 59.9307 | 49.4
232793 | 2021-10-29 10:52 | 13.2941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 117.1445 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.154 | 218998.288 | 295257.8604 | 59.9307 | 49.4
232803 | 2021-10-29 10:53 | 13.6276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 117.064 | μmol/L | 13.0346 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.165 | 219128.5354 | 295276.7998 | 59.9307 | 49.4
232813 | 2021-10-29 10:53 | 13.9608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.8666 | μmol/L | 13.0346 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.186 | 219294.7612 | 295288.8662 | 59.9307 | 49.4
232823 | 2021-10-29 10:53 | 14.2941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.7539 | μmol/L | 13.0346 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.198 | 219425.6673 | 295318.798 | 59.9307 | 49.4
232833 | 2021-10-29 10:54 | 14.6276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.6549 | μmol/L | 13.0284 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.211 | 219566.887 | 295341.583 | 59.9307 | 49.4
232843 | 2021-10-29 10:54 | 14.9611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.5008 | μmol/L | 13.0346 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.225 | 219695.7108 | 295370.0612 | 59.9307 | 49.4
232853 | 2021-10-29 10:54 | 15.294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.3884 | μmol/L | 13.0346 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.237 | 219806.9089 | 295400.8234 | 59.9307 | 49.4
232863 | 2021-10-29 10:55 | 15.6275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.2897 | μmol/L | 13.0284 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.25 | 219958.2995 | 295404.6326 | 59.9307 | 49.4
232873 | 2021-10-29 10:55 | 15.9607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.2149 | μmol/L | 13.0284 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.258 | 220050.0363 | 295418.3612 | 59.9307 | 49.4
232883 | 2021-10-29 10:55 | 16.2946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 115.8695 | μmol/L | 13.0284 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.295 | 220353.9375 | 295456.2988 | 59.9307 | 49.4
232893 | 2021-10-29 10:56 | 16.628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 115.8229 | μmol/L | 13.0284 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.3 | 220441.2878 | 295526.0561 | 59.9307 | 49.4
232903 | 2021-10-29 10:56 | 16.9613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 115.8229 | μmol/L | 13.0284 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.3 | 220500.3316 | 295556.7574 | 59.9307 | 49.4
232913 | 2021-10-29 10:56 | 17.294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 115.8001 | μmol/L | 13.0346 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.3 | 220546.5117 | 295586.2021 | 59.9307 | 49.4
232923 | 2021-10-29 10:57 | 17.6277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.0893 | μmol/L | 13.0346 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.269 | 220372.0239 | 295610.7037 | 59.9307 | 49.4
232933 | 2021-10-29 10:57 | 17.9608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.431 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.23 | 220145.8672 | 295646.3959 | 59.9307 | 49.4
232943 | 2021-10-29 10:57 | 18.2941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.5341 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.219 | 220101.8604 | 295644.2898 | 59.9307 | 49.4
232953 | 2021-10-29 10:58 | 18.6273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.7404 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.197 | 220023.0892 | 295674.5452 | 59.9307 | 49.4
232963 | 2021-10-29 10:58 | 18.9612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.7549 | μmol/L | 13.0469 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.193 | 220040.1596 | 295707.8426 | 59.9307 | 49.4
232973 | 2021-10-29 10:58 | 19.2945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.7455 | μmol/L | 13.0469 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.194 | 220103.766 | 295736.1785 | 59.9307 | 49.4
232983 | 2021-10-29 10:59 | 19.6279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.6893 | μmol/L | 13.0469 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.2 | 220168.0541 | 295757.2426 | 59.9307 | 49.4
232993 | 2021-10-29 10:59 | 19.9615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.5486 | μmol/L | 13.0469 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.215 | 220301.7245 | 295797.6608 | 59.9307 | 49.4
233003 | 2021-10-29 10:59 | 20.2944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.4779 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.225 | 220434.263 | 295824.9722 | 59.9307 | 49.4
233013 | 2021-10-29 11:00 | 20.6277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.3749 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.236 | 220554.1819 | 295839.2877 | 59.9307 | 49.4
233023 | 2021-10-29 11:00 | 20.9606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.2668 | μmol/L | 13.0346 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.25 | 220713.4602 | 295881.4124 | 59.9307 | 49.4
233033 | 2021-10-29 11:00 | 21.2945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.0716 | μmol/L | 13.0469 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.266 | 220858.6578 | 295913.9273 | 59.9307 | 49.4
233043 | 2021-10-29 11:01 | 21.6277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 116.0011 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.276 | 220953.8878 | 295921.672 | 59.9307 | 49.4
233053 | 2021-10-29 11:01 | 21.961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 115.8975 | μmol/L | 13.0284 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.292 | 221125.9691 | 295963.7232 | 59.9307 | 49.4
233063 | 2021-10-29 11:01 | 22.2948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 115.7833 | μmol/L | 13.0346 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 33.302 | 221249.0422 | 295946.0512 | 59.9307 | 49.4
233073 | 2021-10-29 11:02 | 22.6274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 115.6749 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.311 | 221345.9246 | 295968.8241 | 59.9307 | 49.4
233083 | 2021-10-29 11:02 | 22.9613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 115.6749 | μmol/L | 13.0407 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.311 | 221403.6236 | 295998.594 | 59.9307 | 49.4
233093 | 2021-10-29 11:02 | 23.2947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 115.6901 | μmol/L | 13.0346 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 33.312 | 221444.2967 | 296003.141 | 59.9307 | 49.4
233103 | 2021-10-29 11:03 | 23.6276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 115.3909 | μmol/L | 13.0346 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.344 | 221694.7121 | 296005.6542 | 59.9307 | 49.4
233113 | 2021-10-29 11:03 | 23.9614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 114.813 | μmol/L | 13.0284 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 33.409 | 222169.4546 | 296045.9751 | 59.9307 | 49.4
233123 | 2021-10-29 11:03 | 24.2948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 114.5318 | μmol/L | 13.0346 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 33.437 | 222426.4709 | 296052.9743 | 59.9307 | 49.4
233133 | 2021-10-29 11:04 | 24.6275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 114.5311 | μmol/L | 13.0469 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 33.432 | 222439.697 | 296081.8192 | 59.9307 | 49.4
233143 | 2021-10-29 11:04 | 24.9613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 114.5185 | μmol/L | 13.0407 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 33.436 | 222517.6868 | 296089.207 | 59.9307 | 49.4
233153 | 2021-10-29 11:04 | 25.2946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 114.2973 | μmol/L | 13.0407 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 33.46 | 222709.7056 | 296101.9343 | 59.9307 | 49.4
233163 | 2021-10-29 11:05 | 25.6281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 114.0949 | μmol/L | 13.0407 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 33.482 | 222887.0368 | 296139.5289 | 59.9307 | 49.4
233173 | 2021-10-29 11:05 | 25.9609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 114.145 | μmol/L | 13.0346 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 33.479 | 222871.6546 | 296133.6378 | 59.9307 | 49.4
233183 | 2021-10-29 11:05 | 26.2946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 114.0438 | μmol/L | 13.0346 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 33.49 | 222989.9419 | 296141.9134 | 59.9307 | 49.4