## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:04

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
232395 | 2021-10-29 10:39 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.9262 | μmol/L | 13.0625 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 29.799 | 159845.2772 | 276150.7125 | 26.25 | 74
232405 | 2021-10-29 10:39 | 0.33372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 153.1032 | μmol/L | 13.0686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.113 | 161744.7161 | 276201.3235 | 26.25 | 74
232415 | 2021-10-29 10:40 | 0.6675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 150.4489 | μmol/L | 13.0869 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.33 | 163131.9284 | 276235.749 | 26.25 | 74
232425 | 2021-10-29 10:40 | 1.0005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 148.4701 | μmol/L | 13.0869 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.5 | 164224.5957 | 276253.6931 | 26.25 | 74
232435 | 2021-10-29 10:40 | 1.3343 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 146.8142 | μmol/L | 13.099 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.639 | 165101.6222 | 276283.8999 | 26.25 | 74
232445 | 2021-10-29 10:41 | 1.667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 145.5051 | μmol/L | 13.099 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.754 | 165840.3241 | 276329.5655 | 26.25 | 74
232455 | 2021-10-29 10:41 | 2.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 144.3537 | μmol/L | 13.099 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.856 | 166469.3821 | 276329.1671 | 26.25 | 74
232465 | 2021-10-29 10:41 | 2.334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 143.323 | μmol/L | 13.099 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 30.948 | 167103.0269 | 276369.4165 | 26.25 | 74
232475 | 2021-10-29 10:42 | 2.6672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.1996 | μmol/L | 13.1112 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.044 | 167720.1148 | 276420.8688 | 26.25 | 74
232485 | 2021-10-29 10:42 | 3.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.827 | μmol/L | 13.1051 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.171 | 168579.7828 | 276468.0235 | 26.25 | 74
232495 | 2021-10-29 10:42 | 3.3344 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.3912 | μmol/L | 13.099 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.305 | 169444.4944 | 276507.3359 | 26.25 | 74
232505 | 2021-10-29 10:43 | 3.6672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 137.9912 | μmol/L | 13.1051 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.432 | 170233.3077 | 276546.1385 | 26.25 | 74
232515 | 2021-10-29 10:43 | 4.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.9034 | μmol/L | 13.099 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.536 | 170974.2963 | 276571.3752 | 26.25 | 74
232525 | 2021-10-29 10:43 | 4.334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.0253 | μmol/L | 13.1051 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.616 | 171521.9057 | 276598.5171 | 26.25 | 74
232535 | 2021-10-29 10:44 | 4.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 135.3003 | μmol/L | 13.1112 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.682 | 171951.1451 | 276647.402 | 26.25 | 74
232545 | 2021-10-29 10:44 | 5.0007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 134.579 | μmol/L | 13.1416 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.738 | 172366.0956 | 276714.776 | 26.25 | 74
232555 | 2021-10-29 10:44 | 5.3341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 134.0026 | μmol/L | 13.1294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.798 | 172823.0073 | 276771.3332 | 26.25 | 74
232565 | 2021-10-29 10:45 | 5.6672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.3453 | μmol/L | 13.1294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.861 | 173308.9535 | 276819.6628 | 26.25 | 74
232575 | 2021-10-29 10:45 | 6.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.9555 | μmol/L | 13.1112 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.906 | 173649.6374 | 276868.7557 | 26.25 | 74
232585 | 2021-10-29 10:45 | 6.334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.5978 | μmol/L | 13.1051 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.943 | 173893.4041 | 276926.869 | 26.25 | 74
232595 | 2021-10-29 10:46 | 6.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.0965 | μmol/L | 13.099 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 31.994 | 174287.4499 | 276976.8155 | 26.25 | 74
232605 | 2021-10-29 10:46 | 7.0005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.5199 | μmol/L | 13.0869 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 32.055 | 174740.4245 | 277010.0838 | 26.25 | 74
232615 | 2021-10-29 10:46 | 7.334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 130.8587 | μmol/L | 13.0808 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 32.122 | 175249.862 | 277050.2115 | 26.25 | 74
232625 | 2021-10-29 10:47 | 7.6675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 130.0633 | μmol/L | 13.0808 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 32.2 | 175751.6072 | 277094.2499 | 26.25 | 74
232635 | 2021-10-29 10:47 | 7.9627 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.5863 | μmol/L | 13.0686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 32.252 | 176104.3601 | 277139.4707 | 26.25 | 74
232645 | 2021-10-29 10:47 | 8.3006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.02 | μmol/L | 13.0808 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 32.303 | 176539.0352 | 277161.0984 | 26.25 | 74
232655 | 2021-10-29 10:48 | 8.6338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.2551 | μmol/L | 13.0808 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 32.379 | 177042.2796 | 277214.0244 | 26.25 | 74
232665 | 2021-10-29 10:48 | 8.9676 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.4645 | μmol/L | 13.0686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 32.463 | 177648.5134 | 277230.8727 | 26.25 | 74
232675 | 2021-10-29 10:48 | 9.3002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 126.218 | μmol/L | 13.0747 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 32.586 | 178423.9136 | 277270.89 | 26.25 | 74
232685 | 2021-10-29 10:49 | 9.6336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 125.7444 | μmol/L | 13.099 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 32.624 | 178720.584 | 277303.5812 | 26.25 | 74
232695 | 2021-10-29 10:49 | 9.967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 122.7141 | μmol/L | 13.099 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 32.935 | 180677.1966 | 277348.9488 | 26.25 | 74
232705 | 2021-10-29 10:49 | 10.3005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 121.3194 | μmol/L | 13.0929 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.083 | 181650.0195 | 277390.3211 | 26.25 | 74
232715 | 2021-10-29 10:50 | 10.6338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 120.6392 | μmol/L | 13.0869 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.157 | 182152.1568 | 277449.6418 | 26.25 | 74
232725 | 2021-10-29 10:50 | 10.9669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 120.7433 | μmol/L | 13.0747 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.151 | 182251.7315 | 277499.6558 | 26.25 | 74
232735 | 2021-10-29 10:50 | 11.3003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 120.6436 | μmol/L | 13.0686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.164 | 182402.0593 | 277540.6082 | 26.25 | 74
232745 | 2021-10-29 10:51 | 11.634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 120.075 | μmol/L | 13.0443 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.234 | 182989.3677 | 277579.8415 | 26.25 | 74
232755 | 2021-10-29 10:51 | 11.9671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.886 | μmol/L | 13.0321 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.259 | 183205.9054 | 277609.251 | 26.25 | 74
232765 | 2021-10-29 10:51 | 12.3004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.933 | μmol/L | 13.02 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.259 | 183293.0258 | 277629.6188 | 26.25 | 74
232775 | 2021-10-29 10:52 | 12.6336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.7914 | μmol/L | 13.02 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.274 | 183479.0641 | 277666.3326 | 26.25 | 74
232785 | 2021-10-29 10:52 | 12.9676 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.575 | μmol/L | 13.0321 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.292 | 183670.9458 | 277690.589 | 26.25 | 74
232795 | 2021-10-29 10:52 | 13.3002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.4249 | μmol/L | 13.0564 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.298 | 183764.1092 | 277718.2424 | 26.25 | 74
232805 | 2021-10-29 10:53 | 13.6335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.3266 | μmol/L | 13.0747 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.301 | 183873.0072 | 277742.6202 | 26.25 | 74
232815 | 2021-10-29 10:53 | 13.9668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.2608 | μmol/L | 13.0747 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.308 | 183925.5811 | 277768.951 | 26.25 | 74
232825 | 2021-10-29 10:53 | 14.3003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.2139 | μmol/L | 13.0747 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.313 | 184060.6637 | 277782.1956 | 26.25 | 74
232835 | 2021-10-29 10:54 | 14.6343 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.0777 | μmol/L | 13.0686 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.33 | 184235.3991 | 277830.2992 | 26.25 | 74
232845 | 2021-10-29 10:54 | 14.9675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.0498 | μmol/L | 13.0808 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.328 | 184277.2383 | 277861.9848 | 26.25 | 74
232855 | 2021-10-29 10:54 | 15.3001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.1203 | μmol/L | 13.0869 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.318 | 184284.2945 | 277884.9941 | 26.25 | 74
232865 | 2021-10-29 10:55 | 15.6342 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.1624 | μmol/L | 13.0808 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.316 | 184401.8812 | 277916.5808 | 26.25 | 74
232875 | 2021-10-29 10:55 | 15.9675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.2327 | μmol/L | 13.0747 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.311 | 184412.5773 | 277948.1966 | 26.25 | 74
232885 | 2021-10-29 10:55 | 16.3003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.2182 | μmol/L | 13.0564 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.32 | 184549.0032 | 277997.7014 | 26.25 | 74
232895 | 2021-10-29 10:56 | 16.6336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.1525 | μmol/L | 13.0564 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.327 | 184679.6853 | 278048.7167 | 26.25 | 74
232905 | 2021-10-29 10:56 | 16.967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.9789 | μmol/L | 13.0504 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.348 | 184877.0178 | 278091.4573 | 26.25 | 74
232915 | 2021-10-29 10:56 | 17.3007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.096 | μmol/L | 13.0443 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.338 | 184970.2887 | 278124.7964 | 26.25 | 74
232925 | 2021-10-29 10:57 | 17.6343 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.0678 | μmol/L | 13.0443 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.341 | 185071.439 | 278151.8518 | 26.25 | 74
232935 | 2021-10-29 10:57 | 17.9668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.3728 | μmol/L | 13.0382 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.311 | 184948.62 | 278185.1695 | 26.25 | 74
232945 | 2021-10-29 10:57 | 18.3002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.5607 | μmol/L | 13.026 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.296 | 185041.3173 | 278222.9992 | 26.25 | 74
232955 | 2021-10-29 10:58 | 18.6337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.3444 | μmol/L | 13.026 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.319 | 185305.5497 | 278261.294 | 26.25 | 74
232965 | 2021-10-29 10:58 | 18.967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.147 | μmol/L | 13.0139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.345 | 185561.4014 | 278279.8977 | 26.25 | 74
232975 | 2021-10-29 10:58 | 19.3008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 119.025 | μmol/L | 13.0139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.358 | 185699.7858 | 278311.4012 | 26.25 | 74
232985 | 2021-10-29 10:59 | 19.6341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.8283 | μmol/L | 13.0139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.379 | 185946.9538 | 278332.0597 | 26.25 | 74
232995 | 2021-10-29 10:59 | 19.9672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.6647 | μmol/L | 13.02 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.394 | 186154.9337 | 278375.7275 | 26.25 | 74
233005 | 2021-10-29 10:59 | 20.3007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.5945 | μmol/L | 13.0139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.404 | 186339.1401 | 278415.2291 | 26.25 | 74
233015 | 2021-10-29 11:00 | 20.6343 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.5291 | μmol/L | 13.0139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.411 | 186489.3021 | 278459.5088 | 26.25 | 74
233025 | 2021-10-29 11:00 | 20.9674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.492 | μmol/L | 13.026 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.41 | 186591.3504 | 278488.0304 | 26.25 | 74
233035 | 2021-10-29 11:00 | 21.3009 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.3565 | μmol/L | 13.02 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.427 | 186802.9124 | 278511.7801 | 26.25 | 74
233045 | 2021-10-29 11:01 | 21.6337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.1049 | μmol/L | 13.02 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.454 | 187033.5165 | 278544.7749 | 26.25 | 74
233055 | 2021-10-29 11:01 | 21.967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.0772 | μmol/L | 13.0321 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.452 | 187074.9375 | 278576.4204 | 26.25 | 74
233065 | 2021-10-29 11:01 | 22.3008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 117.9845 | μmol/L | 13.0443 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.457 | 187202.3923 | 278613.9959 | 26.25 | 74
233075 | 2021-10-29 11:02 | 22.6342 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.0307 | μmol/L | 13.0321 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.457 | 187286.6022 | 278629.6558 | 26.25 | 74
233085 | 2021-10-29 11:02 | 22.9672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.1193 | μmol/L | 13.0382 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.445 | 187305.1229 | 278639.2586 | 26.25 | 74
233095 | 2021-10-29 11:02 | 23.3008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.3333 | μmol/L | 13.026 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.427 | 187297.2446 | 278664.6905 | 26.25 | 74
233105 | 2021-10-29 11:03 | 23.6335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.4264 | μmol/L | 13.0139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.422 | 187354.4716 | 278680.2418 | 26.25 | 74
233115 | 2021-10-29 11:03 | 23.9675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 118.2167 | μmol/L | 13.02 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.442 | 187510.8763 | 278713.9103 | 26.25 | 74
233125 | 2021-10-29 11:03 | 24.3009 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 117.9839 | μmol/L | 13.02 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.467 | 187763.5887 | 278722.1915 | 26.25 | 74
233135 | 2021-10-29 11:04 | 24.6336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 117.9098 | μmol/L | 13.0321 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.47 | 187845.8817 | 278744.1587 | 26.25 | 74
233145 | 2021-10-29 11:04 | 24.9674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 117.8309 | μmol/L | 13.0382 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.476 | 187937.0147 | 278765.3707 | 26.25 | 74
233155 | 2021-10-29 11:04 | 25.3005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 117.7659 | μmol/L | 13.0382 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.483 | 188057.056 | 278769.8147 | 26.25 | 74
233165 | 2021-10-29 11:05 | 25.634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 117.6129 | μmol/L | 13.0443 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.497 | 188225.1604 | 278795.9693 | 26.25 | 74
233175 | 2021-10-29 11:05 | 25.9675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 117.557 | μmol/L | 13.0321 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.508 | 188360.8606 | 278813.7369 | 26.25 | 74
233185 | 2021-10-29 11:05 | 26.3006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 117.5663 | μmol/L | 13.0321 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 33.507 | 188471.0476 | 278817.0516 | 26.25 | 74