## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
233841 | 2021-10-29 14:34 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1267 | μmol/L | 13.2182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 22.997 | 105321.1072 | 273226.7631 | 36.4 | 83.1
233844 | 2021-10-29 14:34 | 0.23398 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9457 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.007 | 105327.8189 | 273252.9678 | 36.4 | 83.1
233854 | 2021-10-29 14:35 | 0.56257 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7474 | μmol/L | 13.2182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.013 | 105338.9543 | 273267.0781 | 36.4 | 83.1
233864 | 2021-10-29 14:35 | 0.89607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7387 | μmol/L | 13.2243 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.011 | 105295.3227 | 273300.1414 | 36.4 | 83.1
233873 | 2021-10-29 14:35 | 1.2293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5493 | μmol/L | 13.2243 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.019 | 105320.9301 | 273304.3812 | 36.4 | 83.1
233884 | 2021-10-29 14:36 | 1.5628 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4696 | μmol/L | 13.2305 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.02 | 105322.2206 | 273323.9674 | 36.4 | 83.1
233894 | 2021-10-29 14:36 | 1.8954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0504 | μmol/L | 13.2427 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.033 | 105299.1464 | 273338.8923 | 36.4 | 83.1
233903 | 2021-10-29 14:36 | 2.2289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1772 | μmol/L | 13.2366 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.03 | 105297.7531 | 273343.6363 | 36.4 | 83.1
233914 | 2021-10-29 14:37 | 2.5624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1299 | μmol/L | 13.2366 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.032 | 105287.5296 | 273366.7422 | 36.4 | 83.1
233923 | 2021-10-29 14:37 | 2.8954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2331 | μmol/L | 13.2305 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.03 | 105252.3287 | 273385.2423 | 36.4 | 83.1
233933 | 2021-10-29 14:37 | 3.229 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1386 | μmol/L | 13.2305 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.034 | 105243.201 | 273402.9416 | 36.4 | 83.1
233944 | 2021-10-29 14:38 | 3.5626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2182 | μmol/L | 13.2243 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.033 | 105231.3149 | 273422.079 | 36.4 | 83.1
233954 | 2021-10-29 14:38 | 3.8954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1623 | μmol/L | 13.2305 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.033 | 105217.0427 | 273445.6046 | 36.4 | 83.1
233963 | 2021-10-29 14:38 | 4.2286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3302 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.033 | 105189.421 | 273466.2735 | 36.4 | 83.1
233974 | 2021-10-29 14:39 | 4.5626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4572 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.03 | 105179.5004 | 273477.1306 | 36.4 | 83.1
233984 | 2021-10-29 14:39 | 4.8961 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3862 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.033 | 105163.6432 | 273494.6184 | 36.4 | 83.1
233993 | 2021-10-29 14:39 | 5.229 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3862 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.033 | 105144.6142 | 273505.3053 | 36.4 | 83.1
234004 | 2021-10-29 14:40 | 5.5626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5132 | μmol/L | 13.1999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.03 | 105127.636 | 273524.7908 | 36.4 | 83.1
234013 | 2021-10-29 14:40 | 5.8955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4572 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.03 | 105112.5045 | 273540.9901 | 36.4 | 83.1
234024 | 2021-10-29 14:40 | 6.2293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4808 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.029 | 105082.7972 | 273557.2852 | 36.4 | 83.1
234034 | 2021-10-29 14:41 | 6.562 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3538 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.032 | 105082.9226 | 273566.1572 | 36.4 | 83.1
234044 | 2021-10-29 14:41 | 6.8958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4099 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.032 | 105080.9475 | 273584.9552 | 36.4 | 83.1
234053 | 2021-10-29 14:41 | 7.2293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3153 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.036 | 105068.2346 | 273608.7179 | 36.4 | 83.1
234063 | 2021-10-29 14:42 | 7.5621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4099 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.032 | 105064.9165 | 273628.7516 | 36.4 | 83.1
234073 | 2021-10-29 14:42 | 7.8957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4186 | μmol/L | 13.1999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.034 | 105057.1218 | 273631.4703 | 36.4 | 83.1
234083 | 2021-10-29 14:42 | 8.2294 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.395 | μmol/L | 13.1999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.035 | 105064.2357 | 273647.5088 | 36.4 | 83.1
234094 | 2021-10-29 14:43 | 8.5621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2444 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.039 | 105062.7588 | 273662.8454 | 36.4 | 83.1
234103 | 2021-10-29 14:43 | 8.8953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2619 | μmol/L | 13.1938 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.043 | 105080.5585 | 273675.355 | 36.4 | 83.1
234114 | 2021-10-29 14:43 | 9.2292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1114 | μmol/L | 13.1999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.047 | 105099.6266 | 273702.7541 | 36.4 | 83.1
234124 | 2021-10-29 14:44 | 9.562 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0554 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.047 | 105106.7354 | 273707.549 | 36.4 | 83.1
234134 | 2021-10-29 14:44 | 9.8958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9933 | μmol/L | 13.1999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.052 | 105133.8777 | 273722.7598 | 36.4 | 83.1
234144 | 2021-10-29 14:44 | 10.2288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.961 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.051 | 105128.7585 | 273734.9748 | 36.4 | 83.1
234154 | 2021-10-29 14:45 | 10.5625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0318 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.048 | 105107.971 | 273763.5929 | 36.4 | 83.1
234163 | 2021-10-29 14:45 | 10.8955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0641 | μmol/L | 13.1999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.049 | 105104.2514 | 273775.0259 | 36.4 | 83.1
234173 | 2021-10-29 14:45 | 11.2293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2863 | μmol/L | 13.1999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.082 | 105261.1665 | 273783.6132 | 36.4 | 83.1
234183 | 2021-10-29 14:46 | 11.5621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.3793 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.161 | 105666.5924 | 273795.2947 | 36.4 | 83.1
234193 | 2021-10-29 14:46 | 11.8957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.1267 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.299 | 106363.9558 | 273800.08 | 36.4 | 83.1
234204 | 2021-10-29 14:46 | 12.2289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 272.281 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.47 | 107234.1311 | 273802.81 | 36.4 | 83.1
234214 | 2021-10-29 14:47 | 12.5625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 270.1791 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.561 | 107720.4288 | 273813.99 | 36.4 | 83.1
234224 | 2021-10-29 14:47 | 12.8961 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 270.0671 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.566 | 107745.1155 | 273815.8061 | 36.4 | 83.1
234234 | 2021-10-29 14:47 | 13.2292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 271.0544 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.522 | 107496.4317 | 273838.5153 | 36.4 | 83.1
234243 | 2021-10-29 14:48 | 13.5621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 272.3539 | μmol/L | 13.2182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.462 | 107167.7665 | 273840.3117 | 36.4 | 83.1
234254 | 2021-10-29 14:48 | 13.8957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 273.7469 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.403 | 106858.8005 | 273857.9226 | 36.4 | 83.1
234263 | 2021-10-29 14:48 | 14.229 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 274.865 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.354 | 106576.1966 | 273863.115 | 36.4 | 83.1
234274 | 2021-10-29 14:49 | 14.5627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.3776 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.334 | 106452.0563 | 273861.2955 | 36.4 | 83.1
234284 | 2021-10-29 14:49 | 14.8954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 275.524 | μmol/L | 13.1999 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.33 | 106378.9192 | 273875.494 | 36.4 | 83.1
234294 | 2021-10-29 14:49 | 15.2293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.0665 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.304 | 106252.023 | 273882.4294 | 36.4 | 83.1
234304 | 2021-10-29 14:50 | 15.5622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 276.8729 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.269 | 106077.6056 | 273882.5655 | 36.4 | 83.1
234313 | 2021-10-29 14:50 | 15.8958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.4187 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.243 | 105924.874 | 273904.6876 | 36.4 | 83.1
234323 | 2021-10-29 14:50 | 16.2286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 277.7717 | μmol/L | 13.2243 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.223 | 105835.755 | 273914.8669 | 36.4 | 83.1
234333 | 2021-10-29 14:51 | 16.5619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.0412 | μmol/L | 13.2305 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.209 | 105744.2839 | 273927.0063 | 36.4 | 83.1
234344 | 2021-10-29 14:51 | 16.8954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.4535 | μmol/L | 13.2182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.196 | 105687.4036 | 273937.2769 | 36.4 | 83.1
234354 | 2021-10-29 14:51 | 17.2293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.5145 | μmol/L | 13.2243 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.191 | 105630.7339 | 273938.0796 | 36.4 | 83.1
234364 | 2021-10-29 14:52 | 17.5623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.114 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.17 | 105551.1254 | 273948.8178 | 36.4 | 83.1
234374 | 2021-10-29 14:52 | 17.8959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.4406 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.156 | 105467.584 | 273968.7855 | 36.4 | 83.1
234384 | 2021-10-29 14:52 | 18.229 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.7677 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.142 | 105392.2246 | 273969.8379 | 36.4 | 83.1
234393 | 2021-10-29 14:53 | 18.5625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.9226 | μmol/L | 13.2182 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.133 | 105344.0892 | 273971.9312 | 36.4 | 83.1
234403 | 2021-10-29 14:53 | 18.8955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1742 | μmol/L | 13.206 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.127 | 105301.6728 | 273988.1448 | 36.4 | 83.1
234414 | 2021-10-29 14:53 | 19.2288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.3294 | μmol/L | 13.2121 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.118 | 105265.3977 | 273996.9509 | 36.4 | 83.1