## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 14:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
233848 | 2021-10-29 14:34 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.2886 | μmol/L | 13.2995 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.321 | 148039.813 | 294917.0887 | 59.9307 | 49.4
233858 | 2021-10-29 14:35 | 0.33784 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.2297 | μmol/L | 13.2933 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.326 | 148129.6234 | 294941.0512 | 59.9307 | 49.4
233868 | 2021-10-29 14:35 | 0.67126 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.9555 | μmol/L | 13.3056 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.334 | 148195.1749 | 294965.3412 | 59.9307 | 49.4
233878 | 2021-10-29 14:35 | 1.0046 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.8098 | μmol/L | 13.2995 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.343 | 148258.2425 | 294976.168 | 59.9307 | 49.4
233888 | 2021-10-29 14:36 | 1.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.6729 | μmol/L | 13.3056 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.347 | 148334.6644 | 294988.092 | 59.9307 | 49.4
233898 | 2021-10-29 14:36 | 1.6709 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.4493 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.355 | 148405.2594 | 294997.3029 | 59.9307 | 49.4
233908 | 2021-10-29 14:36 | 2.0049 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.3192 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.361 | 148480.6167 | 295021.452 | 59.9307 | 49.4
233918 | 2021-10-29 14:37 | 2.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.1545 | μmol/L | 13.3241 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.364 | 148552.8324 | 295020.9133 | 59.9307 | 49.4
233928 | 2021-10-29 14:37 | 2.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.9378 | μmol/L | 13.3241 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.374 | 148620.5364 | 295046.3624 | 59.9307 | 49.4
233938 | 2021-10-29 14:37 | 3.0041 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.901 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.378 | 148669.2436 | 295054.3833 | 59.9307 | 49.4
233948 | 2021-10-29 14:38 | 3.3379 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.7214 | μmol/L | 13.3241 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.384 | 148726.8762 | 295088.2895 | 59.9307 | 49.4
233958 | 2021-10-29 14:38 | 3.6708 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.663 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.389 | 148776.3488 | 295086.6693 | 59.9307 | 49.4
233968 | 2021-10-29 14:38 | 4.0044 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.5268 | μmol/L | 13.3241 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.393 | 148844.175 | 295105.7802 | 59.9307 | 49.4
233978 | 2021-10-29 14:39 | 4.3377 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.5117 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.396 | 148885.0719 | 295132.3209 | 59.9307 | 49.4
233988 | 2021-10-29 14:39 | 4.6712 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.4749 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.4 | 148937.445 | 295150.3792 | 59.9307 | 49.4
233998 | 2021-10-29 14:39 | 5.0043 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.2741 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.407 | 148979.5609 | 295177.4953 | 59.9307 | 49.4
234008 | 2021-10-29 14:40 | 5.3379 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.3669 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.405 | 149019.1327 | 295176.0667 | 59.9307 | 49.4
234018 | 2021-10-29 14:40 | 5.6709 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.1942 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.413 | 149059.0945 | 295193.3207 | 59.9307 | 49.4
234028 | 2021-10-29 14:40 | 6.0045 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.1662 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.412 | 149093.0643 | 295193.5963 | 59.9307 | 49.4
234038 | 2021-10-29 14:41 | 6.3378 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.1231 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.414 | 149138.6966 | 295229.0141 | 59.9307 | 49.4
234048 | 2021-10-29 14:41 | 6.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.136 | μmol/L | 13.3056 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.418 | 149167.2393 | 295245.1535 | 59.9307 | 49.4
234058 | 2021-10-29 14:41 | 7.0043 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.9937 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.42 | 149208.2178 | 295253.9773 | 59.9307 | 49.4
234068 | 2021-10-29 14:42 | 7.3376 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.0066 | μmol/L | 13.3056 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.424 | 149229.7344 | 295254.7247 | 59.9307 | 49.4
234078 | 2021-10-29 14:42 | 7.6712 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.9355 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.425 | 149266.773 | 295270.5749 | 59.9307 | 49.4
234088 | 2021-10-29 14:42 | 8.0048 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8278 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.43 | 149293.2895 | 295285.388 | 59.9307 | 49.4
234098 | 2021-10-29 14:43 | 8.3376 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8924 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.427 | 149334.5119 | 295287.5007 | 59.9307 | 49.4
234108 | 2021-10-29 14:43 | 8.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7287 | μmol/L | 13.3241 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.43 | 149355.4297 | 295289.0671 | 59.9307 | 49.4
234118 | 2021-10-29 14:43 | 9.0045 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7632 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.433 | 149400.5302 | 295322.2159 | 59.9307 | 49.4
234128 | 2021-10-29 14:44 | 9.3381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.5415 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.441 | 149447.6364 | 295339.5695 | 59.9307 | 49.4
234138 | 2021-10-29 14:44 | 9.6711 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.563 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.44 | 149485.7809 | 295339.5018 | 59.9307 | 49.4
234148 | 2021-10-29 14:44 | 10.0045 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.4555 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.445 | 149512.3623 | 295343.8746 | 59.9307 | 49.4
234158 | 2021-10-29 14:45 | 10.3382 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.477 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.444 | 149530.5911 | 295370.8731 | 59.9307 | 49.4
234168 | 2021-10-29 14:45 | 10.6711 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.3395 | μmol/L | 13.3056 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.455 | 149620.0147 | 295378.59 | 59.9307 | 49.4
234178 | 2021-10-29 14:45 | 11.0041 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.3889 | μmol/L | 13.2995 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.455 | 149629.4456 | 295389.9907 | 59.9307 | 49.4
234188 | 2021-10-29 14:46 | 11.3377 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.3609 | μmol/L | 13.3056 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.454 | 149638.9171 | 295408.8525 | 59.9307 | 49.4
234198 | 2021-10-29 14:46 | 11.6713 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.4684 | μmol/L | 13.3056 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.449 | 149648.0984 | 295397.6729 | 59.9307 | 49.4
234208 | 2021-10-29 14:46 | 12.0047 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.3609 | μmol/L | 13.3056 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.454 | 149688.5754 | 295402.5637 | 59.9307 | 49.4
234218 | 2021-10-29 14:47 | 12.3375 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1826 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.46 | 149738.6406 | 295409.1183 | 59.9307 | 49.4
234228 | 2021-10-29 14:47 | 12.6709 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0753 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.465 | 149782.5712 | 295445.3625 | 59.9307 | 49.4
234238 | 2021-10-29 14:47 | 13.0047 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0473 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.464 | 149791.1153 | 295433.4148 | 59.9307 | 49.4
234248 | 2021-10-29 14:48 | 13.338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0967 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.464 | 149798.4861 | 295446.6141 | 59.9307 | 49.4
234258 | 2021-10-29 14:48 | 13.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1891 | μmol/L | 13.3056 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.462 | 149812.8307 | 295467.8224 | 59.9307 | 49.4
234268 | 2021-10-29 14:48 | 14.0046 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.2171 | μmol/L | 13.2995 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.463 | 149832.4859 | 295462.8263 | 59.9307 | 49.4
234278 | 2021-10-29 14:49 | 14.338 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.2236 | μmol/L | 13.2933 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.465 | 149840.6804 | 295484.5364 | 59.9307 | 49.4
234288 | 2021-10-29 14:49 | 14.6715 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1182 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.463 | 149853.2024 | 295486.34 | 59.9307 | 49.4
234298 | 2021-10-29 14:49 | 15.0047 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1676 | μmol/L | 13.3056 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.463 | 149870.1523 | 295475.6406 | 59.9307 | 49.4
234308 | 2021-10-29 14:50 | 15.3375 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.983 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.467 | 149884.2464 | 295503.6495 | 59.9307 | 49.4
234318 | 2021-10-29 14:50 | 15.6711 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.983 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.467 | 149895.0927 | 295480.9891 | 59.9307 | 49.4
234328 | 2021-10-29 14:50 | 16.0047 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0324 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.467 | 149925.2184 | 295502.5374 | 59.9307 | 49.4
234338 | 2021-10-29 14:51 | 16.3377 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.9401 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.469 | 149944.7352 | 295529.3825 | 59.9307 | 49.4
234348 | 2021-10-29 14:51 | 16.6712 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.9765 | μmol/L | 13.3241 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.465 | 149955.5664 | 295517.3435 | 59.9307 | 49.4
234358 | 2021-10-29 14:51 | 17.0042 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.8478 | μmol/L | 13.3241 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.471 | 149974.8763 | 295542.8101 | 59.9307 | 49.4
234368 | 2021-10-29 14:52 | 17.3378 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.8907 | μmol/L | 13.3241 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.469 | 149973.3503 | 295542.1391 | 59.9307 | 49.4
234378 | 2021-10-29 14:52 | 17.6714 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0109 | μmol/L | 13.3118 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.468 | 149993.1616 | 295566.2967 | 59.9307 | 49.4
234388 | 2021-10-29 14:52 | 18.0043 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.8907 | μmol/L | 13.3241 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.469 | 150005.7842 | 295552.9181 | 59.9307 | 49.4
234398 | 2021-10-29 14:53 | 18.3379 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.9186 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.47 | 150017.4798 | 295579.8899 | 59.9307 | 49.4
234408 | 2021-10-29 14:53 | 18.6708 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.777 | μmol/L | 13.3303 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.472 | 150053.4591 | 295567.9498 | 59.9307 | 49.4
234418 | 2021-10-29 14:53 | 19.0043 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.8328 | μmol/L | 13.318 | °C | 1007 | hPa | Humid | 28 | 1 | 0 | 23.474 | 150055.8745 | 295590.577 | 59.9307 | 49.4