## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-29 09:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
231514 | 2021-10-29 09:33 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.0112 | μmol/L | 17.3002 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.504 | 154042.3251 | 296737.7616 | 59.9307 | 49.4
231524 | 2021-10-29 09:33 | 0.34121 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.6555 | μmol/L | 17.2941 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.525 | 154246.3525 | 296774.5589 | 59.9307 | 49.4
231534 | 2021-10-29 09:33 | 0.67446 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.3338 | μmol/L | 17.2879 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.544 | 154449.8757 | 296782.802 | 59.9307 | 49.4
231544 | 2021-10-29 09:34 | 1.0078 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.0216 | μmol/L | 17.2817 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.563 | 154654.3318 | 296823.9477 | 59.9307 | 49.4
231554 | 2021-10-29 09:34 | 1.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.581 | μmol/L | 17.2879 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.584 | 154835.6915 | 296854.1781 | 59.9307 | 49.4
231564 | 2021-10-29 09:34 | 1.6749 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.2362 | μmol/L | 17.2756 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.607 | 155042.5756 | 296888.3172 | 59.9307 | 49.4
231574 | 2021-10-29 09:35 | 2.0076 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.828 | μmol/L | 17.2694 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 155244.9834 | 296905.3929 | 59.9307 | 49.4
231584 | 2021-10-29 09:35 | 2.3408 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.4909 | μmol/L | 17.2632 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.651 | 155438.9652 | 296941.661 | 59.9307 | 49.4
231594 | 2021-10-29 09:35 | 2.6743 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.1588 | μmol/L | 17.2571 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.671 | 155602.5708 | 296955.5183 | 59.9307 | 49.4
231604 | 2021-10-29 09:36 | 3.0077 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.9211 | μmol/L | 17.2571 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.684 | 155765.8134 | 296970.8239 | 59.9307 | 49.4
231614 | 2021-10-29 09:36 | 3.3408 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.6867 | μmol/L | 17.2447 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.701 | 155924.4121 | 297007.5201 | 59.9307 | 49.4
231624 | 2021-10-29 09:36 | 3.6747 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.3933 | μmol/L | 17.2386 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.719 | 156087.4687 | 297022.2743 | 59.9307 | 49.4
231634 | 2021-10-29 09:37 | 4.0076 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.1412 | μmol/L | 17.2262 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.737 | 156238.4084 | 297019.7752 | 59.9307 | 49.4
231644 | 2021-10-29 09:37 | 4.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.8042 | μmol/L | 17.2324 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.753 | 156381.4841 | 297035.2149 | 59.9307 | 49.4
231654 | 2021-10-29 09:37 | 4.6746 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.5677 | μmol/L | 17.2262 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.768 | 156527.3972 | 297073.8349 | 59.9307 | 49.4
231664 | 2021-10-29 09:38 | 5.008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.313 | μmol/L | 17.22 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.784 | 156656.0564 | 297087.9382 | 59.9307 | 49.4
231674 | 2021-10-29 09:38 | 5.3412 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.0219 | μmol/L | 17.2139 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.802 | 156807.7705 | 297098.895 | 59.9307 | 49.4
231684 | 2021-10-29 09:38 | 5.6747 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.7275 | μmol/L | 17.2139 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.818 | 156936.7648 | 297127.5094 | 59.9307 | 49.4
231694 | 2021-10-29 09:39 | 6.0073 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5658 | μmol/L | 17.2077 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.829 | 157049.1383 | 297137.2115 | 59.9307 | 49.4
231704 | 2021-10-29 09:39 | 6.3415 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.3898 | μmol/L | 17.1954 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.843 | 157167.1431 | 297159.2554 | 59.9307 | 49.4
231714 | 2021-10-29 09:39 | 6.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.2101 | μmol/L | 17.1892 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.855 | 157280.7606 | 297185.6755 | 59.9307 | 49.4
231724 | 2021-10-29 09:40 | 7.008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.049 | μmol/L | 17.183 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.866 | 157405.5507 | 297196.4798 | 59.9307 | 49.4
231734 | 2021-10-29 09:40 | 7.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.8515 | μmol/L | 17.1769 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.879 | 157509.9863 | 297201.6342 | 59.9307 | 49.4
231744 | 2021-10-29 09:40 | 7.6741 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.6724 | μmol/L | 17.1707 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.891 | 157626.3024 | 297225.3855 | 59.9307 | 49.4
231754 | 2021-10-29 09:41 | 8.0076 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.5339 | μmol/L | 17.1584 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.903 | 157723.6874 | 297246.7993 | 59.9307 | 49.4
231764 | 2021-10-29 09:41 | 8.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3734 | μmol/L | 17.1522 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.914 | 157803.8981 | 297251.5483 | 59.9307 | 49.4
231774 | 2021-10-29 09:41 | 8.6741 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2131 | μmol/L | 17.146 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.925 | 157913.7721 | 297267.0114 | 59.9307 | 49.4
231784 | 2021-10-29 09:42 | 9.0077 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.9946 | μmol/L | 17.146 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.937 | 158017.6168 | 297287.3439 | 59.9307 | 49.4
231794 | 2021-10-29 09:42 | 9.3418 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.8203 | μmol/L | 17.1337 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.951 | 158132.1535 | 297310.3979 | 59.9307 | 49.4
231804 | 2021-10-29 09:42 | 9.674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.6022 | μmol/L | 17.1337 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.963 | 158235.387 | 297312.9919 | 59.9307 | 49.4
231814 | 2021-10-29 09:43 | 10.0075 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.4607 | μmol/L | 17.1275 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.973 | 158333.8629 | 297330.191 | 59.9307 | 49.4
231824 | 2021-10-29 09:43 | 10.3407 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.392 | μmol/L | 17.1214 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.979 | 158402.915 | 297356.766 | 59.9307 | 49.4
231834 | 2021-10-29 09:43 | 10.6746 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.2728 | μmol/L | 17.109 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.99 | 158484.5421 | 297396.5272 | 59.9307 | 49.4
231844 | 2021-10-29 09:44 | 11.0081 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.0411 | μmol/L | 17.1029 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.005 | 158602.7614 | 297438.3975 | 59.9307 | 49.4
231854 | 2021-10-29 09:44 | 11.3414 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.8459 | μmol/L | 17.0967 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.018 | 158719.1936 | 297433.6783 | 59.9307 | 49.4
231864 | 2021-10-29 09:44 | 11.6742 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.673 | μmol/L | 17.0844 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.032 | 158853.8654 | 297470.611 | 59.9307 | 49.4
231874 | 2021-10-29 09:45 | 12.0078 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.4963 | μmol/L | 17.0782 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.044 | 158965.3868 | 297469.9566 | 59.9307 | 49.4
231884 | 2021-10-29 09:45 | 12.3411 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.3378 | μmol/L | 17.072 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.055 | 159081.7903 | 297507.1463 | 59.9307 | 49.4
231894 | 2021-10-29 09:45 | 12.6746 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.1834 | μmol/L | 17.0597 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.068 | 159163.932 | 297537.65 | 59.9307 | 49.4
231904 | 2021-10-29 09:46 | 13.0078 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.0612 | μmol/L | 17.0535 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.077 | 159263.1562 | 297537.7901 | 59.9307 | 49.4
231914 | 2021-10-29 09:46 | 13.3409 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.0151 | μmol/L | 17.0412 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.084 | 159368.2547 | 297556.6527 | 59.9307 | 49.4
231924 | 2021-10-29 09:46 | 13.6746 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.8391 | μmol/L | 17.035 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.096 | 159463.8516 | 297573.3928 | 59.9307 | 49.4
231934 | 2021-10-29 09:47 | 14.0079 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.6454 | μmol/L | 17.0288 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.109 | 159568.5666 | 297614.4534 | 59.9307 | 49.4
231944 | 2021-10-29 09:47 | 14.3412 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.5197 | μmol/L | 17.0288 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.116 | 159661.4519 | 297631.896 | 59.9307 | 49.4
231954 | 2021-10-29 09:47 | 14.6745 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.3981 | μmol/L | 17.0227 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.125 | 159760.5104 | 297632.7982 | 59.9307 | 49.4
231964 | 2021-10-29 09:48 | 15.008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.2268 | μmol/L | 17.0103 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.139 | 159873.1952 | 297653.7278 | 59.9307 | 49.4
231974 | 2021-10-29 09:48 | 15.3408 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.0695 | μmol/L | 17.0042 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 24.15 | 159961.7523 | 297671.42 | 59.9307 | 49.4