## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-10-27 09:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
229848 | 2021-10-27 09:19 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 244.1664 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.925 | 155518.3374 | 281028.5387 | 33.25 | 75.7
229858 | 2021-10-27 09:20 | 0.3306 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 243.4385 | μmol/L | 13.2295 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 23.954 | 155669.6247 | 281076.5794 | 33.25 | 75.7
229868 | 2021-10-27 09:20 | 0.66388 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 242.1311 | μmol/L | 13.2478 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.012 | 156150.4588 | 281132.8186 | 33.25 | 75.7
229878 | 2021-10-27 09:20 | 0.99751 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.4633 | μmol/L | 13.2723 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.036 | 156359.2603 | 281154.3337 | 33.25 | 75.7
229888 | 2021-10-27 09:21 | 1.3308 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 241.0841 | μmol/L | 13.2723 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.055 | 156531.1848 | 281193.0873 | 33.25 | 75.7
229898 | 2021-10-27 09:21 | 1.6641 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 240.8526 | μmol/L | 13.2478 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.076 | 156687.9726 | 281222.7708 | 33.25 | 75.7
229908 | 2021-10-27 09:21 | 1.998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 240.5679 | μmol/L | 13.2356 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.095 | 156877.2265 | 281251.8813 | 33.25 | 75.7
229918 | 2021-10-27 09:22 | 2.3313 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 240.2768 | μmol/L | 13.2295 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.112 | 157025.6106 | 281289.4466 | 33.25 | 75.7
229928 | 2021-10-27 09:22 | 2.6644 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 240.0922 | μmol/L | 13.2172 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.126 | 157168.1361 | 281320.2272 | 33.25 | 75.7
229938 | 2021-10-27 09:22 | 2.9978 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 239.7157 | μmol/L | 13.2172 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.145 | 157276.7703 | 281351.42 | 33.25 | 75.7
229948 | 2021-10-27 09:23 | 3.3312 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 239.4052 | μmol/L | 13.2295 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.156 | 157381.274 | 281380.9126 | 33.25 | 75.7
229958 | 2021-10-27 09:23 | 3.6644 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 239.1217 | μmol/L | 13.2356 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.168 | 157519.6418 | 281405.2242 | 33.25 | 75.7
229968 | 2021-10-27 09:23 | 3.998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.7795 | μmol/L | 13.2417 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.183 | 157673.3983 | 281445.0828 | 33.25 | 75.7
229978 | 2021-10-27 09:24 | 4.3307 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.4645 | μmol/L | 13.2417 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.199 | 157803.6453 | 281466.3964 | 33.25 | 75.7
229988 | 2021-10-27 09:24 | 4.664 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 238.3141 | μmol/L | 13.2356 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.209 | 157895.3334 | 281489.413 | 33.25 | 75.7
229998 | 2021-10-27 09:24 | 4.9976 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.9144 | μmol/L | 13.2417 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.227 | 158023.6106 | 281513.157 | 33.25 | 75.7
230008 | 2021-10-27 09:25 | 5.3312 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.7518 | μmol/L | 13.2295 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.24 | 158093.3705 | 281536.6872 | 33.25 | 75.7
230018 | 2021-10-27 09:25 | 5.6642 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.4706 | μmol/L | 13.2356 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.252 | 158177.374 | 281551.7869 | 33.25 | 75.7
230028 | 2021-10-27 09:25 | 5.9978 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.3463 | μmol/L | 13.2417 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.256 | 158260.806 | 281567.5811 | 33.25 | 75.7
230038 | 2021-10-27 09:26 | 6.3313 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.2359 | μmol/L | 13.2356 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.264 | 158323.3821 | 281592.3208 | 33.25 | 75.7
230048 | 2021-10-27 09:26 | 6.6642 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 237.212 | μmol/L | 13.205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.277 | 158429.4755 | 281602.9378 | 33.25 | 75.7
230058 | 2021-10-27 09:26 | 6.9978 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 236.9316 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.289 | 158543.6932 | 281620.7354 | 33.25 | 75.7
230068 | 2021-10-27 09:27 | 7.3307 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 236.6711 | μmol/L | 13.2172 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.3 | 158630.8354 | 281647.5437 | 33.25 | 75.7
230078 | 2021-10-27 09:27 | 7.6644 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 236.3455 | μmol/L | 13.2295 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.312 | 158727.7489 | 281649.2 | 33.25 | 75.7
230088 | 2021-10-27 09:27 | 7.9975 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 236.0927 | μmol/L | 13.2295 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.325 | 158811.6499 | 281663.7656 | 33.25 | 75.7
230098 | 2021-10-27 09:28 | 8.3313 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 235.9179 | μmol/L | 13.2295 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.334 | 158907.7108 | 281670.4208 | 33.25 | 75.7
230108 | 2021-10-27 09:28 | 8.6353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 235.6919 | μmol/L | 13.2233 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.348 | 159014.8885 | 281708.7078 | 33.25 | 75.7
230118 | 2021-10-27 09:28 | 8.9643 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 235.5701 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.359 | 159047.6354 | 281719.7457 | 33.25 | 75.7
230128 | 2021-10-27 09:29 | 9.2975 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 235.1813 | μmol/L | 13.2295 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.372 | 159126.97 | 281739.4137 | 33.25 | 75.7
230138 | 2021-10-27 09:29 | 9.6311 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 235.1303 | μmol/L | 13.2233 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.377 | 159220.2611 | 281742.2747 | 33.25 | 75.7
230148 | 2021-10-27 09:29 | 9.9642 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 234.7948 | μmol/L | 13.2295 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.392 | 159325.1666 | 281777.0498 | 33.25 | 75.7
230158 | 2021-10-27 09:30 | 10.2973 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 234.7053 | μmol/L | 13.2233 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.399 | 159417.9416 | 281786.7139 | 33.25 | 75.7
230168 | 2021-10-27 09:30 | 10.631 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 234.5456 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.412 | 159497.9035 | 281792.4208 | 33.25 | 75.7
230178 | 2021-10-27 09:30 | 10.9642 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 234.3791 | μmol/L | 13.205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.423 | 159595.4661 | 281814.4942 | 33.25 | 75.7
230188 | 2021-10-27 09:31 | 11.2973 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 234.1534 | μmol/L | 13.2172 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.43 | 159684.2744 | 281834.628 | 33.25 | 75.7
230198 | 2021-10-27 09:31 | 11.6306 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 233.8842 | μmol/L | 13.2172 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.444 | 159793.397 | 281853.0861 | 33.25 | 75.7
230208 | 2021-10-27 09:31 | 11.9642 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 233.6415 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.459 | 159895.4399 | 281868.3194 | 33.25 | 75.7
230218 | 2021-10-27 09:32 | 12.2974 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 233.5526 | μmol/L | 13.205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.466 | 160003.2874 | 281872.9974 | 33.25 | 75.7
230228 | 2021-10-27 09:32 | 12.6313 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 233.272 | μmol/L | 13.1989 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.483 | 160101.9901 | 281880.4482 | 33.25 | 75.7
230238 | 2021-10-27 09:32 | 12.9643 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 233.1903 | μmol/L | 13.1866 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.492 | 160207.8644 | 281893.8299 | 33.25 | 75.7
230248 | 2021-10-27 09:33 | 13.2978 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 232.9798 | μmol/L | 13.1866 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.503 | 160292.7047 | 281892.328 | 33.25 | 75.7
230258 | 2021-10-27 09:33 | 13.6309 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 232.5907 | μmol/L | 13.1927 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.521 | 160439.9111 | 281909.6566 | 33.25 | 75.7
230268 | 2021-10-27 09:33 | 13.9646 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 232.0952 | μmol/L | 13.1927 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.547 | 160625.2749 | 281924.2589 | 33.25 | 75.7
230278 | 2021-10-27 09:34 | 14.2979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 231.5559 | μmol/L | 13.1989 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.573 | 160822.7154 | 281931.8263 | 33.25 | 75.7
230288 | 2021-10-27 09:34 | 14.6313 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 231.0868 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.593 | 160979.4849 | 281929.5871 | 33.25 | 75.7
230298 | 2021-10-27 09:34 | 14.9646 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 230.8219 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.607 | 161074.1393 | 281942.5692 | 33.25 | 75.7
230308 | 2021-10-27 09:35 | 15.2979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 230.8219 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.607 | 161124.9446 | 281948.3534 | 33.25 | 75.7
230318 | 2021-10-27 09:35 | 15.6309 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 230.8099 | μmol/L | 13.205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.61 | 161137.9131 | 281959.9086 | 33.25 | 75.7
230328 | 2021-10-27 09:35 | 15.9645 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 230.7791 | μmol/L | 13.1989 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.614 | 161173.1242 | 281969.6832 | 33.25 | 75.7
230338 | 2021-10-27 09:36 | 16.2978 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 230.6209 | μmol/L | 13.205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.62 | 161244.8114 | 281983.4115 | 33.25 | 75.7
230348 | 2021-10-27 09:36 | 16.6307 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 230.1255 | μmol/L | 13.1927 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.651 | 161475.2825 | 281986.1518 | 33.25 | 75.7
230358 | 2021-10-27 09:36 | 16.9642 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 229.1364 | μmol/L | 13.1866 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.706 | 161891.0129 | 281996.713 | 33.25 | 75.7
230368 | 2021-10-27 09:37 | 17.2979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 228.0149 | μmol/L | 13.1866 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.766 | 162334.1113 | 282000.216 | 33.25 | 75.7
230378 | 2021-10-27 09:37 | 17.6309 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 227.2594 | μmol/L | 13.1805 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.809 | 162684.2022 | 282014.2832 | 33.25 | 75.7
230388 | 2021-10-27 09:37 | 17.9642 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 226.5254 | μmol/L | 13.1744 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.851 | 163000.9721 | 282019.6789 | 33.25 | 75.7
230398 | 2021-10-27 09:38 | 18.2977 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 225.8837 | μmol/L | 13.1866 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.881 | 163240.5158 | 282032.894 | 33.25 | 75.7
230408 | 2021-10-27 09:38 | 18.6309 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 225.435 | μmol/L | 13.1927 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.903 | 163378.0808 | 282041.612 | 33.25 | 75.7
230418 | 2021-10-27 09:38 | 18.9643 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 224.9688 | μmol/L | 13.1989 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.926 | 163579.5359 | 282048.6855 | 33.25 | 75.7
230428 | 2021-10-27 09:39 | 19.2972 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 224.5868 | μmol/L | 13.1805 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.954 | 163802.5412 | 282059.6227 | 33.25 | 75.7
230438 | 2021-10-27 09:39 | 19.6309 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 223.9515 | μmol/L | 13.1927 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 24.984 | 164019.5509 | 282067.392 | 33.25 | 75.7
230448 | 2021-10-27 09:39 | 19.9646 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 223.5072 | μmol/L | 13.1989 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.006 | 164216.3439 | 282081.3791 | 33.25 | 75.7
230458 | 2021-10-27 09:40 | 20.2977 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 223.0457 | μmol/L | 13.205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.029 | 164398.2648 | 282095.6046 | 33.25 | 75.7
230468 | 2021-10-27 09:40 | 20.6313 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 222.6286 | μmol/L | 13.205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.052 | 164568.8723 | 282099.796 | 33.25 | 75.7
230478 | 2021-10-27 09:40 | 20.9643 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 222.3641 | μmol/L | 13.1989 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.069 | 164709.989 | 282126.0172 | 33.25 | 75.7
230488 | 2021-10-27 09:41 | 21.2975 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 222.1039 | μmol/L | 13.205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.081 | 164812.9978 | 282124.5182 | 33.25 | 75.7
230498 | 2021-10-27 09:41 | 21.631 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.8763 | μmol/L | 13.1989 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.096 | 164927.9791 | 282135.7786 | 33.25 | 75.7
230508 | 2021-10-27 09:41 | 21.964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.6819 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.102 | 165006.0878 | 282147.2299 | 33.25 | 75.7
230518 | 2021-10-27 09:42 | 22.2975 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.5738 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.108 | 165050.0864 | 282145.7835 | 33.25 | 75.7
230528 | 2021-10-27 09:42 | 22.631 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.3687 | μmol/L | 13.2172 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.117 | 165106.7674 | 282158.3974 | 33.25 | 75.7
230538 | 2021-10-27 09:42 | 22.9643 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.099 | μmol/L | 13.2172 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.132 | 165242.151 | 282164.6123 | 33.25 | 75.7
230548 | 2021-10-27 09:43 | 23.2977 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 220.8904 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.146 | 165347.215 | 282166.2881 | 33.25 | 75.7
230558 | 2021-10-27 09:43 | 23.6312 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.0052 | μmol/L | 13.205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.142 | 165333.4631 | 282175.7295 | 33.25 | 75.7
230568 | 2021-10-27 09:43 | 23.9646 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.3467 | μmol/L | 13.205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.123 | 165184.4709 | 282181.6883 | 33.25 | 75.7
230578 | 2021-10-27 09:44 | 24.2975 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.5988 | μmol/L | 13.205 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.109 | 165060.8752 | 282177.6038 | 33.25 | 75.7
230588 | 2021-10-27 09:44 | 24.6305 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.736 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.099 | 165021.5196 | 282188.4685 | 33.25 | 75.7
230598 | 2021-10-27 09:44 | 24.9641 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.772 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.097 | 164994.0016 | 282185.0149 | 33.25 | 75.7
230608 | 2021-10-27 09:45 | 25.2978 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.8372 | μmol/L | 13.2172 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.091 | 164969.7304 | 282194.4984 | 33.25 | 75.7
230618 | 2021-10-27 09:45 | 25.6312 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 221.8081 | μmol/L | 13.2111 | °C | 1007 | hPa | Humid | 28 | 0 | 0 | 25.095 | 165001.7155 | 282181.6542 | 33.25 | 75.7